## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240625_001.gcd | 2024-06-25 16:50 | QC outside air | Unknown | 0 | 6.041 | 2517 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20240625_001.gcd | 2024-06-25 16:50 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240625_001.gcd | 2024-06-25 16:50 | QC outside air | Unknown | 0 | 12.213 | 2292 | 0.467 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.7252 | 503.6459 | 2.5404 | 434.287 | 1.217 | 369.9223 | 4.1476 | 535.132 | 2.7252 | 503.6459 | 48 | FMI20240625_001.gcd | 2024-06-25 16:50 | QC outside air | Unknown | 0 | 2.696 | 5470108 | 0 | ----- | ----- | ----- | -----
49 | FMI20240625_002.gcd | 2024-06-25 17:20 | QC spiked air | Unknown | 0 | 5.999 | 1289884 | 3.254 | ----- | ----- | ----- | ----- | 49 | FMI20240625_002.gcd | 2024-06-25 17:20 | QC spiked air | Unknown | 0 | 5.954 | 10078 | 2.996 | ----- | ----- | ----- | ----- | 49 | FMI20240625_002.gcd | 2024-06-25 17:20 | QC spiked air | Unknown | 0 | 12.201 | 9438 | 2.038 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2910.9058 | 1963.5633 | 2868.0608 | 1799.2392 | 2715.1054 | 1844.8614 | 2625.5283 | 2240.5245 | 2910.9058 | 1963.5633 | 49 | FMI20240625_002.gcd | 2024-06-25 17:20 | QC spiked air | Unknown | 0 | 2.693 | 5596774 | 0 | ----- | ----- | ----- | -----
50 | FMI20240625_003.gcd | 2024-06-25 17:51 | QC reference tank | Unknown | 0 | 6.03 | 3613 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI20240625_003.gcd | 2024-06-25 17:51 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240625_003.gcd | 2024-06-25 17:51 | QC reference tank | Unknown | 0 | 12.234 | 1491 | 0.29 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.7976 | 339.6221 | 6.341 | 281.1851 | 3.1082 | 204.433 | 2.5531 | 341.0701 | 5.7976 | 339.6221 | 50 | FMI20240625_003.gcd | 2024-06-25 17:51 | QC reference tank | Unknown | 0 | 2.694 | 5595790 | 0 | ----- | ----- | ----- | -----
51 | FMI20240625_004.gcd | 2024-06-25 18:22 | 338 | Unknown | 0 | 6.004 | 35048 | 0.085 | ----- | ----- | ----- | ----- | 51 | FMI20240625_004.gcd | 2024-06-25 18:22 | 338 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240625_004.gcd | 2024-06-25 18:22 | 338 | Unknown | 0 | 12.181 | 10587 | 2.29 | ----- | ----- | ----- | ----- | 1 |  | 51 | 96.9284 | 2197.7323 | 91.7919 | 2018.5539 | 79.7238 | 2081.7725 | 94.2939 | 2510.3862 | 96.9284 | 2197.7323 | 51 | FMI20240625_004.gcd | 2024-06-25 18:22 | 338 | Unknown | 0 | 2.847 | 975719 | 0 | ----- | ----- | ----- | -----
52 | FMI20240625_005.gcd | 2024-06-25 18:52 | 235 | Unknown | 0 | 6.01 | 61398 | 0.151 | ----- | ----- | ----- | ----- | 52 | FMI20240625_005.gcd | 2024-06-25 18:52 | 235 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240625_005.gcd | 2024-06-25 18:52 | 235 | Unknown | 0 | 12.179 | 79 | -0.021 | ----- | ----- | ----- | ----- | 1 |  | 52 | 172.5831 | 50.2946 | 160.9169 | 11.2467 | 141.3889 | -87.3709 | 170.4693 | -2.4468 | 172.5831 | 50.2946 | 52 | FMI20240625_005.gcd | 2024-06-25 18:52 | 235 | Unknown | 0 | 2.852 | 1025937 | 0 | ----- | ----- | ----- | -----
53 | FMI20240625_006.gcd | 2024-06-25 19:23 | 201 | Unknown | 0 | 6.013 | 8090 | 0.017 | ----- | ----- | ----- | ----- | 53 | FMI20240625_006.gcd | 2024-06-25 19:23 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240625_006.gcd | 2024-06-25 19:23 | 201 | Unknown | 0 | 12.141 | 42158 | 9.146 | ----- | ----- | ----- | ----- | 1 |  | 53 | 19.7735 | 8570.2076 | 20.4204 | 8027.8528 | 14.4589 | 8565.002 | 9.5131 | 9454.2069 | 19.7735 | 8570.2076 | 53 | FMI20240625_006.gcd | 2024-06-25 19:23 | 201 | Unknown | 0 | 2.844 | 1064291 | 0 | ----- | ----- | ----- | -----
54 | FMI20240625_007.gcd | 2024-06-25 19:53 | 59 | Unknown | 0 | 6.005 | 33317 | 0.08 | ----- | ----- | ----- | ----- | 54 | FMI20240625_007.gcd | 2024-06-25 19:53 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240625_007.gcd | 2024-06-25 19:53 | 59 | Unknown | 0 | 12.17 | 15854 | 3.443 | ----- | ----- | ----- | ----- | 1 |  | 54 | 91.9444 | 3269.1393 | 87.245 | 3023.3399 | 75.6689 | 3166.9074 | 89.2131 | 3732.0156 | 91.9444 | 3269.1393 | 54 | FMI20240625_007.gcd | 2024-06-25 19:53 | 59 | Unknown | 0 | 2.854 | 866446 | 0 | ----- | ----- | ----- | -----
55 | FMI20240625_008.gcd | 2024-06-25 20:24 | 307 | Unknown | 0 | 6.006 | 36127 | 0.088 | ----- | ----- | ----- | ----- | 55 | FMI20240625_008.gcd | 2024-06-25 20:24 | 307 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240625_008.gcd | 2024-06-25 20:24 | 307 | Unknown | 0 | 12.172 | 18061 | 3.925 | ----- | ----- | ----- | ----- | 1 |  | 55 | 100.0342 | 3717.0983 | 94.6258 | 3444.1012 | 82.2511 | 3621.1841 | 97.4562 | 4236.3843 | 100.0342 | 3717.0983 | 55 | FMI20240625_008.gcd | 2024-06-25 20:24 | 307 | Unknown | 0 | 2.862 | 732256 | 0 | ----- | ----- | ----- | -----
56 | FMI20240625_009.gcd | 2024-06-25 20:55 | 183 | Unknown | 0 | 6.009 | 14540 | 0.033 | ----- | ----- | ----- | ----- | 56 | FMI20240625_009.gcd | 2024-06-25 20:55 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240625_009.gcd | 2024-06-25 20:55 | 183 | Unknown | 0 | 12.125 | 56676 | 12.257 | ----- | ----- | ----- | ----- | 1 |  | 56 | 37.7694 | 11064.3704 | 37.8762 | 10780.3633 | 31.6529 | 11529.2546 | 33.4918 | 12130.2675 | 37.7694 | 11064.3704 | 56 | FMI20240625_009.gcd | 2024-06-25 20:55 | 183 | Unknown | 0 | 2.848 | 971182 | 0 | ----- | ----- | ----- | -----
57 | FMI20240625_010.gcd | 2024-06-25 21:25 | 381 | Unknown | 0 | 6.009 | 13987 | 0.032 | ----- | ----- | ----- | ----- | 57 | FMI20240625_010.gcd | 2024-06-25 21:25 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240625_010.gcd | 2024-06-25 21:25 | 381 | Unknown | 0 | 12.121 | 53280 | 11.531 | ----- | ----- | ----- | ----- | 1 |  | 57 | 36.1708 | 10372.7486 | 36.421 | 10137.1198 | 30.3557 | 10836.8309 | 31.8339 | 11304.3508 | 36.1708 | 10372.7486 | 57 | FMI20240625_010.gcd | 2024-06-25 21:25 | 381 | Unknown | 0 | 2.85 | 938468 | 0 | ----- | ----- | ----- | -----
58 | FMI20240625_011.gcd | 2024-06-25 21:56 | 370 | Unknown | 0 | 6.042 | 2013 | 0.002 | ----- | ----- | ----- | ----- | 58 | FMI20240625_011.gcd | 2024-06-25 21:56 | 370 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240625_011.gcd | 2024-06-25 21:56 | 370 | Unknown | 0 | 12.039 | 141435 | 29.919 | ----- | ----- | ----- | ----- | 1 |  | 58 | 1.3584 | 28146.6478 | 0.74588 | 26713.2512 | 0.46443 | 28620.416 | 5.3162 | 32438.2917 | 1.3584 | 28146.6478 | 58 | FMI20240625_011.gcd | 2024-06-25 21:56 | 370 | Unknown | 0 | 2.846 | 999919 | 0 | ----- | ----- | ----- | -----
59 | FMI20240625_012.gcd | 2024-06-25 22:26 | 218 | Unknown | 0 | 6.003 | 81398 | 0.202 | ----- | ----- | ----- | ----- | 59 | FMI20240625_012.gcd | 2024-06-25 22:26 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240625_012.gcd | 2024-06-25 22:26 | 218 | Unknown | 0 | 12.27 | 43 | -0.029 | ----- | ----- | ----- | ----- | 1 |  | 59 | 229.7383 | 42.9149 | 213.2716 | 4.3636 | 188.1189 | -94.8119 | 226.8255 | -11.2288 | 229.7383 | 42.9149 | 59 | FMI20240625_012.gcd | 2024-06-25 22:26 | 218 | Unknown | 0 | 2.838 | 1173678 | 0 | ----- | ----- | ----- | -----
60 | FMI20240625_013.gcd | 2024-06-25 22:57 | 88 | Unknown | 0 | 6 | 961010 | 2.422 | ----- | ----- | ----- | ----- | 60 | FMI20240625_013.gcd | 2024-06-25 22:57 | 88 | Unknown | 0 | 5.95 | 6760 | 2.023 | ----- | ----- | ----- | ----- | 60 | FMI20240625_013.gcd | 2024-06-25 22:57 | 88 | Unknown | 0 | 12.132 | 47964 | 10.393 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2210.7185 | 9288.9911 | 2018.4468 | 9129.4519 | 1896.3104 | 9751.7489 | 2001.2816 | 10009.5905 | 2210.7185 | 9288.9911 | 60 | FMI20240625_013.gcd | 2024-06-25 22:57 | 88 | Unknown | 0 | 2.842 | 1066148 | 0 | ----- | ----- | ----- | -----
61 | FMI20240625_014.gcd | 2024-06-25 23:28 | 132 | Unknown | 0 | 6.002 | 73065 | 0.181 | ----- | ----- | ----- | ----- | 61 | FMI20240625_014.gcd | 2024-06-25 23:28 | 132 | Unknown | 0 | 5.936 | 702 | 0.242 | ----- | ----- | ----- | ----- | 61 | FMI20240625_014.gcd | 2024-06-25 23:28 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 peak detected | 61 | 205.9527 | #VALUE! | 191.4698 | #VALUE! | 168.6567 | #VALUE! | 203.498 | #VALUE! | 205.9527 | #VALUE! | 61 | FMI20240625_014.gcd | 2024-06-25 23:28 | 132 | Unknown | 0 | 2.848 | 971061 | 0 | ----- | ----- | ----- | -----
62 | FMI20240625_015.gcd | 2024-06-25 23:58 | 284 | Unknown | 0 | 6.011 | 40868 | 0.099 | ----- | ----- | ----- | ----- | 62 | FMI20240625_015.gcd | 2024-06-25 23:58 | 284 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20240625_015.gcd | 2024-06-25 23:58 | 284 | Unknown | 0 | 12.183 | 11524 | 2.495 | ----- | ----- | ----- | ----- | 1 |  | 62 | 113.673 | 2388.5784 | 107.0742 | 2197.3714 | 93.3535 | 2274.9217 | 111.3074 | 2729.5647 | 113.673 | 2388.5784 | 62 | FMI20240625_015.gcd | 2024-06-25 23:58 | 284 | Unknown | 0 | 2.865 | 785298 | 0 | ----- | ----- | ----- | -----
63 | FMI20240625_016.gcd | 2024-06-26 00:29 | 79 | Unknown | 0 | 6.002 | 78681 | 0.195 | ----- | ----- | ----- | ----- | 63 | FMI20240625_016.gcd | 2024-06-26 00:29 | 79 | Unknown | 0 | 5.961 | 917 | 0.305 | ----- | ----- | ----- | ----- | 63 | FMI20240625_016.gcd | 2024-06-26 00:29 | 79 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 peak detected | 63 | 221.9873 | #VALUE! | 206.1649 | #VALUE! | 181.7744 | #VALUE! | 219.2435 | #VALUE! | 221.9873 | #VALUE! | 63 | FMI20240625_016.gcd | 2024-06-26 00:29 | 79 | Unknown | 0 | 2.848 | 954516 | 0 | ----- | ----- | ----- | -----
64 | FMI20240625_017.gcd | 2024-06-26 00:59 | 106 | Unknown | 0 | 6.042 | 2231 | 0.002 | ----- | ----- | ----- | ----- | 64 | FMI20240625_017.gcd | 2024-06-26 00:59 | 106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240625_017.gcd | 2024-06-26 00:59 | 106 | Unknown | 0 | 12.04 | 138789 | 29.38 | ----- | ----- | ----- | ----- | 1 |  | 64 | 1.946 | 27618.5956 | 1.5257 | 26219.3924 | 0.78087 | 28092.4102 | 4.7771 | 31813.2037 | 1.946 | 27618.5956 | 64 | FMI20240625_017.gcd | 2024-06-26 00:59 | 106 | Unknown | 0 | 2.847 | 978020 | 0 | ----- | ----- | ----- | -----
65 | FMI20240625_018.gcd | 2024-06-26 01:30 | 138 | Unknown | 0 | 6 | 113391 | 0.282 | ----- | ----- | ----- | ----- | 65 | FMI20240625_018.gcd | 2024-06-26 01:30 | 138 | Unknown | 0 | 5.941 | 735 | 0.252 | ----- | ----- | ----- | ----- | 65 | FMI20240625_018.gcd | 2024-06-26 01:30 | 138 | Unknown | 0 | 12.098 | 74587 | 16.058 | ----- | ----- | ----- | ----- | 1 |  | 65 | 320.6863 | 14702.9139 | 296.8197 | 14166.7184 | 262.7365 | 15171.4595 | 314.3525 | 16470.6642 | 320.6863 | 14702.9139 | 65 | FMI20240625_018.gcd | 2024-06-26 01:30 | 138 | Unknown | 0 | 2.853 | 852811 | 0 | ----- | ----- | ----- | -----
66 | FMI20240625_019.gcd | 2024-06-26 02:01 | 167 | Unknown | 0 | 6.051 | 2095 | 0.002 | ----- | ----- | ----- | ----- | 66 | FMI20240625_019.gcd | 2024-06-26 02:01 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20240625_019.gcd | 2024-06-26 02:01 | 167 | Unknown | 0 | 12.037 | 142560 | 30.149 | ----- | ----- | ----- | ----- | 1 |  | 66 | 1.5788 | 28371.0578 | 1.0398 | 26923.1563 | 0.58184 | 28844.8 | 5.1074 | 32703.8868 | 1.5788 | 28371.0578 | 66 | FMI20240625_019.gcd | 2024-06-26 02:01 | 167 | Unknown | 0 | 2.845 | 999674 | 0 | ----- | ----- | ----- | -----
67 | FMI20240625_020.gcd | 2024-06-26 02:31 | 57 | Unknown | 0 | 6.001 | 75136 | 0.186 | ----- | ----- | ----- | ----- | 67 | FMI20240625_020.gcd | 2024-06-26 02:31 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240625_020.gcd | 2024-06-26 02:31 | 57 | Unknown | 0 | 12.097 | 78150 | 16.81 | ----- | ----- | ----- | ----- | 1 |  | 67 | 211.8679 | 15424.8836 | 196.8897 | 14839.1153 | 173.4946 | 15894.0436 | 209.316 | 17330.9614 | 211.8679 | 15424.8836 | 67 | FMI20240625_020.gcd | 2024-06-26 02:31 | 57 | Unknown | 0 | 2.849 | 907565 | 0 | ----- | ----- | ----- | -----
68 | FMI20240625_021.gcd | 2024-06-26 03:02 | 15 | Unknown | 0 | 6.004 | 45699 | 0.112 | ----- | ----- | ----- | ----- | 68 | FMI20240625_021.gcd | 2024-06-26 03:02 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20240625_021.gcd | 2024-06-26 03:02 | 15 | Unknown | 0 | 12.14 | 48 | -0.028 | ----- | ----- | ----- | ----- | 1 |  | 68 | 127.5573 | 43.9399 | 119.7533 | 5.3196 | 104.6631 | -93.7785 | 125.3487 | -10.0091 | 127.5573 | 43.9399 | 68 | FMI20240625_021.gcd | 2024-06-26 03:02 | 15 | Unknown | 0 | 2.846 | 1013412 | 0 | ----- | ----- | ----- | -----
69 | FMI20240625_022.gcd | 2024-06-26 03:32 | 252 | Unknown | 0 | 5.995 | 1489227 | 3.759 | ----- | ----- | ----- | ----- | 69 | FMI20240625_022.gcd | 2024-06-26 03:32 | 252 | Unknown | 0 | 5.949 | 11891 | 3.527 | ----- | ----- | ----- | ----- | 69 | FMI20240625_022.gcd | 2024-06-26 03:32 | 252 | Unknown | 0 | 12.123 | 51818 | 11.219 | ----- | ----- | ----- | ----- | 1 |  | 69 | 3334.6631 | 10074.8303 | 3332.1146 | 9860.0838 | 3162.3258 | 10538.5567 | 3001.9494 | 10948.4978 | 3334.6631 | 10074.8303 | 69 | FMI20240625_022.gcd | 2024-06-26 03:32 | 252 | Unknown | 0 | 2.849 | 885011 | 0 | ----- | ----- | ----- | -----
70 | FMI20240625_023.gcd | 2024-06-26 04:03 | 410 | Unknown | 0 | 6.014 | 5609 | 0.011 | ----- | ----- | ----- | ----- | 70 | FMI20240625_023.gcd | 2024-06-26 04:03 | 410 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240625_023.gcd | 2024-06-26 04:03 | 410 | Unknown | 0 | 12.132 | 47709 | 10.338 | ----- | ----- | ----- | ----- | 1 |  | 70 | 11.7456 | 9236.9708 | 12.905 | 9081.0926 | 7.4492 | 9699.663 | 2.982 | 9947.4248 | 11.7456 | 9236.9708 | 70 | FMI20240625_023.gcd | 2024-06-26 04:03 | 410 | Unknown | 0 | 2.847 | 981583 | 0 | ----- | ----- | ----- | -----
71 | FMI20240625_024.gcd | 2024-06-26 04:34 | 270 | Unknown | 0 | 5.999 | 125800 | 0.313 | ----- | ----- | ----- | ----- | 71 | FMI20240625_024.gcd | 2024-06-26 04:34 | 270 | Unknown | 0 | 5.941 | 844 | 0.284 | ----- | ----- | ----- | ----- | 71 | FMI20240625_024.gcd | 2024-06-26 04:34 | 270 | Unknown | 0 | 12.167 | 11686 | 2.531 | ----- | ----- | ----- | ----- | 1 |  | 71 | 355.8028 | 2421.5636 | 329.1586 | 2228.2847 | 291.6338 | 2308.3111 | 347.4324 | 2767.3778 | 355.8028 | 2421.5636 | 71 | FMI20240625_024.gcd | 2024-06-26 04:34 | 270 | Unknown | 0 | 2.846 | 978276 | 0 | ----- | ----- | ----- | -----
72 | FMI20240625_025.gcd | 2024-06-26 05:04 | 8 | Unknown | 0 | 6 | 86603 | 0.215 | ----- | ----- | ----- | ----- | 72 | FMI20240625_025.gcd | 2024-06-26 05:04 | 8 | Unknown | 0 | 5.973 | 888 | 0.297 | ----- | ----- | ----- | ----- | 72 | FMI20240625_025.gcd | 2024-06-26 05:04 | 8 | Unknown | 0 | 12.174 | 12549 | 2.72 | ----- | ----- | ----- | ----- | 1 |  | 72 | 244.5751 | 2597.2279 | 226.881 | 2392.9502 | 200.2698 | 2486.1595 | 241.2853 | 2968.4106 | 244.5751 | 2597.2279 | 72 | FMI20240625_025.gcd | 2024-06-26 05:04 | 8 | Unknown | 0 | 2.84 | 1082420 | 0 | ----- | ----- | ----- | -----
73 | FMI20240625_026.gcd | 2024-06-26 05:35 | 388 | Unknown | 0 | 5.996 | 1301248 | 3.283 | ----- | ----- | ----- | ----- | 73 | FMI20240625_026.gcd | 2024-06-26 05:35 | 388 | Unknown | 0 | 5.947 | 10678 | 3.172 | ----- | ----- | ----- | ----- | 73 | FMI20240625_026.gcd | 2024-06-26 05:35 | 388 | Unknown | 0 | 12.126 | 47898 | 10.379 | ----- | ----- | ----- | ----- | 1 |  | 73 | 2935.0763 | 9275.5273 | 3021.6508 | 9116.9356 | 2863.1241 | 9738.2681 | 2647.0267 | 9993.5011 | 2935.0763 | 9275.5273 | 73 | FMI20240625_026.gcd | 2024-06-26 05:35 | 388 | Unknown | 0 | 2.852 | 851006 | 0 | ----- | ----- | ----- | -----
74 | FMI20240625_027.gcd | 2024-06-26 06:05 | 374 | Unknown | 0 | 5.996 | 802345 | 2.02 | ----- | ----- | ----- | ----- | 74 | FMI20240625_027.gcd | 2024-06-26 06:05 | 374 | Unknown | 0 | 5.948 | 7208 | 2.155 | ----- | ----- | ----- | ----- | 74 | FMI20240625_027.gcd | 2024-06-26 06:05 | 374 | Unknown | 0 | 12.127 | 51402 | 11.13 | ----- | ----- | ----- | ----- | 1 |  | 74 | 1872.434 | 9990.0414 | 2133.1885 | 9781.2428 | 2006.8899 | 10453.6653 | 1698.6754 | 10847.2108 | 1872.434 | 9990.0414 | 74 | FMI20240625_027.gcd | 2024-06-26 06:05 | 374 | Unknown | 0 | 2.847 | 904655 | 0 | ----- | ----- | ----- | -----
75 | FMI20240625_028.gcd | 2024-06-26 06:36 | 297 | Unknown | 0 | 6.051 | 2135 | 0.002 | ----- | ----- | ----- | ----- | 75 | FMI20240625_028.gcd | 2024-06-26 06:36 | 297 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20240625_028.gcd | 2024-06-26 06:36 | 297 | Unknown | 0 | 12.038 | 147652 | 31.184 | ----- | ----- | ----- | ----- | 1 |  | 75 | 1.6866 | 29386.0269 | 1.183 | 27872.7183 | 0.63982 | 29859.604 | 5.0082 | 33904.7349 | 1.6866 | 29386.0269 | 75 | FMI20240625_028.gcd | 2024-06-26 06:36 | 297 | Unknown | 0 | 2.843 | 1039684 | 0 | ----- | ----- | ----- | -----
76 | FMI20240625_029.gcd | 2024-06-26 07:06 | 33 | Unknown | 0 | 6.003 | 50580 | 0.124 | ----- | ----- | ----- | ----- | 76 | FMI20240625_029.gcd | 2024-06-26 07:06 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20240625_029.gcd | 2024-06-26 07:06 | 33 | Unknown | 0 | 12.28 | 260 | 0.019 | ----- | ----- | ----- | ----- | 1 |  | 76 | 141.5716 | 87.396 | 132.5579 | 45.8529 | 116.0858 | -49.9597 | 139.4604 | 41.6892 | 141.5716 | 87.396 | 76 | FMI20240625_029.gcd | 2024-06-26 07:06 | 33 | Unknown | 0 | 2.843 | 1067189 | 0 | ----- | ----- | ----- | -----
77 | FMI20240625_030.gcd | 2024-06-26 07:37 | 49 | Unknown | 0 | 5.967 | 12199409 | 31.642 | ----- | ----- | ----- | ----- | 77 | FMI20240625_030.gcd | 2024-06-26 07:37 | 49 | Unknown | 0 | 5.921 | 90362 | 26.037 | ----- | ----- | ----- | ----- | 77 | FMI20240625_030.gcd | 2024-06-26 07:37 | 49 | Unknown | 0 | 12.082 | 87215 | 18.716 | ----- | ----- | ----- | ----- | 1 |  | 77 | 24076.6862 | 17258.9714 | 23291.0394 | 16547.969 | 22397.0069 | 17729.5237 | 21982.5472 | 19515.0514 | 24076.6862 | 17258.9714 | 77 | FMI20240625_030.gcd | 2024-06-26 07:37 | 49 | Unknown | 0 | 2.849 | 848523 | 0 | ----- | ----- | ----- | -----
78 | FMI20240625_031.gcd | 2024-06-26 08:08 | 45 | Unknown | 0 | 5.967 | 11888735 | 30.812 | ----- | ----- | ----- | ----- | 78 | FMI20240625_031.gcd | 2024-06-26 08:08 | 45 | Unknown | 0 | 5.921 | 87716 | 25.292 | ----- | ----- | ----- | ----- | 78 | FMI20240625_031.gcd | 2024-06-26 08:08 | 45 | Unknown | 0 | 12.082 | 87914 | 18.862 | ----- | ----- | ----- | ----- | 1 |  | 78 | 23358.0866 | 17400.2334 | 22622.0619 | 16679.6274 | 21752.312 | 17870.883 | 21313.2721 | 19683.187 | 23358.0866 | 17400.2334 | 78 | FMI20240625_031.gcd | 2024-06-26 08:08 | 45 | Unknown | 0 | 2.854 | 783771 | 0 | ----- | ----- | ----- | -----