## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240507_001.gcd | 2024-05-07 11:55 | QC outside air | Unknown | 0 | 6.033 | 2307 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI20240507_001.gcd | 2024-05-07 11:55 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240507_001.gcd | 2024-05-07 11:55 | QC outside air | Unknown | 0 | 12.22 | 2917 | 0.605 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.1522 | 631.5762 | 1.7962 | 553.734 | 0.89444 | 499.0268 | 4.6012 | 686.1471 | 2.1522 | 631.5762 | 48 | FMI20240507_001.gcd | 2024-05-07 11:55 | QC outside air | Unknown | 0 | 2.703 | 5149554 | 0 | ----- | ----- | ----- | -----
49 | FMI20240507_002.gcd | 2024-05-07 12:26 | QC spiked air | Unknown | 0 | 6.018 | 1055922 | 2.662 | ----- | ----- | ----- | ----- | 49 | FMI20240507_002.gcd | 2024-05-07 12:26 | QC spiked air | Unknown | 0 | 5.968 | 9402 | 2.798 | ----- | ----- | ----- | ----- | 49 | FMI20240507_002.gcd | 2024-05-07 12:26 | QC spiked air | Unknown | 0 | 12.208 | 7313 | 1.571 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2412.928 | 1530.0669 | 2694.9987 | 1393.518 | 2548.3211 | 1406.5323 | 2181.8502 | 1738.2598 | 2412.928 | 1530.0669 | 49 | FMI20240507_002.gcd | 2024-05-07 12:26 | QC spiked air | Unknown | 0 | 2.731 | 4866282 | 0 | ----- | ----- | ----- | -----
50 | FMI20240507_003.gcd | 2024-05-07 12:57 | QC reference tank | Unknown | 0 | 6.037 | 3398 | 0.005 | ----- | ----- | ----- | ----- | 50 | FMI20240507_003.gcd | 2024-05-07 12:57 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240507_003.gcd | 2024-05-07 12:57 | QC reference tank | Unknown | 0 | 12.255 | 1196 | 0.225 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.1841 | 279.1945 | 5.6064 | 224.7939 | 2.7097 | 143.4767 | 2.7636 | 269.4516 | 5.1841 | 279.1945 | 50 | FMI20240507_003.gcd | 2024-05-07 12:57 | QC reference tank | Unknown | 0 | 2.731 | 4954681 | 0 | ----- | ----- | ----- | -----
51 | FMI20240507_004.gcd | 2024-05-07 13:28 | 325 | Unknown | 0 | 6.024 | 3116 | 0.004 | ----- | ----- | ----- | ----- | 51 | FMI20240507_004.gcd | 2024-05-07 13:28 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240507_004.gcd | 2024-05-07 13:28 | 325 | Unknown | 0 | 12.129 | 73282 | 15.783 | ----- | ----- | ----- | ----- | 1 |  | 51 | 4.3873 | 14438.3295 | 4.6348 | 13920.3401 | 2.2073 | 14906.6406 | 3.1154 | 16155.3081 | 4.3873 | 14438.3295 | 51 | FMI20240507_004.gcd | 2024-05-07 13:28 | 325 | Unknown | 0 | 2.884 | 811144 | 0 | ----- | ----- | ----- | -----
52 | FMI20240507_005.gcd | 2024-05-07 13:58 | 41 | Unknown | 0 | 6.034 | 3172 | 0.005 | ----- | ----- | ----- | ----- | 52 | FMI20240507_005.gcd | 2024-05-07 13:58 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240507_005.gcd | 2024-05-07 13:58 | 41 | Unknown | 0 | 12.138 | 61936 | 13.377 | ----- | ----- | ----- | ----- | 1 |  | 52 | 4.5448 | 12134.5161 | 4.8285 | 11775.9307 | 2.3053 | 12600.5747 | 3.0387 | 13407.652 | 4.5448 | 12134.5161 | 52 | FMI20240507_005.gcd | 2024-05-07 13:58 | 41 | Unknown | 0 | 2.882 | 801620 | 0 | ----- | ----- | ----- | -----
53 | FMI20240507_007.gcd | 2024-05-07 15:34 | 183 | Unknown | 0 | 6.022 | 4025 | 0.007 | ----- | ----- | ----- | ----- | 53 | FMI20240507_007.gcd | 2024-05-07 15:34 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240507_007.gcd | 2024-05-07 15:34 | 183 | Unknown | 0 | 12.166 | 77252 | 16.621 | ----- | ----- | ----- | ----- | 1 |  | 53 | 6.988 | 15242.9796 | 7.7337 | 14669.6868 | 3.9094 | 15711.9883 | 2.2892 | 17114.2345 | 6.988 | 15242.9796 | 53 | FMI20240507_007.gcd | 2024-05-07 15:34 | 183 | Unknown | 0 | 2.874 | 1123264 | 0 | ----- | ----- | ----- | -----
54 | FMI20240507_008.gcd | 2024-05-07 16:05 | 140 | Unknown | 0 | 6.025 | 37120 | 0.09 | ----- | ----- | ----- | ----- | 54 | FMI20240507_008.gcd | 2024-05-07 16:05 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240507_008.gcd | 2024-05-07 16:05 | 140 | Unknown | 0 | 12.197 | 4303 | 0.91 | ----- | ----- | ----- | ----- | 1 |  | 54 | 102.8919 | 915.1078 | 97.2335 | 818.5745 | 84.5768 | 785.2576 | 100.3632 | 1019.7669 | 102.8919 | 915.1078 | 54 | FMI20240507_008.gcd | 2024-05-07 16:05 | 140 | Unknown | 0 | 2.868 | 1031648 | 0 | ----- | ----- | ----- | -----
55 | FMI20240507_009.gcd | 2024-05-07 16:36 | 340 | Unknown | 0 | 6.024 | 99611 | 0.247 | ----- | ----- | ----- | ----- | 55 | FMI20240507_009.gcd | 2024-05-07 16:36 | 340 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240507_009.gcd | 2024-05-07 16:36 | 340 | Unknown | 0 | 12.129 | 70453 | 15.184 | ----- | ----- | ----- | ----- | 1 |  | 55 | 281.5857 | 13864.478 | 260.8643 | 13386.0471 | 230.6175 | 14332.2634 | 277.0487 | 15471.1958 | 281.5857 | 13864.478 | 55 | FMI20240507_009.gcd | 2024-05-07 16:36 | 340 | Unknown | 0 | 2.873 | 953023 | 0 | ----- | ----- | ----- | -----
56 | FMI20240507_010.gcd | 2024-05-07 17:07 | 90 | Unknown | 0 | 6.029 | 44008 | 0.107 | ----- | ----- | ----- | ----- | 56 | FMI20240507_010.gcd | 2024-05-07 17:07 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240507_010.gcd | 2024-05-07 17:07 | 90 | Unknown | 0 | 12.203 | 5624 | 1.2 | ----- | ----- | ----- | ----- | 1 |  | 56 | 122.6989 | 1185.1286 | 115.3158 | 1070.9365 | 100.7048 | 1057.9736 | 120.4422 | 1336.1098 | 122.6989 | 1185.1286 | 56 | FMI20240507_010.gcd | 2024-05-07 17:07 | 90 | Unknown | 0 | 2.874 | 1002706 | 0 | ----- | ----- | ----- | -----
57 | FMI20240507_011.gcd | 2024-05-07 17:38 | 386 | Unknown | 0 | 6.076 | 2574 | 0.003 | ----- | ----- | ----- | ----- | 57 | FMI20240507_011.gcd | 2024-05-07 17:38 | 386 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240507_011.gcd | 2024-05-07 17:38 | 386 | Unknown | 0 | 12.129 | 75291 | 16.207 | ----- | ----- | ----- | ----- | 1 |  | 57 | 2.8816 | 14845.6136 | 2.7415 | 14299.6076 | 1.3067 | 15314.2836 | 4.0326 | 16640.7295 | 2.8816 | 14845.6136 | 57 | FMI20240507_011.gcd | 2024-05-07 17:38 | 386 | Unknown | 0 | 2.878 | 847063 | 0 | ----- | ----- | ----- | -----
58 | FMI20240507_012.gcd | 2024-05-07 18:08 | 108 | Unknown | 0 | 6.123 | 3267 | 0.005 | ----- | ----- | ----- | ----- | 58 | FMI20240507_012.gcd | 2024-05-07 18:08 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240507_012.gcd | 2024-05-07 18:08 | 108 | Unknown | 0 | 12.246 | 82628 | 17.752 | ----- | ----- | ----- | ----- | 1 |  | 58 | 4.8128 | 16331.3943 | 5.1562 | 15683.6023 | 2.4734 | 16801.2727 | 2.9163 | 18410.7155 | 4.8128 | 16331.3943 | 58 | FMI20240507_012.gcd | 2024-05-07 18:08 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | -----
59 | FMI20240507_013.gcd | 2024-05-07 18:39 | 94 | Unknown | 0 | 6.08 | 2852 | 0.004 | ----- | ----- | ----- | ----- | 59 | FMI20240507_013.gcd | 2024-05-07 18:39 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240507_013.gcd | 2024-05-07 18:39 | 94 | Unknown | 0 | 12.136 | 66203 | 14.284 | ----- | ----- | ----- | ----- | 1 |  | 59 | 3.6497 | 13001.6593 | 3.7168 | 12582.8907 | 1.758 | 13468.6101 | 3.5225 | 14442.2251 | 3.6497 | 13001.6593 | 59 | FMI20240507_013.gcd | 2024-05-07 18:39 | 94 | Unknown | 0 | 2.878 | 900044 | 0 | ----- | ----- | ----- | -----
60 | FMI20240507_014.gcd | 2024-05-07 19:10 | 397 | Unknown | 0 | 6.023 | 170370 | 0.426 | ----- | ----- | ----- | ----- | 60 | FMI20240507_014.gcd | 2024-05-07 19:10 | 397 | Unknown | 0 | 5.966 | 1425 | 0.455 | ----- | ----- | ----- | ----- | 60 | FMI20240507_014.gcd | 2024-05-07 19:10 | 397 | Unknown | 0 | 12.193 | 11696 | 2.533 | ----- | ----- | ----- | ----- | 1 |  | 60 | 481.1989 | 2423.5996 | 445.0046 | 2230.1929 | 395.221 | 2310.3722 | 462.242 | 2769.7112 | 481.1989 | 2423.5996 | 60 | FMI20240507_014.gcd | 2024-05-07 19:10 | 397 | Unknown | 0 | 2.87 | 989410 | 0 | ----- | ----- | ----- | -----
61 | FMI20240507_015.gcd | 2024-05-07 19:41 | 15 | Unknown | 0 | 6.025 | 105557 | 0.262 | ----- | ----- | ----- | ----- | 61 | FMI20240507_015.gcd | 2024-05-07 19:41 | 15 | Unknown | 0 | 5.991 | 426 | 0.161 | ----- | ----- | ----- | ----- | 61 | FMI20240507_015.gcd | 2024-05-07 19:41 | 15 | Unknown | 0 | 12.138 | 68703 | 14.813 | ----- | ----- | ----- | ----- | 1 |  | 61 | 298.4709 | 13509.3048 | 276.3845 | 13055.4067 | 244.4804 | 13976.7531 | 293.2186 | 15047.6809 | 298.4709 | 13509.3048 | 61 | FMI20240507_015.gcd | 2024-05-07 19:41 | 15 | Unknown | 0 | 2.874 | 947773 | 0 | ----- | ----- | ----- | -----
62 | FMI20240507_016.gcd | 2024-05-07 20:12 | 157 | Unknown | 0 | 6.025 | 171603 | 0.429 | ----- | ----- | ----- | ----- | 62 | FMI20240507_016.gcd | 2024-05-07 20:12 | 157 | Unknown | 0 | 5.981 | 1261 | 0.407 | ----- | ----- | ----- | ----- | 62 | FMI20240507_016.gcd | 2024-05-07 20:12 | 157 | Unknown | 0 | 12.199 | 11921 | 2.582 | ----- | ----- | ----- | ----- | 1 |  | 62 | 484.6516 | 2469.4068 | 448.2026 | 2273.1265 | 398.0821 | 2356.744 | 465.3291 | 2822.1875 | 484.6516 | 2469.4068 | 62 | FMI20240507_016.gcd | 2024-05-07 20:12 | 157 | Unknown | 0 | 2.874 | 981797 | 0 | ----- | ----- | ----- | -----
63 | FMI20240507_017.gcd | 2024-05-07 20:42 | 362 | Unknown | 0 | 6.028 | 27257 | 0.065 | ----- | ----- | ----- | ----- | 63 | FMI20240507_017.gcd | 2024-05-07 20:42 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20240507_017.gcd | 2024-05-07 20:42 | 362 | Unknown | 0 | 12.2 | 8388 | 1.807 | ----- | ----- | ----- | ----- | 1 |  | 63 | 74.4825 | 1749.4326 | 71.3213 | 1598.7836 | 61.4696 | 1628.304 | 71.3514 | 1992.8615 | 74.4825 | 1749.4326 | 63 | FMI20240507_017.gcd | 2024-05-07 20:42 | 362 | Unknown | 0 | 2.875 | 975346 | 0 | ----- | ----- | ----- | -----
64 | FMI20240507_018.gcd | 2024-05-07 21:13 | 278 | Unknown | 0 | 6.095 | 31874 | 0.077 | ----- | ----- | ----- | ----- | 64 | FMI20240507_018.gcd | 2024-05-07 21:13 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240507_018.gcd | 2024-05-07 21:13 | 278 | Unknown | 0 | 12.267 | 10680 | 2.31 | ----- | ----- | ----- | ----- | 1 |  | 64 | 87.7883 | 2216.6791 | 83.4541 | 2036.3033 | 72.2883 | 2100.9451 | 84.9704 | 2532.1761 | 87.7883 | 2216.6791 | 64 | FMI20240507_018.gcd | 2024-05-07 21:13 | 278 | Unknown | 0 | 2.941 | 1054683 | 0 | ----- | ----- | ----- | -----
65 | FMI20240507_019.gcd | 2024-05-07 21:44 | 172 | Unknown | 0 | 6.027 | 3403 | 0.005 | ----- | ----- | ----- | ----- | 65 | FMI20240507_019.gcd | 2024-05-07 21:44 | 172 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20240507_019.gcd | 2024-05-07 21:44 | 172 | Unknown | 0 | 12.142 | 58564 | 12.659 | ----- | ----- | ----- | ----- | 1 |  | 65 | 5.1983 | 11448.6365 | 5.6236 | 11137.8112 | 2.7188 | 11913.9518 | 2.7581 | 12589.0263 | 5.1983 | 11448.6365 | 65 | FMI20240507_019.gcd | 2024-05-07 21:44 | 172 | Unknown | 0 | 2.87 | 1033637 | 0 | ----- | ----- | ----- | -----
66 | FMI20240507_020.gcd | 2024-05-08 01:47 | 218 | Unknown | 0 | 6.042 | 10099 | 0.022 | ----- | ----- | ----- | ----- | 66 | FMI20240507_020.gcd | 2024-05-08 01:47 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20240507_020.gcd | 2024-05-08 01:47 | 218 | Unknown | 0 | 12.21 | 27267 | 5.928 | ----- | ----- | ----- | ----- | 1 |  | 66 | 24.9265 | 5579.3743 | 26.1874 | 5197.5033 | 21.2342 | 5513.4151 | 20.1504 | 6292.3225 | 24.9265 | 5579.3743 | 66 | FMI20240507_020.gcd | 2024-05-08 01:47 | 218 | Unknown | 0 | 2.873 | 971045 | 0 | ----- | ----- | ----- | -----
67 | FMI20240507_021.gcd | 2024-05-08 02:18 | 128 | Unknown | 0 | 6.028 | 17195 | 0.04 | ----- | ----- | ----- | ----- | 67 | FMI20240507_021.gcd | 2024-05-08 02:18 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240507_021.gcd | 2024-05-08 02:18 | 128 | Unknown | 0 | 12.197 | 3961 | 0.834 | ----- | ----- | ----- | ----- | 1 |  | 67 | 45.4419 | 845.1668 | 44.862 | 753.2301 | 37.88 | 714.6383 | 41.4381 | 937.608 | 45.4419 | 845.1668 | 67 | FMI20240507_021.gcd | 2024-05-08 02:18 | 128 | Unknown | 0 | 2.872 | 1038693 | 0 | ----- | ----- | ----- | -----
68 | FMI20240507_022.gcd | 2024-05-08 02:49 | 271 | Unknown | 0 | 6.029 | 45658 | 0.112 | ----- | ----- | ----- | ----- | 68 | FMI20240507_022.gcd | 2024-05-08 02:49 | 271 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20240507_022.gcd | 2024-05-08 02:49 | 271 | Unknown | 0 | 12.222 | 5100 | 1.085 | ----- | ----- | ----- | ----- | 2 | Extra peaks detected on GC. Not sure if this affects CO2 or CH4. | 68 | 127.4395 | 1078.0446 | 119.6457 | 970.8391 | 104.5671 | 949.8062 | 125.2298 | 1210.8168 | 127.4395 | 1078.0446 | 68 | FMI20240507_022.gcd | 2024-05-08 02:49 | 271 | Unknown | 0 | 2.863 | 1273998 | 0 | ----- | ----- | ----- | -----
69 | FMI20240507_023.gcd | 2024-05-08 03:20 | 229 | Unknown | 0 | 6.027 | 115373 | 0.287 | ----- | ----- | ----- | ----- | 69 | FMI20240507_023.gcd | 2024-05-08 03:20 | 229 | Unknown | 0 | 5.97 | 783 | 0.266 | ----- | ----- | ----- | ----- | 69 | FMI20240507_023.gcd | 2024-05-08 03:20 | 229 | Unknown | 0 | 12.16 | 41988 | 9.109 | ----- | ----- | ----- | ----- | 1 |  | 69 | 326.3011 | 8536.2131 | 301.9875 | 7995.5813 | 267.3537 | 8530.228 | 319.6687 | 9419.2513 | 326.3011 | 8536.2131 | 69 | FMI20240507_023.gcd | 2024-05-08 03:20 | 229 | Unknown | 0 | 2.872 | 986926 | 0 | ----- | ----- | ----- | -----
70 | FMI20240507_024.gcd | 2024-05-08 03:51 | 381 | Unknown | 0 | 6.061 | 52806 | 0.13 | ----- | ----- | ----- | ----- | 70 | FMI20240507_024.gcd | 2024-05-08 03:51 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240507_024.gcd | 2024-05-08 03:51 | 381 | Unknown | 0 | 12.222 | 6536 | 1.401 | ----- | ----- | ----- | ----- | 1 |  | 70 | 147.9583 | 1371.4254 | 138.3956 | 1245.1306 | 121.2939 | 1246.201 | 145.8712 | 1553.5797 | 147.9583 | 1371.4254 | 70 | FMI20240507_024.gcd | 2024-05-08 03:51 | 381 | Unknown | 0 | 2.896 | 1250312 | 0 | ----- | ----- | ----- | -----
71 | FMI20240507_025.gcd | 2024-05-08 04:22 | 273 | Unknown | 0 | 6.047 | 3903 | 0.006 | ----- | ----- | ----- | ----- | 71 | FMI20240507_025.gcd | 2024-05-08 04:22 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20240507_025.gcd | 2024-05-08 04:22 | 273 | Unknown | 0 | 12.145 | 58887 | 12.728 | ----- | ----- | ----- | ----- | 1 |  | 71 | 6.6335 | 11514.3598 | 7.3234 | 11198.9519 | 3.667 | 11979.7477 | 2.3482 | 12667.4818 | 6.6335 | 11514.3598 | 71 | FMI20240507_025.gcd | 2024-05-08 04:22 | 273 | Unknown | 0 | 2.855 | 1374813 | 0 | ----- | ----- | ----- | -----
72 | FMI20240507_026.gcd | 2024-05-08 04:53 | 242 | Unknown | 0 | 6.032 | 31902 | 0.077 | ----- | ----- | ----- | ----- | 72 | FMI20240507_026.gcd | 2024-05-08 04:53 | 242 | Unknown | 0 | 5.946 | 288 | 0.12 | ----- | ----- | ----- | ----- | 72 | FMI20240507_026.gcd | 2024-05-08 04:53 | 242 | Unknown | 0 | 12.2 | 10419 | 2.253 | ----- | ----- | ----- | ----- | 1 |  | 72 | 87.869 | 2163.5034 | 83.5276 | 1986.4897 | 72.3539 | 2047.137 | 85.0528 | 2471.0038 | 87.869 | 2163.5034 | 72 | FMI20240507_026.gcd | 2024-05-08 04:53 | 242 | Unknown | 0 | 2.861 | 1361394 | 0 | ----- | ----- | ----- | -----
73 | FMI20240507_027.gcd | 2024-05-08 05:23 | 315 | Unknown | 0 | 6.028 | 32496 | 0.078 | ----- | ----- | ----- | ----- | 73 | FMI20240507_027.gcd | 2024-05-08 05:23 | 315 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20240507_027.gcd | 2024-05-08 05:23 | 315 | Unknown | 0 | 12.2 | 12608 | 2.733 | ----- | ----- | ----- | ----- | 1 |  | 73 | 89.5799 | 2609.2341 | 85.0882 | 2404.2069 | 73.7456 | 2498.3169 | 86.8 | 2982.1296 | 89.5799 | 2609.2341 | 73 | FMI20240507_027.gcd | 2024-05-08 05:23 | 315 | Unknown | 0 | 2.86 | 1262374 | 0 | ----- | ----- | ----- | -----
74 | FMI20240507_028.gcd | 2024-05-08 05:54 | 227 | Unknown | 0 | 6.034 | 23665 | 0.056 | ----- | ----- | ----- | ----- | 74 | FMI20240507_028.gcd | 2024-05-08 05:54 | 227 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20240507_028.gcd | 2024-05-08 05:54 | 227 | Unknown | 0 | 12.211 | 2304 | 0.469 | ----- | ----- | ----- | ----- | 1 |  | 74 | 64.1221 | 506.1026 | 61.8785 | 436.5805 | 53.0503 | 372.4013 | 60.7094 | 538.0348 | 64.1221 | 506.1026 | 74 | FMI20240507_028.gcd | 2024-05-08 05:54 | 227 | Unknown | 0 | 2.878 | 1034786 | 0 | ----- | ----- | ----- | -----
75 | FMI20240507_029.gcd | 2024-05-08 06:25 | 234 | Unknown | 0 | 6.023 | 73826 | 0.182 | ----- | ----- | ----- | ----- | 75 | FMI20240507_029.gcd | 2024-05-08 06:25 | 234 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20240507_029.gcd | 2024-05-08 06:25 | 234 | Unknown | 0 | 12.162 | 40807 | 8.855 | ----- | ----- | ----- | ----- | 1 |  | 75 | 208.1265 | 8299.9554 | 193.4615 | 7771.3641 | 170.4345 | 8288.6107 | 205.6374 | 9175.6851 | 208.1265 | 8299.9554 | 75 | FMI20240507_029.gcd | 2024-05-08 06:25 | 234 | Unknown | 0 | 2.878 | 824608 | 0 | ----- | ----- | ----- | -----
77 | FMI20240507_rerun030.gcd | 2024-05-08 09:59 | 166 | Unknown | 0 | 6.06 | 29683 | 0.071 | ----- | ----- | ----- | ----- | 77 | FMI20240507_rerun030.gcd | 2024-05-08 09:59 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20240507_rerun030.gcd | 2024-05-08 09:59 | 166 | Unknown | 0 | 12.222 | 11448 | 2.479 | ----- | ----- | ----- | ----- | 2 | Not refrigerated. | 77 | 81.4756 | 2373.1028 | 77.6971 | 2182.8686 | 67.1547 | 2259.257 | 78.5159 | 2711.817 | 81.4756 | 2373.1028 | 77 | FMI20240507_rerun030.gcd | 2024-05-08 09:59 | 166 | Unknown | 0 | 2.856 | 2205063 | 0 | ----- | ----- | ----- | -----
78 | FMI20240507_rerun031.gcd | 2024-05-08 10:30 | 88 | Unknown | 0 | 6.024 | 27195 | 0.065 | ----- | ----- | ----- | ----- | 78 | FMI20240507_rerun031.gcd | 2024-05-08 10:30 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20240507_rerun031.gcd | 2024-05-08 10:30 | 88 | Unknown | 0 | 12.189 | 10859 | 2.35 | ----- | ----- | ----- | ----- | 2 | Not refrigerated. | 78 | 74.3037 | 2253.1435 | 71.1583 | 2070.4655 | 61.3243 | 2137.846 | 71.1681 | 2574.0937 | 74.3037 | 2253.1435 | 78 | FMI20240507_rerun031.gcd | 2024-05-08 10:30 | 88 | Unknown | 0 | 2.828 | 1897216 | 0 | ----- | ----- | ----- | -----
79 | FMI20240507_rerun032.gcd | 2024-05-08 11:01 | 238 | Unknown | 0 | 6.03 | 71462 | 0.177 | ----- | ----- | ----- | ----- | 79 | FMI20240507_rerun032.gcd | 2024-05-08 11:01 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | FMI20240507_rerun032.gcd | 2024-05-08 11:01 | 238 | Unknown | 0 | 12.158 | 46625 | 10.106 | ----- | ----- | ----- | ----- | 2 | Data from first injection not saved due to GC error. This is a re-sample, so headspace volume is different. | 79 | 201.3725 | 9015.7989 | 187.2739 | 8875.4945 | 164.9115 | 9478.2098 | 198.9854 | 9683.1004 | 201.3725 | 9015.7989 | 79 | FMI20240507_rerun032.gcd | 2024-05-08 11:01 | 238 resample | Unknown | 0 | 2.84 | 1755963 | 0 | ----- | ----- | ----- | -----