## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN01oct20_001.gcd | 2020-10-01 11:12 | air | Unknown | 0 | 6.089 | 2210 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN01oct20_001.gcd | 2020-10-01 11:12 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN01oct20_001.gcd | 2020-10-01 11:12 | air | Unknown | 0 | 12.23 | 1846 | 0.426 | ----- | ----- | ----- | ----- | 1 |  | 1.7108 | 376.8645
38 | BRN01oct20_002.gcd | 2020-10-01 11:43 | air + 100 | Unknown | 0 | 6.012 | 729248 | 1.085 | ----- | ----- | ----- | ----- | 38 | BRN01oct20_002.gcd | 2020-10-01 11:43 | air + 100 | Unknown | 0 | 5.966 | 5902 | 1.682 | ----- | ----- | ----- | ----- | 38 | BRN01oct20_002.gcd | 2020-10-01 11:43 | air + 100 | Unknown | 0 | 12.189 | 8687 | 1.356 | ----- | ----- | ----- | ----- | 1 |  | 1680.4042 | 1640.6629
39 | BRN01oct20_003.gcd | 2020-10-01 12:13 | 123 | Unknown | 0 | 6.083 | 2145 | 0.001 | ----- | ----- | ----- | ----- | 39 | BRN01oct20_003.gcd | 2020-10-01 12:13 | 123 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN01oct20_003.gcd | 2020-10-01 12:13 | 123 | Unknown | 0 | 12.2 | 258761 | 35.862 | ----- | ----- | ----- | ----- | 1 |  | 1.529 | 43806.2125
40 | BRN01oct20_004.gcd | 2020-10-01 12:44 | 145 | Unknown | 0 | 6.048 | 4429 | 0.005 | ----- | ----- | ----- | ----- | 40 | BRN01oct20_004.gcd | 2020-10-01 12:44 | 145 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN01oct20_004.gcd | 2020-10-01 12:44 | 145 | Unknown | 0 | 12.003 | 178993 | 24.74 | ----- | ----- | ----- | ----- | 1 |  | 8.0263 | 31209.0759
41 | BRN01oct20_005.gcd | 2020-10-01 13:14 | 50 | Unknown | 0 | 6.02 | 1135022 | 1.69 | ----- | ----- | ----- | ----- | 41 | BRN01oct20_005.gcd | 2020-10-01 13:14 | 50 | Unknown | 0 | 5.972 | 10177 | 2.468 | ----- | ----- | ----- | ----- | 41 | BRN01oct20_005.gcd | 2020-10-01 13:14 | 50 | Unknown | 0 | 12.099 | 75118 | 10.42 | ----- | ----- | ----- | ----- | 1 |  | 2492.4525 | 13607.514
42 | BRN01oct20_006.gcd | 2020-10-01 13:45 | 214 | Unknown | 0 | 6.076 | 2702 | 0.002 | ----- | ----- | ----- | ----- | 42 | BRN01oct20_006.gcd | 2020-10-01 13:45 | 214 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN01oct20_006.gcd | 2020-10-01 13:45 | 214 | Unknown | 0 | 12.163 | 5291 | 0.894 | ----- | ----- | ----- | ----- | 1 |  | 3.0931 | 1014.0242
43 | BRN01oct20_007.gcd | 2020-10-01 14:16 | 73 | Unknown | 0 | 6.084 | 2642 | 0.002 | ----- | ----- | ----- | ----- | 43 | BRN01oct20_007.gcd | 2020-10-01 14:16 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN01oct20_007.gcd | 2020-10-01 14:16 | 73 | Unknown | 0 | 11.996 | 190536 | 26.343 | ----- | ----- | ----- | ----- | 1 |  | 2.9239 | 33081.4044
44 | BRN01oct20_008.gcd | 2020-10-01 14:46 | 133 | Unknown | 0 | 6.057 | 4333 | 0.005 | ----- | ----- | ----- | ----- | 44 | BRN01oct20_008.gcd | 2020-10-01 14:46 | 133 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN01oct20_008.gcd | 2020-10-01 14:46 | 133 | Unknown | 0 | 12.015 | 167187 | 23.103 | ----- | ----- | ----- | ----- | 1 |  | 7.7487 | 29276.7846
45 | BRN01oct20_009.gcd | 2020-10-01 15:17 | 142 | Unknown | 0 | 6.022 | 205325 | 0.304 | ----- | ----- | ----- | ----- | 45 | BRN01oct20_009.gcd | 2020-10-01 15:17 | 142 | Unknown | 0 | 5.976 | 1733 | 0.916 | ----- | ----- | ----- | ----- | 45 | BRN01oct20_009.gcd | 2020-10-01 15:17 | 142 | Unknown | 0 | 12.156 | 23262 | 3.338 | ----- | ----- | ----- | ----- | 1 |  | 610.9864 | 4313.6387
46 | BRN01oct20_010.gcd | 2020-10-01 15:47 | 93 | Unknown | 0 | 6.083 | 3210 | 0.003 | ----- | ----- | ----- | ----- | 46 | BRN01oct20_010.gcd | 2020-10-01 15:47 | 93 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN01oct20_010.gcd | 2020-10-01 15:47 | 93 | Unknown | 0 | 12.164 | 5052 | 0.862 | ----- | ----- | ----- | ----- | 1 |  | 4.531 | 969.8687
47 | BRN01oct20_011.gcd | 2020-10-01 16:18 | 128 | Unknown | 0 | 6.033 | 17526 | 0.024 | ----- | ----- | ----- | ----- | 47 | BRN01oct20_011.gcd | 2020-10-01 16:18 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN01oct20_011.gcd | 2020-10-01 16:18 | 128 | Unknown | 0 | 12.15 | 8935 | 1.389 | ----- | ----- | ----- | ----- | 1 |  | 55.2687 | 1686.3678
48 | BRN01oct20_012.gcd | 2020-10-01 16:48 | 62 | Unknown | 0 | 6.026 | 144251 | 0.213 | ----- | ----- | ----- | ----- | 48 | BRN01oct20_012.gcd | 2020-10-01 16:48 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN01oct20_012.gcd | 2020-10-01 16:48 | 62 | Unknown | 0 | 12.16 | 23295 | 3.343 | ----- | ----- | ----- | ----- | 1 |  | 436.5788 | 4319.6604
49 | BRN01oct20_013.gcd | 2020-10-01 17:19 | 190 | Unknown | 0 | 6.024 | 16679 | 0.023 | ----- | ----- | ----- | ----- | 49 | BRN01oct20_013.gcd | 2020-10-01 17:19 | 190 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN01oct20_013.gcd | 2020-10-01 17:19 | 190 | Unknown | 0 | 12.149 | 10322 | 1.578 | ----- | ----- | ----- | ----- | 1 |  | 52.6319 | 1941.8411
50 | BRN01oct20_014.gcd | 2020-10-01 17:50 | 138 | Unknown | 0 | 6.033 | 15835 | 0.022 | ----- | ----- | ----- | ----- | 50 | BRN01oct20_014.gcd | 2020-10-01 17:50 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN01oct20_014.gcd | 2020-10-01 17:50 | 138 | Unknown | 0 | 12.167 | 11760 | 1.773 | ----- | ----- | ----- | ----- | 1 |  | 50.0033 | 2206.4531
51 | BRN01oct20_015.gcd | 2020-10-01 18:20 | 12 | Unknown | 0 | 6.079 | 2917 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN01oct20_015.gcd | 2020-10-01 18:20 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN01oct20_015.gcd | 2020-10-01 18:20 | 12 | Unknown | 0 | 12.02 | 163843 | 22.64 | ----- | ----- | ----- | ----- | 1 |  | 3.7003 | 28726.2911
52 | BRN01oct20_016.gcd | 2020-10-01 18:51 | 204 | Unknown | 0 | 6.087 | 2727 | 0.002 | ----- | ----- | ----- | ----- | 52 | BRN01oct20_016.gcd | 2020-10-01 18:51 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN01oct20_016.gcd | 2020-10-01 18:51 | 204 | Unknown | 0 | 12.026 | 154684 | 21.373 | ----- | ----- | ----- | ----- | 1 |  | 3.1636 | 27211.337
53 | BRN01oct20_017.gcd | 2020-10-01 19:21 | 188 | Unknown | 0 | 6.024 | 19184 | 0.027 | ----- | ----- | ----- | ----- | 53 | BRN01oct20_017.gcd | 2020-10-01 19:21 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN01oct20_017.gcd | 2020-10-01 19:21 | 188 | Unknown | 0 | 12.138 | 10245 | 1.567 | ----- | ----- | ----- | ----- | 1 |  | 60.4268 | 1927.6647
54 | BRN01oct20_018.gcd | 2020-10-01 19:52 | 22 | Unknown | 0 | 6.022 | 726012 | 1.08 | ----- | ----- | ----- | ----- | 54 | BRN01oct20_018.gcd | 2020-10-01 19:52 | 22 | Unknown | 0 | 5.974 | 6267 | 1.749 | ----- | ----- | ----- | ----- | 54 | BRN01oct20_018.gcd | 2020-10-01 19:52 | 22 | Unknown | 0 | 12.098 | 74309 | 10.309 | ----- | ----- | ----- | ----- | 1 |  | 1749.7323 | 13465.1135