## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN07jul20_001.gcd | 2020-07-07 10:49 | air | Unknown | 0 | 6.071 | 2693 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN07jul20_001.gcd | 2020-07-07 10:49 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN07jul20_001.gcd | 2020-07-07 10:49 | air | Unknown | 0 | 12.239 | 2284 | 0.486 | ----- | ----- | ----- | ----- | 3.0677 | 457.9562
38 | BRN07jul20_002.gcd | 2020-07-07 11:20 | air + 100 | Unknown | 0 | 6.01 | 800686 | 1.191 | ----- | ----- | ----- | ----- | 38 | BRN07jul20_002.gcd | 2020-07-07 11:20 | air + 100 | Unknown | 0 | 5.965 | 6961 | 1.876 | ----- | ----- | ----- | ----- | 38 | BRN07jul20_002.gcd | 2020-07-07 11:20 | air + 100 | Unknown | 0 | 12.185 | 9470 | 1.462 | ----- | ----- | ----- | ----- | 1881.5531 | 1784.9387
39 | BRN07jul20_003.gcd | 2020-07-07 11:50 | 29 | Unknown | 0 | 6.044 | 3394 | 0.003 | ----- | ----- | ----- | ----- | 39 | BRN07jul20_003.gcd | 2020-07-07 11:50 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN07jul20_003.gcd | 2020-07-07 11:50 | 29 | Unknown | 0 | 12.166 | 5061 | 0.863 | ----- | ----- | ----- | ----- | 5.0546 | 971.5316
40 | BRN07jul20_004.gcd | 2020-07-07 12:21 | 49 | Unknown | 0 | 6.02 | 40618 | 0.059 | ----- | ----- | ----- | ----- | 40 | BRN07jul20_004.gcd | 2020-07-07 12:21 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN07jul20_004.gcd | 2020-07-07 12:21 | 49 | Unknown | 0 | 12.147 | 26502 | 3.779 | ----- | ----- | ----- | ----- | 126.7048 | 4904.2139
41 | BRN07jul20_005.gcd | 2020-07-07 12:52 | 196 | Unknown | 0 | 6.015 | 43036 | 0.062 | ----- | ----- | ----- | ----- | 41 | BRN07jul20_005.gcd | 2020-07-07 12:52 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN07jul20_005.gcd | 2020-07-07 12:52 | 196 | Unknown | 0 | 12.128 | 26206 | 3.739 | ----- | ----- | ----- | ----- | 134.1346 | 4850.3148
42 | BRN07jul20_006.gcd | 2020-07-07 13:22 | 27 | Unknown | 0 | 6.04 | 5469 | 0.006 | ----- | ----- | ----- | ----- | 42 | BRN07jul20_006.gcd | 2020-07-07 13:22 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN07jul20_006.gcd | 2020-07-07 13:22 | 27 | Unknown | 0 | 12.173 | 5132 | 0.873 | ----- | ----- | ----- | ----- | 11.0582 | 984.6496
43 | BRN07jul20_007.gcd | 2020-07-07 13:53 | 136 | Unknown | 0 | 5.998 | 4633163 | 6.936 | ----- | ----- | ----- | ----- | 43 | BRN07jul20_007.gcd | 2020-07-07 13:53 | 136 | Unknown | 0 | 5.951 | 35554 | 7.142 | ----- | ----- | ----- | ----- | 43 | BRN07jul20_007.gcd | 2020-07-07 13:53 | 136 | Unknown | 0 | 12.032 | 113014 | 15.623 | ----- | ----- | ----- | ----- | 7315.3571 | 20185.9169
44 | BRN07jul20_008.gcd | 2020-07-07 14:23 | 201 | Unknown | 0 | 6.006 | 4727962 | 7.079 | ----- | ----- | ----- | ----- | 44 | BRN07jul20_008.gcd | 2020-07-07 14:23 | 201 | Unknown | 0 | 5.958 | 34977 | 7.035 | ----- | ----- | ----- | ----- | 44 | BRN07jul20_008.gcd | 2020-07-07 14:23 | 201 | Unknown | 0 | 12.056 | 106504 | 14.728 | ----- | ----- | ----- | ----- | 7205.6511 | 19068.6651
45 | BRN07jul20_009.gcd | 2020-07-07 14:54 | 82 | Unknown | 0 | 6.015 | 88777 | 0.13 | ----- | ----- | ----- | ----- | 45 | BRN07jul20_009.gcd | 2020-07-07 14:54 | 82 | Unknown | 0 | 5.934 | 616 | 0.711 | ----- | ----- | ----- | ----- | 45 | BRN07jul20_009.gcd | 2020-07-07 14:54 | 82 | Unknown | 0 | 12.162 | 5457 | 0.917 | ----- | ----- | ----- | ----- | 272.886 | 1044.6886
46 | BRN07jul20_010.gcd | 2020-07-07 15:24 | 42 | Unknown | 0 | 6.014 | 2651683 | 3.959 | ----- | ----- | ----- | ----- | 46 | BRN07jul20_010.gcd | 2020-07-07 15:24 | 42 | Unknown | 0 | 5.967 | 20638 | 4.393 | ----- | ----- | ----- | ----- | 46 | BRN07jul20_010.gcd | 2020-07-07 15:24 | 42 | Unknown | 0 | 12.091 | 80456 | 11.152 | ----- | ----- | ----- | ----- | 4480.0554 | 14545.0516
47 | BRN07jul20_011.gcd | 2020-07-07 15:55 | 50 | Unknown | 0 | 6.01 | 3431844 | 5.129 | ----- | ----- | ----- | ----- | 47 | BRN07jul20_011.gcd | 2020-07-07 15:55 | 50 | Unknown | 0 | 5.962 | 26133 | 5.405 | ----- | ----- | ----- | ----- | 47 | BRN07jul20_011.gcd | 2020-07-07 15:55 | 50 | Unknown | 0 | 12.089 | 83755 | 11.604 | ----- | ----- | ----- | ----- | 5524.4001 | 15122.6817
48 | BRN07jul20_012.gcd | 2020-07-07 16:26 | 2 | Unknown | 0 | 6.023 | 160660 | 0.237 | ----- | ----- | ----- | ----- | 48 | BRN07jul20_012.gcd | 2020-07-07 16:26 | 2 | Unknown | 0 | 5.959 | 1056 | 0.791 | ----- | ----- | ----- | ----- | 48 | BRN07jul20_012.gcd | 2020-07-07 16:26 | 2 | Unknown | 0 | 12.171 | 4309 | 0.761 | ----- | ----- | ----- | ----- | 484.0358 | 832.5531
49 | BRN07jul20_013.gcd | 2020-07-07 16:56 | 69 | Unknown | 0 | 6.011 | 4255423 | 6.367 | ----- | ----- | ----- | ----- | 49 | BRN07jul20_013.gcd | 2020-07-07 16:56 | 69 | Unknown | 0 | 5.963 | 32794 | 6.632 | ----- | ----- | ----- | ----- | 49 | BRN07jul20_013.gcd | 2020-07-07 16:56 | 69 | Unknown | 0 | 12.073 | 101702 | 14.068 | ----- | ----- | ----- | ----- | 6790.6134 | 18241.1321
50 | BRN07jul20_014.gcd | 2020-07-07 17:27 | 149 | Unknown | 0 | 6.021 | 106993 | 0.157 | ----- | ----- | ----- | ----- | 50 | BRN07jul20_014.gcd | 2020-07-07 17:27 | 149 | Unknown | 0 | 5.969 | 853 | 0.754 | ----- | ----- | ----- | ----- | 50 | BRN07jul20_014.gcd | 2020-07-07 17:27 | 149 | Unknown | 0 | 12.169 | 3968 | 0.715 | ----- | ----- | ----- | ----- | 327.1918 | 769.5089
51 | BRN07jul20_015.gcd | 2020-07-07 17:57 | 179 | Unknown | 0 | 6.011 | 3613973 | 5.403 | ----- | ----- | ----- | ----- | 51 | BRN07jul20_015.gcd | 2020-07-07 17:57 | 179 | Unknown | 0 | 5.963 | 28405 | 5.823 | ----- | ----- | ----- | ----- | 51 | BRN07jul20_015.gcd | 2020-07-07 17:57 | 179 | Unknown | 0 | 12.088 | 84477 | 11.703 | ----- | ----- | ----- | ----- | 5956.26 | 15248.9163
52 | BRN07jul20_016.gcd | 2020-07-07 18:28 | 69 | Unknown | 0 | 6.022 | 139316 | 0.206 | ----- | ----- | ----- | ----- | 52 | BRN07jul20_016.gcd | 2020-07-07 18:28 | 69 | Unknown | 0 | 5.968 | 953 | 0.772 | ----- | ----- | ----- | ----- | 52 | BRN07jul20_016.gcd | 2020-07-07 18:28 | 69 | Unknown | 0 | 12.157 | 16349 | 2.398 | ----- | ----- | ----- | ----- | 422.2202 | 3049.1568
53 | BRN07jul20_017.gcd | 2020-07-07 18:59 | 121 | Unknown | 0 | 6.022 | 63123 | 0.092 | ----- | ----- | ----- | ----- | 53 | BRN07jul20_017.gcd | 2020-07-07 18:59 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN07jul20_017.gcd | 2020-07-07 18:59 | 121 | Unknown | 0 | 12.175 | 3688 | 0.676 | ----- | ----- | ----- | ----- | 195.4874 | 717.7314
54 | BRN07jul20_018.gcd | 2020-07-07 19:29 | 44 | Unknown | 0 | 6.009 | 4537962 | 6.792 | ----- | ----- | ----- | ----- | 54 | BRN07jul20_018.gcd | 2020-07-07 19:29 | 44 | Unknown | 0 | 5.96 | 32759 | 6.626 | ----- | ----- | ----- | ----- | 54 | BRN07jul20_018.gcd | 2020-07-07 19:29 | 44 | Unknown | 0 | 12.072 | 101090 | 13.984 | ----- | ----- | ----- | ----- | 6783.9594 | 18135.4576
55 | BRN07jul20_019.gcd | 2020-07-07 20:00 | 134 | Unknown | 0 | 6.013 | 2823457 | 4.216 | ----- | ----- | ----- | ----- | 55 | BRN07jul20_019.gcd | 2020-07-07 20:00 | 134 | Unknown | 0 | 5.965 | 21046 | 4.468 | ----- | ----- | ----- | ----- | 55 | BRN07jul20_019.gcd | 2020-07-07 20:00 | 134 | Unknown | 0 | 12.093 | 81170 | 11.249 | ----- | ----- | ----- | ----- | 4557.5904 | 14670.1835
56 | BRN07jul20_020.gcd | 2020-07-07 20:30 | 14 | Unknown | 0 | 6.024 | 70231 | 0.103 | ----- | ----- | ----- | ----- | 56 | BRN07jul20_020.gcd | 2020-07-07 20:30 | 14 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN07jul20_020.gcd | 2020-07-07 20:30 | 14 | Unknown | 0 | 12.176 | 4401 | 0.773 | ----- | ----- | ----- | ----- | 217.04 | 849.5596