## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN11aug20_001.gcd | 2020-08-11 11:03 | air | Unknown | 0 | 6.082 | 2218 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN11aug20_001.gcd | 2020-08-11 11:03 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN11aug20_001.gcd | 2020-08-11 11:03 | air | Unknown | 0 | 12.208 | 1438 | 0.371 | ----- | ----- | ----- | ----- | 1 |  | 1.7332 | 301.3054
38 | BRN11aug20_002.gcd | 2020-08-11 11:33 | air = 100 | Unknown | 0 | 6.019 | 663627 | 0.987 | ----- | ----- | ----- | ----- | 38 | BRN11aug20_002.gcd | 2020-08-11 11:33 | air = 100 | Unknown | 0 | 5.978 | 5504 | 1.609 | ----- | ----- | ----- | ----- | 38 | BRN11aug20_002.gcd | 2020-08-11 11:33 | air = 100 | Unknown | 0 | 12.184 | 7535 | 1.199 | ----- | ----- | ----- | ----- | 1 |  | 1725.4675 | 1428.2552
39 | BRN11aug20_003.gcd | 2020-08-11 12:04 | 179 leaky | Unknown | 0 | 6.021 | 55612 | 0.081 | ----- | ----- | ----- | ----- | 39 | BRN11aug20_003.gcd | 2020-08-11 12:04 | 179 leaky | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN11aug20_003.gcd | 2020-08-11 12:04 | 179 leaky | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 pk | 172.6232 | BD
40 | BRN11aug20_004.gcd | 2020-08-11 12:34 | 121 | Unknown | 0 | 6.022 | 36117 | 0.052 | ----- | ----- | ----- | ----- | 40 | BRN11aug20_004.gcd | 2020-08-11 12:34 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN11aug20_004.gcd | 2020-08-11 12:34 | 121 | Unknown | 0 | 12.188 | 649 | 0.264 | ----- | ----- | ----- | ----- | 1 |  | 112.849 | 155.1282
41 | BRN11aug20_005.gcd | 2020-08-11 13:05 | 88 | Unknown | 0 | 6.063 | 1678 | 0.001 | ----- | ----- | ----- | ----- | 41 | BRN11aug20_005.gcd | 2020-08-11 13:05 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN11aug20_005.gcd | 2020-08-11 13:05 | 88 | Unknown | 0 | 12.021 | 157495 | 21.761 | ----- | ----- | ----- | ----- | 1 |  | 0.22782 | 27677.4135
42 | BRN11aug20_006.gcd | 2020-08-11 13:36 | 216 leaky | Unknown | 0 | 6.022 | 553865 | 0.823 | ----- | ----- | ----- | ----- | 42 | BRN11aug20_006.gcd | 2020-08-11 13:36 | 216 leaky | Unknown | 0 | 5.977 | 6079 | 1.714 | ----- | ----- | ----- | ----- | 42 | BRN11aug20_006.gcd | 2020-08-11 13:36 | 216 leaky | Unknown | 0 | 12.078 | 95237 | 13.179 | ----- | ----- | ----- | ----- | 1 |  | 1489.7774 | 17122.4405
43 | BRN11aug20_007.gcd | 2020-08-11 14:06 | 42 | Unknown | 0 | 6.032 | 1627966 | 2.426 | ----- | ----- | ----- | ----- | 43 | BRN11aug20_007.gcd | 2020-08-11 14:06 | 42 | Unknown | 0 | 5.98 | 13120 | 3.009 | ----- | ----- | ----- | ----- | 43 | BRN11aug20_007.gcd | 2020-08-11 14:06 | 42 | Unknown | 0 | 12.135 | 54429 | 7.589 | ----- | ----- | ----- | ----- | 1 |  | 3051.5535 | 9940.0095
44 | BRN11aug20_008.gcd | 2020-08-11 14:37 | 96 | Unknown | 0 | 6.014 | 431999 | 0.642 | ----- | ----- | ----- | ----- | 44 | BRN11aug20_008.gcd | 2020-08-11 14:37 | 96 | Unknown | 0 | 5.96 | 4614 | 1.445 | ----- | ----- | ----- | ----- | 44 | BRN11aug20_008.gcd | 2020-08-11 14:37 | 96 | Unknown | 0 | 12.065 | 99760 | 13.801 | ----- | ----- | ----- | ----- | 1 |  | 1205.0573 | 17905.6433
45 | BRN11aug20_009.gcd | 2020-08-11 15:07 | 039 leaky | Unknown | 0 | 6.022 | 124710 | 0.184 | ----- | ----- | ----- | ----- | 45 | BRN11aug20_009.gcd | 2020-08-11 15:07 | 039 leaky | Unknown | 0 | 5.967 | 1514 | 0.875 | ----- | ----- | ----- | ----- | 45 | BRN11aug20_009.gcd | 2020-08-11 15:07 | 039 leaky | Unknown | 0 | 12.042 | 132334 | 18.285 | ----- | ----- | ----- | ----- | 1 |  | 379.4903 | 23470.3073
46 | BRN11aug20_010.gcd | 2020-08-11 15:38 | 031 leaky | Unknown | 0 | 6.05 | 2405 | 0.002 | ----- | ----- | ----- | ----- | 46 | BRN11aug20_010.gcd | 2020-08-11 15:38 | 031 leaky | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN11aug20_010.gcd | 2020-08-11 15:38 | 031 leaky | Unknown | 0 | 12.027 | 156269 | 21.592 | ----- | ----- | ----- | ----- | 1 |  | 2.2574 | 27474.2592
47 | BRN11aug20_011.gcd | 2020-08-11 16:09 | 98 | Unknown | 0 | 6.054 | 2873 | 0.002 | ----- | ----- | ----- | ----- | 47 | BRN11aug20_011.gcd | 2020-08-11 16:09 | 98 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN11aug20_011.gcd | 2020-08-11 16:09 | 98 | Unknown | 0 | 12.033 | 133698 | 18.473 | ----- | ----- | ----- | ----- | 1 |  | 3.5759 | 23700.4157
48 | BRN11aug20_012.gcd | 2020-08-11 16:39 | 167 | Unknown | 0 | 6.067 | 1964 | 0.001 | ----- | ----- | ----- | ----- | 48 | BRN11aug20_012.gcd | 2020-08-11 16:39 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN11aug20_012.gcd | 2020-08-11 16:39 | 167 | Unknown | 0 | 12.03 | 150888 | 20.848 | ----- | ----- | ----- | ----- | 1 |  | 1.0236 | 26580.3688
49 | BRN11aug20_013.gcd | 2020-08-11 17:10 | 196 | Unknown | 0 | 6.023 | 64624 | 0.094 | ----- | ----- | ----- | ----- | 49 | BRN11aug20_013.gcd | 2020-08-11 17:10 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN11aug20_013.gcd | 2020-08-11 17:10 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 pk | 200.0455 | BD
50 | BRN11aug20_014.gcd | 2020-08-11 17:40 | 191 leaky | Unknown | 0 | 6.068 | 1844 | 0.001 | ----- | ----- | ----- | ----- | 50 | BRN11aug20_014.gcd | 2020-08-11 17:40 | 191 leaky | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN11aug20_014.gcd | 2020-08-11 17:40 | 191 leaky | Unknown | 0 | 12.026 | 156454 | 21.617 | ----- | ----- | ----- | ----- | 1 |  | 0.68928 | 27504.9267
51 | BRN11aug20_015.gcd | 2020-08-11 18:11 | 111 | Unknown | 0 | 6.01 | 1769019 | 2.637 | ----- | ----- | ----- | ----- | 51 | BRN11aug20_015.gcd | 2020-08-11 18:11 | 111 | Unknown | 0 | 5.96 | 14441 | 3.252 | ----- | ----- | ----- | ----- | 51 | BRN11aug20_015.gcd | 2020-08-11 18:11 | 111 | Unknown | 0 | 12.099 | 60784 | 8.458 | ----- | ----- | ----- | ----- | 1 |  | 3302.531 | 11072.2676
52 | BRN11aug20_016.gcd | 2020-08-11 18:42 | 206 | Unknown | 0 | 6.017 | 48572 | 0.07 | ----- | ----- | ----- | ----- | 52 | BRN11aug20_016.gcd | 2020-08-11 18:42 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN11aug20_016.gcd | 2020-08-11 18:42 | 206 | Unknown | 0 | 12.188 | 937 | 0.303 | ----- | ----- | ----- | ----- | 1 |  | 151.1092 | 208.4947