## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN14sep20_001.gcd | 2020-09-14 11:35 | air | Unknown | 0 | 6.08 | 2315 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN14sep20_001.gcd | 2020-09-14 11:35 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN14sep20_001.gcd | 2020-09-14 11:35 | air | Unknown | 0 | 12.195 | 2142 | 0.466 | ----- | ----- | ----- | ----- | 1 |  | 2.005 | 431.6688
38 | BRN14sep20_002.gcd | 2020-09-14 12:06 | air + 100 | Unknown | 0 | 6.009 | 864537 | 1.286 | ----- | ----- | ----- | ----- | 38 | BRN14sep20_002.gcd | 2020-09-14 12:06 | air + 100 | Unknown | 0 | 5.962 | 6223 | 1.741 | ----- | ----- | ----- | ----- | 38 | BRN14sep20_002.gcd | 2020-09-14 12:06 | air + 100 | Unknown | 0 | 12.171 | 9207 | 1.426 | ----- | ----- | ----- | ----- | 1 |  | 1741.3749 | 1736.4869
39 | BRN14sep20_003.gcd | 2020-09-14 12:37 | 131 | Unknown | 0 | 6.028 | 7979 | 0.01 | ----- | ----- | ----- | ----- | 39 | BRN14sep20_003.gcd | 2020-09-14 12:37 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN14sep20_003.gcd | 2020-09-14 12:37 | 131 | Unknown | 0 | 11.995 | 172341 | 23.818 | ----- | ----- | ----- | ----- | 1 |  | 18.5651 | 30122.4932
40 | BRN14sep20_004.gcd | 2020-09-14 13:07 | 134 | Unknown | 0 | 6.058 | 2633 | 0.002 | ----- | ----- | ----- | ----- | 40 | BRN14sep20_004.gcd | 2020-09-14 13:07 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN14sep20_004.gcd | 2020-09-14 13:07 | 134 | Unknown | 0 | 12.003 | 153883 | 21.262 | ----- | ----- | ----- | ----- | 1 |  | 2.8986 | 27078.346
41 | BRN14sep20_005.gcd | 2020-09-14 13:38 | 189 | Unknown | 0 | 6.007 | 105034 | 0.155 | ----- | ----- | ----- | ----- | 41 | BRN14sep20_005.gcd | 2020-09-14 13:38 | 189 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN14sep20_005.gcd | 2020-09-14 13:38 | 189 | Unknown | 0 | 11.988 | 159167 | 21.993 | ----- | ----- | ----- | ----- | 1 |  | 321.3776 | 27954.1682
42 | BRN14sep20_006.gcd | 2020-09-14 14:08 | 29 | Unknown | 0 | 6.071 | 2056 | 0.001 | ----- | ----- | ----- | ----- | 42 | BRN14sep20_006.gcd | 2020-09-14 14:08 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN14sep20_006.gcd | 2020-09-14 14:08 | 29 | Unknown | 0 | 11.984 | 180777 | 24.988 | ----- | ----- | ----- | ----- | 1 |  | 1.2803 | 31499.5419
43 | BRN14sep20_007.gcd | 2020-09-14 14:39 | 148 | Unknown | 0 | 6.018 | 33889 | 0.049 | ----- | ----- | ----- | ----- | 43 | BRN14sep20_007.gcd | 2020-09-14 14:39 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN14sep20_007.gcd | 2020-09-14 14:39 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 105.9782 | bd
44 | BRN14sep20_008.gcd | 2020-09-14 15:09 | 30 | Unknown | 0 | 6.02 | 24274 | 0.034 | ----- | ----- | ----- | ----- | 44 | BRN14sep20_008.gcd | 2020-09-14 15:09 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN14sep20_008.gcd | 2020-09-14 15:09 | 30 | Unknown | 0 | 12.172 | 611 | 0.259 | ----- | ----- | ----- | ----- | 1 |  | 76.2339 | 148.086
45 | BRN14sep20_009.gcd | 2020-09-14 15:40 | 17 | Unknown | 0 | 6.019 | 39791 | 0.057 | ----- | ----- | ----- | ----- | 45 | BRN14sep20_009.gcd | 2020-09-14 15:40 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN14sep20_009.gcd | 2020-09-14 15:40 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 124.1614 | bd
46 | BRN14sep20_010.gcd | 2020-09-14 16:11 | 69 | Unknown | 0 | 6.029 | 8205 | 0.01 | ----- | ----- | ----- | ----- | 46 | BRN14sep20_010.gcd | 2020-09-14 16:11 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN14sep20_010.gcd | 2020-09-14 16:11 | 69 | Unknown | 0 | 12.005 | 154501 | 21.347 | ----- | ----- | ----- | ----- | 1 |  | 19.2541 | 27180.9604
47 | BRN14sep20_011.gcd | 2020-09-14 16:41 | 46 | Unknown | 0 | 6.003 | 2015266 | 3.006 | ----- | ----- | ----- | ----- | 47 | BRN14sep20_011.gcd | 2020-09-14 16:41 | 46 | Unknown | 0 | 5.956 | 16062 | 3.55 | ----- | ----- | ----- | ----- | 47 | BRN14sep20_011.gcd | 2020-09-14 16:41 | 46 | Unknown | 0 | 12.071 | 74401 | 10.322 | ----- | ----- | ----- | ----- | 1 |  | 3610.5213 | 13481.3115
48 | BRN14sep20_012.gcd | 2020-09-14 17:12 | 92 | Unknown | 0 | 6.013 | 25226 | 0.036 | ----- | ----- | ----- | ----- | 48 | BRN14sep20_012.gcd | 2020-09-14 17:12 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN14sep20_012.gcd | 2020-09-14 17:12 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 79.1857 | bd
49 | BRN14sep20_013.gcd | 2020-09-14 17:42 | 192 | Unknown | 0 | 6.004 | 1924735 | 2.87 | ----- | ----- | ----- | ----- | 49 | BRN14sep20_013.gcd | 2020-09-14 17:42 | 192 | Unknown | 0 | 5.957 | 15489 | 3.445 | ----- | ----- | ----- | ----- | 49 | BRN14sep20_013.gcd | 2020-09-14 17:42 | 192 | Unknown | 0 | 12.073 | 74670 | 10.359 | ----- | ----- | ----- | ----- | 1 |  | 3501.6492 | 13528.667
50 | BRN14sep20_014.gcd | 2020-09-14 18:13 | 151 | Unknown | 0 | 6.026 | 15678 | 0.021 | ----- | ----- | ----- | ----- | 50 | BRN14sep20_014.gcd | 2020-09-14 18:13 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN14sep20_014.gcd | 2020-09-14 18:13 | 151 | Unknown | 0 | 12.017 | 147742 | 20.413 | ----- | ----- | ----- | ----- | 1 |  | 49.5142 | 26056.0722
51 | BRN14sep20_015.gcd | 2020-09-14 18:44 | 163 | Unknown | 0 | 6.074 | 1940 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN14sep20_015.gcd | 2020-09-14 18:44 | 163 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN14sep20_015.gcd | 2020-09-14 18:44 | 163 | Unknown | 0 | 12.025 | 137043 | 18.935 | ----- | ----- | ----- | ----- | 1 |  | 0.95668 | 24263.7324
52 | BRN14sep20_016.gcd | 2020-09-14 19:14 | 212 | Unknown | 0 | 6.072 | 1825 | 0.001 | ----- | ----- | ----- | ----- | 52 | BRN14sep20_016.gcd | 2020-09-14 19:14 | 212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN14sep20_016.gcd | 2020-09-14 19:14 | 212 | Unknown | 0 | 12.018 | 145903 | 20.159 | ----- | ----- | ----- | ----- | 1 |  | 0.6364 | 25749.0182