## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN21aug20_001.gcd | 2020-08-21 11:49 | air | Unknown | 0 | 6.07 | 2583 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN21aug20_001.gcd | 2020-08-21 11:49 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN21aug20_001.gcd | 2020-08-21 11:49 | air | Unknown | 0 | 12.212 | 2063 | 0.456 | ----- | ----- | ----- | ----- | 1 |  | 2.7578 | 417.0431
38 | BRN21aug20_002.gcd | 2020-08-21 12:20 | air + 100 | Unknown | 0 | 6.014 | 634367 | 0.943 | ----- | ----- | ----- | ----- | 38 | BRN21aug20_002.gcd | 2020-08-21 12:20 | air + 100 | Unknown | 0 | 5.968 | 4850 | 1.488 | ----- | ----- | ----- | ----- | 38 | BRN21aug20_002.gcd | 2020-08-21 12:20 | air + 100 | Unknown | 0 | 12.175 | 8043 | 1.268 | ----- | ----- | ----- | ----- | 1 |  | 1664.5605 | 1521.9416
39 | BRN21aug20_003.gcd | 2020-08-21 12:50 | 37 | Unknown | 0 | 6.015 | 38135 | 0.055 | ----- | ----- | ----- | ----- | 39 | BRN21aug20_003.gcd | 2020-08-21 12:50 | 37 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN21aug20_003.gcd | 2020-08-21 12:50 | 37 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 3 | CO2 peak coming off hump-hard to integrate | 119.0653 | #VALUE!
40 | BRN21aug20_004.gcd | 2020-08-21 13:21 | 153 | Unknown | 0 | 5.912 | 43340214 | 68.533 | ----- | ----- | ----- | ----- | 40 | BRN21aug20_004.gcd | 2020-08-21 13:21 | 153 | Unknown | 0 | 5.865 | 330587 | 62.591 | ----- | ----- | ----- | ----- | 40 | BRN21aug20_004.gcd | 2020-08-21 13:21 | 153 | Unknown | 0 | 12.104 | 51750 | 7.223 | ----- | ----- | ----- | ----- | 1 |  | 63696.9816 | 9461.178
41 | BRN21aug20_005.gcd | 2020-08-21 13:51 | 183 | Unknown | 0 | 6.02 | 31716 | 0.045 | ----- | ----- | ----- | ----- | 41 | BRN21aug20_005.gcd | 2020-08-21 13:51 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN21aug20_005.gcd | 2020-08-21 13:51 | 183 | Unknown | 0 | 12.153 | 4502 | 0.787 | ----- | ----- | ----- | ----- | 1 |  | 99.2691 | 868.2286
42 | BRN21aug20_006.gcd | 2020-08-21 14:22 | 75 | Unknown | 0 | 5.914 | 42497554 | 67.114 | ----- | ----- | ----- | ----- | 42 | BRN21aug20_006.gcd | 2020-08-21 14:22 | 75 | Unknown | 0 | 5.867 | 326289 | 61.768 | ----- | ----- | ----- | ----- | 42 | BRN21aug20_006.gcd | 2020-08-21 14:22 | 75 | Unknown | 0 | 12.085 | 61696 | 8.583 | ----- | ----- | ----- | ----- | 1 |  | 62871.517 | 11234.3409
43 | BRN21aug20_007.gcd | 2020-08-21 14:52 | 12 | Unknown | 0 | 6.018 | 80325 | 0.118 | ----- | ----- | ----- | ----- | 43 | BRN21aug20_007.gcd | 2020-08-21 14:52 | 12 | Unknown | 0 | 5.977 | 674 | 0.721 | ----- | ----- | ----- | ----- | 43 | BRN21aug20_007.gcd | 2020-08-21 14:52 | 12 | Unknown | 0 | 12.152 | 2590 | 0.527 | ----- | ----- | ----- | ----- | 1 |  | 247.5048 | 514.5949
44 | BRN21aug20_008.gcd | 2020-08-21 15:23 | 81 | Unknown | 0 | 6.02 | 26783 | 0.038 | ----- | ----- | ----- | ----- | 44 | BRN21aug20_008.gcd | 2020-08-21 15:23 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN21aug20_008.gcd | 2020-08-21 15:23 | 81 | Unknown | 0 | 12.151 | 4267 | 0.755 | ----- | ----- | ----- | ----- | 1 |  | 84.0101 | 824.7889
45 | BRN21aug20_009.gcd | 2020-08-21 15:54 | 25 | Unknown | 0 | 6.007 | 3099000 | 4.629 | ----- | ----- | ----- | ----- | 45 | BRN21aug20_009.gcd | 2020-08-21 15:54 | 25 | Unknown | 0 | 5.96 | 23577 | 4.934 | ----- | ----- | ----- | ----- | 45 | BRN21aug20_009.gcd | 2020-08-21 15:54 | 25 | Unknown | 0 | 12.093 | 60413 | 8.407 | ----- | ----- | ----- | ----- | 1 |  | 5038.5983 | 11006.3066
46 | BRN21aug20_010.gcd | 2020-08-21 16:24 | 171 | Unknown | 0 | 5.94 | 33209543 | 51.722 | ----- | ----- | ----- | ----- | 46 | BRN21aug20_010.gcd | 2020-08-21 16:24 | 171 | Unknown | 0 | 5.891 | 251066 | 47.438 | ----- | ----- | ----- | ----- | 46 | BRN21aug20_010.gcd | 2020-08-21 16:24 | 171 | Unknown | 0 | 12.076 | 84418 | 11.695 | ----- | ----- | ----- | ----- | 1 |  | 48444.0005 | 15238.6032
47 | BRN21aug20_011.gcd | 2020-08-21 16:55 | 68 | Unknown | 0 | 6.005 | 3205018 | 4.788 | ----- | ----- | ----- | ----- | 47 | BRN21aug20_011.gcd | 2020-08-21 16:55 | 68 | Unknown | 0 | 5.956 | 23989 | 5.01 | ----- | ----- | ----- | ----- | 47 | BRN21aug20_011.gcd | 2020-08-21 16:55 | 68 | Unknown | 0 | 12.093 | 62458 | 8.687 | ----- | ----- | ----- | ----- | 1 |  | 5116.9015 | 11369.6773
48 | BRN21aug20_012.gcd | 2020-08-21 17:25 | 158 | Unknown | 0 | 5.939 | 33304483 | 51.877 | ----- | ----- | ----- | ----- | 48 | BRN21aug20_012.gcd | 2020-08-21 17:25 | 158 | Unknown | 0 | 5.89 | 250915 | 47.409 | ----- | ----- | ----- | ----- | 48 | BRN21aug20_012.gcd | 2020-08-21 17:25 | 158 | Unknown | 0 | 12.073 | 83284 | 11.539 | ----- | ----- | ----- | ----- | 1 |  | 48415.0766 | 15040.2968