## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
37 | BRN21jul20_001.gcd | 2020-07-21 10:06 | air | Unknown | 0 | 6.072 | 2158 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN21jul20_001.gcd | 2020-07-21 10:06 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN21jul20_001.gcd | 2020-07-21 10:06 | air | Unknown | 0 | 12.212 | 2436 | 0.506 | ----- | ----- | ----- | ----- | 1.5654 | 486.0919
38 | BRN21jul20_002.gcd | 2020-07-21 10:36 | air + 100 | Unknown | 0 | 6.015 | 684768 | 1.018 | ----- | ----- | ----- | ----- | 38 | BRN21jul20_002.gcd | 2020-07-21 10:36 | air + 100 | Unknown | 0 | 5.967 | 7540 | 1.983 | ----- | ----- | ----- | ----- | 38 | BRN21jul20_002.gcd | 2020-07-21 10:36 | air + 100 | Unknown | 0 | 12.17 | 8198 | 1.289 | ----- | ----- | ----- | ----- | 1768.6044 | 1550.5206
39 | BRN21jul20_003.gcd | 2020-07-21 11:07 | 15 | Unknown | 0 | 6.013 | 2015033 | 3.005 | ----- | ----- | ----- | ----- | 39 | BRN21jul20_003.gcd | 2020-07-21 11:07 | 15 | Unknown | 0 | 5.966 | 18022 | 3.911 | ----- | ----- | ----- | ----- | 39 | BRN21jul20_003.gcd | 2020-07-21 11:07 | 15 | Unknown | 0 | 12.088 | 82155 | 11.384 | ----- | ----- | ----- | ----- | 3982.9447 | 14842.7044
40 | BRN21jul20_004.gcd | 2020-07-21 11:38 | 138 | Unknown | 0 | 6.035 | 3795 | 0.004 | ----- | ----- | ----- | ----- | 40 | BRN21jul20_004.gcd | 2020-07-21 11:38 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN21jul20_004.gcd | 2020-07-21 11:38 | 138 | Unknown | 0 | 12.164 | 5670 | 0.946 | ----- | ----- | ----- | ----- | 6.2005 | 1084.03
41 | BRN21jul20_005.gcd | 2020-07-21 12:08 | 151 | Unknown | 0 | 6.003 | 2088703 | 3.115 | ----- | ----- | ----- | ----- | 41 | BRN21jul20_005.gcd | 2020-07-21 12:08 | 151 | Unknown | 0 | 5.955 | 16073 | 3.552 | ----- | ----- | ----- | ----- | 41 | BRN21jul20_005.gcd | 2020-07-21 12:08 | 151 | Unknown | 0 | 12.074 | 81054 | 11.233 | ----- | ----- | ----- | ----- | 3612.6114 | 14649.8583
42 | BRN21jul20_006.gcd | 2020-07-21 12:39 | 41 | Unknown | 0 | 6.018 | 39471 | 0.057 | ----- | ----- | ----- | ----- | 42 | BRN21jul20_006.gcd | 2020-07-21 12:39 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN21jul20_006.gcd | 2020-07-21 12:39 | 41 | Unknown | 0 | 12.184 | 1518 | 0.382 | ----- | ----- | ----- | ----- | 123.177 | 316.1226
43 | BRN21jul20_007.gcd | 2020-07-21 13:10 | 96 | Unknown | 0 | 6.011 | 40291 | 0.058 | ----- | ----- | ----- | ----- | 43 | BRN21jul20_007.gcd | 2020-07-21 13:10 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN21jul20_007.gcd | 2020-07-21 13:10 | 96 | Unknown | 0 | 12.169 | 1304 | 0.353 | ----- | ----- | ----- | ----- | 125.6992 | 276.4849
44 | BRN21jul20_008.gcd | 2020-07-21 13:40 | 132 | Unknown | 0 | 6.013 | 25867 | 0.037 | ----- | ----- | ----- | ----- | 44 | BRN21jul20_008.gcd | 2020-07-21 13:40 | 132 | Unknown | 0 | 5.954 | 619 | 0.711 | ----- | ----- | ----- | ----- | 44 | BRN21jul20_008.gcd | 2020-07-21 13:40 | 132 | Unknown | 0 | 12.116 | 43940 | 6.157 | ----- | ----- | ----- | ----- | 81.1723 | 8060.1145
45 | BRN21jul20_009.gcd | 2020-07-21 14:11 | 188 | Unknown | 0 | 6.006 | 4478805 | 6.703 | ----- | ----- | ----- | ----- | 45 | BRN21jul20_009.gcd | 2020-07-21 14:11 | 188 | Unknown | 0 | 5.957 | 35631 | 7.156 | ----- | ----- | ----- | ----- | 45 | BRN21jul20_009.gcd | 2020-07-21 14:11 | 188 | Unknown | 0 | 12.031 | 143778 | 19.865 | ----- | ----- | ----- | ----- | 7329.9974 | 25393.6826
46 | BRN21jul20_010.gcd | 2020-07-21 14:41 | 206 | Unknown | 0 | 6.01 | 2299113 | 3.43 | ----- | ----- | ----- | ----- | 46 | BRN21jul20_010.gcd | 2020-07-21 14:41 | 206 | Unknown | 0 | 5.963 | 20292 | 4.329 | ----- | ----- | ----- | ----- | 46 | BRN21jul20_010.gcd | 2020-07-21 14:41 | 206 | Unknown | 0 | 12.076 | 84866 | 11.756 | ----- | ----- | ----- | ----- | 4414.3034 | 15316.9019
47 | BRN21jul20_011.gcd | 2020-07-21 15:12 | 98 | Unknown | 0 | 6.018 | 140163 | 0.207 | ----- | ----- | ----- | ----- | 47 | BRN21jul20_011.gcd | 2020-07-21 15:12 | 98 | Unknown | 0 | 5.933 | 742 | 0.734 | ----- | ----- | ----- | ----- | 47 | BRN21jul20_011.gcd | 2020-07-21 15:12 | 98 | Unknown | 0 | 12.15 | 17981 | 2.62 | ----- | ----- | ----- | ----- | 424.6874 | 3348.2128
48 | BRN21jul20_012.gcd | 2020-07-21 15:43 | 168 | Unknown | 0 | 6.005 | 4570771 | 6.842 | ----- | ----- | ----- | ----- | 48 | BRN21jul20_012.gcd | 2020-07-21 15:43 | 168 | Unknown | 0 | 5.956 | 33346 | 6.734 | ----- | ----- | ----- | ----- | 48 | BRN21jul20_012.gcd | 2020-07-21 15:43 | 168 | Unknown | 0 | 12.027 | 142561 | 19.697 | ----- | ----- | ----- | ----- | 6895.5582 | 25189.9246
49 | BRN21jul20_013.gcd | 2020-07-21 16:13 | 87 | Unknown | 0 | 6.007 | 3695746 | 5.525 | ----- | ----- | ----- | ----- | 49 | BRN21jul20_013.gcd | 2020-07-21 16:13 | 87 | Unknown | 0 | 5.959 | 27289 | 5.618 | ----- | ----- | ----- | ----- | 49 | BRN21jul20_013.gcd | 2020-07-21 16:13 | 87 | Unknown | 0 | 12.054 | 112280 | 15.522 | ----- | ----- | ----- | ----- | 5744.1274 | 20060.2133
50 | BRN21jul20_014.gcd | 2020-07-21 16:44 | 131 | Unknown | 0 | 6.01 | 3690130 | 5.517 | ----- | ----- | ----- | ----- | 50 | BRN21jul20_014.gcd | 2020-07-21 16:44 | 131 | Unknown | 0 | 5.962 | 28504 | 5.842 | ----- | ----- | ----- | ----- | 50 | BRN21jul20_014.gcd | 2020-07-21 16:44 | 131 | Unknown | 0 | 12.055 | 113084 | 15.633 | ----- | ----- | ----- | ----- | 5975.0786 | 20197.9014
51 | BRN21jul20_015.gcd | 2020-07-21 17:14 | 214 | Unknown | 0 | 6.022 | 125414 | 0.185 | ----- | ----- | ----- | ----- | 51 | BRN21jul20_015.gcd | 2020-07-21 17:14 | 214 | Unknown | 0 | 5.976 | 993 | 0.78 | ----- | ----- | ----- | ----- | 51 | BRN21jul20_015.gcd | 2020-07-21 17:14 | 214 | Unknown | 0 | 12.151 | 17020 | 2.489 | ----- | ----- | ----- | ----- | 381.5578 | 3172.1548
52 | BRN21jul20_016.gcd | 2020-07-21 17:45 | 166 | Unknown | 0 | 6.016 | 1159107 | 1.726 | ----- | ----- | ----- | ----- | 52 | BRN21jul20_016.gcd | 2020-07-21 17:45 | 166 | Unknown | 0 | 5.972 | 9431 | 2.331 | ----- | ----- | ----- | ----- | 52 | BRN21jul20_016.gcd | 2020-07-21 17:45 | 166 | Unknown | 0 | 12.107 | 65839 | 9.15 | ----- | ----- | ----- | ----- | 2350.7391 | 11969.2868
53 | BRN21jul20_017.gcd | 2020-07-21 18:16 | 212 | Unknown | 0 | 6.021 | 32835 | 0.047 | ----- | ----- | ----- | ----- | 53 | BRN21jul20_017.gcd | 2020-07-21 18:16 | 212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN21jul20_017.gcd | 2020-07-21 18:16 | 212 | Unknown | 0 | 12.143 | 954 | 0.305 | ----- | ----- | ----- | ----- | 102.725 | 211.6445
54 | BRN21jul20_018.gcd | 2020-07-21 18:46 | 92 | Unknown | 0 | 6.05 | 2810 | 0.002 | ----- | ----- | ----- | ----- | 54 | BRN21jul20_018.gcd | 2020-07-21 18:46 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN21jul20_018.gcd | 2020-07-21 18:46 | 92 | Unknown | 0 | 12.173 | 8798 | 1.371 | ----- | ----- | ----- | ----- | 3.3978 | 1661.1205
55 | BRN21jul20_019.gcd | 2020-07-21 19:17 | leaky vial 030 | Unknown | 0 | 6.021 | 41775 | 0.06 | ----- | ----- | ----- | ----- | 55 | BRN21jul20_019.gcd | 2020-07-21 19:17 | leaky vial 030 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN21jul20_019.gcd | 2020-07-21 19:17 | leaky vial 030 | Unknown | 0 | 12.117 | 389 | 0.228 | ----- | ----- | ----- | ----- | 130.2611 | 106.9411
56 | BRN21jul20_020.gcd | 2020-07-21 19:48 | leaky vial 194 | Unknown | 0 | 6.025 | 23256 | 0.033 | ----- | ----- | ----- | ----- | 56 | BRN21jul20_020.gcd | 2020-07-21 19:48 | leaky vial 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN21jul20_020.gcd | 2020-07-21 19:48 | leaky vial 194 | Unknown | 0 | 12.132 | 42362 | 5.942 | ----- | ----- | ----- | ----- | 73.0759 | 7776.1016