## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN22sep20_001.gcd | 2020-09-22 10:34 | air | Unknown | 0 | 6.095 | 2370 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN22sep20_001.gcd | 2020-09-22 10:34 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN22sep20_001.gcd | 2020-09-22 10:34 | air | Unknown | 0 | 12.251 | 2572 | 0.525 | ----- | ----- | ----- | ----- | 1 |  | 2.1592 | 511.2636
38 | BRN22sep20_002.gcd | 2020-09-22 11:05 | air + 100 | Unknown | 0 | 6.02 | 982195 | 1.462 | ----- | ----- | ----- | ----- | 38 | BRN22sep20_002.gcd | 2020-09-22 11:05 | air + 100 | Unknown | 0 | 5.969 | 7770 | 2.025 | ----- | ----- | ----- | ----- | 38 | BRN22sep20_002.gcd | 2020-09-22 11:05 | air + 100 | Unknown | 0 | 12.203 | 10826 | 1.646 | ----- | ----- | ----- | ----- | 1 |  | 2035.2213 | 2034.6136
39 | BRN22sep20_003.gcd | 2020-09-22 11:36 | 183 | Unknown | 0 | 6.019 | 4348709 | 6.507 | ----- | ----- | ----- | ----- | 39 | BRN22sep20_003.gcd | 2020-09-22 11:36 | 183 | Unknown | 0 | 5.97 | 33371 | 6.739 | ----- | ----- | ----- | ----- | 39 | BRN22sep20_003.gcd | 2020-09-22 11:36 | 183 | Unknown | 0 | 12.037 | 153691 | 21.235 | ----- | ----- | ----- | ----- | 1 |  | 6900.3112 | 27046.456
40 | BRN22sep20_004.gcd | 2020-09-22 12:06 | 184 | Unknown | 0 | 6.031 | 13953 | 0.019 | ----- | ----- | ----- | ----- | 40 | BRN22sep20_004.gcd | 2020-09-22 12:06 | 184 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN22sep20_004.gcd | 2020-09-22 12:06 | 184 | Unknown | 0 | 12.173 | 9867 | 1.516 | ----- | ----- | ----- | ----- | 1 |  | 37.5089 | 1858.0607
41 | BRN22sep20_005.gcd | 2020-09-22 12:37 | 182 | Unknown | 0 | 6.041 | 15372 | 0.021 | ----- | ----- | ----- | ----- | 41 | BRN22sep20_005.gcd | 2020-09-22 12:37 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN22sep20_005.gcd | 2020-09-22 12:37 | 182 | Unknown | 0 | 12.183 | 10482 | 1.6 | ----- | ----- | ----- | ----- | 1 |  | 48.5608 | 1971.2961
42 | BRN22sep20_006.gcd | 2020-09-22 13:07 | 209 | Unknown | 0 | 6.027 | 281729 | 0.418 | ----- | ----- | ----- | ----- | 42 | BRN22sep20_006.gcd | 2020-09-22 13:07 | 209 | Unknown | 0 | 5.978 | 2384 | 1.035 | ----- | ----- | ----- | ----- | 42 | BRN22sep20_006.gcd | 2020-09-22 13:07 | 209 | Unknown | 0 | 12.007 | 184870 | 25.556 | ----- | ----- | ----- | ----- | 1 |  | 820.5982 | 32164.4429
43 | BRN22sep20_007.gcd | 2020-09-22 13:38 | 68 | Unknown | 0 | 6.024 | 1634596 | 2.436 | ----- | ----- | ----- | ----- | 43 | BRN22sep20_007.gcd | 2020-09-22 13:38 | 68 | Unknown | 0 | 5.975 | 14119 | 3.193 | ----- | ----- | ----- | ----- | 43 | BRN22sep20_007.gcd | 2020-09-22 13:38 | 68 | Unknown | 0 | 12.148 | 33249 | 4.699 | ----- | ----- | ----- | ----- | 1 |  | 3241.353 | 6129.8026
44 | BRN22sep20_008.gcd | 2020-09-22 14:08 | 29 | Unknown | 0 | 6.028 | 850023 | 1.265 | ----- | ----- | ----- | ----- | 44 | BRN22sep20_008.gcd | 2020-09-22 14:08 | 29 | Unknown | 0 | 5.981 | 7682 | 2.009 | ----- | ----- | ----- | ----- | 44 | BRN22sep20_008.gcd | 2020-09-22 14:08 | 29 | Unknown | 0 | 12.035 | 162335 | 22.431 | ----- | ----- | ----- | ----- | 1 |  | 2018.5057 | 28477.583
45 | BRN22sep20_009.gcd | 2020-09-22 14:39 | 192 | Unknown | 0 | 6.027 | 809151 | 1.204 | ----- | ----- | ----- | ----- | 45 | BRN22sep20_009.gcd | 2020-09-22 14:39 | 192 | Unknown | 0 | 5.975 | 6555 | 1.802 | ----- | ----- | ----- | ----- | 45 | BRN22sep20_009.gcd | 2020-09-22 14:39 | 192 | Unknown | 0 | 12.093 | 94573 | 13.088 | ----- | ----- | ----- | ----- | 1 |  | 1804.4356 | 17007.246
46 | BRN22sep20_010.gcd | 2020-09-22 15:09 | 75 | Unknown | 0 | 6.017 | 4870635 | 7.294 | ----- | ----- | ----- | ----- | 46 | BRN22sep20_010.gcd | 2020-09-22 15:09 | 75 | Unknown | 0 | 5.968 | 36186 | 7.258 | ----- | ----- | ----- | ----- | 46 | BRN22sep20_010.gcd | 2020-09-22 15:09 | 75 | Unknown | 0 | 12.027 | 167775 | 23.185 | ----- | ----- | ----- | ----- | 1 |  | 7435.5229 | 29373.4368
47 | BRN22sep20_011.gcd | 2020-09-22 15:40 | 134 | Unknown | 0 | 6.038 | 17701 | 0.025 | ----- | ----- | ----- | ----- | 47 | BRN22sep20_011.gcd | 2020-09-22 15:40 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN22sep20_011.gcd | 2020-09-22 15:40 | 134 | Unknown | 0 | 12.188 | 9784 | 1.505 | ----- | ----- | ----- | ----- | 1 |  | 55.8133 | 1842.7748
48 | BRN22sep20_012.gcd | 2020-09-22 16:11 | 101 | Unknown | 0 | 6.027 | 1685879 | 2.513 | ----- | ----- | ----- | ----- | 48 | BRN22sep20_012.gcd | 2020-09-22 16:11 | 101 | Unknown | 0 | 5.976 | 14124 | 3.194 | ----- | ----- | ----- | ----- | 48 | BRN22sep20_012.gcd | 2020-09-22 16:11 | 101 | Unknown | 0 | 12.154 | 37061 | 5.218 | ----- | ----- | ----- | ----- | 1 |  | 3242.3029 | 6819.7237
49 | BRN22sep20_013.gcd | 2020-09-22 16:41 | 30 | Unknown | 0 | 6.035 | 15228 | 0.021 | ----- | ----- | ----- | ----- | 49 | BRN22sep20_013.gcd | 2020-09-22 16:41 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN22sep20_013.gcd | 2020-09-22 16:41 | 30 | Unknown | 0 | 12.187 | 9108 | 1.413 | ----- | ----- | ----- | ----- | 1 |  | 48.1121 | 1718.2461
50 | BRN22sep20_014.gcd | 2020-09-22 17:12 | 152 | Unknown | 0 | 6.027 | 856802 | 1.275 | ----- | ----- | ----- | ----- | 50 | BRN22sep20_014.gcd | 2020-09-22 17:12 | 152 | Unknown | 0 | 5.979 | 9186 | 2.286 | ----- | ----- | ----- | ----- | 50 | BRN22sep20_014.gcd | 2020-09-22 17:12 | 152 | Unknown | 0 | 12.031 | 163968 | 22.657 | ----- | ----- | ----- | ----- | 1 |  | 2304.1986 | 28746.894
51 | BRN22sep20_015.gcd | 2020-09-22 17:42 | 148 | Unknown | 0 | 6.028 | 750655 | 1.117 | ----- | ----- | ----- | ----- | 51 | BRN22sep20_015.gcd | 2020-09-22 17:42 | 148 | Unknown | 0 | 5.987 | 5786 | 1.661 | ----- | ----- | ----- | ----- | 51 | BRN22sep20_015.gcd | 2020-09-22 17:42 | 148 | Unknown | 0 | 12.092 | 100341 | 13.881 | ----- | ----- | ----- | ----- | 1 |  | 1658.3714 | 18006.0632
52 | BRN22sep20_016.gcd | 2020-09-22 18:13 | 194 | Unknown | 0 | 6.021 | 188553 | 0.279 | ----- | ----- | ----- | ----- | 52 | BRN22sep20_016.gcd | 2020-09-22 18:13 | 194 | Unknown | 0 | 5.955 | 1492 | 0.871 | ----- | ----- | ----- | ----- | 52 | BRN22sep20_016.gcd | 2020-09-22 18:13 | 194 | Unknown | 0 | 12.008 | 184335 | 25.482 | ----- | ----- | ----- | ----- | 1 |  | 563.6974 | 32077.6526