## FCR 22jun20
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
44 | BRN23jun20_001.gcd | 2020-06-23 10:17 | air | Unknown | 0 | 6.072 | 2336 | 0.001 | ----- | ----- | ----- | ----- | 44 | BRN23jun20_001.gcd | 2020-06-23 10:17 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN23jun20_001.gcd | 2020-06-23 10:17 | air | Unknown | 0 | 12.221 | 3573 | 0.718 | ----- | ----- | ----- | ----- | 2.0638 | 696.4629
43 | BRN23jun20_002.gcd | 2020-06-23 10:47 | air+100 | Unknown | 0 | 6.011 | 948061 | 1.789 | ----- | ----- | ----- | ----- | 43 | BRN23jun20_002.gcd | 2020-06-23 10:47 | air+100 | Unknown | 0 | 5.969 | 7379 | 2.209 | ----- | ----- | ----- | ----- | 43 | BRN23jun20_002.gcd | 2020-06-23 10:47 | air+100 | Unknown | 0 | 12.183 | 9472 | 1.93 | ----- | ----- | ----- | ----- | 1960.951 | 1785.3072
42 | BRN23jun20_003.gcd | 2020-06-23 11:18 | sample labeled "air" | Unknown | 0 | 6.017 | 30176 | 0.054 | ----- | ----- | ----- | ----- | 42 | BRN23jun20_003.gcd | 2020-06-23 11:18 | sample labeled "air" | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN23jun20_003.gcd | 2020-06-23 11:18 | sample labeled "air" | Unknown | 0 | 12.136 | 4883 | 0.988 | ----- | ----- | ----- | ----- | 94.5098 | 938.6415
41 | BRN23jun20_004.gcd | 2020-06-23 11:48 | sample labeled "+100" | Unknown | 0 | 6.008 | 110228 | 0.206 | ----- | ----- | ----- | ----- | 41 | BRN23jun20_004.gcd | 2020-06-23 11:48 | sample labeled "+100" | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN23jun20_004.gcd | 2020-06-23 11:48 | sample labeled "+100" | Unknown | 0 | 12.135 | 18857 | 3.826 | ----- | ----- | ----- | ----- | 336.7793 | 3508.5976
40 | BRN23jun20_005.gcd | 2020-06-23 12:19 | 95 | Unknown | 0 | 6.014 | 37652 | 0.068 | ----- | ----- | ----- | ----- | 40 | BRN23jun20_005.gcd | 2020-06-23 12:19 | 95 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN23jun20_005.gcd | 2020-06-23 12:19 | 95 | Unknown | 0 | 12.157 | 5778 | 1.173 | ----- | ----- | ----- | ----- | 117.578 | 1103.9756
39 | BRN23jun20_006.gcd | 2020-06-23 12:49 | 73 | Unknown | 0 | 5.995 | 3484425 | 6.55 | ----- | ----- | ----- | ----- | 39 | BRN23jun20_006.gcd | 2020-06-23 12:49 | 73 | Unknown | 0 | 5.949 | 25801 | 7.257 | ----- | ----- | ----- | ----- | 39 | BRN23jun20_006.gcd | 2020-06-23 12:49 | 73 | Unknown | 0 | 12.041 | 83310 | 15.97 | ----- | ----- | ----- | ----- | 5461.2967 | 15044.8453
38 | BRN23jun20_007.gcd | 2020-06-23 13:20 | 81 | Unknown | 0 | 5.999 | 2367978 | 4.46 | ----- | ----- | ----- | ----- | 38 | BRN23jun20_007.gcd | 2020-06-23 13:20 | 81 | Unknown | 0 | 5.951 | 19514 | 5.554 | ----- | ----- | ----- | ----- | 38 | BRN23jun20_007.gcd | 2020-06-23 13:20 | 81 | Unknown | 0 | 12.039 | 75353 | 14.544 | ----- | ----- | ----- | ----- | 4266.4595 | 13648.8635
37 | BRN23jun20_008.gcd | 2020-06-23 13:50 | 86 | Unknown | 0 | 5.999 | 2519087 | 4.744 | ----- | ----- | ----- | ----- | 37 | BRN23jun20_008.gcd | 2020-06-23 13:50 | 86 | Unknown | 0 | 5.953 | 19798 | 5.632 | ----- | ----- | ----- | ----- | 37 | BRN23jun20_008.gcd | 2020-06-23 13:50 | 86 | Unknown | 0 | 12.072 | 73076 | 14.133 | ----- | ----- | ----- | ----- | 4320.4278 | 13247.9222
36 | BRN23jun20_009.gcd | 2020-06-23 14:21 | 99 | Unknown | 0 | 6.01 | 40381 | 0.073 | ----- | ----- | ----- | ----- | 36 | BRN23jun20_009.gcd | 2020-06-23 14:21 | 99 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 36 | BRN23jun20_009.gcd | 2020-06-23 14:21 | 99 | Unknown | 0 | 12.149 | 6095 | 1.238 | ----- | ----- | ----- | ----- | 125.976 | 1162.5112
35 | BRN23jun20_010.gcd | 2020-06-23 14:52 | 120 | Unknown | 0 | 6.049 | 2851 | 0.002 | ----- | ----- | ----- | ----- | 35 | BRN23jun20_010.gcd | 2020-06-23 14:52 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 35 | BRN23jun20_010.gcd | 2020-06-23 14:52 | 120 | Unknown | 0 | 12.149 | 5108 | 1.035 | ----- | ----- | ----- | ----- | 3.5137 | 980.2154
34 | BRN23jun20_011.gcd | 2020-06-23 15:22 | 150 | Unknown | 0 | 6.002 | 1718867 | 3.241 | ----- | ----- | ----- | ----- | 34 | BRN23jun20_011.gcd | 2020-06-23 15:22 | 150 | Unknown | 0 | 5.955 | 13735 | 3.971 | ----- | ----- | ----- | ----- | 34 | BRN23jun20_011.gcd | 2020-06-23 15:22 | 150 | Unknown | 0 | 12.073 | 78937 | 15.189 | ----- | ----- | ----- | ----- | 3168.3962 | 14278.6268
33 | BRN23jun20_012.gcd | 2020-06-23 15:53 | 109 | Unknown | 0 | 6.008 | 131010 | 0.245 | ----- | ----- | ----- | ----- | 33 | BRN23jun20_012.gcd | 2020-06-23 15:53 | 109 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 33 | BRN23jun20_012.gcd | 2020-06-23 15:53 | 109 | Unknown | 0 | 12.141 | 18133 | 3.681 | ----- | ----- | ----- | ----- | 397.9637 | 3376.0491
32 | BRN23jun20_013.gcd | 2020-06-23 16:23 | 129 | Unknown | 0 | 6.016 | 14125 | 0.024 | ----- | ----- | ----- | ----- | 32 | BRN23jun20_013.gcd | 2020-06-23 16:23 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 32 | BRN23jun20_013.gcd | 2020-06-23 16:23 | 129 | Unknown | 0 | 12.114 | 37722 | 7.532 | ----- | ----- | ----- | ----- | 38.0768 | 6939.1703
31 | BRN23jun20_014.gcd | 2020-06-23 16:54 | 198 | Unknown | 0 | 6 | 5693628 | 10.658 | ----- | ----- | ----- | ----- | 31 | BRN23jun20_014.gcd | 2020-06-23 16:54 | 198 | Unknown | 0 | 5.952 | 41087 | 11.315 | ----- | ----- | ----- | ----- | 31 | BRN23jun20_014.gcd | 2020-06-23 16:54 | 198 | Unknown | 0 | 12.082 | 77186 | 14.874 | ----- | ----- | ----- | ----- | 8367.4668 | 13971.1509
30 | BRN23jun20_015.gcd | 2020-06-23 17:24 | 74 | Unknown | 0 | 6.022 | 13679 | 0.023 | ----- | ----- | ----- | ----- | 30 | BRN23jun20_015.gcd | 2020-06-23 17:24 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 30 | BRN23jun20_015.gcd | 2020-06-23 17:24 | 74 | Unknown | 0 | 12.124 | 39436 | 7.862 | ----- | ----- | ----- | ----- | 36.6069 | 7248.6446
29 | BRN23jun20_016.gcd | 2020-06-23 17:55 | 103 | Unknown | 0 | 6.003 | 1795343 | 3.385 | ----- | ----- | ----- | ----- | 29 | BRN23jun20_016.gcd | 2020-06-23 17:55 | 103 | Unknown | 0 | 5.954 | 12784 | 3.709 | ----- | ----- | ----- | ----- | 29 | BRN23jun20_016.gcd | 2020-06-23 17:55 | 103 | Unknown | 0 | 12.072 | 80262 | 15.426 | ----- | ----- | ----- | ----- | 2987.7185 | 14511.0412
28 | BRN23jun20_017.gcd | 2020-06-23 18:26 | 180 | Unknown | 0 | 6.011 | 49264 | 0.09 | ----- | ----- | ----- | ----- | 28 | BRN23jun20_017.gcd | 2020-06-23 18:26 | 180 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 28 | BRN23jun20_017.gcd | 2020-06-23 18:26 | 180 | Unknown | 0 | 12.148 | 7648 | 1.557 | ----- | ----- | ----- | ----- | 153.2276 | 1449.0977
27 | BRN23jun20_018.gcd | 2020-06-23 18:56 | 116 | Unknown | 0 | 6.004 | 4054049 | 7.613 | ----- | ----- | ----- | ----- | 27 | BRN23jun20_018.gcd | 2020-06-23 18:56 | 116 | Unknown | 0 | 5.957 | 30362 | 8.48 | ----- | ----- | ----- | ----- | 27 | BRN23jun20_018.gcd | 2020-06-23 18:56 | 116 | Unknown | 0 | 12.073 | 83694 | 16.038 | ----- | ----- | ----- | ----- | 6328.2721 | 15112.0135
26 | BRN23jun20_019.gcd | 2020-06-23 19:27 | 8 | Unknown | 0 | 6.001 | 5930201 | 11.096 | ----- | ----- | ----- | ----- | 26 | BRN23jun20_019.gcd | 2020-06-23 19:27 | 8 | Unknown | 0 | 5.953 | 44782 | 12.279 | ----- | ----- | ----- | ----- | 26 | BRN23jun20_019.gcd | 2020-06-23 19:27 | 8 | Unknown | 0 | 12.079 | 80449 | 15.459 | ----- | ----- | ----- | ----- | 9070.1896 | 14543.8245
25 | BRN23jun20_020.gcd | 2020-06-23 19:57 | 148 | Unknown | 0 | 6.049 | 2654 | 0.002 | ----- | ----- | ----- | ----- | 25 | BRN23jun20_020.gcd | 2020-06-23 19:57 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 25 | BRN23jun20_020.gcd | 2020-06-23 19:57 | 148 | Unknown | 0 | 12.155 | 4792 | 0.97 | ----- | ----- | ----- | ----- | 2.9577 | 921.8254

## stored instrument calibrations
From instrument software with both days- all are one range. FID CH4 stops at std 24 because 25 was very nonlinear
UNITS ARE PARTS PER THOUSAND
Y = aX^2 + bX + c | Y = aX^2 + bX + c | Y = aX^2 + bX + c
a = 537.595 | a = -0.397984 | a = -0.492416
b = 534214 | b = 5263.46 | b = 7126.39
c = 1622.90 | c = -2975.01 | c = -1159.74
R^2 = 0.9975676 | R^2 = 0.9928220 | R^2 = 0.9920659
R = 0.9987830 | R = 0.9964045 | R = 0.9960251
RSS = 3.574782e+011 | RSS = 1.667888e+008 | RSS = 2.451967e+008
External Standard | External Standard | External Standard
Calib Curve:Quadratic | Calib Curve:Quadratic | Calib Curve:Quadratic
Zero:Not Forced | Zero:Not Forced | Zero:Not Forced
Weight:1/C | Weight:1/C | Weight:1/C
Mean RF : 8.751592e+005 | Mean RF : 3.814671e+003 | Mean RF : 5.324081e+003
RF SD : 2.193217e+006 | RF SD : 9.043367e+002 | RF SD : 8.728341e+002
RF %RSD : 250.607804 | RF %RSD : 23.706806 | RF %RSD : 16.394080
Date Processed : 6/26/2020 10:04:52 AM | Date Processed : 6/26/2020 10:14:45 AM | Date Processed : 6/26/2020 10:14:45 AM
Y = aX^2 + bX + c | Y = aX^2 + bX + c | Y = aX^2 + bX + c
a = 7.26948e-015 | a = 1.93299e-011 | a = 1.34958e-011
b = 1.12049e-006 | b = 0.000175366 | b = 0.000129922
c = -0.000668041 | c = 0.651626 | c = 0.193950
R^2 = 0.9813420 | R^2 = 0.9901842 | R^2 = 0.9893080
R = 0.9906271 | R = 0.9950800 | R = 0.9946397
RSS = 1.688386e+001 | RSS = 8.619299e+000 | RSS = 6.673756e+000
External Standard | External Standard | External Standard
Calib Curve:Quadratic | Calib Curve:Quadratic | Calib Curve:Quadratic
Zero:Not Forced | Zero:Not Forced | Zero:Not Forced
Weight:1/C | Weight:1/C | Weight:1/C
Mean RF : 2.272975e-006 | Mean RF : 2.771572e-004 | Mean RF : 1.928407e-004
RF SD : 8.489515e-007 | RF SD : 6.400613e-005 | RF SD : 2.808615e-005
RF %RSD : 37.349790 | RF %RSD : 23.093801 | RF %RSD : 14.564430
Date Processed : 6/26/2020 10:19:04 AM | Date Processed : 6/26/2020 10:18:10 AM | Date Processed : 6/26/2020 10:18:10 AM