## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN27oct20_001.gcd | 2020-10-27 10:46 | air | Unknown | 0 | 6.088 | 2984 | 0.003 | ----- | ----- | ----- | ----- | 37 | BRN27oct20_001.gcd | 2020-10-27 10:46 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN27oct20_001.gcd | 2020-10-27 10:46 | air | Unknown | 0 | 12.218 | 2211 | 0.476 | ----- | ----- | ----- | ----- | 1 |  | 3.8899 | 444.4425
38 | BRN27oct20_002.gcd | 2020-10-27 11:16 | air + 100 | Unknown | 0 | 6.013 | 709053 | 1.055 | ----- | ----- | ----- | ----- | 38 | BRN27oct20_002.gcd | 2020-10-27 11:16 | air + 100 | Unknown | 0 | 5.97 | 5153 | 1.544 | ----- | ----- | ----- | ----- | 38 | BRN27oct20_002.gcd | 2020-10-27 11:16 | air + 100 | Unknown | 0 | 12.189 | 9036 | 1.403 | ----- | ----- | ----- | ----- | 1 |  | 1538.1419 | 1704.9793
59 | BRN27oct20_023.gcd | 2020-10-27 21:58 | 129 | Unknown | 0 | 5.883 | 56672249 | 91.531 | ----- | ----- | ----- | ----- | 59 | BRN27oct20_023.gcd | 2020-10-27 21:58 | 129 | Unknown | 0 | 5.84 | 464459 | 88.467 | ----- | ----- | ----- | ----- | 59 | BRN27oct20_023.gcd | 2020-10-27 21:58 | 129 | Unknown | 0 | 11.987 | 204718 | 28.315 | ----- | ----- | ----- | ----- | 1 |  | 89468.9114 | 35358.8904
60 | BRN27oct20_024.gcd | 2020-10-27 22:29 | 80 | Unknown | 0 | 6.033 | 19236 | 0.027 | ----- | ----- | ----- | ----- | 60 | BRN27oct20_024.gcd | 2020-10-27 22:29 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN27oct20_024.gcd | 2020-10-27 22:29 | 80 | Unknown | 0 | 12.169 | 7643 | 1.214 | ----- | ----- | ----- | ----- | 1 |  | 60.5885 | 1448.1755
61 | BRN27oct20_025.gcd | 2020-10-27 23:00 | 184 | Unknown | 0 | 6.035 | 18302 | 0.025 | ----- | ----- | ----- | ----- | 61 | BRN27oct20_025.gcd | 2020-10-27 23:00 | 184 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN27oct20_025.gcd | 2020-10-27 23:00 | 184 | Unknown | 0 | 12.177 | 7563 | 1.203 | ----- | ----- | ----- | ----- | 1 |  | 57.6834 | 1433.4198
62 | BRN27oct20_026.gcd | 2020-10-27 23:30 | 152 | Unknown | 0 | 6.043 | 6212 | 0.007 | ----- | ----- | ----- | ----- | 62 | BRN27oct20_026.gcd | 2020-10-27 23:30 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN27oct20_026.gcd | 2020-10-27 23:30 | 152 | Unknown | 0 | 12.155 | 4496 | 0.786 | ----- | ----- | ----- | ----- | 1 |  | 13.2525 | 867.1196
63 | BRN27oct20_027.gcd | 2020-10-28 00:01 | 216 | Unknown | 0 | 6.045 | 9092 | 0.012 | ----- | ----- | ----- | ----- | 63 | BRN27oct20_027.gcd | 2020-10-28 00:01 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN27oct20_027.gcd | 2020-10-28 00:01 | 216 | Unknown | 0 | 12.166 | 4500 | 0.787 | ----- | ----- | ----- | ----- | 1 |  | 21.9795 | 867.8589
64 | BRN27oct20_028.gcd | 2020-10-28 00:31 | 23 | Unknown | 0 | 6.03 | 28857 | 0.041 | ----- | ----- | ----- | ----- | 64 | BRN27oct20_028.gcd | 2020-10-28 00:31 | 23 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN27oct20_028.gcd | 2020-10-28 00:31 | 23 | Unknown | 0 | 12.137 | 37270 | 5.247 | ----- | ----- | ----- | ----- | 1 |  | 90.4304 | 6857.4971
65 | BRN27oct20_029.gcd | 2020-10-28 01:02 | 41 | Unknown | 0 | 5.876 | 58049362 | 93.968 | ----- | ----- | ----- | ----- | 65 | BRN27oct20_029.gcd | 2020-10-28 01:02 | 41 | Unknown | 0 | 5.833 | 483168 | 92.121 | ----- | ----- | ----- | ----- | 65 | BRN27oct20_029.gcd | 2020-10-28 01:02 | 41 | Unknown | 0 | 11.981 | 205353 | 28.403 | ----- | ----- | ----- | ----- | 1 |  | 93079.9908 | 35460.2744
66 | BRN27oct20_030.gcd | 2020-10-28 01:33 | 154 | Unknown | 0 | 5.863 | 61412931 | 99.972 | ----- | ----- | ----- | ----- | 66 | BRN27oct20_030.gcd | 2020-10-28 01:33 | 154 | Unknown | 0 | 5.825 | 530810 | 101.469 | ----- | ----- | ----- | ----- | 66 | BRN27oct20_030.gcd | 2020-10-28 01:33 | 154 | Unknown | 0 | 11.971 | 209414 | 28.969 | ----- | ----- | ----- | ----- | 1 |  | 102285.8982 | 36107.456
67 | BRN27oct20_031.gcd | 2020-10-28 02:03 | 142 | Unknown | 0 | 5.865 | 60888446 | 99.031 | ----- | ----- | ----- | ----- | 67 | BRN27oct20_031.gcd | 2020-10-28 02:03 | 142 | Unknown | 0 | 5.828 | 527154 | 100.75 | ----- | ----- | ----- | ----- | 67 | BRN27oct20_031.gcd | 2020-10-28 02:03 | 142 | Unknown | 0 | 11.982 | 209058 | 28.919 | ----- | ----- | ----- | ----- | 1 |  | 101578.9177 | 36050.8048
68 | BRN27oct20_032.gcd | 2020-10-28 02:34 | 116 | Unknown | 0 | 6.031 | 24120 | 0.034 | ----- | ----- | ----- | ----- | 68 | BRN27oct20_032.gcd | 2020-10-28 02:34 | 116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN27oct20_032.gcd | 2020-10-28 02:34 | 116 | Unknown | 0 | 12.138 | 33835 | 4.779 | ----- | ----- | ----- | ----- | 1 |  | 75.7563 | 6235.9795