## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN31jul20_001.gcd | 2020-07-31 10:00 | air | Unknown | 0 | 6.079 | 2178 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN31jul20_001.gcd | 2020-07-31 10:00 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN31jul20_001.gcd | 2020-07-31 10:00 | air | Unknown | 0 | 12.194 | 1734 | 0.411 | ----- | ----- | ----- | ----- | 1.6213 | 356.1249
38 | BRN31jul20_002.gcd | 2020-07-31 10:30 | air + 100 | Unknown | 0 | 6.014 | 649094 | 0.965 | ----- | ----- | ----- | ----- | 38 | BRN31jul20_002.gcd | 2020-07-31 10:30 | air + 100 | Unknown | 0 | 5.962 | 6249 | 1.746 | ----- | ----- | ----- | ----- | 38 | BRN31jul20_002.gcd | 2020-07-31 10:30 | air + 100 | Unknown | 0 | 12.167 | 7480 | 1.192 | ----- | ----- | ----- | ----- | 1695.3906 | 1418.11
39 | BRN31jul20_003.gcd | 2020-07-31 11:01 | 12 | Unknown | 0 | 5.933 | 38024730 | 59.645 | ----- | ----- | ----- | ----- | 39 | BRN31jul20_003.gcd | 2020-07-31 11:01 | 12 | Unknown | 0 | 5.885 | 282103 | 53.333 | ----- | ----- | ----- | ----- | 39 | BRN31jul20_003.gcd | 2020-07-31 11:01 | 12 | Unknown | 0 | 12.072 | 96617 | 13.369 | ----- | ----- | ----- | ----- | 54392.2869 | 17361.6736
40 | BRN31jul20_004.gcd | 2020-07-31 11:32 | 158 | Unknown | 0 | 6.023 | 26884 | 0.038 | ----- | ----- | ----- | ----- | 40 | BRN31jul20_004.gcd | 2020-07-31 11:32 | 158 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN31jul20_004.gcd | 2020-07-31 11:32 | 158 | Unknown | 0 | 12.169 | 3387 | 0.636 | ----- | ----- | ----- | ----- | 84.3229 | 662.0597
41 | BRN31jul20_005.gcd | 2020-07-31 12:02 | 183 | Unknown | 0 | 6.02 | 30244 | 0.043 | ----- | ----- | ----- | ----- | 41 | BRN31jul20_005.gcd | 2020-07-31 12:02 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN31jul20_005.gcd | 2020-07-31 12:02 | 183 | Unknown | 0 | 12.165 | 5351 | 0.902 | ----- | ----- | ----- | ----- | 94.72 | 1025.1081
42 | BRN31jul20_006.gcd | 2020-07-31 12:33 | 37 | Unknown | 0 | 6.015 | 325973 | 0.484 | ----- | ----- | ----- | ----- | 42 | BRN31jul20_006.gcd | 2020-07-31 12:33 | 37 | Unknown | 0 | 5.974 | 2813 | 1.114 | ----- | ----- | ----- | ----- | 42 | BRN31jul20_006.gcd | 2020-07-31 12:33 | 37 | Unknown | 0 | 12.119 | 47301 | 6.616 | ----- | ----- | ----- | ----- | 937.6233 | 8663.9948
43 | BRN31jul20_007.gcd | 2020-07-31 13:03 | 25 | Unknown | 0 | 5.959 | 25179817 | 38.765 | ----- | ----- | ----- | ----- | 43 | BRN31jul20_007.gcd | 2020-07-31 13:03 | 25 | Unknown | 0 | 5.91 | 179988 | 34.026 | ----- | ----- | ----- | ----- | 43 | BRN31jul20_007.gcd | 2020-07-31 13:03 | 25 | Unknown | 0 | 12.073 | 88015 | 12.188 | ----- | ----- | ----- | ----- | 34845.641 | 15866.5544
44 | BRN31jul20_008.gcd | 2020-07-31 13:34 | 93 | Unknown | 0 | 6.021 | 40858 | 0.059 | ----- | ----- | ----- | ----- | 44 | BRN31jul20_008.gcd | 2020-07-31 13:34 | 93 | Unknown | 0 | 5.945 | 322 | 0.657 | ----- | ----- | ----- | ----- | 44 | BRN31jul20_008.gcd | 2020-07-31 13:34 | 93 | Unknown | 0 | 12.169 | 5857 | 0.971 | ----- | ----- | ----- | ----- | 127.4426 | 1118.5645
45 | BRN31jul20_009.gcd | 2020-07-31 14:04 | 97 | Unknown | 0 | 6.019 | 200138 | 0.296 | ----- | ----- | ----- | ----- | 45 | BRN31jul20_009.gcd | 2020-07-31 14:04 | 97 | Unknown | 0 | 5.986 | 2263 | 1.013 | ----- | ----- | ----- | ----- | 45 | BRN31jul20_009.gcd | 2020-07-31 14:04 | 97 | Unknown | 0 | 12.12 | 43491 | 6.096 | ----- | ----- | ----- | ----- | 596.4106 | 7979.334
46 | BRN31jul20_010.gcd | 2020-07-31 14:35 | 112 | Unknown | 0 | 5.931 | 38390677 | 60.252 | ----- | ----- | ----- | ----- | 46 | BRN31jul20_010.gcd | 2020-07-31 14:35 | 112 | Unknown | 0 | 5.883 | 287831 | 54.424 | ----- | ----- | ----- | ----- | 46 | BRN31jul20_010.gcd | 2020-07-31 14:35 | 112 | Unknown | 0 | 12.059 | 107486 | 14.863 | ----- | ----- | ----- | ----- | 55490.7583 | 19237.5375
47 | BRN31jul20_011.gcd | 2020-07-31 15:06 | 171 | Unknown | 0 | 5.954 | 25353919 | 39.043 | ----- | ----- | ----- | ----- | 47 | BRN31jul20_011.gcd | 2020-07-31 15:06 | 171 | Unknown | 0 | 5.905 | 187362 | 35.411 | ----- | ----- | ----- | ----- | 47 | BRN31jul20_011.gcd | 2020-07-31 15:06 | 171 | Unknown | 0 | 12.066 | 96105 | 13.299 | ----- | ----- | ----- | ----- | 36254.8621 | 17272.9425
48 | BRN31jul20_012.gcd | 2020-07-31 15:36 | 186 | Unknown | 0 | 6.023 | 40893 | 0.059 | ----- | ----- | ----- | ----- | 48 | BRN31jul20_012.gcd | 2020-07-31 15:36 | 186 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN31jul20_012.gcd | 2020-07-31 15:36 | 186 | Unknown | 0 | 12.177 | 3353 | 0.631 | ----- | ----- | ----- | ----- | 127.5502 | 655.7705