## calculations
Sample ID | Date run | Volume filtered (ml) | Final volume of extract (ml) | Comments |  |  | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification |  |  |  | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification |  | before acidification (turbidity corrected) | after acidification (turbidity corrected) | difference before and after |  | Chlorophyll a in extract (ug/L from Arar) | Pheopigment in extract (ug/L from Arar) | Pheopigment in extract (ug/L) with ethanol blank correction | Chlorophyll a Conc of original water sample in ug/L (or mg/m3-same thing- APHA) | Pheopigment Conc of original water sample in ug/L (or mg/m3-same thing- APHA) | Ratio before and after (1 = all pheo, 1.72 = all chla) | Ratio- ethanol blank corrected | Turbidity Corrected ABS 384 | Turbidity Corrected ABS 490 | Turbidity Corrected ABS 663 | ABS at 383 from Scytonemin | ABS at 663 from Chl a | ABS at 490 from Carotenoids | Beers law calc of Chl a conc using α of 89.71 | Beers law calc of Scytonemin conc using α of 112.61 | use the value for beta carotene for carotenoids 262.0 | Calculate according to Jeffery and Humphrey trichromatic method as reported by Arar EPA 446
[5 empty] | Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments | Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments
|  | Artificially set to 500 as per a typical sample |  |  |  |  | problems if not 0.000 +- 0.005 |  | problems if <0.030 better if >0.1 | [8 empty] | problems if not 0.000 +- 0.005 |  | problems if <0.030 better if >0.1 | [8 empty] | problems if negative |  | BD if <34 | BD if <34 |  |  |  | problems if not between 1 and 1.72
ethanol_blank |  | 500 | 6 |  | 1_b | Unknown | -0.002 | -0.002 | -0.002 | -0.002 | -0.003 | -0.002 | -0.002 | -0.002 |  | 1_a | Unknown | -0.002 | -0.002 | -0.002 | -0.002 | -0.003 | -0.003 | -0.003 | -0.002 |  | 0 | 0 | 0 |  | 0 | 0 | -6.8736 | 0 | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54
ethanol_blank |  | 500 | 6 |  | 2_b | Unknown | -0.003 | -0.003 | -0.003 | -0.003 | -0.003 | -0.003 | -0.004 | -0.004 |  | 2_a | Unknown | -0.003 | -0.003 | -0.003 | -0.003 | -0.003 | -0.004 | -0.004 | -0.004 |  | 0 | 0 | 0 |  | 0 | 0 | -6.8736 | 0 | 0 | #DIV/0! |  | -0.001 | -0.001 | 0 | -0.00077 | 0.00026 | -0.00094 | 2.8982 | -6.8378 | -3.5878 | 0
ethanol_blank |  | 500 | 6 |  | 3_b | Unknown | -0.002 | -0.001 | -0.001 | -0.001 | -0.002 | -0.002 | -0.001 | 0 |  | 3_acid | Unknown | -0.002 | -0.001 | -0.001 | -0.001 | -0.002 | -0.002 | -0.001 | 0.001 |  | 0.001 | 0.001 | 0 |  | 0 | 20.6208 | 13.7472 | 0 | 0.24745 | 1 |  | 0.002 | 0.001 | 0.001 | 0.0026 | 0.00049 | 0.000834 | 5.462 | 23.0885 | 3.1832 | 11.85
MEAN FOR ETHANOL BLANKS | [26 empty] | 0.00033333 | 0.00033333 | 0 |  | 0 | 6.8736 | 0
S_20Oct21_0.1 | 2021-08-13 | 2000 | 6 |  | 1_before | Unknown | 0.001 | 0.034 | 0.034 | 0.033 | 0.012 | 0.009 | 0.025 | 0.05 |  | 1_after | Unknown | 0.001 | 0.022 | 0.021 | 0.021 | 0.007 | 0.004 | 0.023 | 0.053 |  | 0.033 | 0.021 | 0.012 | S_20Oct21_0.1 | 343.68 | 82.4832 | 82.4832 | 1.031 | 0.24745 | 1.5714 | 1.5806 | 0.049 | 0.024 | 0.032 | 0.06976 | 0.01965 | 0.019728 | 219.0391 | 619.4832 | 75.2977 | 373.47
F_07Jul21_1.6_dup | 2021-08-13 | 300 | 6 |  | 2_before | Unknown | 0 | 0.023 | 0.023 | 0.022 | 0.008 | 0.005 | 0.026 | 0.041 |  | 2_after | Unknown | 0.001 | 0.016 | 0.016 | 0.015 | 0.006 | 0.003 | 0.024 | 0.042 |  | 0.023 | 0.015 | 0.008 | F_07Jul21_1.6_dup | 229.12 | 73.3184 | 73.3184 | 4.5824 | 1.4664 | 1.5333 | 1.5455 | 0.041 | 0.026 | 0.022 | 0.053 | 0.01163 | 0.022668 | 129.64 | 470.6509 | 86.5191 | 259.83
F_11Oct21_1.6 | 2021-08-13 | 500 | 6 |  | 3_before | Unknown | 0.002 | 0.097 | 0.097 | 0.095 | 0.032 | 0.023 | 0.064 | 0.131 |  | 3_after | Unknown | 0.002 | 0.062 | 0.061 | 0.059 | 0.02 | 0.011 | 0.058 | 0.141 |  | 0.095 | 0.06 | 0.035 | F_11Oct21_1.6 | 1002.4 | 227.9744 | 227.9744 | 12.0288 | 2.7357 | 1.5833 | 1.5866 | 0.129 | 0.062 | 0.093 | 0.19089 | 0.06065 | 0.050502 | 676.0673 | 1695.1425 | 192.7557 | 1077.87
B_26Jul21_1.6_dup | 2021-08-13 | 500 | 6 |  | 4_before | Unknown | -0.001 | 0.046 | 0.046 | 0.045 | 0.015 | 0.01 | 0.032 | 0.062 |  | 4_after | Unknown | 0 | 0.029 | 0.028 | 0.027 | 0.008 | 0.003 | 0.03 | 0.07 |  | 0.047 | 0.029 | 0.018 | B_26Jul21_1.6_dup | 515.52 | 75.6096 | 75.6096 | 6.1862 | 0.90732 | 1.6207 | 1.6279 | 0.063 | 0.033 | 0.046 | 0.09295 | 0.03024 | 0.027424 | 337.0862 | 825.4151 | 104.6718 | 531.43
Blank | 2021-08-13 | 500 | 6 |  | 5_before | Unknown | -0.002 | -0.002 | -0.002 | -0.002 | -0.003 | -0.002 | -0.002 | -0.002 |  | 5_after_correct | Unknown | -0.002 | -0.002 | -0.002 | -0.002 | -0.003 | -0.003 | -0.003 | -0.002 |  | 0 | 0 | 0 | Blank | 0 | -6.8736 | -6.8736 | 0 | -0.082483 | #DIV/0! | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54
F_3Nov21_1.6 | 2021-08-13 | 605 | 6 |  | 6_before | Unknown | 0 | 0.161 | 0.16 | 0.158 | 0.051 | 0.034 | 0.08 | 0.198 |  | 6_after | Unknown | 0 | 0.103 | 0.101 | 0.098 | 0.031 | 0.015 | 0.074 | 0.219 |  | 0.16 | 0.103 | 0.057 | F_3Nov21_1.6 | 1632.48 | 484.5888 | 484.5888 | 16.1899 | 4.8058 | 1.5534 | 1.5552 | 0.198 | 0.08 | 0.158 | 0.30914 | 0.1085 | 0.061652 | 1209.4527 | 2745.2269 | 235.313 | 1814.74
B_09Aug21_1.6_dup | 2021-08-13 | 400 | 6 |  | 7_before | Unknown | -0.002 | 0.075 | 0.075 | 0.074 | 0.022 | 0.015 | 0.061 | 0.09 |  | 7_after | Unknown | -0.002 | 0.045 | 0.044 | 0.042 | 0.011 | 0.004 | 0.057 | 0.104 |  | 0.077 | 0.047 | 0.03 | B_09Aug21_1.6_dup | 859.2 | 103.104 | 103.104 | 12.888 | 1.5466 | 1.6383 | 1.6429 | 0.092 | 0.063 | 0.076 | 0.13871 | 0.05331 | 0.054924 | 594.2481 | 1231.7734 | 209.6336 | 874.13
F_07Jul21_1.6 | 2021-08-13 | 300 | 6 |  | 8_before | Unknown | -0.002 | 0.024 | 0.024 | 0.024 | 0.007 | 0.004 | 0.028 | 0.043 |  | 8_after | Unknown | -0.002 | 0.016 | 0.016 | 0.015 | 0.004 | 0.001 | 0.025 | 0.045 |  | 0.026 | 0.018 | 0.008 | F_07Jul21_1.6 | 229.12 | 135.1808 | 135.1808 | 4.5824 | 2.7036 | 1.4444 | 1.4528 | 0.045 | 0.03 | 0.026 | 0.05924 | 0.01467 | 0.026324 | 163.5269 | 526.0634 | 100.4733 | 293.76
F_09Aug21_1.6_dup | 2021-08-13 | 400 | 6 |  | 9_before | Unknown | -0.002 | 0.075 | 0.074 | 0.073 | 0.022 | 0.015 | 0.062 | 0.091 |  | 9_after | Unknown | -0.002 | 0.043 | 0.043 | 0.041 | 0.011 | 0.004 | 0.058 | 0.104 |  | 0.076 | 0.045 | 0.031 | F_09Aug21_1.6_dup | 887.84 | 33.2224 | 33.2224 | 13.3176 | 0.49834 | 1.6889 | 1.694 | 0.093 | 0.064 | 0.075 | 0.13869 | 0.05203 | 0.05589 | 579.9799 | 1231.5958 | 213.3206 | 862.28
F_02Aug21_1.6_dup | 2021-08-13 | 400 | 6 |  | 10_before | Unknown | -0.002 | 0.024 | 0.024 | 0.024 | 0.008 | 0.004 | 0.013 | 0.036 |  | 10_after | Unknown | -0.002 | 0.015 | 0.015 | 0.015 | 0.004 | 0 | 0.012 | 0.039 |  | 0.026 | 0.017 | 0.009 | F_02Aug21_1.6_dup | 257.76 | 85.92 | 85.92 | 3.8664 | 1.2888 | 1.5294 | 1.54 | 0.038 | 0.015 | 0.026 | 0.05601 | 0.01641 | 0.011584 | 182.9228 | 497.3803 | 44.2137 | 292.22
F_18Oct21_1.6_dup | 2021-08-13 | 500 | 6 |  | 11_before | Unknown | 0 | 0.091 | 0.09 | 0.089 | 0.029 | 0.019 | 0.052 | 0.117 |  | 11_after | Unknown | 0 | 0.058 | 0.057 | 0.056 | 0.018 | 0.008 | 0.047 | 0.126 |  | 0.09 | 0.058 | 0.032 | F_18Oct21_1.6_dup | 916.48 | 272.6528 | 272.6528 | 10.9978 | 3.2718 | 1.5517 | 1.5549 | 0.117 | 0.052 | 0.089 | 0.17795 | 0.05971 | 0.041366 | 665.5891 | 1580.2327 | 157.8855 | 1020.32
S_hedgehog_20Oct21_ | 2021-08-13 | 500 | 6 |  | 12_before | Unknown | -0.001 | 0.034 | 0.033 | 0.033 | 0.009 | 0.006 | 0.022 | 0.049 |  | 12_after | Unknown | -0.002 | 0.02 | 0.02 | 0.019 | 0.004 | 0.001 | 0.02 | 0.054 |  | 0.034 | 0.022 | 0.012 | S_hedgehog_20Oct21_ | 343.68 | 103.104 | 103.104 | 4.1242 | 1.2372 | 1.5455 | 1.5538 | 0.05 | 0.023 | 0.034 | 0.07265 | 0.02141 | 0.018576 | 238.6579 | 645.147 | 70.9008 | 386.94
blank | 2021-08-13 | 2000 | 6 |  | 13_before | Unknown | -0.003 | -0.003 | -0.003 | -0.003 | -0.003 | -0.003 | -0.004 | -0.004 |  | 13_after | Unknown | -0.003 | -0.003 | -0.003 | -0.003 | -0.003 | -0.004 | -0.004 | -0.004 |  | 0 | 0 | 0 | blank | 0 | -6.8736 | -6.8736 | 0 | -0.020621 | #DIV/0! | 1 | -0.001 | -0.001 | 0 | -0.00077 | 0.00026 | -0.00094 | 2.8982 | -6.8378 | -3.5878 | 0
F_25Oct21_1.6 | 2021-08-13 | 500 | 6 |  | 14_before | Unknown | -0.001 | 0.094 | 0.093 | 0.092 | 0.029 | 0.019 | 0.058 | 0.117 |  | 14_after | Unknown | -0.001 | 0.057 | 0.056 | 0.055 | 0.016 | 0.007 | 0.051 | 0.128 |  | 0.094 | 0.058 | 0.036 | F_25Oct21_1.6 | 1031.04 | 158.0928 | 158.0928 | 12.3725 | 1.8971 | 1.6207 | 1.6243 | 0.118 | 0.059 | 0.093 | 0.18026 | 0.06359 | 0.048322 | 708.8396 | 1600.7459 | 184.4351 | 1066.1
B_06Sep21_1.6 | 2021-08-13 | 400 | 6 |  | 15_before | Unknown | -0.002 | 0.085 | 0.084 | 0.083 | 0.028 | 0.018 | 0.085 | 0.101 |  | 15_after_correct | Unknown | -0.001 | 0.05 | 0.05 | 0.048 | 0.015 | 0.006 | 0.079 | 0.115 |  | 0.086 | 0.051 | 0.035 | B_06Sep21_1.6 | 1002.4 | 42.3872 | 42.3872 | 15.036 | 0.63581 | 1.6863 | 1.6908 | 0.103 | 0.087 | 0.085 | 0.15078 | 0.05976 | 0.07829 | 666.1465 | 1338.9575 | 298.8168 | 971.3
F_31Aug21_1.6_dup | 2021-08-13 | 500 | 6 |  | 16_before | Unknown | -0.002 | 0.046 | 0.046 | 0.045 | 0.014 | 0.008 | 0.03 | 0.058 |  | 16_after | Unknown | -0.002 | 0.028 | 0.028 | 0.027 | 0.007 | 0.002 | 0.027 | 0.065 |  | 0.048 | 0.03 | 0.018 | F_31Aug21_1.6_dup | 515.52 | 96.2304 | 96.2304 | 6.1862 | 1.1548 | 1.6 | 1.6067 | 0.06 | 0.032 | 0.047 | 0.09089 | 0.03206 | 0.026618 | 357.3738 | 807.1219 | 101.5954 | 543.36
F_12Jul21_1.6 | 2021-08-13 | 300 | 6 |  | 17_before | Unknown | 0.169 | 0.21 | 0.21 | 0.209 | 0.198 | 0.2 | 0.247 | 0.298 |  | 17_after | Unknown | 0.156 | 0.185 | 0.185 | 0.185 | 0.179 | 0.18 | 0.223 | 0.275 |  | 0.041 | 0.029 | 0.012 | F_12Jul21_1.6 | 343.68 | 247.4496 | 247.4496 | 6.8736 | 4.949 | 1.4138 | 1.4186 | 0.129 | 0.078 | 0.04 | 0.1447 | 0.00675 | 0.0682 | 75.2424 | 1284.9658 | 260.3053 | 438.71
F_3Nov21_1.6_dup | 2021-08-13 | 500 | 6 |  | 18_before | Unknown | 0 | 0.135 | 0.134 | 0.132 | 0.043 | 0.029 | 0.067 | 0.165 |  | 18_after | Unknown | 0.002 | 0.086 | 0.085 | 0.082 | 0.027 | 0.013 | 0.063 | 0.184 |  | 0.134 | 0.084 | 0.05 | F_3Nov21_1.6_dup | 1432 | 293.2736 | 293.2736 | 17.184 | 3.5193 | 1.5952 | 1.5976 | 0.165 | 0.067 | 0.132 | 0.25779 | 0.09076 | 0.051708 | 1011.7044 | 2289.2283 | 197.3588 | 1519.36
blank | 2021-08-13 | 500 | 6 |  | 19_before | Unknown | -0.002 | -0.001 | -0.001 | -0.001 | -0.002 | -0.002 | -0.001 | 0 |  | 19_after | Unknown | -0.002 | -0.001 | -0.001 | -0.001 | -0.002 | -0.002 | -0.001 | 0.001 |  | 0.001 | 0.001 | 0 | blank | 0 | 13.7472 | 13.7472 | 0 | 0.16497 | 1 | 1 | 0.002 | 0.001 | 0.001 | 0.0026 | 0.00049 | 0.000834 | 5.462 | 23.0885 | 3.1832 | 11.85
F_21Jul21_1.6 | 2021-08-13 | 400 | 6 |  | 20_before | Unknown | -0.001 | 0.065 | 0.065 | 0.065 | 0.023 | 0.014 | 0.032 | 0.074 |  | 20_after | Unknown | 0 | 0.036 | 0.035 | 0.034 | 0.011 | 0.004 | 0.026 | 0.079 |  | 0.066 | 0.036 | 0.03 | F_21Jul21_1.6 | 859.2 | -123.7248 | -123.7248 | 12.888 | -1.8559 | 1.8333 | 1.8411 | 0.075 | 0.033 | 0.066 | 0.12123 | 0.0474 | 0.025944 | 528.3692 | 1076.5474 | 99.0229 | 743.94
B_12Jul21_1.6 | 2021-08-13 | 500 | 6 |  | 21_before | Unknown | -0.001 | 0.031 | 0.031 | 0.03 | 0.01 | 0.007 | 0.021 | 0.042 |  | 21_after | Unknown | -0.001 | 0.018 | 0.018 | 0.018 | 0.005 | 0.002 | 0.018 | 0.047 |  | 0.032 | 0.019 | 0.013 | B_12Jul21_1.6 | 372.32 | 12.6016 | 12.6016 | 4.4678 | 0.15122 | 1.6842 | 1.6964 | 0.043 | 0.022 | 0.031 | 0.06327 | 0.02023 | 0.018194 | 225.5044 | 561.8506 | 69.4427 | 361.62
F_26Jul21_1.6 | 2021-08-13 | 400 | 6 |  | 22_before | Unknown | -0.001 | 0.051 | 0.051 | 0.051 | 0.017 | 0.011 | 0.028 | 0.063 |  | 22_after | Unknown | -0.001 | 0.031 | 0.03 | 0.029 | 0.009 | 0.003 | 0.026 | 0.071 |  | 0.052 | 0.032 | 0.02 | F_26Jul21_1.6 | 572.8 | 80.192 | 80.192 | 8.592 | 1.2029 | 1.625 | 1.6316 | 0.064 | 0.029 | 0.052 | 0.09981 | 0.03605 | 0.023108 | 401.8504 | 886.3334 | 88.1985 | 587.52
F02Aug21_1.6 | 2021-08-13 | 400 | 6 |  | 23_before | Unknown | -0.003 | 0.02 | 0.02 | 0.02 | 0.006 | 0.003 | 0.01 | 0.03 |  | 23_after | Unknown | -0.002 | 0.012 | 0.012 | 0.012 | 0.003 | -0.001 | 0.008 | 0.032 |  | 0.023 | 0.014 | 0.009 | F02Aug21_1.6 | 257.76 | 24.0576 | 24.0576 | 3.8664 | 0.36086 | 1.6429 | 1.6585 | 0.033 | 0.013 | 0.023 | 0.04898 | 0.01468 | 0.010022 | 163.6384 | 434.9525 | 38.2519 | 258.21
F11Oct21_1.6 | 2021-08-13 | 500 | 6 |  | 24_before | Unknown | 0.004 | 0.103 | 0.103 | 0.101 | 0.035 | 0.026 | 0.07 | 0.136 |  | 24_after | Unknown | 0.004 | 0.066 | 0.065 | 0.063 | 0.023 | 0.014 | 0.064 | 0.146 |  | 0.099 | 0.062 | 0.037 | F11Oct21_1.6 | 1059.68 | 211.936 | 211.936 | 12.7162 | 2.5432 | 1.5968 | 1.6 | 0.132 | 0.066 | 0.097 | 0.19609 | 0.06396 | 0.054238 | 712.964 | 1741.3196 | 207.0153 | 1123.65

## raw data
Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments
machine_blank_1 | Unknown | -0.006 | -0.007 | -0.008 | -0.007 | -0.002 | -0.005 | -0.002 | 0
machine_blank_2 | Unknown | 0 | -0.001 | -0.002 | -0.001 | 0.004 | 0 | 0.004 | 0.006
ethanol_at_start | Unknown | -0.002 | -0.003 | -0.004 | -0.004 | 0.002 | -0.002 | -0.001 | 0
ethanol_at_start_b | Unknown | 0.003 | 0.002 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.002
ethanol_at_start_a | Unknown | -0.003 | -0.006 | -0.006 | -0.005 | -0.006 | -0.006 | -0.008 | -0.012
1_b | Unknown | -0.004 | -0.006 | -0.006 | -0.005 | -0.005 | -0.006 | -0.008 | -0.011
1_a | Unknown | -0.003 | -0.005 | -0.005 | -0.005 | -0.005 | -0.005 | -0.007 | -0.011
2_b | Unknown | -0.005 | -0.006 | -0.005 | -0.005 | -0.005 | -0.006 | -0.008 | -0.01
2_a | Unknown | -0.004 | -0.007 | -0.006 | -0.006 | -0.006 | -0.006 | -0.008 | -0.011
3_b | Unknown | -0.005 | -0.007 | -0.007 | -0.006 | -0.006 | -0.007 | -0.008 | -0.011
3_acid | Unknown | -0.004 | -0.007 | -0.007 | -0.006 | -0.006 | -0.007 | -0.009 | -0.012
4_before | Unknown | -0.004 | 0.035 | 0.035 | 0.035 | 0.007 | 0.004 | 0.016 | 0.045
4_acid | Unknown | -0.003 | 0.019 | 0.019 | 0.018 | 0.002 | -0.002 | 0.014 | 0.05
5_before | Unknown | -0.004 | 0.023 | 0.023 | 0.023 | 0.004 | 0.001 | 0.011 | 0.03
5_acid | Unknown | -0.004 | 0.012 | 0.012 | 0.012 | 0 | -0.003 | 0.009 | 0.033
6_before | Unknown | -0.003 | 0.003 | 0.003 | 0.003 | -0.001 | -0.002 | 0.002 | 0.009
6_acid | Unknown | -0.002 | 0 | 0 | 0.001 | -0.002 | -0.003 | 0 | 0.008
7_before | Unknown | -0.003 | 0.027 | 0.027 | 0.027 | 0.006 | 0.003 | 0.015 | 0.039
7_acid | Unknown | -0.003 | 0.015 | 0.014 | 0.014 | 0.001 | -0.002 | 0.013 | 0.043
8_before | Unknown | -0.003 | 0.002 | 0.003 | 0.003 | -0.001 | -0.003 | 0.002 | 0.013
8_acid | Unknown | -0.003 | 0 | 0 | 0.001 | -0.002 | -0.004 | 0.001 | 0.011
9_before | Unknown | -0.003 | 0.01 | 0.01 | 0.01 | 0.001 | 0 | 0.003 | 0.012
9_acid | Unknown | -0.003 | 0.004 | 0.004 | 0.005 | -0.001 | -0.002 | 0.003 | 0.014
10_before | Unknown | -0.004 | 0.008 | 0.008 | 0.008 | 0 | -0.002 | 0.005 | 0.015
10_acid | Unknown | -0.003 | 0.003 | 0.004 | 0.004 | -0.002 | -0.003 | 0.004 | 0.015
11_before | Unknown | 0.001 | 0.033 | 0.033 | 0.033 | 0.012 | 0.01 | 0.025 | 0.05
11_acid | Unknown | 0.002 | 0.021 | 0.021 | 0.02 | 0.008 | 0.005 | 0.022 | 0.054
12_before | Unknown | 0 | 0.03 | 0.03 | 0.03 | 0.009 | 0.006 | 0.025 | 0.045
12_acid | Unknown | 0 | 0.018 | 0.018 | 0.018 | 0.005 | 0.001 | 0.022 | 0.047
13_before | Unknown | -0.001 | 0.009 | 0.009 | 0.01 | 0.002 | 0.001 | 0.009 | 0.017
13_acid | Unknown | -0.001 | 0.005 | 0.005 | 0.005 | 0 | -0.001 | 0.008 | 0.017
14_before | Unknown | 0 | 0.012 | 0.012 | 0.012 | 0.003 | 0.002 | 0.008 | 0.018
14_acid | Unknown | 0.001 | 0.008 | 0.008 | 0.008 | 0.003 | 0.001 | 0.007 | 0.018
15_before | Unknown | 0 | 0.032 | 0.032 | 0.032 | 0.009 | 0.006 | 0.024 | 0.045
15_acid | Unknown | 0 | 0.019 | 0.019 | 0.019 | 0.005 | 0.001 | 0.022 | 0.047
16_before | Unknown | 0.001 | 0.025 | 0.025 | 0.025 | 0.008 | 0.007 | 0.029 | 0.042
16_acid | Unknown | 0 | 0.015 | 0.015 | 0.015 | 0.005 | 0.003 | 0.028 | 0.043
17_before | Unknown | -0.001 | 0.034 | 0.034 | 0.033 | 0.009 | 0.005 | 0.027 | 0.046
17_acid | Unknown | -0.001 | 0.021 | 0.02 | 0.02 | 0.005 | 0.001 | 0.024 | 0.05
18_before | Unknown | -0.001 | 0.03 | 0.03 | 0.03 | 0.008 | 0.005 | 0.023 | 0.042
18_acid | Unknown | -0.001 | 0.018 | 0.018 | 0.018 | 0.004 | 0.001 | 0.02 | 0.044
19_before | Unknown | -0.002 | 0.03 | 0.03 | 0.03 | 0.007 | 0.005 | 0.016 | 0.037
19_acid | Unknown | -0.002 | 0.017 | 0.017 | 0.016 | 0.003 | -0.001 | 0.013 | 0.042
20_before | Unknown | -0.002 | 0.02 | 0.02 | 0.019 | 0.004 | 0.002 | 0.011 | 0.027
20_acid | Unknown | -0.001 | 0.011 | 0.011 | 0.011 | 0.001 | -0.001 | 0.009 | 0.029
21_before | Unknown | -0.001 | 0.032 | 0.032 | 0.032 | 0.009 | 0.006 | 0.018 | 0.042
21_acid | Unknown | -0.001 | 0.019 | 0.019 | 0.018 | 0.005 | 0.001 | 0.016 | 0.046
22_before | Unknown | -0.001 | 0.039 | 0.04 | 0.039 | 0.011 | 0.008 | 0.022 | 0.051
22_acid | Unknown | -0.001 | 0.023 | 0.023 | 0.023 | 0.005 | 0.001 | 0.02 | 0.057
23_before | Unknown | 0 | 0.032 | 0.033 | 0.032 | 0.009 | 0.006 | 0.026 | 0.046
23_acid | Unknown | 0 | 0.02 | 0.02 | 0.019 | 0.005 | 0.001 | 0.023 | 0.049
24_before | Unknown | -0.001 | 0.012 | 0.012 | 0.012 | 0.002 | 0.001 | 0.006 | 0.014
24_acid | Unknown | -0.001 | 0.006 | 0.006 | 0.007 | 0 | -0.001 | 0.005 | 0.015
BN_known_before | Unknown | -0.002 | 0.057 | 0.057 | 0.057 | 0.019 | 0.009 | 0.024 | 0.08
BN_known_acid | Unknown | -0.001 | 0.041 | 0.04 | 0.04 | 0.013 | 0.004 | 0.022 | 0.08

## rolling QA chart
Sample ID | Date run | Volume filtered (ml) | Final volume of extract (ml) | Comments |  |  | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification |  |  |  | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification |  | before acidification (turbidity corrected) | after acidification (turbidity corrected) | difference before and after |  | Chlorophyll a in extract (ug/L from Arar) | Pheopigment in extract (ug/L from Arar) | Pheopigment in extract (ug/L) with ethanol blank correction | Chlorophyll a Conc of original water sample in ug/L (or mg/m3-same thing- APHA) | Pheopigment Conc of original water sample in ug/L (or mg/m3-same thing- APHA) | Ratio before and after (1 = all pheo, 1.72 = all chla) | Ratio- ethanol blank corrected | Turbidity Corrected ABS 384 | Turbidity Corrected ABS 490 | Turbidity Corrected ABS 663 | ABS at 383 from Scytonemin | ABS at 663 from Chl a | ABS at 490 from Carotenoids | Beers law calc of Chl a conc using α of 89.71 | Beers law calc of Scytonemin conc using α of 112.61 | use the value for beta carotene for carotenoids 262.0 | Calculate according to Jeffery and Humphrey trichromatic method as reported by Arar EPA 446
[5 empty] | Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments | Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments
|  | Artificially set to 500 as per a typical sample |  |  |  |  | problems if not 0.000 +- 0.005 |  | problems if <0.030 | [19 empty] | problems if negative |  | BD if <34 | BD if <34 |  |  |  | problems if not between 1 and 1.72
| 2017-01-24 | 500 | 6 |  |  |  | 0.009 | 0.655 | 0.65 | [8 empty] | 0.009 | 0.519 | 0.512 | [6 empty] | 0.641 | 0.51 | 0.131 |  | 377.018 | 679.7836 |  | 75.5084 | 136.1457 | 1.2569
| 2017-01-24 | 500 | 6 |  |  |  | -0.002 | 0.075 | 0.075 | [8 empty] | 0.003 | 0.065 | 0.065 | [6 empty] | 0.077 | 0.062 | 0.015 |  | 431.7 | 853.0392 |  | 8.646 | 17.0845 | 1.2419
| 2017-02-01 | 500 | 6 |  |  |  | -0.012 | 0.068 | 0.067 | [8 empty] | -0.005 | 0.057 | 0.057 | [6 empty] | 0.079 | 0.062 | 0.017 |  | 489.26 | 795.4792 |  | 9.7988 | 15.9317 | 1.2742
| 2017-05-09 | 500 | 6 |  |  |  | -0.004 | 0.07 | 0.071 | [8 empty] | -0.003 | 0.056 | 0.056 | [6 empty] | 0.075 | 0.059 | 0.016 |  | 460.48 | 762.0944 |  | 9.2224 | 15.2631 | 1.2712
| 2017-11-07 | 500 | 6 |  |  |  | 0.002 | 0.077 | 0.077 | [8 empty] | 0.002 | 0.058 | 0.057 | [6 empty] | 0.075 | 0.056 | 0.019 |  | 546.82 | 613.5896 |  | 10.9516 | 12.2888 | 1.3393
| 2018-02-20 | 500 | 6 |  |  |  | -0.001 | 0.073 | 0.074 | [8 empty] | -0.001 | 0.057 | 0.058 | [6 empty] | 0.064 | 0.047 | 0.017 |  | 489.26 | 484.6552 |  | 9.7988 | 9.7066 | 1.3617
Chlorella reference material | 2018-05-18 | 500 | 6 |  | Chlorella reference material | Unknown | -0.025 | 0.049 | 0.048 | 0.047 | nd | nd | 0.029 | 0.098 |  | Chlorella reference material |  | -0.024 | 0.034 | 0.034 | 0.033 | nd | nd | 0.029 | 0.101 |  | 0.073 | 0.058 | 0.015 |  | 429.6 | 766.4064 | 799.2469 | 5.1552 | 9.1969 | 1.2586 | 1.2443 | 0.123 | 0.054 | 0.072 | 0.17022 | 0.04077 | 0.043368 | 454.4644 | 1511.5887 | 165.5267 | #VALUE!
Chlorella reference material downstairs 28aug18 | 2018-08-28 | 500 | 6 |  | Chlorella reference material downstairs 28aug18 | Unknown | 0.002 | 0.082 | 0.081 | 0.031 | nd | nd | 0.011 | 0.088 |  | Chlorella reference material downstairs 28aug18 |  | -0.001 | 0.055 | 0.055 |  | nd | nd |  |  |  | 0.079 | 0.056 | 0.023 |  | 658.72 | 496.0448 | 528.8853 | 7.9046 | 5.9525 | 1.4107 | 1.3941 | 0.086 | 0.009 | 0.029 | 0.10992 | 0.00645 | 0.001546 | 71.8983 | 976.1122 | 5.9008 | #VALUE!
Chlorella reference material downstairs 28aug18 | 2018-08-28 | 500 | 6 |  | Chlorella reference material downstairs 28aug18 | Unknown | 0.002 | 0.082 | 0.081 | 0.08 | nd | nd | 0.059 | 0.137 |  | Chlorella reference material downstairs 28aug18 |  | -0.001 | 0.055 | 0.055 |  | nd | nd |  |  |  | 0.079 | 0.056 | 0.023 |  | 658.72 | 496.0448 | 528.8853 | 7.9046 | 5.9525 | 1.4107 | 1.3941 | 0.135 | 0.057 | 0.078 | 0.18663 | 0.04368 | 0.045312 | 486.9022 | 1657.3128 | 172.9466 | #VALUE!
Chlorella reference material upstairs 29aug18 | 2018-08-29 | 500 | 6 |  | Chlorella reference material upstairs 29aug18 | Unknown | 0 | 0.067 | 0.066 | 0.065 | 0.024 | 0.014 | 0.031 | 0.097 |  | Chlorella reference material upstairs 29aug18 |  | 0.001 | 0.047 | 0.047 | 0.046 | 0.017 | 0.008 | 0.028 | 0.096 |  | 0.066 | 0.046 | 0.02 |  | 572.8 | 375.7568 | 408.5973 | 6.8736 | 4.5091 | 1.4348 | 1.4143 | 0.097 | 0.031 | 0.065 | 0.14386 | 0.04042 | 0.02217 | 450.5629 | 1277.5064 | 84.6183 | 744.02
Chlorella reference material upstairs 29aug18 | 2018-08-29 | 500 | 6 |  | Chlorella reference material upstairs 29aug18 | Unknown | 0 | 0.067 | 0.066 | 0.065 | 0.024 | 0.014 | 0.031 | 0.097 |  | Chlorella reference material upstairs 29aug18 |  | 0.001 | 0.047 | 0.047 | 0.046 | 0.017 | 0.008 | 0.028 | 0.096 |  | 0.066 | 0.046 | 0.02 |  | 572.8 | 375.7568 | 408.5973 | 6.8736 | 4.5091 | 1.4348 | 1.4143 | 0.097 | 0.031 | 0.065 | 0.14386 | 0.04042 | 0.02217 | 450.5629 | 1277.5064 | 84.6183 | 744.02
chlorella_reference_1 | 2019-06-10 | 500 | 6 |  | chlorella_reference_1 | Unknown | 0 | 0.065 | 0.065 | 0.064 | 0.023 | 0.012 | 0.029 | 0.091 |  | chlorella_reference_1 |  | -0.001 | 0.045 | 0.045 | 0.044 | 0.016 | 0.006 | 0.025 | 0.09 |  | 0.065 | 0.046 | 0.019 |  | 544.16 | 404.3968 | 437.2373 | 6.5299 | 4.8528 | 1.413 | 1.3929 | 0.091 | 0.029 | 0.064 | 0.13737 | 0.041 | 0.020636 | 457.0282 | 1219.8739 | 78.7634 | 733.87
chlorella_reference_2 | 2019-06-10 | 500 | 6 |  | chlorella_reference_2 | Unknown | -0.001 | 0.064 | 0.064 | 0.063 | 0.022 | 0.012 | 0.028 | 0.09 |  | chlorella_reference_2 |  | -0.001 | 0.045 | 0.045 | 0.044 | 0.016 | 0.006 | 0.025 | 0.09 |  | 0.065 | 0.046 | 0.019 |  | 544.16 | 404.3968 | 437.2373 | 6.5299 | 4.8528 | 1.413 | 1.3929 | 0.091 | 0.029 | 0.064 | 0.13737 | 0.041 | 0.020636 | 457.0282 | 1219.8739 | 78.7634 | 733.79
chlorella_reference_3 | 2019-06-10 | 500 | 6 |  | chlorella_reference_3 | Unknown | -0.001 | 0.064 | 0.063 | 0.062 | 0.022 | 0.011 | 0.028 | 0.09 |  | chlorella_reference_3 |  | -0.001 | 0.045 | 0.045 | 0.043 | 0.015 | 0.006 | 0.024 | 0.09 |  | 0.064 | 0.046 | 0.018 |  | 515.52 | 433.0368 | 465.8773 | 6.1862 | 5.1964 | 1.3913 | 1.3714 | 0.091 | 0.029 | 0.063 | 0.13658 | 0.03998 | 0.020662 | 445.6582 | 1212.8585 | 78.8626 | 722.02
chlorella reference | 2019-06-11 | 500 | 6 |  | BN_known_before | Unknown | -0.002 | 0.057 | 0.057 | 0.057 | 0.019 | 0.009 | 0.024 | 0.08 |  | BN_known_acid | Unknown | -0.001 | 0.041 | 0.04 | 0.04 | 0.013 | 0.004 | 0.022 | 0.08 |  | 0.059 | 0.042 | 0.017 |  | 448.6933 | 472.3691 | 472.3691 | 5.3843 | 5.6684 | 1.4048 | 1.3507 | 0.082 | 0.026 | 0.059 | 0.12487 | 0.0383 | 0.018426 | 426.9312 | 1108.8713 | 70.3282 | 665.93
Min | 2017-01-24 | [28 empty] | Mean | 515.9808 | 560.8567 |  |  |  | 1.3545
Max | 2019-06-11 | [28 empty] | Std | 81.3532 | 168.1728 |  |  |  | 0.073201
[30 empty] | CV | 15.7667 | 29.985 |  |  |  | 5.4044
[29 empty] | Warning Limit | Xbar - 2SD | 353.2744 | 224.5111 |  |  |  | 1.2081
[30 empty] | Xbar + 2SD | 678.6871 | 897.2022 |  |  |  | 1.5009
[29 empty] | Control Limit | Xbar - 3SD | 271.9213 | 56.3384 |  |  |  | 1.1349
[30 empty] | Xbar + 3SD | 760.0402 | 1065.375 |  |  |  | 1.5741
[29 empty] | MDL | STD x 3.14 | 255.4489 | 528.0625 |  |  |  | 0.22985
[29 empty] | LOQ | STD x 10 | 813.5316 | 1681.7278 |  |  |  | 0.73201
Formulas:
Date run = MIN(B26:[Date run, row above])