## calculations
Sample ID | Date run | Volume filtered (ml) | Final volume of extract (ml) | Comments |  |  | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification |  |  |  | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification |  | before acidification (turbidity corrected) | after acidification (turbidity corrected) | difference before and after | Chlorophyll a in extract (ug/L from Arar) | Pheopigment in extract (ug/L from Arar) | Pheopigment in extract (ug/L) with ethanol blank correction | Chlorophyll a Conc of original water sample in ug/L (or mg/m3-same thing- APHA) | Pheopigment Conc of original water sample in ug/L (or mg/m3-same thing- APHA) | Ratio before and after (1 = all pheo, 1.72 = all chla) | Ratio- ethanol blank corrected | Turbidity Corrected ABS 384 | Turbidity Corrected ABS 490 | Turbidity Corrected ABS 663 | ABS at 383 from Scytonemin | ABS at 663 from Chl a | ABS at 490 from Carotenoids | Beers law calc of Chl a conc using α of 89.71 | Beers law calc of Scytonemin conc using α of 112.61 | use the value for beta carotene for carotenoids 262.0 | Calculate according to Jeffery and Humphrey trichromatic method as reported by Arar EPA 446
[5 empty] | Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments | Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments
|  | Artificially set to 500 as per a typical sample |  |  |  |  | problems if not 0.000 +- 0.005 |  | problems if <0.030 better if >0.1 | [8 empty] | problems if not 0.000 +- 0.005 |  | problems if <0.030 better if >0.1 | [8 empty] | problems if negative | BD if <34 | BD if <34 |  |  |  | problems if not between 1 and 1.72
ethanol_blank |  | 500 | 6 |  | 1_b | Unknown | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.004 |  | 1_a | Unknown | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 |  | 0 | 0 | 0 | 0 | 0 | -23.2939 | 0 | 0 | #DIV/0! |  | 0.004 | 0.002 | 0 | 0.00362 | -0.00106 | 0.00172 | -11.8159 | 32.1463 | 6.5649 | 0
ethanol_blank |  | 500 | 6 |  | 2_b | Unknown | 0.001 | 0.002 | 0.001 | 0.001 | 0.001 | 0.001 | 0.002 | 0.004 |  | 2_a | Unknown | 0.001 | 0.002 | 0.002 | 0.002 | 0.001 | 0 | 0.002 | 0.005 |  | 0 | 0.001 | -0.001 | -28.64 | 49.2608 | 25.9669 | -0.34368 | 0.59113 | 0 |  | 0.003 | 0.001 | 0 | 0.00285 | -0.0008 | 0.00078 | -8.9176 | 25.3086 | 2.9771 | 0
ethanol_blank |  | 500 | 6 |  | 3_b | Unknown | 0.002 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.005 | 0.007 |  | 3_acid | Unknown | 0.003 | 0.004 | 0.004 | 0.004 | 0.003 | 0.003 | 0.005 | 0.007 |  | 0.001 | 0.001 | 0 | 0 | 20.6208 | -2.6731 | 0 | 0.24745 | 1 |  | 0.005 | 0.003 | 0.001 | 0.00518 | -0.0003 | 0.002634 | -3.3441 | 45.9995 | 10.0534 | 10.23
MEAN FOR ETHANOL BLANKS | [26 empty] | 0.00033333 | 0.00066667 | -0.00033333 | -9.5467 | 23.2939 | 0
| 2019-06-11 | 500 | 6 |  | 1 | Unknown | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.004 |  | 1 | Unknown | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 |  | 0 | 0 | 0 | 9.5467 | -23.2939 | -23.2939 | 0.11456 | -0.27953 | #DIV/0! | 0.5 | 0.004 | 0.002 | 0 | 0.00362 | -0.00106 | 0.00172 | -11.8159 | 32.1463 | 6.5649 | 0
B_01Oct20_1.6m | 2019-06-11 | 400 | 6 |  | 2 | Unknown | 0 | 0.073 | 0.073 | 0.072 | 0.025 | 0.018 | 0.035 | 0.089 |  | 2 | Unknown | 0.001 | 0.045 | 0.045 | 0.044 | 0.014 | 0.007 | 0.031 | 0.102 |  | 0.073 | 0.044 | 0.029 | 840.1067 | 53.4613 | 53.4613 | 12.6016 | 0.80192 | 1.6591 | 1.6769 | 0.089 | 0.035 | 0.072 | 0.13999 | 0.04976 | 0.026708 | 554.6762 | 1243.14 | 101.9389 | 825.11
F_17Aug20_1.6 | 2019-06-11 | 400 | 6 |  | 3 | Unknown | -0.001 | 0.175 | 0.174 | 0.171 | 0.05 | 0.035 | 0.1 | 0.194 |  | 3 | Unknown | 0 | 0.103 | 0.101 | 0.098 | 0.027 | 0.013 | 0.095 | 0.22 |  | 0.175 | 0.103 | 0.072 | 2071.6267 | 38.5685 | 38.5685 | 31.0744 | 0.57853 | 1.699 | 1.7068 | 0.195 | 0.101 | 0.172 | 0.31141 | 0.1238 | 0.082948 | 1380.0022 | 2765.385 | 316.5954 | 1992.33
F_02Nov20_1.6 | 2019-06-11 | 300 | 6 |  | 4 | Unknown | 0 | 0.071 | 0.07 | 0.069 | 0.022 | 0.015 | 0.036 | 0.085 |  | 4 | Unknown | 0 | 0.044 | 0.043 | 0.042 | 0.012 | 0.006 | 0.033 | 0.093 |  | 0.07 | 0.044 | 0.026 | 754.1867 | 139.3813 | 139.3813 | 15.0837 | 2.7876 | 1.5909 | 1.6077 | 0.085 | 0.036 | 0.069 | 0.13319 | 0.04779 | 0.028126 | 532.7165 | 1182.7546 | 107.3511 | 794.42
B_20Aug20_1.6 | 2019-06-11 | 550 | 6 |  | 5 | Unknown | -0.002 | 0.033 | 0.033 | 0.033 | 0.011 | 0.007 | 0.015 | 0.044 |  | 5 | Unknown | -0.001 | 0.021 | 0.02 | 0.02 | 0.006 | 0.002 | 0.013 | 0.049 |  | 0.035 | 0.022 | 0.013 | 381.8667 | 58.0437 | 58.0437 | 4.1658 | 0.6332 | 1.5909 | 1.625 | 0.046 | 0.017 | 0.035 | 0.0709 | 0.02345 | 0.01275 | 261.3978 | 629.6066 | 48.6641 | 394.01
F_15Sep20_1.6 | 2019-06-11 | 400 | 6 |  | 6 | Unknown | 0 | 0.405 | 0.403 | 0.396 | 0.113 | 0.083 | 0.233 | 0.403 |  | 6 | Unknown | 0.001 | 0.232 | 0.228 | 0.221 | 0.058 | 0.03 | 0.217 | 0.477 |  | 0.403 | 0.231 | 0.172 | 4935.6267 | -185.9691 | -185.9691 | 74.0344 | -2.7895 | 1.7446 | 1.7482 | 0.403 | 0.233 | 0.396 | 0.66905 | 0.29744 | 0.19512 | 3315.5724 | 5941.3018 | 744.7481 | 4594.89
B_20Aug20_1.6_DUP | 2019-06-11 | 550 | 6 |  | 7 | Unknown | 0 | 0.037 | 0.037 | 0.036 | 0.013 | 0.009 | 0.017 | 0.048 |  | 7 | Unknown | 0 | 0.024 | 0.024 | 0.023 | 0.008 | 0.004 | 0.016 | 0.055 |  | 0.037 | 0.024 | 0.013 | 381.8667 | 99.2853 | 99.2853 | 4.1658 | 1.0831 | 1.5417 | 1.5714 | 0.048 | 0.017 | 0.036 | 0.07377 | 0.02393 | 0.012564 | 266.7484 | 655.0928 | 47.9542 | 417.71
F_24_aug20_1.6 | 2019-06-11 | 450 | 6 |  | 8 | Unknown | 0 | 0.121 | 0.12 | 0.119 | 0.035 | 0.024 | 0.063 | 0.13 |  | 8 | Unknown | 0 | 0.071 | 0.07 | 0.068 | 0.019 | 0.009 | 0.06 | 0.149 |  | 0.12 | 0.071 | 0.049 | 1412.9067 | 37.4229 | 37.4229 | 18.8388 | 0.49897 | 1.6901 | 1.7014 | 0.13 | 0.063 | 0.119 | 0.2122 | 0.08691 | 0.050766 | 968.7883 | 1884.3797 | 193.7634 | 1366.18
F_17Aug20_1.6 | 2019-06-11 | 400 | 6 |  | 9 | Unknown | 0.001 | 0.183 | 0.182 | 0.179 | 0.052 | 0.038 | 0.098 | 0.198 |  | 9 | Unknown | 0.001 | 0.109 | 0.107 | 0.104 | 0.029 | 0.015 | 0.096 | 0.226 |  | 0.181 | 0.108 | 0.073 | 2100.2667 | 113.0325 | 113.0325 | 31.504 | 1.6955 | 1.6759 | 1.6832 | 0.197 | 0.097 | 0.178 | 0.31931 | 0.12934 | 0.078552 | 1441.7568 | 2835.5386 | 299.8168 | 2063.35
B_01Oct20_1.6m | 2019-06-11 | 400 | 6 |  | 10 | Unknown | 0 | 0.07 | 0.07 | 0.069 | 0.024 | 0.017 | 0.028 | 0.082 |  | 10 | Unknown | 0.001 | 0.043 | 0.043 | 0.042 | 0.014 | 0.007 | 0.026 | 0.094 |  | 0.07 | 0.042 | 0.028 | 811.4667 | 40.8597 | 40.8597 | 12.172 | 0.6129 | 1.6667 | 1.6855 | 0.082 | 0.028 | 0.069 | 0.13223 | 0.04852 | 0.020206 | 540.8539 | 1174.2296 | 77.1221 | 791.18
F_24Aug20_1.6 | 2019-06-11 | 450 | 6 |  | 11 | Unknown | 0 | 0.122 | 0.122 | 0.12 | 0.036 | 0.025 | 0.066 | 0.134 |  | 11 | Unknown | 0.001 | 0.073 | 0.071 | 0.069 | 0.02 | 0.01 | 0.063 | 0.153 |  | 0.122 | 0.072 | 0.05 | 1441.5467 | 29.4037 | 29.4037 | 19.2206 | 0.39205 | 1.6944 | 1.7056 | 0.134 | 0.066 | 0.12 | 0.21634 | 0.08688 | 0.05348 | 968.4539 | 1921.1438 | 204.1221 | 1388.26
B_16Sep20_1.6 | 2019-06-11 | 450 | 6 |  | 12 | Unknown | 0.001 | 0.147 | 0.147 | 0.145 | 0.047 | 0.033 | 0.077 | 0.166 |  | 12 | Unknown | 0.001 | 0.091 | 0.089 | 0.087 | 0.027 | 0.014 | 0.068 | 0.191 |  | 0.146 | 0.09 | 0.056 | 1613.3867 | 228.7381 | 228.7381 | 21.5118 | 3.0498 | 1.6222 | 1.6306 | 0.165 | 0.076 | 0.144 | 0.26484 | 0.10309 | 0.060576 | 1149.1473 | 2351.8338 | 231.2061 | 1656.7
F_03Aug20_1.6 | 2019-06-11 | 500 | 6 |  | 13 | Unknown | 0.001 | 0.304 | 0.302 | 0.297 | 0.086 | 0.064 | 0.133 | 0.291 |  | 13 | Unknown | 0.001 | 0.176 | 0.173 | 0.168 | 0.046 | 0.024 | 0.126 | 0.347 |  | 0.301 | 0.175 | 0.126 | 3618.1867 | -23.2939 | -23.2939 | 43.4182 | -0.27953 | 1.72 | 1.7247 | 0.29 | 0.132 | 0.296 | 0.4998 | 0.22494 | 0.10374 | 2507.4128 | 4438.327 | 395.9695 | 3430.91
blank | 2019-06-11 | 500 | 6 |  | 14 | Unknown | 0.001 | 0.002 | 0.001 | 0.001 | 0.001 | 0.001 | 0.002 | 0.004 |  | 14 | Unknown | 0.001 | 0.002 | 0.002 | 0.002 | 0.001 | 0 | 0.002 | 0.005 |  | 0 | 0.001 | -0.001 | -19.0933 | 25.9669 | 25.9669 | -0.22912 | 0.3116 | 0 | -1 | 0.003 | 0.001 | 0 | 0.00285 | -0.0008 | 0.00078 | -8.9176 | 25.3086 | 2.9771 | 0
B_03Sep20_1.6 | 2019-06-11 | 500 | 6 |  | 15 | Unknown | 0.003 | 0.059 | 0.058 | 0.058 | 0.023 | 0.017 | 0.029 | 0.076 |  | 15 | Unknown | 0.003 | 0.037 | 0.036 | 0.036 | 0.014 | 0.008 | 0.026 | 0.083 |  | 0.055 | 0.034 | 0.021 | 610.9867 | 76.3733 | 76.3733 | 7.3318 | 0.91648 | 1.6176 | 1.64 | 0.073 | 0.026 | 0.055 | 0.11235 | 0.03665 | 0.01925 | 408.5386 | 997.6911 | 73.4733 | 619.83
F_15Sep20_1.6 | 2019-06-11 | 350 | 6 |  | 16 | Unknown | 0.002 | 0.319 | 0.317 | 0.312 | 0.091 | 0.067 | 0.15 | 0.317 |  | 16 | Unknown | 0.002 | 0.183 | 0.179 | 0.174 | 0.047 | 0.025 | 0.14 | 0.373 |  | 0.315 | 0.181 | 0.134 | 3847.3067 | -128.6891 | -128.6891 | 65.9538 | -2.2061 | 1.7403 | 1.7449 | 0.315 | 0.148 | 0.31 | 0.53254 | 0.23263 | 0.1177 | 2593.1334 | 4729.0649 | 449.2366 | 3590.49
B_16Sep20_1.6 | 2019-06-11 | 400 | 6 |  | 17 | Unknown | 0.001 | 0.166 | 0.164 | 0.161 | 0.049 | 0.038 | 0.118 | 0.192 |  | 17 | Unknown | 0.002 | 0.102 | 0.101 | 0.098 | 0.028 | 0.014 | 0.104 | 0.222 |  | 0.163 | 0.1 | 0.063 | 1813.8667 | 234.4661 | 234.4661 | 27.208 | 3.517 | 1.63 | 1.6376 | 0.191 | 0.117 | 0.16 | 0.29345 | 0.1128 | 0.0999 | 1257.3849 | 2605.8965 | 381.2977 | 1854.67
B_03Sep20_1.6 | 2019-06-11 | 390 | 6 |  | 18 | Unknown | 0.001 | 0.039 | 0.039 | 0.039 | 0.014 | 0.01 | 0.019 | 0.051 |  | 18 | Unknown | 0.001 | 0.025 | 0.025 | 0.024 | 0.009 | 0.004 | 0.017 | 0.058 |  | 0.038 | 0.024 | 0.014 | 410.5067 | 70.6453 | 70.6453 | 6.3155 | 1.0869 | 1.5833 | 1.6143 | 0.05 | 0.018 | 0.038 | 0.07716 | 0.02544 | 0.013372 | 283.5804 | 685.1967 | 51.0382 | 429.56
F_03Aug20_1.6 | 2019-06-11 | 350 | 6 |  | 19 | Unknown | 0.001 | 0.215 | 0.214 | 0.211 | 0.062 | 0.045 | 0.079 | 0.201 |  | 19 | Unknown | 0.001 | 0.125 | 0.123 | 0.119 | 0.033 | 0.017 | 0.076 | 0.24 |  | 0.213 | 0.124 | 0.089 | 2558.5067 | -15.2747 | -15.2747 | 43.8601 | -0.26185 | 1.7177 | 1.7243 | 0.2 | 0.078 | 0.21 | 0.35284 | 0.16098 | 0.0581 | 1794.4488 | 3133.2919 | 221.7557 | 2426.59
F_30Sep20_1.6 | 2019-06-11 | 350 | 6 |  | 20 | Unknown | 0.001 | 0.256 | 0.255 | 0.251 | 0.073 | 0.053 | 0.134 | 0.251 |  | 20 | Unknown | 0.002 | 0.148 | 0.145 | 0.141 | 0.039 | 0.02 | 0.13 | 0.295 |  | 0.254 | 0.146 | 0.108 | 3102.6667 | -105.7771 | -105.7771 | 53.1886 | -1.8133 | 1.7397 | 1.7454 | 0.25 | 0.133 | 0.25 | 0.42159 | 0.18883 | 0.10916 | 2104.8935 | 3743.8061 | 416.6412 | 2894.86
F_02Dec20_1.6 | 2019-06-11 | 600 | 6 |  | 21 | Unknown | 0.002 | 0.092 | 0.092 | 0.091 | 0.033 | 0.025 | 0.052 | 0.12 |  | 21 | Unknown | 0.002 | 0.06 | 0.059 | 0.058 | 0.021 | 0.013 | 0.051 | 0.131 |  | 0.09 | 0.058 | 0.032 | 926.0267 | 256.2325 | 256.2325 | 9.2603 | 2.5623 | 1.5517 | 1.564 | 0.118 | 0.05 | 0.089 | 0.17953 | 0.05942 | 0.039246 | 662.3565 | 1594.2634 | 149.7939 | 1016.92
F_02Nov20_1.6 | 2019-06-11 | 300 | 6 |  | 23 | Unknown | 0.001 | 0.073 | 0.072 | 0.071 | 0.023 | 0.016 | 0.038 | 0.086 |  | 23 | Unknown | 0.001 | 0.046 | 0.045 | 0.044 | 0.014 | 0.008 | 0.036 | 0.096 |  | 0.071 | 0.045 | 0.026 | 754.1867 | 160.0021 | 160.0021 | 15.0837 | 3.2 | 1.5778 | 1.594 | 0.085 | 0.037 | 0.07 | 0.13371 | 0.04882 | 0.02912 | 544.198 | 1187.3723 | 111.145 | 806.27
F_10Aug20_1.6 | 2019-06-11 | 500 | 6 |  | 24 | Unknown | 0.002 | 0.211 | 0.21 | 0.206 | 0.06 | 0.044 | 0.158 | 0.225 |  | 24 | Unknown | 0.002 | 0.124 | 0.122 | 0.118 | 0.033 | 0.018 | 0.151 | 0.259 |  | 0.208 | 0.122 | 0.086 | 2472.5867 | 29.4037 | 29.4037 | 29.671 | 0.35284 | 1.7049 | 1.7115 | 0.223 | 0.156 | 0.204 | 0.35096 | 0.14943 | 0.13598 | 1665.7006 | 3116.5971 | 518.9924 | 2372.12
blank | 2019-06-11 | 500 | 6 |  | 26 | Unknown | 0.002 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.005 | 0.007 |  | 26 | Unknown | 0.003 | 0.004 | 0.004 | 0.004 | 0.003 | 0.003 | 0.005 | 0.007 |  | 0.001 | 0.001 | 0 | 9.5467 | -2.6731 | -2.6731 | 0.11456 | -0.032077 | 1 | 2 | 0.005 | 0.003 | 0.001 | 0.00518 | -0.0003 | 0.002634 | -3.3441 | 45.9995 | 10.0534 | 10.23
F_30Sep20_1.6 | 2019-06-11 | 400 | 6 |  | 27 | Unknown | 0.003 | 0.299 | 0.298 | 0.293 | 0.084 | 0.062 | 0.184 | 0.295 |  | 27 | Unknown | 0.003 | 0.172 | 0.169 | 0.164 | 0.045 | 0.024 | 0.177 | 0.347 |  | 0.295 | 0.169 | 0.126 | 3618.1867 | -147.0187 | -147.0187 | 54.2728 | -2.2053 | 1.7456 | 1.7505 | 0.292 | 0.181 | 0.29 | 0.48391 | 0.21877 | 0.15372 | 2438.6356 | 4297.2205 | 586.7176 | 3366.29

## rolling QA chart
Sample ID | Date run | Volume filtered (ml) | Final volume of extract (ml) | Comments |  |  | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification | absorbance before acidification |  |  |  | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification | absorbance after acidification |  | before acidification (turbidity corrected) | after acidification (turbidity corrected) | difference before and after |  | Chlorophyll a in extract (ug/L from Arar) | Pheopigment in extract (ug/L from Arar) | Pheopigment in extract (ug/L) with ethanol blank correction | Chlorophyll a Conc of original water sample in ug/L (or mg/m3-same thing- APHA) | Pheopigment Conc of original water sample in ug/L (or mg/m3-same thing- APHA) | Ratio before and after (1 = all pheo, 1.72 = all chla) | Ratio- ethanol blank corrected | Turbidity Corrected ABS 384 | Turbidity Corrected ABS 490 | Turbidity Corrected ABS 663 | ABS at 383 from Scytonemin | ABS at 663 from Chl a | ABS at 490 from Carotenoids | Beers law calc of Chl a conc using α of 89.71 | Beers law calc of Scytonemin conc using α of 112.61 | use the value for beta carotene for carotenoids 262.0 | Calculate according to Jeffery and Humphrey trichromatic method as reported by Arar EPA 446
[5 empty] | Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments | Sample ID | Type | WL750.0 | WL665.0 | WL664.0 | WL663.0 | WL647.0 | WL630.0 | WL490.0 | WL384.0 | Comments
|  | Artificially set to 500 as per a typical sample |  |  |  |  | problems if not 0.000 +- 0.005 |  | problems if <0.030 | [19 empty] | problems if negative |  | BD if <34 | BD if <34 |  |  |  | problems if not between 1 and 1.72
| 2017-01-24 | 500 | 6 |  |  |  | 0.009 | 0.655 | 0.65 | [8 empty] | 0.009 | 0.519 | 0.512 | [6 empty] | 0.641 | 0.51 | 0.131 |  | 377.018 | 679.7836 |  | 75.5084 | 136.1457 | 1.2569
| 2017-01-24 | 500 | 6 |  |  |  | -0.002 | 0.075 | 0.075 | [8 empty] | 0.003 | 0.065 | 0.065 | [6 empty] | 0.077 | 0.062 | 0.015 |  | 431.7 | 853.0392 |  | 8.646 | 17.0845 | 1.2419
| 2017-02-01 | 500 | 6 |  |  |  | -0.012 | 0.068 | 0.067 | [8 empty] | -0.005 | 0.057 | 0.057 | [6 empty] | 0.079 | 0.062 | 0.017 |  | 489.26 | 795.4792 |  | 9.7988 | 15.9317 | 1.2742
| 2017-05-09 | 500 | 6 |  |  |  | -0.004 | 0.07 | 0.071 | [8 empty] | -0.003 | 0.056 | 0.056 | [6 empty] | 0.075 | 0.059 | 0.016 |  | 460.48 | 762.0944 |  | 9.2224 | 15.2631 | 1.2712
| 2017-11-07 | 500 | 6 |  |  |  | 0.002 | 0.077 | 0.077 | [8 empty] | 0.002 | 0.058 | 0.057 | [6 empty] | 0.075 | 0.056 | 0.019 |  | 546.82 | 613.5896 |  | 10.9516 | 12.2888 | 1.3393
| 2018-02-20 | 500 | 6 |  |  |  | -0.001 | 0.073 | 0.074 | [8 empty] | -0.001 | 0.057 | 0.058 | [6 empty] | 0.064 | 0.047 | 0.017 |  | 489.26 | 484.6552 |  | 9.7988 | 9.7066 | 1.3617
Chlorella reference material | 2018-05-18 | 500 | 6 |  | Chlorella reference material | Unknown | -0.025 | 0.049 | 0.048 | 0.047 | nd | nd | 0.029 | 0.098 |  | Chlorella reference material |  | -0.024 | 0.034 | 0.034 | 0.033 | nd | nd | 0.029 | 0.101 |  | 0.073 | 0.058 | 0.015 |  | 429.6 | 766.4064 | 799.2469 | 5.1552 | 9.1969 | 1.2586 | 1.2443 | 0.123 | 0.054 | 0.072 | 0.17022 | 0.04077 | 0.043368 | 454.4644 | 1511.5887 | 165.5267 | #VALUE!
Chlorella reference material downstairs 28aug18 | 2018-08-28 | 500 | 6 |  | Chlorella reference material downstairs 28aug18 | Unknown | 0.002 | 0.082 | 0.081 | 0.031 | nd | nd | 0.011 | 0.088 |  | Chlorella reference material downstairs 28aug18 |  | -0.001 | 0.055 | 0.055 |  | nd | nd |  |  |  | 0.079 | 0.056 | 0.023 |  | 658.72 | 496.0448 | 528.8853 | 7.9046 | 5.9525 | 1.4107 | 1.3941 | 0.086 | 0.009 | 0.029 | 0.10992 | 0.00645 | 0.001546 | 71.8983 | 976.1122 | 5.9008 | #VALUE!
Chlorella reference material downstairs 28aug18 | 2018-08-28 | 500 | 6 |  | Chlorella reference material downstairs 28aug18 | Unknown | 0.002 | 0.082 | 0.081 | 0.08 | nd | nd | 0.059 | 0.137 |  | Chlorella reference material downstairs 28aug18 |  | -0.001 | 0.055 | 0.055 |  | nd | nd |  |  |  | 0.079 | 0.056 | 0.023 |  | 658.72 | 496.0448 | 528.8853 | 7.9046 | 5.9525 | 1.4107 | 1.3941 | 0.135 | 0.057 | 0.078 | 0.18663 | 0.04368 | 0.045312 | 486.9022 | 1657.3128 | 172.9466 | #VALUE!
Chlorella reference material upstairs 29aug18 | 2018-08-29 | 500 | 6 |  | Chlorella reference material upstairs 29aug18 | Unknown | 0 | 0.067 | 0.066 | 0.065 | 0.024 | 0.014 | 0.031 | 0.097 |  | Chlorella reference material upstairs 29aug18 |  | 0.001 | 0.047 | 0.047 | 0.046 | 0.017 | 0.008 | 0.028 | 0.096 |  | 0.066 | 0.046 | 0.02 |  | 572.8 | 375.7568 | 408.5973 | 6.8736 | 4.5091 | 1.4348 | 1.4143 | 0.097 | 0.031 | 0.065 | 0.14386 | 0.04042 | 0.02217 | 450.5629 | 1277.5064 | 84.6183 | 744.02
Chlorella reference material upstairs 29aug18 | 2018-08-29 | 500 | 6 |  | Chlorella reference material upstairs 29aug18 | Unknown | 0 | 0.067 | 0.066 | 0.065 | 0.024 | 0.014 | 0.031 | 0.097 |  | Chlorella reference material upstairs 29aug18 |  | 0.001 | 0.047 | 0.047 | 0.046 | 0.017 | 0.008 | 0.028 | 0.096 |  | 0.066 | 0.046 | 0.02 |  | 572.8 | 375.7568 | 408.5973 | 6.8736 | 4.5091 | 1.4348 | 1.4143 | 0.097 | 0.031 | 0.065 | 0.14386 | 0.04042 | 0.02217 | 450.5629 | 1277.5064 | 84.6183 | 744.02
chlorella_reference_1 | 2019-06-10 | 500 | 6 |  | chlorella_reference_1 | Unknown | 0 | 0.065 | 0.065 | 0.064 | 0.023 | 0.012 | 0.029 | 0.091 |  | chlorella_reference_1 |  | -0.001 | 0.045 | 0.045 | 0.044 | 0.016 | 0.006 | 0.025 | 0.09 |  | 0.065 | 0.046 | 0.019 |  | 544.16 | 404.3968 | 437.2373 | 6.5299 | 4.8528 | 1.413 | 1.3929 | 0.091 | 0.029 | 0.064 | 0.13737 | 0.041 | 0.020636 | 457.0282 | 1219.8739 | 78.7634 | 733.87
chlorella_reference_2 | 2019-06-10 | 500 | 6 |  | chlorella_reference_2 | Unknown | -0.001 | 0.064 | 0.064 | 0.063 | 0.022 | 0.012 | 0.028 | 0.09 |  | chlorella_reference_2 |  | -0.001 | 0.045 | 0.045 | 0.044 | 0.016 | 0.006 | 0.025 | 0.09 |  | 0.065 | 0.046 | 0.019 |  | 544.16 | 404.3968 | 437.2373 | 6.5299 | 4.8528 | 1.413 | 1.3929 | 0.091 | 0.029 | 0.064 | 0.13737 | 0.041 | 0.020636 | 457.0282 | 1219.8739 | 78.7634 | 733.79
chlorella_reference_3 | 2019-06-10 | 500 | 6 |  | chlorella_reference_3 | Unknown | -0.001 | 0.064 | 0.063 | 0.062 | 0.022 | 0.011 | 0.028 | 0.09 |  | chlorella_reference_3 |  | -0.001 | 0.045 | 0.045 | 0.043 | 0.015 | 0.006 | 0.024 | 0.09 |  | 0.064 | 0.046 | 0.018 |  | 515.52 | 433.0368 | 465.8773 | 6.1862 | 5.1964 | 1.3913 | 1.3714 | 0.091 | 0.029 | 0.063 | 0.13658 | 0.03998 | 0.020662 | 445.6582 | 1212.8585 | 78.8626 | 722.02
chlorella reference | 2019-06-11 | 500 | 6 |  | BN_known_before | Unknown | -0.002 | 0.057 | 0.057 | 0.057 | 0.019 | 0.009 | 0.024 | 0.08 |  | BN_known_acid | Unknown | -0.001 | 0.041 | 0.04 | 0.04 | 0.013 | 0.004 | 0.022 | 0.08 |  | 0.059 | 0.042 | 0.017 |  | 448.6933 | 472.3691 | 472.3691 | 5.3843 | 5.6684 | 1.4048 | 1.3507 | 0.082 | 0.026 | 0.059 | 0.12487 | 0.0383 | 0.018426 | 426.9312 | 1108.8713 | 70.3282 | 665.93
Min | 2017-01-24 | [28 empty] | Mean | 515.9808 | 560.8567 |  |  |  | 1.3545
Max | 2019-06-11 | [28 empty] | Std | 81.3532 | 168.1728 |  |  |  | 0.073201
[30 empty] | CV | 15.7667 | 29.985 |  |  |  | 5.4044
[29 empty] | Warning Limit | Xbar - 2SD | 353.2744 | 224.5111 |  |  |  | 1.2081
[30 empty] | Xbar + 2SD | 678.6871 | 897.2022 |  |  |  | 1.5009
[29 empty] | Control Limit | Xbar - 3SD | 271.9213 | 56.3384 |  |  |  | 1.1349
[30 empty] | Xbar + 3SD | 760.0402 | 1065.375 |  |  |  | 1.5741
[29 empty] | MDL | STD x 3.14 | 255.4489 | 528.0625 |  |  |  | 0.22985
[29 empty] | LOQ | STD x 10 | 813.5316 | 1681.7278 |  |  |  | 0.73201
Formulas:
Date run = MIN(B26:[Date run, row above])