## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | MP20240723_001.gcd | 2024-07-23 15:25 | QC outside air | Unknown | 0 | 6.054 | 2168 | 0.002 | ----- | ----- | ----- | ----- | 48 | MP20240723_001.gcd | 2024-07-23 15:25 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | MP20240723_001.gcd | 2024-07-23 15:25 | QC outside air | Unknown | 0 | 12.213 | 2199 | 0.446 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.7757 | 484.6058 | 1.3009 | 416.5122 | 0.68801 | 350.7099 | 4.9276 | 512.6305 | 1.7757 | 484.6058 | 48 | MP20240723_001.gcd | 2024-07-23 15:25 | QC outside air | Unknown | 0 | 2.703 | 5183522 | 0 | ----- | ----- | ----- | -----
49 | MP20240723_002.gcd | 2024-07-23 15:55 | QC spiked air | Unknown | 0 | 5.995 | 1195149 | 3.014 | ----- | ----- | ----- | ----- | 49 | MP20240723_002.gcd | 2024-07-23 15:55 | QC spiked air | Unknown | 0 | 5.944 | 9147 | 2.724 | ----- | ----- | ----- | ----- | 49 | MP20240723_002.gcd | 2024-07-23 15:55 | QC spiked air | Unknown | 0 | 12.177 | 8637 | 1.862 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2709.3483 | 1800.2241 | 2629.7116 | 1646.3234 | 2485.4022 | 1679.6642 | 2446.1212 | 2051.684 | 2709.3483 | 1800.2241 | 49 | MP20240723_002.gcd | 2024-07-23 15:55 | QC spiked air | Unknown | 0 | 2.698 | 5275628 | 0 | ----- | ----- | ----- | -----
50 | MP20240723_003.gcd | 2024-07-23 16:26 | QC reference tank | Unknown | 0 | 6.026 | 3383 | 0.005 | ----- | ----- | ----- | ----- | 50 | MP20240723_003.gcd | 2024-07-23 16:26 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | MP20240723_003.gcd | 2024-07-23 16:26 | QC reference tank | Unknown | 0 | 12.205 | 1790 | 0.356 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.1414 | 400.8584 | 5.555 | 338.3379 | 2.6824 | 266.2112 | 2.7801 | 413.5786 | 5.1414 | 400.8584 | 50 | MP20240723_003.gcd | 2024-07-23 16:26 | QC reference tank | Unknown | 0 | 2.7 | 5266597 | 0 | ----- | ----- | ----- | -----
51 | MP20240723_004.gcd | 2024-07-23 16:56 | 399 | Unknown | 0 | 5.995 | 329436 | 0.827 | ----- | ----- | ----- | ----- | 51 | MP20240723_004.gcd | 2024-07-23 16:56 | 399 | Unknown | 0 | 5.947 | 3144 | 0.961 | ----- | ----- | ----- | ----- | 51 | MP20240723_004.gcd | 2024-07-23 16:56 | 399 | Unknown | 0 | 12.134 | 34056 | 7.399 | ----- | ----- | ----- | ----- | 1 |  | 51 | 862.3085 | 6946.2233 | 854.5317 | 6488.7907 | 762.3049 | 6906.0768 | 791.1872 | 7758.9541 | 862.3085 | 6946.2233 | 51 | MP20240723_004.gcd | 2024-07-23 16:56 | 399 | Unknown | 0 | 2.849 | 895400 | 0 | ----- | ----- | ----- | -----
52 | MP20240723_005.gcd | 2024-07-23 17:27 | 79 | Unknown | 0 | 5.999 | 21335 | 0.05 | ----- | ----- | ----- | ----- | 52 | MP20240723_005.gcd | 2024-07-23 17:27 | 79 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | MP20240723_005.gcd | 2024-07-23 17:27 | 79 | Unknown | 0 | 12.153 | 19800 | 4.304 | ----- | ----- | ----- | ----- | 1 |  | 52 | 57.3977 | 4069.656 | 55.7516 | 3775.5274 | 47.5879 | 3978.9551 | 53.7846 | 4630.6706 | 57.3977 | 4069.656 | 52 | MP20240723_005.gcd | 2024-07-23 17:27 | 79 | Unknown | 0 | 2.849 | 896969 | 0 | ----- | ----- | ----- | -----
53 | MP20240723_006.gcd | 2024-07-23 17:58 | 224 | Unknown | 0 | 6.008 | 4926 | 0.009 | ----- | ----- | ----- | ----- | 53 | MP20240723_006.gcd | 2024-07-23 17:58 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | MP20240723_006.gcd | 2024-07-23 17:58 | 224 | Unknown | 0 | 12.01 | 150069 | 31.674 | ----- | ----- | ----- | ----- | 1 |  | 53 | 9.659 | 29867.3622 | 10.7109 | 28323.1481 | 5.8335 | 30340.8339 | 2.351 | 34473.9945 | 9.659 | 29867.3622 | 53 | MP20240723_006.gcd | 2024-07-23 17:58 | 224 | Unknown | 0 | 2.847 | 940470 | 0 | ----- | ----- | ----- | -----
54 | MP20240723_007.gcd | 2024-07-23 18:28 | 235 | Unknown | 0 | 5.996 | 39782 | 0.097 | ----- | ----- | ----- | ----- | 54 | MP20240723_007.gcd | 2024-07-23 18:28 | 235 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | MP20240723_007.gcd | 2024-07-23 18:28 | 235 | Unknown | 0 | 12.071 | 97274 | 20.819 | ----- | ----- | ----- | ----- | 1 |  | 54 | 110.55 | 19289.5488 | 104.2231 | 18441.0749 | 90.8107 | 19761.3597 | 108.1409 | 21930.7645 | 110.55 | 19289.5488 | 54 | MP20240723_007.gcd | 2024-07-23 18:28 | 235 | Unknown | 0 | 2.847 | 919469 | 0 | ----- | ----- | ----- | -----
55 | MP20240723_008.gcd | 2024-07-23 18:59 | 378 | Unknown | 0 | 5.998 | 20261 | 0.048 | ----- | ----- | ----- | ----- | 55 | MP20240723_008.gcd | 2024-07-23 18:59 | 378 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | MP20240723_008.gcd | 2024-07-23 18:59 | 378 | Unknown | 0 | 12.154 | 13924 | 3.021 | ----- | ----- | ----- | ----- | 1 |  | 55 | 54.2971 | 2876.9261 | 52.927 | 2655.2583 | 45.0698 | 2769.443 | 50.5869 | 3287.3083 | 54.2971 | 2876.9261 | 55 | MP20240723_008.gcd | 2024-07-23 18:59 | 378 | Unknown | 0 | 2.848 | 901691 | 0 | ----- | ----- | ----- | -----
56 | MP20240723_009.gcd | 2024-07-23 19:29 | 370 | Unknown | 0 | 5.996 | 27770 | 0.066 | ----- | ----- | ----- | ----- | 56 | MP20240723_009.gcd | 2024-07-23 19:29 | 370 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | MP20240723_009.gcd | 2024-07-23 19:29 | 370 | Unknown | 0 | 12.04 | 116914 | 24.893 | ----- | ----- | ----- | ----- | 1 |  | 56 | 75.9615 | 23240.1949 | 72.6696 | 22127.8428 | 62.6718 | 23713.5939 | 72.868 | 26623.5405 | 75.9615 | 23240.1949 | 56 | MP20240723_009.gcd | 2024-07-23 19:29 | 370 | Unknown | 0 | 2.848 | 905425 | 0 | ----- | ----- | ----- | -----
57 | MP20240723_010.gcd | 2024-07-23 20:00 | 238 | Unknown | 0 | 5.992 | 366133 | 0.919 | ----- | ----- | ----- | ----- | 57 | MP20240723_010.gcd | 2024-07-23 20:00 | 238 | Unknown | 0 | 5.951 | 3051 | 0.933 | ----- | ----- | ----- | ----- | 57 | MP20240723_010.gcd | 2024-07-23 20:00 | 238 | Unknown | 0 | 12.13 | 35981 | 7.815 | ----- | ----- | ----- | ----- | 1 |  | 57 | 940.7919 | 7332.786 | 948.1423 | 6854.6585 | 846.4136 | 7300.5337 | 861.9046 | 8167.1622 | 940.7919 | 7332.786 | 57 | MP20240723_010.gcd | 2024-07-23 20:00 | 238 | Unknown | 0 | 2.833 | 1184245 | 0 | ----- | ----- | ----- | -----
58 | MP20240723_011.gcd | 2024-07-23 20:31 | 103 | Unknown | 0 | 6.046 | 1527 | 0 | ----- | ----- | ----- | ----- | 58 | MP20240723_011.gcd | 2024-07-23 20:31 | 103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | MP20240723_011.gcd | 2024-07-23 20:31 | 103 | Unknown | 0 | 12.018 | 154619 | 32.595 | ----- | ----- | ----- | ----- | 1 |  | 58 | 0.067966 | 30772.7136 | -1.0124 | 29170.5664 | -0.19131 | 31245.9398 | 6.703 | 35544.3286 | 0.067966 | 30772.7136 | 58 | MP20240723_011.gcd | 2024-07-23 20:31 | 103 | Unknown | 0 | 2.849 | 991411 | 0 | ----- | ----- | ----- | -----
59 | MP20240723_012.gcd | 2024-07-23 21:01 | 293 | Unknown | 0 | 6.002 | 33166 | 0.08 | ----- | ----- | ----- | ----- | 59 | MP20240723_012.gcd | 2024-07-23 21:01 | 293 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | MP20240723_012.gcd | 2024-07-23 21:01 | 293 | Unknown | 0 | 12.054 | 115512 | 24.604 | ----- | ----- | ----- | ----- | 1 |  | 59 | 91.5096 | 22958.7928 | 86.8483 | 21865.0789 | 75.3152 | 23432.1165 | 88.7695 | 26289.5928 | 91.5096 | 22958.7928 | 59 | MP20240723_012.gcd | 2024-07-23 21:01 | 293 | Unknown | 0 | 2.858 | 824722 | 0 | ----- | ----- | ----- | -----
60 | MP20240723_013.gcd | 2024-07-23 21:32 | 8 | Unknown | 0 | 5.995 | 31746 | 0.076 | ----- | ----- | ----- | ----- | 60 | MP20240723_013.gcd | 2024-07-23 21:32 | 8 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | MP20240723_013.gcd | 2024-07-23 21:32 | 8 | Unknown | 0 | 12.155 | 7394 | 1.589 | ----- | ----- | ----- | ----- | 1 |  | 60 | 87.4196 | 1546.6007 | 83.1178 | 1408.9858 | 71.9884 | 1423.2446 | 84.5938 | 1757.4804 | 87.4196 | 1546.6007 | 60 | MP20240723_013.gcd | 2024-07-23 21:32 | 8 | Unknown | 0 | 2.841 | 1034572 | 0 | ----- | ----- | ----- | -----
61 | MP20240723_014.gcd | 2024-07-23 22:02 | 355 | Unknown | 0 | 6 | 41128 | 0.1 | ----- | ----- | ----- | ----- | 61 | MP20240723_014.gcd | 2024-07-23 22:02 | 355 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | MP20240723_014.gcd | 2024-07-23 22:02 | 355 | Unknown | 0 | 12.136 | 125 | -0.011 | ----- | ----- | ----- | ----- | 1 |  | 61 | 114.4206 | 59.7241 | 107.7567 | 20.0417 | 93.9623 | -77.8629 | 112.065 | 8.7729 | 114.4206 | 59.7241 | 61 | MP20240723_014.gcd | 2024-07-23 22:02 | 355 | Unknown | 0 | 2.851 | 957742 | 0 | ----- | ----- | ----- | -----
62 | MP20240723_015.gcd | 2024-07-23 22:33 | 321 | Unknown | 0 | 5.981 | 4076574 | 10.36 | ----- | ----- | ----- | ----- | 62 | MP20240723_015.gcd | 2024-07-23 22:33 | 321 | Unknown | 0 | 5.934 | 28951 | 8.499 | ----- | ----- | ----- | ----- | 62 | MP20240723_015.gcd | 2024-07-23 22:33 | 321 | Unknown | 0 | 12.098 | 61298 | 13.241 | ----- | ----- | ----- | ----- | 1 |  | 62 | 8790.0637 | 12004.786 | 7692.3145 | 11655.2235 | 7364.3486 | 12470.7066 | 7753.5503 | 13252.8351 | 8790.0637 | 12004.786 | 62 | MP20240723_015.gcd | 2024-07-23 22:33 | 321 | Unknown | 0 | 2.839 | 1024839 | 0 | ----- | ----- | ----- | -----
63 | MP20240723_016.gcd | 2024-07-23 23:03 | 279 | Unknown | 0 | 5.993 | 42604 | 0.104 | ----- | ----- | ----- | ----- | 63 | MP20240723_016.gcd | 2024-07-23 23:03 | 279 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | MP20240723_016.gcd | 2024-07-23 23:03 | 279 | Unknown | 0 | 12.165 | 350 | 0.039 | ----- | ----- | ----- | ----- | 1 |  | 63 | 118.6638 | 105.8427 | 111.631 | 63.06 | 97.418 | -31.3581 | 116.3616 | 63.6241 | 118.6638 | 105.8427 | 63 | MP20240723_016.gcd | 2024-07-23 23:03 | 279 | Unknown | 0 | 2.845 | 958823 | 0 | ----- | ----- | ----- | -----
64 | MP20240723_017.gcd | 2024-07-23 23:34 | 167 | Unknown | 0 | 6.013 | 3292 | 0.005 | ----- | ----- | ----- | ----- | 64 | MP20240723_017.gcd | 2024-07-23 23:34 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | MP20240723_017.gcd | 2024-07-23 23:34 | 167 | Unknown | 0 | 12.011 | 147844 | 31.223 | ----- | ----- | ----- | ----- | 1 |  | 64 | 4.8835 | 29424.2731 | 5.2423 | 27908.5062 | 2.5181 | 29897.8425 | 2.8857 | 33949.9728 | 4.8835 | 29424.2731 | 64 | MP20240723_017.gcd | 2024-07-23 23:34 | 167 | Unknown | 0 | 2.839 | 1073232 | 0 | ----- | ----- | ----- | -----
65 | MP20240723_018.gcd | 2024-07-24 00:05 | 252 | Unknown | 0 | 5.994 | 25487 | 0.061 | ----- | ----- | ----- | ----- | 65 | MP20240723_018.gcd | 2024-07-24 00:05 | 252 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | MP20240723_018.gcd | 2024-07-24 00:05 | 252 | Unknown | 0 | 12.137 | 19856 | 4.316 | ----- | ----- | ----- | ----- | 1 |  | 65 | 69.3782 | 4081.0032 | 66.6686 | 3786.1985 | 57.3212 | 3990.4737 | 66.1125 | 4643.3217 | 69.3782 | 4081.0032 | 65 | MP20240723_018.gcd | 2024-07-24 00:05 | 252 | Unknown | 0 | 2.844 | 964722 | 0 | ----- | ----- | ----- | -----
66 | MP20240723_019.gcd | 2024-07-24 00:35 | 278 | Unknown | 0 | 5.995 | 21771 | 0.051 | ----- | ----- | ----- | ----- | 66 | MP20240723_019.gcd | 2024-07-24 00:35 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | MP20240723_019.gcd | 2024-07-24 00:35 | 278 | Unknown | 0 | 12.091 | 61048 | 13.188 | ----- | ----- | ----- | ----- | 1 |  | 66 | 58.6562 | 11953.946 | 56.8982 | 11607.9209 | 48.6101 | 12419.8122 | 55.0817 | 13192.1611 | 58.6562 | 11953.946 | 66 | MP20240723_019.gcd | 2024-07-24 00:35 | 278 | Unknown | 0 | 2.84 | 1015034 | 0 | ----- | ----- | ----- | -----
67 | MP20240723_020.gcd | 2024-07-24 01:06 | 410 | Unknown | 0 | 5.932 | 24971423 | 67.047 | ----- | ----- | ----- | ----- | 67 | MP20240723_020.gcd | 2024-07-24 01:06 | 410 | Unknown | 0 | 5.884 | 178586 | 50.327 | ----- | ----- | ----- | ----- | 67 | MP20240723_020.gcd | 2024-07-24 01:06 | 410 | Unknown | 0 | 12.077 | 73451 | 15.818 | ----- | ----- | ----- | ----- | 1 |  | 67 | 47787.9989 | 14472.5983 | 45435.4587 | 13952.2497 | 43737.315 | 14940.94 | 44137.4498 | 16196.1552 | 47787.9989 | 14472.5983 | 67 | MP20240723_020.gcd | 2024-07-24 01:06 | 410 | Unknown | 0 | 2.854 | 729348 | 0 | ----- | ----- | ----- | -----
68 | MP20240723_021.gcd | 2024-07-24 01:36 | 132 | Unknown | 0 | 6.034 | 1843 | 0.001 | ----- | ----- | ----- | ----- | 68 | MP20240723_021.gcd | 2024-07-24 01:36 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | MP20240723_021.gcd | 2024-07-24 01:36 | 132 | Unknown | 0 | 12.011 | 149406 | 31.539 | ----- | ----- | ----- | ----- | 1 |  | 68 | 0.90396 | 29735.3565 | 0.13395 | 28199.611 | 0.22725 | 30208.8589 | 5.7723 | 34317.8901 | 0.90396 | 29735.3565 | 68 | MP20240723_021.gcd | 2024-07-24 01:36 | 132 | Unknown | 0 | 2.837 | 1124999 | 0 | ----- | ----- | ----- | -----
69 | MP20240723_022.gcd | 2024-07-24 02:07 | 15 | Unknown | 0 | 5.992 | 63979 | 0.158 | ----- | ----- | ----- | ----- | 69 | MP20240723_022.gcd | 2024-07-24 02:07 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | MP20240723_022.gcd | 2024-07-24 02:07 | 15 | Unknown | 0 | 12.092 | 60784 | 13.132 | ----- | ----- | ----- | ----- | 1 |  | 69 | 179.972 | 11900.2557 | 167.6787 | 11557.9671 | 147.423 | 12366.0642 | 177.8129 | 13128.0838 | 179.972 | 11900.2557 | 69 | MP20240723_022.gcd | 2024-07-24 02:07 | 15 | Unknown | 0 | 2.826 | 1298856 | 0 | ----- | ----- | ----- | -----
70 | MP20240723_023.gcd | 2024-07-24 02:37 | 179 | Unknown | 0 | 5.992 | 38249 | 0.093 | ----- | ----- | ----- | ----- | 70 | MP20240723_023.gcd | 2024-07-24 02:37 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | MP20240723_023.gcd | 2024-07-24 02:37 | 179 | Unknown | 0 | 12.139 | 16225 | 3.524 | ----- | ----- | ----- | ----- | 1 |  | 70 | 106.1403 | 3344.4826 | 100.1981 | 3094.0815 | 87.2208 | 3243.2893 | 103.6646 | 3817.1114 | 106.1403 | 3344.4826 | 70 | MP20240723_023.gcd | 2024-07-24 02:37 | 179 | Unknown | 0 | 2.839 | 1052800 | 0 | ----- | ----- | ----- | -----
71 | MP20240723_024.gcd | 2024-07-24 03:08 | 138 | Unknown | 0 | 5.977 | 4647079 | 11.827 | ----- | ----- | ----- | ----- | 71 | MP20240723_024.gcd | 2024-07-24 03:08 | 138 | Unknown | 0 | 5.928 | 33102 | 9.702 | ----- | ----- | ----- | ----- | 71 | MP20240723_024.gcd | 2024-07-24 03:08 | 138 | Unknown | 0 | 12.088 | 63374 | 13.683 | ----- | ----- | ----- | ----- | 1 |  | 71 | 9981.7992 | 12426.8454 | 8751.4612 | 12047.9463 | 8385.0687 | 12893.2107 | 8767.7599 | 13756.4746 | 9981.7992 | 12426.8454 | 71 | MP20240723_024.gcd | 2024-07-24 03:08 | 138 | Unknown | 0 | 2.85 | 788434 | 0 | ----- | ----- | ----- | -----
72 | MP20240723_025.gcd | 2024-07-24 03:38 | 147 | Unknown | 0 | 5.916 | 30840301 | 84.242 | ----- | ----- | ----- | ----- | 72 | MP20240723_025.gcd | 2024-07-24 03:38 | 147 | Unknown | 0 | 5.87 | 226413 | 63.088 | ----- | ----- | ----- | ----- | 72 | MP20240723_025.gcd | 2024-07-24 03:38 | 147 | Unknown | 0 | 12.103 | 53521 | 11.583 | ----- | ----- | ----- | ----- | 1 |  | 72 | 60440.3941 | 10421.8484 | 57309.5479 | 10182.7805 | 55179.9783 | 10885.9887 | 56017.6776 | 11362.9938 | 60440.3941 | 10421.8484 | 72 | MP20240723_025.gcd | 2024-07-24 03:38 | 147 | Unknown | 0 | 2.851 | 750349 | 0 | ----- | ----- | ----- | -----
73 | MP20240723_026.gcd | 2024-07-24 04:09 | 88 | Unknown | 0 | 6.002 | 36322 | 0.088 | ----- | ----- | ----- | ----- | 73 | MP20240723_026.gcd | 2024-07-24 04:09 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | MP20240723_026.gcd | 2024-07-24 04:09 | 88 | Unknown | 0 | 12.158 | 15625 | 3.393 | ----- | ----- | ----- | ----- | 1 |  | 73 | 100.5955 | 3222.6254 | 95.1379 | 2979.6723 | 82.7078 | 3119.757 | 98.0273 | 3679.4275 | 100.5955 | 3222.6254 | 73 | MP20240723_026.gcd | 2024-07-24 04:09 | 88 | Unknown | 0 | 2.851 | 1009903 | 0 | ----- | ----- | ----- | -----
74 | MP20240723_027.gcd | 2024-07-24 04:40 | 218 | Unknown | 0 | 5.993 | 38516 | 0.094 | ----- | ----- | ----- | ----- | 74 | MP20240723_027.gcd | 2024-07-24 04:40 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | MP20240723_027.gcd | 2024-07-24 04:40 | 218 | Unknown | 0 | 12.151 | 10180 | 2.201 | ----- | ----- | ----- | ----- | 1 |  | 74 | 106.9085 | 2114.8028 | 100.8992 | 1940.8729 | 87.8461 | 1997.8613 | 104.4447 | 2414.9333 | 106.9085 | 2114.8028 | 74 | MP20240723_027.gcd | 2024-07-24 04:40 | 218 | Unknown | 0 | 2.843 | 987594 | 0 | ----- | ----- | ----- | -----
75 | MP20240723_028.gcd | 2024-07-24 05:10 | 183 | Unknown | 0 | 5.99 | 130463 | 0.325 | ----- | ----- | ----- | ----- | 75 | MP20240723_028.gcd | 2024-07-24 05:10 | 183 | Unknown | 0 | 5.936 | 889 | 0.297 | ----- | ----- | ----- | ----- | 75 | MP20240723_028.gcd | 2024-07-24 05:10 | 183 | Unknown | 0 | 12.073 | 79087 | 17.007 | ----- | ----- | ----- | ----- | 1 |  | 75 | 368.9757 | 15614.6464 | 341.3011 | 15015.8741 | 302.4863 | 16083.9616 | 359.7374 | 17557.0305 | 368.9757 | 15614.6464 | 75 | MP20240723_028.gcd | 2024-07-24 05:10 | 183 | Unknown | 0 | 2.841 | 993832 | 0 | ----- | ----- | ----- | -----
76 | MP20240723_029.gcd | 2024-07-24 05:41 | 73 | Unknown | 0 | 5.99 | 125648 | 0.313 | ----- | ----- | ----- | ----- | 76 | MP20240723_029.gcd | 2024-07-24 05:41 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | MP20240723_029.gcd | 2024-07-24 05:41 | 73 | Unknown | 0 | 12.072 | 79040 | 16.997 | ----- | ----- | ----- | ----- | 1 |  | 76 | 355.3731 | 15605.1289 | 328.7627 | 15007.0086 | 291.28 | 16074.4364 | 347.0301 | 17545.6925 | 355.3731 | 15605.1289 | 76 | MP20240723_029.gcd | 2024-07-24 05:41 | 73 | Unknown | 0 | 2.839 | 1048582 | 0 | ----- | ----- | ----- | -----
77 | MP20240723_030.gcd | 2024-07-24 06:11 | 297 | Unknown | 0 | 5.994 | 15981 | 0.037 | ----- | ----- | ----- | ----- | 77 | MP20240723_030.gcd | 2024-07-24 06:11 | 297 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | MP20240723_030.gcd | 2024-07-24 06:11 | 297 | Unknown | 0 | 12.142 | 13077 | 2.835 | ----- | ----- | ----- | ----- | 1 |  | 77 | 41.9342 | 2704.6587 | 41.668 | 2493.6838 | 35.0328 | 2594.9518 | 37.8074 | 3091.0713 | 41.9342 | 2704.6587 | 77 | MP20240723_030.gcd | 2024-07-24 06:11 | 297 | Unknown | 0 | 2.834 | 1141162 | 0 | ----- | ----- | ----- | -----
78 | MP20240723_031.gcd | 2024-07-24 06:42 | 151 | Unknown | 0 | 5.993 | 19423 | 0.045 | ----- | ----- | ----- | ----- | 78 | MP20240723_031.gcd | 2024-07-24 06:42 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | MP20240723_031.gcd | 2024-07-24 06:42 | 151 | Unknown | 0 | 12.053 | 95558 | 20.461 | ----- | ----- | ----- | ----- | 1 |  | 78 | 51.8773 | 18943.4895 | 50.7229 | 18118.3562 | 43.1048 | 19415.107 | 48.0893 | 21519.2451 | 51.8773 | 18943.4895 | 78 | MP20240723_031.gcd | 2024-07-24 06:42 | 151 | Unknown | 0 | 2.844 | 922808 | 0 | ----- | ----- | ----- | -----