## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
65 | BRN17aug21_001.gcd | 2021-08-17 11:37 | air | Unknown | 0 | 6.061 | 1958 | -0.001 | ----- | ----- | ----- | ----- | 65 | BRN17aug21_001.gcd | 2021-08-17 11:37 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN17aug21_001.gcd | 2021-08-17 11:37 | air | Unknown | 0 | 12.205 | 2365 | 0.482 | ----- | ----- | ----- | ----- | 1 |  | 1.0069 | 472.9499 | 0.54827 | 448.2391
66 | BRN17aug21_002.gcd | 2021-08-17 12:08 | air + 100 | Unknown | 0 | 6.008 | 896206 | 1.865 | ----- | ----- | ----- | ----- | 66 | BRN17aug21_002.gcd | 2021-08-17 12:08 | air + 100 | Unknown | 0 | 5.951 | 6847 | 1.953 | ----- | ----- | ----- | ----- | 66 | BRN17aug21_002.gcd | 2021-08-17 12:08 | air + 100 | Unknown | 0 | 12.172 | 9652 | 1.936 | ----- | ----- | ----- | ----- | 1 |  | 1859.8993 | 1818.4631 | 2040.7299 | 1840.0896
67 | BRN17aug21_003.gcd | 2021-08-17 12:38 | 147 | Unknown | 0 | 6.035 | 4043 | 0.004 | ----- | ----- | ----- | ----- | 67 | BRN17aug21_003.gcd | 2021-08-17 12:38 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN17aug21_003.gcd | 2021-08-17 12:38 | 147 | Unknown | 0 | 12.15 | 5744 | 1.156 | ----- | ----- | ----- | ----- | 1 |  | 6.9127 | 1097.6966 | 7.7941 | 1093.8583
68 | BRN17aug21_004.gcd | 2021-08-17 13:09 | 97 | Unknown | 0 | 6.002 | 2892428 | 6.044 | ----- | ----- | ----- | ----- | 68 | BRN17aug21_004.gcd | 2021-08-17 13:09 | 97 | Unknown | 0 | 5.955 | 24138 | 6.58 | ----- | ----- | ----- | ----- | 68 | BRN17aug21_004.gcd | 2021-08-17 13:09 | 97 | Unknown | 0 | 12.066 | 96638 | 19.033 | ----- | ----- | ----- | ----- | 1 |  | 5145.2202 | 17365.3123 | 6463.3896 | 18321.477
69 | BRN17aug21_005.gcd | 2021-08-17 13:39 | 51 | Unknown | 0 | 6.009 | 24312 | 0.046 | ----- | ----- | ----- | ----- | 69 | BRN17aug21_005.gcd | 2021-08-17 13:39 | 51 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN17aug21_005.gcd | 2021-08-17 13:39 | 51 | Unknown | 0 | 12.161 | 5332 | 1.074 | ----- | ----- | ----- | ----- | 1 |  | 76.3518 | 1021.5982 | 63.5796 | 1015.1581
70 | BRN17aug21_006.gcd | 2021-08-17 14:10 | 28 | Unknown | 0 | 6.015 | 30314 | 0.058 | ----- | ----- | ----- | ----- | 70 | BRN17aug21_006.gcd | 2021-08-17 14:10 | 28 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN17aug21_006.gcd | 2021-08-17 14:10 | 28 | Unknown | 0 | 12.168 | 5958 | 1.199 | ----- | ----- | ----- | ----- | 1 |  | 94.9364 | 1137.215 | 79.3552 | 1134.7344
71 | BRN17aug21_007.gcd | 2021-08-17 14:40 | 166 | Unknown | 0 | 6.001 | 4095726 | 8.574 | ----- | ----- | ----- | ----- | 71 | BRN17aug21_007.gcd | 2021-08-17 14:40 | 166 | Unknown | 0 | 5.954 | 31512 | 8.546 | ----- | ----- | ----- | ----- | 71 | BRN17aug21_007.gcd | 2021-08-17 14:40 | 166 | Unknown | 0 | 12.05 | 120412 | 23.625 | ----- | ----- | ----- | ----- | 1 |  | 6546.8908 | 21449.1094 | 8345.8472 | 22783.1619
72 | BRN17aug21_008.gcd | 2021-08-17 15:11 | 153 | Unknown | 0 | 6.004 | 951460 | 1.98 | ----- | ----- | ----- | ----- | 72 | BRN17aug21_008.gcd | 2021-08-17 15:11 | 153 | Unknown | 0 | 5.952 | 7617 | 2.159 | ----- | ----- | ----- | ----- | 72 | BRN17aug21_008.gcd | 2021-08-17 15:11 | 153 | Unknown | 0 | 12.119 | 42812 | 8.509 | ----- | ----- | ----- | ----- | 1 |  | 2006.1589 | 7857.1257 | 2237.9344 | 8151.994
73 | BRN17aug21_009.gcd | 2021-08-17 15:42 | 14 | Unknown | 0 | 6.005 | 2434935 | 5.085 | ----- | ----- | ----- | ----- | 73 | BRN17aug21_009.gcd | 2021-08-17 15:42 | 14 | Unknown | 0 | 5.958 | 18671 | 5.12 | ----- | ----- | ----- | ----- | 73 | BRN17aug21_009.gcd | 2021-08-17 15:42 | 14 | Unknown | 0 | 12.079 | 89279 | 17.605 | ----- | ----- | ----- | ----- | 1 |  | 4106.2681 | 16086.8333 | 5066.3479 | 16936.6826
74 | BRN17aug21_010.gcd | 2021-08-17 16:12 | 10 | Unknown | 0 | 5.998 | 3081862 | 6.442 | ----- | ----- | ----- | ----- | 74 | BRN17aug21_010.gcd | 2021-08-17 16:12 | 10 | Unknown | 0 | 5.949 | 22369 | 6.108 | ----- | ----- | ----- | ----- | 74 | BRN17aug21_010.gcd | 2021-08-17 16:12 | 10 | Unknown | 0 | 12.062 | 99081 | 19.506 | ----- | ----- | ----- | ----- | 1 |  | 4809.0168 | 17788.2315 | 6011.4691 | 18780.8041
75 | BRN17aug21_011.gcd | 2021-08-17 16:43 | 24 | Unknown | 0 | 5.994 | 4219461 | 8.834 | ----- | ----- | ----- | ----- | 75 | BRN17aug21_011.gcd | 2021-08-17 16:43 | 24 | Unknown | 0 | 5.947 | 31267 | 8.481 | ----- | ----- | ----- | ----- | 75 | BRN17aug21_011.gcd | 2021-08-17 16:43 | 24 | Unknown | 0 | 12.04 | 125388 | 24.582 | ----- | ----- | ----- | ----- | 1 |  | 6500.3148 | 22294.8858 | 8283.3379 | 23714.6854
76 | BRN17aug21_012.gcd | 2021-08-17 17:13 | 181 | Unknown | 0 | 6.039 | 3066 | 0.002 | ----- | ----- | ----- | ----- | 76 | BRN17aug21_012.gcd | 2021-08-17 17:13 | 181 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN17aug21_012.gcd | 2021-08-17 17:13 | 181 | Unknown | 0 | 12.173 | 6150 | 1.237 | ----- | ----- | ----- | ----- | 1 |  | 4.1223 | 1172.6659 | 4.4616 | 1171.407
77 | BRN17aug21_013.gcd | 2021-08-17 17:44 | 143 | Unknown | 0 | 6.018 | 22270 | 0.042 | ----- | ----- | ----- | ----- | 77 | BRN17aug21_013.gcd | 2021-08-17 17:44 | 143 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN17aug21_013.gcd | 2021-08-17 17:44 | 143 | Unknown | 0 | 12.132 | 40132 | 7.981 | ----- | ----- | ----- | ----- | 1 |  | 70.0155 | 7374.2069 | 58.2104 | 7643.1924
78 | BRN17aug21_014.gcd | 2021-08-17 18:15 | 169 | Unknown | 0 | 6.018 | 34997 | 0.068 | ----- | ----- | ----- | ----- | 78 | BRN17aug21_014.gcd | 2021-08-17 18:15 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN17aug21_014.gcd | 2021-08-17 18:15 | 169 | Unknown | 0 | 12.177 | 5955 | 1.198 | ----- | ----- | ----- | ----- | 1 |  | 109.3961 | 1136.661 | 91.6579 | 1134.1614
79 | BRN17aug21_015.gcd | 2021-08-17 18:45 | 108 | Unknown | 0 | 6.018 | 22985 | 0.043 | ----- | ----- | ----- | ----- | 79 | BRN17aug21_015.gcd | 2021-08-17 18:45 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN17aug21_015.gcd | 2021-08-17 18:45 | 108 | Unknown | 0 | 12.133 | 42192 | 8.387 | ----- | ----- | ----- | ----- | 1 |  | 72.2349 | 7745.4859 | 60.0905 | 8034.3069
80 | BRN17aug21_016.gcd | 2021-08-17 19:16 | 111 | Unknown | 0 | 6 | 2340616 | 4.887 | ----- | ----- | ----- | ----- | 80 | BRN17aug21_016.gcd | 2021-08-17 19:16 | 111 | Unknown | 0 | 5.953 | 18029 | 4.948 | ----- | ----- | ----- | ----- | 80 | BRN17aug21_016.gcd | 2021-08-17 19:16 | 111 | Unknown | 0 | 12.077 | 84891 | 16.752 | ----- | ----- | ----- | ----- | 1 |  | 3984.2749 | 15321.2705 | 4902.212 | 16110.1238
81 | BRN17aug21_017.gcd | 2021-08-17 19:46 | 131 | Unknown | 0 | 6.012 | 901131 | 1.875 | ----- | ----- | ----- | ----- | 81 | BRN17aug21_017.gcd | 2021-08-17 19:46 | 131 | Unknown | 0 | 5.961 | 7307 | 2.076 | ----- | ----- | ----- | ----- | 81 | BRN17aug21_017.gcd | 2021-08-17 19:46 | 131 | Unknown | 0 | 12.101 | 70809 | 14.005 | ----- | ----- | ----- | ----- | 1 |  | 1947.2747 | 12848.0952 | 2158.5432 | 13453.2966
82 | BRN17aug21_018.gcd | 2021-08-17 20:17 | 194 | Unknown | 0 | 6.019 | 27721 | 0.053 | ----- | ----- | ----- | ----- | 82 | BRN17aug21_018.gcd | 2021-08-17 20:17 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | BRN17aug21_018.gcd | 2021-08-17 20:17 | 194 | Unknown | 0 | 12.164 | 4951 | 0.998 | ----- | ----- | ----- | ----- | 1 |  | 86.9146 | 951.2068 | 72.5408 | 942.3746
83 | BRN17aug21_019.gcd | 2021-08-17 20:48 | 177 | Unknown | 0 | 6.011 | 919617 | 1.914 | ----- | ----- | ----- | ----- | 83 | BRN17aug21_019.gcd | 2021-08-17 20:48 | 177 | Unknown | 0 | 5.96 | 7100 | 2.021 | ----- | ----- | ----- | ----- | 83 | BRN17aug21_019.gcd | 2021-08-17 20:48 | 177 | Unknown | 0 | 12.126 | 46947 | 9.324 | ----- | ----- | ----- | ----- | 1 |  | 1907.9556 | 8600.4574 | 2105.5283 | 8936.571
84 | BRN17aug21_020.gcd | 2021-08-17 21:18 | 129 | Unknown | 0 | 6.013 | 854827 | 1.779 | ----- | ----- | ----- | ----- | 84 | BRN17aug21_020.gcd | 2021-08-17 21:18 | 129 | Unknown | 0 | 5.966 | 7325 | 2.081 | ----- | ----- | ----- | ----- | 84 | BRN17aug21_020.gcd | 2021-08-17 21:18 | 129 | Unknown | 0 | 12.099 | 74757 | 14.776 | ----- | ----- | ----- | ----- | 1 |  | 1950.6938 | 13543.9808 | 2163.1531 | 14198.8096