## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN22jul21_001.gcd | 2021-07-22 10:21 | air | Unknown | 0 | 6.055 | 1440 | -0.002 | ----- | ----- | ----- | ----- | 39 | BRN22jul21_001.gcd | 2021-07-22 10:21 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN22jul21_001.gcd | 2021-07-22 10:21 | air | Unknown | 0 | 12.219 | 2819 | 0.572 | ----- | ----- | ----- | ----- | 1 |  | -0.43174 | 556.9738 | -1.33 | 535.0056
40 | BRN22jul21_002.gcd | 2021-07-22 10:51 | air + 100 | Unknown | 0 | 6.006 | 685643 | 1.425 | ----- | ----- | ----- | ----- | 40 | BRN22jul21_002.gcd | 2021-07-22 10:51 | air + 100 | Unknown | 0 | 5.954 | 6240 | 1.79 | ----- | ----- | ----- | ----- | 40 | BRN22jul21_002.gcd | 2021-07-22 10:51 | air + 100 | Unknown | 0 | 12.183 | 8077 | 1.622 | ----- | ----- | ----- | ----- | 1 |  | 1770.3741 | 1528.2108 | 1749.4224 | 1539.4036
41 | BRN22jul21_003.gcd | 2021-07-22 11:22 | 197 | Unknown | 0 | 6.039 | 1531 | -0.002 | ----- | ----- | ----- | ----- | 41 | BRN22jul21_003.gcd | 2021-07-22 11:22 | 197 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN22jul21_003.gcd | 2021-07-22 11:22 | 197 | Unknown | 0 | 12.174 | 6109 | 1.229 | ----- | ----- | ----- | ----- | 1 |  | -0.17984 | 1165.096 | -0.99782 | 1163.576
42 | BRN22jul21_004.gcd | 2021-07-22 11:52 | 191 | Unknown | 0 | 6 | 2757910 | 5.762 | ----- | ----- | ----- | ----- | 42 | BRN22jul21_004.gcd | 2021-07-22 11:52 | 191 | Unknown | 0 | 5.951 | 22160 | 6.052 | ----- | ----- | ----- | ----- | 42 | BRN22jul21_004.gcd | 2021-07-22 11:52 | 191 | Unknown | 0 | 12.064 | 102341 | 20.138 | ----- | ----- | ----- | ----- | 1 |  | 4769.2972 | 18351.4185 | 5958.0683 | 19393.4392
43 | BRN22jul21_005.gcd | 2021-07-22 12:23 | 194 | Unknown | 0 | 6.009 | 77645 | 0.157 | ----- | ----- | ----- | ----- | 43 | BRN22jul21_005.gcd | 2021-07-22 12:23 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN22jul21_005.gcd | 2021-07-22 12:23 | 194 | Unknown | 0 | 12.159 | 449 | 0.099 | ----- | ----- | ----- | ----- | 1 |  | 239.4325 | 118.0619 | 203.4546 | 81.9875
44 | BRN22jul21_006.gcd | 2021-07-22 12:54 | 141 | Unknown | 0 | 6.007 | 596147 | 1.239 | ----- | ----- | ----- | ----- | 44 | BRN22jul21_006.gcd | 2021-07-22 12:54 | 141 | Unknown | 0 | 5.961 | 5524 | 1.598 | ----- | ----- | ----- | ----- | 44 | BRN22jul21_006.gcd | 2021-07-22 12:54 | 141 | Unknown | 0 | 12.133 | 36986 | 7.359 | ----- | ----- | ----- | ----- | 1 |  | 1582.8976 | 6806.1673 | 1527.4694 | 7045.6221
45 | BRN22jul21_007.gcd | 2021-07-22 13:24 | 62 | Unknown | 0 | 5.998 | 6700867 | 14.075 | ----- | ----- | ----- | ----- | 45 | BRN22jul21_007.gcd | 2021-07-22 13:24 | 62 | Unknown | 0 | 5.951 | 49513 | 13.327 | ----- | ----- | ----- | ----- | 45 | BRN22jul21_007.gcd | 2021-07-22 13:24 | 62 | Unknown | 0 | 12.113 | 60296 | 11.947 | ----- | ----- | ----- | ----- | 1 |  | 9970.072 | 10985.5013 | 12932.0308 | 11465.6222
46 | BRN22jul21_008.gcd | 2021-07-22 13:55 | 173 | Unknown | 0 | 6.008 | 2703294 | 5.648 | ----- | ----- | ----- | ----- | 46 | BRN22jul21_008.gcd | 2021-07-22 13:55 | 173 | Unknown | 0 | 5.961 | 20411 | 5.585 | ----- | ----- | ----- | ----- | 46 | BRN22jul21_008.gcd | 2021-07-22 13:55 | 173 | Unknown | 0 | 12.071 | 108200 | 21.271 | ----- | ----- | ----- | ----- | 1 |  | 4436.9175 | 19360.2465 | 5511.1191 | 20493.6223
47 | BRN22jul21_009.gcd | 2021-07-22 14:25 | 134 | Unknown | 0 | 6.02 | 74930 | 0.151 | ----- | ----- | ----- | ----- | 47 | BRN22jul21_009.gcd | 2021-07-22 14:25 | 134 | Unknown | 0 | 5.996 | 925 | 0.363 | ----- | ----- | ----- | ----- | 47 | BRN22jul21_009.gcd | 2021-07-22 14:25 | 134 | Unknown | 0 | 12.153 | 1017 | 0.212 | ----- | ----- | ----- | ----- | 1 |  | 231.2428 | 223.3169 | 196.3507 | 190.5756
48 | BRN22jul21_010.gcd | 2021-07-22 14:56 | 20 | Unknown | 0 | 6.02 | 174952 | 0.36 | ----- | ----- | ----- | ----- | 48 | BRN22jul21_010.gcd | 2021-07-22 14:56 | 20 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN22jul21_010.gcd | 2021-07-22 14:56 | 20 | Unknown | 0 | 12.083 | 97295 | 19.16 | ----- | ----- | ----- | ----- | 1 |  | 525.012 | 17479.1223 | 456.8869 | 18445.0237
49 | BRN22jul21_011.gcd | 2021-07-22 15:27 | 59 | Unknown | 0 | 6.021 | 21628 | 0.04 | ----- | ----- | ----- | ----- | 49 | BRN22jul21_011.gcd | 2021-07-22 15:27 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN22jul21_011.gcd | 2021-07-22 15:27 | 59 | Unknown | 0 | 12.127 | 57821 | 11.462 | ----- | ----- | ----- | ----- | 1 |  | 68.022 | 10544.9865 | 56.5221 | 10997.1557
50 | BRN22jul21_012.gcd | 2021-07-22 15:57 | 113 | Unknown | 0 | 6.014 | 2049545 | 4.277 | ----- | ----- | ----- | ----- | 50 | BRN22jul21_012.gcd | 2021-07-22 15:57 | 113 | Unknown | 0 | 5.967 | 16953 | 4.66 | ----- | ----- | ----- | ----- | 50 | BRN22jul21_012.gcd | 2021-07-22 15:57 | 113 | Unknown | 0 | 12.092 | 90659 | 17.873 | ----- | ----- | ----- | ----- | 1 |  | 3779.8188 | 16327.0986 | 4627.081 | 17196.501
51 | BRN22jul21_013.gcd | 2021-07-22 16:28 | 90 | Unknown | 0 | 6.019 | 649589 | 1.35 | ----- | ----- | ----- | ----- | 51 | BRN22jul21_013.gcd | 2021-07-22 16:28 | 90 | Unknown | 0 | 5.969 | 4938 | 1.441 | ----- | ----- | ----- | ----- | 51 | BRN22jul21_013.gcd | 2021-07-22 16:28 | 90 | Unknown | 0 | 12.155 | 34382 | 6.845 | ----- | ----- | ----- | ----- | 1 |  | 1696.4207 | 6335.051 | 1660.2402 | 6550.7591
52 | BRN22jul21_014.gcd | 2021-07-22 16:58 | 125 | Unknown | 0 | 6.022 | 83215 | 0.169 | ----- | ----- | ----- | ----- | 52 | BRN22jul21_014.gcd | 2021-07-22 16:58 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN22jul21_014.gcd | 2021-07-22 16:58 | 125 | Unknown | 0 | 12.153 | 289 | 0.067 | ----- | ----- | ----- | ----- | 1 |  | 256.1965 | 88.4054 | 218.0232 | 51.3974
53 | BRN22jul21_015.gcd | 2021-07-22 17:29 | 37 | Unknown | 0 | 6.012 | 2082560 | 4.346 | ----- | ----- | ----- | ----- | 53 | BRN22jul21_015.gcd | 2021-07-22 17:29 | 37 | Unknown | 0 | 5.964 | 18023 | 4.946 | ----- | ----- | ----- | ----- | 53 | BRN22jul21_015.gcd | 2021-07-22 17:29 | 37 | Unknown | 0 | 12.09 | 93421 | 18.409 | ----- | ----- | ----- | ----- | 1 |  | 3983.1348 | 16807.2593 | 4900.6779 | 17716.3283
54 | BRN22jul21_016.gcd | 2021-07-22 18:00 | 18 | Unknown | 0 | 6.024 | 180691 | 0.372 | ----- | ----- | ----- | ----- | 54 | BRN22jul21_016.gcd | 2021-07-22 18:00 | 18 | Unknown | 0 | 5.966 | 1412 | 0.493 | ----- | ----- | ----- | ----- | 54 | BRN22jul21_016.gcd | 2021-07-22 18:00 | 18 | Unknown | 0 | 12.094 | 94647 | 18.647 | ----- | ----- | ----- | ----- | 1 |  | 541.3723 | 17020.0867 | 471.7624 | 17946.9904
55 | BRN22jul21_017.gcd | 2021-07-22 18:30 | 168 | Unknown | 0 | 6.016 | 17371 | 0.031 | ----- | ----- | ----- | ----- | 55 | BRN22jul21_017.gcd | 2021-07-22 18:30 | 168 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN22jul21_017.gcd | 2021-07-22 18:30 | 168 | Unknown | 0 | 12.121 | 57439 | 11.387 | ----- | ----- | ----- | ----- | 1 |  | 54.7862 | 10476.9274 | 45.325 | 10924.8332
56 | BRN22jul21_018.gcd | 2021-07-22 19:01 | 196 | Unknown | 0 | 5.998 | 5497010 | 11.528 | ----- | ----- | ----- | ----- | 56 | BRN22jul21_018.gcd | 2021-07-22 19:01 | 196 | Unknown | 0 | 5.949 | 39852 | 10.765 | ----- | ----- | ----- | ----- | 56 | BRN22jul21_018.gcd | 2021-07-22 19:01 | 196 | Unknown | 0 | 12.065 | 118094 | 23.179 | ----- | ----- | ----- | ----- | 1 |  | 8132.612 | 21054.0551 | 10472.278 | 22348.9497
57 | BRN22jul21_019.gcd | 2021-07-22 19:31 | 99 | Unknown | 0 | 6.034 | 3354 | 0.002 | ----- | ----- | ----- | ----- | 57 | BRN22jul21_019.gcd | 2021-07-22 19:31 | 99 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN22jul21_019.gcd | 2021-07-22 19:31 | 99 | Unknown | 0 | 12.184 | 5477 | 1.103 | ----- | ----- | ----- | ----- | 1 |  | 4.9406 | 1048.3829 | 5.4554 | 1042.8566
58 | BRN22jul21_020.gcd | 2021-07-22 20:02 | 34 | Unknown | 0 | 6.023 | 82238 | 0.167 | ----- | ----- | ----- | ----- | 58 | BRN22jul21_020.gcd | 2021-07-22 20:02 | 34 | Unknown | 0 | 5.975 | 498 | 0.248 | ----- | ----- | ----- | ----- | 58 | BRN22jul21_020.gcd | 2021-07-22 20:02 | 34 | Unknown | 0 | 12.136 | 698 | 0.148 | ----- | ----- | ----- | ----- | 1 |  | 253.2597 | 164.2086 | 215.4684 | 129.5917