## QAQC
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Reduction Efficiency | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN NH4-N NOTES: | NH4-N concentration | NH4-N- % Error in check stds | NH4-N- DQO (<=20%) | NH4-N- RPD of duplicates | NH4-N- DQO (<=20% if conc>LOQ) | NH4-N- PR of spikes | NH4-N- DQO (80-120%) if conc>LOQ | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN PO4-P NOTES: | PO4-P concentration | PO4-P- % Error in check stds | PO4-P- DQO (<=20%) | PO4-P- RPD of duplicates | PO4-P- DQO (<=20% if conc>LOQ) | PO4-P- PR of spikes | PO4-P- DQO (80-120%) if conc>LOQ | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN NO3-N NOTES: | NO3-N concentration | NO3-N- % Error in check stds | NO3-N- DQO (<=20%) | NO3-N- RPD of duplicates | NO3-N- DQO (<=20% if conc>LOQ) | NO3-N- PR of spikes | NO3-N- DQO (80-120%) if conc>LOQ
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | dye | S7 | 1 | 1 | NH4-N | ug N/L | 9.95 | 343 | 7390 | PO4-P | ug P/L | 1.08 | 1.8 | 57.2 | NO3-N+NO2-N | ug N/L | 0.00452 | 0.0774 | 4.89 |  | 1 |  | 7390 | [6 empty] | 1 |  | 57.2 | [6 empty] | 1 |  | 4.89
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | dye | S7 | 1 | 1 | NH4-N | ug N/L | 9.86 | 385 | 7640 | PO4-P | ug P/L | -0.117 | -0.985 | -40.2 | NO3-N+NO2-N | ug N/L | 0.156 | 1.96 | 113 |  | 1 |  | 7640 | [6 empty] | 1 |  | -40.2 | [6 empty] | 1 |  | 113
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | nitrate | S1 | 1 | 1 | NH4-N | ug N/L | 1.7 | 29.6 | 1010 | PO4-P | ug P/L | 2.61 | 28.8 | 971 | NO3-N+NO2-N | ug N/L | 1.43 | 15.8 | 1010 |  | 1 |  | 1010 | [6 empty] | 1 |  | 971 | [6 empty] | 1 |  | 1010
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | nitrite | S6 | 1 | 1 | NH4-N | ug N/L | -0.0391 | -0.584 | -21.3 | PO4-P | ug P/L | 0.016 | 0.23 | 2.38 | NO3-N+NO2-N | ug N/L | 1.43 | 16 | 1020 | 100.6289 | 1 |  | -21.3 | [6 empty] | 1 |  | 2.38 | [6 empty] | 1 |  | 1020
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 1.68 | 29.2 | 1000 | PO4-P | ug P/L | 2.77 | 29.6 | 1000 | NO3-N+NO2-N | ug N/L | 1.44 | 15.9 | 1000 |  | 1 |  | 1000 | [6 empty] | 1 |  | 1000 | [6 empty] | 1 |  | 1000
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 1.69 | 29.5 | 1000 | PO4-P | ug P/L | 2.77 | 29.5 | 1000 | NO3-N+NO2-N | ug N/L | 1.43 | 15.9 | 1000 |  | 1 |  | 1000 | [6 empty] | 1 |  | 1000 | [6 empty] | 1 |  | 1000
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 1.69 | 29.5 | 1000 | PO4-P | ug P/L | 2.61 | 29.5 | 1000 | NO3-N+NO2-N | ug N/L | 1.42 | 15.6 | 1000 |  | 1 |  | 1000 | [6 empty] | 1 |  | 1000 | [6 empty] | 1 |  | 1000
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 0.825 | 14.4 | 500 | PO4-P | ug P/L | 1.39 | 15 | 500 | NO3-N+NO2-N | ug N/L | 0.74 | 8.26 | 500 |  | 1 |  | 500 | [6 empty] | 1 |  | 500 | [6 empty] | 1 |  | 500
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 0.836 | 14.5 | 500 | PO4-P | ug P/L | 1.38 | 15.1 | 500 | NO3-N+NO2-N | ug N/L | 0.73 | 8.12 | 500 |  | 1 |  | 500 | [6 empty] | 1 |  | 500 | [6 empty] | 1 |  | 500
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 0.825 | 14.4 | 500 | PO4-P | ug P/L | 1.38 | 14.8 | 500 | NO3-N+NO2-N | ug N/L | 0.738 | 8.22 | 500 |  | 1 |  | 500 | [6 empty] | 1 |  | 500 | [6 empty] | 1 |  | 500
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.403 | 7.04 | 250 | PO4-P | ug P/L | 0.675 | 7.31 | 250 | NO3-N+NO2-N | ug N/L | 0.363 | 4.07 | 250 |  | 1 |  | 250 | [6 empty] | 1 |  | 250 | [6 empty] | 1 |  | 250
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.393 | 6.89 | 250 | PO4-P | ug P/L | 0.628 | 7.02 | 250 | NO3-N+NO2-N | ug N/L | 0.359 | 3.99 | 250 |  | 1 |  | 250 | [6 empty] | 1 |  | 250 | [6 empty] | 1 |  | 250
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.416 | 6.98 | 250 | PO4-P | ug P/L | 0.67 | 7.25 | 250 | NO3-N+NO2-N | ug N/L | 0.346 | 3.83 | 250 |  | 1 |  | 250 | [6 empty] | 1 |  | 250 | [6 empty] | 1 |  | 250
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 100 | S2 | 1 | 1 | NH4-N | ug N/L | 0.182 | 3.2 | 100 | PO4-P | ug P/L | 0.277 | 3.04 | 100 | NO3-N+NO2-N | ug N/L | 0.176 | 1.83 | 100 |  | 1 |  | 100 | [6 empty] | 1 |  | 100 | [6 empty] | 1 |  | 100
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 100 | S2 | 1 | 1 | NH4-N | ug N/L | 0.179 | 3.11 | 100 | PO4-P | ug P/L | 0.264 | 3.05 | 100 | NO3-N+NO2-N | ug N/L | 0.163 | 1.77 | 100 |  | 1 |  | 100 | [6 empty] | 1 |  | 100 | [6 empty] | 1 |  | 100
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 100 | S2 | 1 | 1 | NH4-N | ug N/L | 0.181 | 3.17 | 100 | PO4-P | ug P/L | 0.262 | 2.94 | 100 | NO3-N+NO2-N | ug N/L | 0.161 | 1.82 | 100 |  | 1 |  | 100 | [6 empty] | 1 |  | 100 | [6 empty] | 1 |  | 100
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 50 | S2 | 2 | 1 | NH4-N | ug N/L | 0.071 | 1.13 | 50 | PO4-P | ug P/L | 0.133 | 1.6 | 50 | NO3-N+NO2-N | ug N/L | 0.0854 | 0.925 | 50 |  | 1 |  | 50 | [6 empty] | 1 |  | 50 | [6 empty] | 1 |  | 50
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 50 | S2 | 2 | 1 | NH4-N | ug N/L | 0.0775 | 1.35 | 50 | PO4-P | ug P/L | 0.14 | 1.6 | 50 | NO3-N+NO2-N | ug N/L | 0.0848 | 0.949 | 50 |  | 1 |  | 50 | [6 empty] | 1 |  | 50 | [6 empty] | 1 |  | 50
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 50 | S2 | 2 | 1 | NH4-N | ug N/L | 0.0809 | 1.41 | 50 | PO4-P | ug P/L | 0.14 | 1.58 | 50 | NO3-N+NO2-N | ug N/L | 0.0845 | 0.994 | 50 |  | 1 |  | 50 | [6 empty] | 1 |  | 50 | [6 empty] | 1 |  | 50
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 25 | S3 | 4 | 1 | NH4-N | ug N/L | 0.00845 | 0.145 | 25 | PO4-P | ug P/L | 0.0227 | 0.328 | 25 | NO3-N+NO2-N | ug N/L | 0.0121 | 0.178 | 25 |  | 1 |  | 25 | [6 empty] | 1 |  | 25 | [6 empty] | 1 |  | 25
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 25 | S3 | 4 | 1 | NH4-N | ug N/L | 0.00866 | 0.169 | 25 | PO4-P | ug P/L | 0.0228 | 0.332 | 25 | NO3-N+NO2-N | ug N/L | 0.0095 | 0.109 | 25 |  | 1 |  | 25 | [6 empty] | 1 |  | 25 | [6 empty] | 1 |  | 25
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 25 | S3 | 4 | 1 | NH4-N | ug N/L | 0.00685 | 0.123 | 25 | PO4-P | ug P/L | 0.0219 | 0.305 | 25 | NO3-N+NO2-N | ug N/L | 0.00959 | 0.125 | 25 |  | 1 |  | 25 | [6 empty] | 1 |  | 25 | [6 empty] | 1 |  | 25
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 10 | S2 | 10 | 1 | NH4-N | ug N/L | 0.0123 | 0.232 | 10 | PO4-P | ug P/L | 0.0304 | 0.437 | 10 | NO3-N+NO2-N | ug N/L | 0.0175 | 0.234 | 10 |  | 1 |  | 10 | [6 empty] | 1 |  | 10 | [6 empty] | 1 |  | 10
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 10 | S2 | 10 | 1 | NH4-N | ug N/L | 0.012 | 0.231 | 10 | PO4-P | ug P/L | 0.0336 | 0.454 | 10 | NO3-N+NO2-N | ug N/L | 0.0183 | 0.232 | 10 |  | 1 |  | 10 | [6 empty] | 1 |  | 10 | [6 empty] | 1 |  | 10
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 10 | S2 | 10 | 1 | NH4-N | ug N/L | 0.0132 | 0.261 | 10 | PO4-P | ug P/L | 0.0322 | 0.414 | 10 | NO3-N+NO2-N | ug N/L | 0.0175 | 0.211 | 10 |  | 1 |  | 10 | [6 empty] | 1 |  | 10 | [6 empty] | 1 |  | 10
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 5 | S4 | 1 | 1 | NH4-N | ug N/L | 0.00978 | 0.176 | 5 | PO4-P | ug P/L | 0.0193 | 0.264 | 5 | NO3-N+NO2-N | ug N/L | 0.00845 | 0.0706 | 5 |  | 1 |  | 5 | [6 empty] | 1 |  | 5 | [6 empty] | 1 |  | 5
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 5 | S4 | 1 | 1 | NH4-N | ug N/L | 0.009 | 0.197 | 5 | PO4-P | ug P/L | 0.0194 | 0.282 | 5 | NO3-N+NO2-N | ug N/L | 0.00701 | 0.0461 | 5 |  | 1 |  | 5 | [6 empty] | 1 |  | 5 | [6 empty] | 1 |  | 5
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 5 | S4 | 1 | 1 | NH4-N | ug N/L | 0.00799 | 0.167 | 5 | PO4-P | ug P/L | 0.0185 | 0.282 | 5 | NO3-N+NO2-N | ug N/L | 0.00702 | 0.0908 | 5 |  | 1 |  | 5 | [6 empty] | 1 |  | 5 | [6 empty] | 1 |  | 5
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 2.5 | S4 | 2 | 1 | NH4-N | ug N/L | 0.0131 | 0.104 | 2.5 | PO4-P | ug P/L | 0.0125 | 0.24 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00488 | 0.0538 | 2.5 |  | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 2.5 | S4 | 2 | 1 | NH4-N | ug N/L | 0.00474 | 0.0828 | 2.5 | PO4-P | ug P/L | 0.0139 | 0.236 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00593 | 0.0507 | 2.5 |  | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 2.5 | S4 | 2 | 1 | NH4-N | ug N/L | 0.00479 | 0.088 | 2.5 | PO4-P | ug P/L | 0.0112 | 0.151 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00679 | 0.113 | 2.5 |  | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00408 | 0.0555 | 0 | PO4-P | ug P/L | 0.00931 | 0.177 | 0 | NO3-N+NO2-N | ug N/L | -0.00362 | -0.0409 | 0 |  | 1 |  | 0 | [6 empty] | 1 |  | 0 | [6 empty] | 1 |  | 0
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00219 | 0.0156 | 0 | PO4-P | ug P/L | 0.0091 | 0.172 | 0 | NO3-N+NO2-N | ug N/L | -0.00553 | -0.0746 | 0 |  | 1 |  | 0 | [6 empty] | 1 |  | 0 | [6 empty] | 1 |  | 0
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.0123 | 0.0661 | 0 | PO4-P | ug P/L | 0.0101 | 0.168 | 0 | NO3-N+NO2-N | ug N/L | 0.00507 | 0.0174 | 0 |  | 1 |  | 0 | [6 empty] | 1 |  | 0 | [6 empty] | 1 |  | 0
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00875 | 0.164 | 5.11 | PO4-P | ug P/L | 0.019 | 0.295 | 4.69 | NO3-N+NO2-N | ug N/L | 0.00885 | 0.13 | 7.84 |  | 1 |  | 5.11 | [6 empty] | 1 |  | 4.69 | [6 empty] | 1 |  | 7.84
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00884 | 0.186 | 5.89 | PO4-P | ug P/L | 0.0189 | 0.271 | 3.85 | NO3-N+NO2-N | ug N/L | 0.00824 | 0.0975 | 6.03 |  | 1 |  | 5.89 | [6 empty] | 1 |  | 3.85 | [6 empty] | 1 |  | 6.03
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.01 | 0.215 | 6.9 | PO4-P | ug P/L | 0.0186 | 0.285 | 4.33 | NO3-N+NO2-N | ug N/L | 0.00827 | 0.133 | 8.03 |  | 1 |  | 6.9 | [6 empty] | 1 |  | 4.33 | [6 empty] | 1 |  | 8.03
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00898 | 0.163 | 5.08 | PO4-P | ug P/L | 0.0194 | 0.293 | 4.62 | NO3-N+NO2-N | ug N/L | 0.00901 | 0.114 | 6.99 |  | 1 |  | 5.08 | [6 empty] | 1 |  | 4.62 | [6 empty] | 1 |  | 6.99
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0068 | 0.122 | 3.64 | PO4-P | ug P/L | 0.0202 | 0.308 | 5.15 | NO3-N+NO2-N | ug N/L | 0.0107 | 0.132 | 7.98 |  | 1 |  | 3.64 | [6 empty] | 1 |  | 5.15 | [6 empty] | 1 |  | 7.98
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00884 | 0.187 | 5.9 | PO4-P | ug P/L | 0.0203 | 0.304 | 5.01 | NO3-N+NO2-N | ug N/L | 0.00898 | 0.117 | 7.12 |  | 2 | bad integration | 5.9 | [6 empty] | 1 |  | 5.01 | [6 empty] | 1 |  | 7.12
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00661 | 0.0969 | 2.74 | PO4-P | ug P/L | 0.0196 | 0.292 | 4.56 | NO3-N+NO2-N | ug N/L | 0.00992 | 0.077 | 4.87 |  | 2 | bad integration | 2.74 | [6 empty] | 1 |  | 4.56 | [6 empty] | 1 |  | 4.87
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00719 | 0.109 | 3.17 | PO4-P | ug P/L | 0.0192 | 0.279 | 4.11 | NO3-N+NO2-N | ug N/L | 0.00989 | 0.122 | 7.42 |  | 2 | bad integration | 3.17 | [6 empty] | 1 |  | 4.11 | [6 empty] | 1 |  | 7.42
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00901 | 0.16 | 4.98 | PO4-P | ug P/L | 0.0188 | 0.276 | 4.01 | NO3-N+NO2-N | ug N/L | 0.0146 | 0.124 | 7.54 |  | 1 |  | 4.98 | [6 empty] | 1 |  | 4.01 | [6 empty] | 1 |  | 7.54
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | nitrate | S1 | 1 | 1 | NH4-N | ug N/L | 1.67 | 29.1 | 990 | PO4-P | ug P/L | 2.68 | 28.5 | 961 | NO3-N+NO2-N | ug N/L | 1.38 | 15.2 | 962 |  | 1 |  | 990 | [6 empty] | 1 |  | 961 | [6 empty] | 1 |  | 962
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | nitrite | S6 | 1 | 1 | NH4-N | ug N/L | 0.015 | 0.296 | 9.76 | PO4-P | ug P/L | 0.00904 | 0.16 | -0.0417 | NO3-N+NO2-N | ug N/L | 1.43 | 15.9 | 1010 | 95.5975 | 1 |  | 9.76 | [6 empty] | 1 |  | -0.0417 | [6 empty] | 1 |  | 1010
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0363 | 0.675 | 23.6 | PO4-P | ug P/L | 0.0681 | 0.783 | 21.8 | NO3-N+NO2-N | ug N/L | 0.0379 | 0.427 | 23.3 |  | 1 |  | 23.6 | -5.6 | PASS |  |  |  |  | 1 |  | 21.8 | -12.8 | PASS |  |  |  |  | 1 |  | 23.3 | -6.8 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | -0.0216 | -0.067 | -2.39 | PO4-P | ug P/L | 0.01 | 0.198 | 1.63 | NO3-N+NO2-N | ug N/L | 0.00263 | 0.00255 | -0.773 |  | 1 |  | -2.39 | [6 empty] | 1 |  | 1.63 | [6 empty] | 1 |  | -0.773
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F100_R1 | 1 | 1 | 1 | NH4-N | ug N/L | 2.3 | 17.5 | 601 | PO4-P | ug P/L | 3.54 | 10.9 | 397 | NO3-N+NO2-N | ug N/L | 0.00456 | 0.0383 | 1.24 |  | 3 | bad integration | 601 | [6 empty] | 3 | bad integration | 397 | [6 empty] | 3 | bad integration | 1.24
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F01_R1 | 2 | 1 | 1 | NH4-N | ug N/L | 2.29 | 17.1 | 589 | PO4-P | ug P/L | 3.12 | 14.9 | 561 | NO3-N+NO2-N | ug N/L | 0.00557 | 0.0774 | 3.45 |  | 3 | bad integration | 589 | [6 empty] | 3 | bad integration | 561 | [6 empty] | 3 | bad integration | 3.45
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F01_R1 | 3 | 1 | 1 | NH4-N | ug N/L | 2.53 | 17.6 | 606 | PO4-P | ug P/L | 3.82 | 16.8 | 641 | NO3-N+NO2-N | ug N/L | 0.00229 | 0.0344 | 1.02 |  | 3 | bad integration | 606 | [6 empty] | 3 | bad integration | 641 | [6 empty] | 3 | bad integration | 1.02
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F200_R1 | 4 | 1 | 1 | NH4-N | ug N/L | 0.128 | 1.63 | 57.1 | PO4-P | ug P/L | 0.0269 | 0.331 | 6.19 | NO3-N+NO2-N | ug N/L | 0.0687 | 0.696 | 38.5 |  | 2 | spiky integration | 57.1 | [6 empty] | 1 |  | 6.19 | [6 empty] | 1 |  | 38.5
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B30_R1 | 5 | 1 | 1 | NH4-N | ug N/L | 0.0109 | 0.206 | 7.16 | PO4-P | ug P/L | 0.0139 | 0.184 | 1.15 | NO3-N+NO2-N | ug N/L | 0.00313 | 0.044 | 1.56 |  | 1 |  | 7.16 | [6 empty] | 1 |  | 1.15 | [6 empty] | 1 |  | 1.56
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F27Jun19_F99_R1 | 6 | 1 | 1 | NH4-N | ug N/L | 0.0504 | 0.361 | 12.6 | PO4-P | ug P/L | 0.0287 | 0.349 | 6.83 | NO3-N+NO2-N | ug N/L | 0.148 | 1.64 | 92.5 |  | 1 |  | 12.6 | [6 empty] | 1 |  | 6.83 | [6 empty] | 1 |  | 92.5
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jun19_F101_R1 | 7 | 1 | 1 | NH4-N | ug N/L | 0.00825 | 0.125 | 4.33 | PO4-P | ug P/L | 0.0458 | 0.575 | 14.6 | NO3-N+NO2-N | ug N/L | 0.23 | 2.52 | 144 |  | 1 |  | 4.33 | [6 empty] | 1 |  | 14.6 | [6 empty] | 1 |  | 144
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B50_R1 | 8 | 1 | 1 | NH4-N | ug N/L | 0.00824 | 0.153 | 5.32 | PO4-P | ug P/L | 0.00891 | 0.109 | -1.42 | NO3-N+NO2-N | ug N/L | 0.00905 | 0.08 | 3.6 |  | 1 |  | 5.32 | [6 empty] | 1 |  | -1.42 | [6 empty] | 2 | iffy integration | 3.6
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F200_R1 | 9 | 1 | 1 | NH4-N | ug N/L | 0.0442 | 0.785 | 27.4 | PO4-P | ug P/L | 0.0242 | 0.314 | 5.62 | NO3-N+NO2-N | ug N/L | 0.0418 | 0.454 | 24.8 |  | 1 |  | 27.4 | [6 empty] | 1 |  | 5.62 | [6 empty] | 1 |  | 24.8
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B200_R1 | 10 | 1 | 1 | NH4-N | ug N/L | 0.0364 | 0.678 | 23.7 | PO4-P | ug P/L | 0.0129 | 0.178 | 0.96 | NO3-N+NO2-N | ug N/L | 0.0132 | 0.162 | 8.21 |  | 1 |  | 23.7 | [6 empty] | 1 |  | 0.96 | [6 empty] | 1 |  | 8.21
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B30_R1_DUP | 14 | 1 | 1 | NH4-N | ug N/L | 0.012 | 0.215 | 7.47 | PO4-P | ug P/L | 0.0149 | 0.193 | 1.47 | NO3-N+NO2-N | ug N/L | 0.0055 | 0.0473 | 1.75 |  | 1 |  | 7.47 |  |  | 4.2379 | PASS |  |  | 1 |  | 1.47 |  |  | 24.4275 | PASS |  |  | 1 |  | 1.75 |  |  | 11.4804 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B200_R1_SPK | 15 | 1 | 1 | NH4-N | ug N/L | 0.0677 | 1.22 | 42.6 | PO4-P | ug P/L | 0.0562 | 0.691 | 18.6 | NO3-N+NO2-N | ug N/L | 0.0412 | 0.466 | 25.5 |  | 1 |  | 42.6 |  |  |  |  | 105.15 | PASS | 1 |  | 18.6 |  |  |  |  | 92.85 | PASS | 1 |  | 25.5 |  |  |  |  | 92.825 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0397 | 0.678 | 23.7 | PO4-P | ug P/L | 0.0614 | 0.742 | 20.3 | NO3-N+NO2-N | ug N/L | 0.0349 | 0.388 | 21 |  | 1 |  | 23.7 | -5.2 | PASS |  |  |  |  | 1 |  | 20.3 | -18.8 | PASS |  |  |  |  | 1 |  | 21 | -16 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | 0.00389 | 0.0842 | 2.9 | PO4-P | ug P/L | 0.00818 | 0.141 | -0.311 | NO3-N+NO2-N | ug N/L | 0.00331 | 0.0313 | 0.848 |  | 1 |  | 2.9 | [6 empty] | 1 |  | -0.311 | [6 empty] | 1 |  | 0.848
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B45_R1 | 16 | 1 | 1 | NH4-N | ug N/L | 0.00722 | 0.175 | 6.09 | PO4-P | ug P/L | 0.0129 | 0.205 | 1.88 | NO3-N+NO2-N | ug N/L | 0.00478 | 0.0573 | 2.32 |  | 1 |  | 6.09 | [6 empty] | 1 |  | 1.88 | [6 empty] | 1 |  | 2.32
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F22Jun19_0.1m | 17 | 1 | 1 | NH4-N | ug N/L | 0.0104 | 0.191 | 6.62 | PO4-P | ug P/L | 0.0325 | 0.434 | 9.74 | NO3-N+NO2-N | ug N/L | 0.00673 | 0.0857 | 3.92 |  | 1 |  | 6.62 | [6 empty] | 1 |  | 9.74 | [6 empty] | 1 |  | 3.92
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F100_R1 | 18 | 1 | 1 | NH4-N | ug N/L | 0.00615 | 0.0898 | 3.1 | PO4-P | ug P/L | 0.0247 | 0.358 | 7.11 | NO3-N+NO2-N | ug N/L | 0.109 | 1.13 | 63.5 |  | 1 |  | 3.1 | [6 empty] | 1 |  | 7.11 | [6 empty] | 1 |  | 63.5
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F27Jun19_F30_R1 | 19 | 1 | 1 | NH4-N | ug N/L | 0.00698 | 0.135 | 4.68 | PO4-P | ug P/L | 0.0189 | 0.273 | 4.21 | NO3-N+NO2-N | ug N/L | 0.00433 | 0.0414 | 1.42 |  | 1 |  | 4.68 | [6 empty] | 1 |  | 4.21 | [6 empty] | 1 |  | 1.42
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B45_R1 | 20 | 1 | 1 | NH4-N | ug N/L | 0.0136 | 0.156 | 5.43 | PO4-P | ug P/L | 0.0119 | 0.187 | 1.27 | NO3-N+NO2-N | ug N/L | 0.00363 | 0.0306 | 0.808 |  | 2 | spiky integration | 5.43 | [6 empty] | 1 |  | 1.27 | [6 empty] | 1 |  | 0.808
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_0.1m | 21 | 1 | 1 | NH4-N | ug N/L | 0.0258 | 0.493 | 17.2 | PO4-P | ug P/L | 0.0215 | 0.295 | 4.98 | NO3-N+NO2-N | ug N/L | 0.00998 | 0.109 | 5.24 |  | 1 |  | 17.2 | [6 empty] | 1 |  | 4.98 | [6 empty] | 1 |  | 5.24
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F50_R1 | 22 | 1 | 1 | NH4-N | ug N/L | 0.00413 | 0.0886 | 3.06 | PO4-P | ug P/L | 0.0123 | 0.196 | 1.59 | NO3-N+NO2-N | ug N/L | 0.00366 | 0.0353 | 1.08 |  | 1 |  | 3.06 | [6 empty] | 1 |  | 1.59 | [6 empty] | 2 | iffy integration | 1.08
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B30_R1 | 23 | 1 | 1 | NH4-N | ug N/L | 0.00315 | 0.0566 | 1.94 | PO4-P | ug P/L | 0.0109 | 0.171 | 0.728 | NO3-N+NO2-N | ug N/L | 0.00292 | 0.0368 | 1.16 |  | 1 |  | 1.94 | [6 empty] | 1 |  | 0.728 | [6 empty] | 1 |  | 1.16
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F45_R1 | 24 | 1 | 1 | NH4-N | ug N/L | 0.00408 | 0.0762 | 2.63 | PO4-P | ug P/L | 0.012 | 0.179 | 0.995 | NO3-N+NO2-N | ug N/L | -0.00277 | 0.0145 | -0.0978 |  | 1 |  | 2.63 | [6 empty] | 1 |  | 0.995 | [6 empty] | 1 |  | -0.0978
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F20_R1 | 25 | 1 | 1 | NH4-N | ug N/L | 0.00962 | 0.12 | 4.15 | PO4-P | ug P/L | 0.0152 | 0.227 | 2.65 | NO3-N+NO2-N | ug N/L | 0.00825 | 0.075 | 3.31 |  | 1 |  | 4.15 | [6 empty] | 1 |  | 2.65 | [6 empty] | 1 |  | 3.31
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B45_R1_DUP | 29 | 1 | 1 | NH4-N | ug N/L | 0.0162 | 0.175 | 6.08 | PO4-P | ug P/L | 0.0113 | 0.167 | 0.572 | NO3-N+NO2-N | ug N/L | 0.00379 | 0.0467 | 1.72 |  | 1 |  | 6.08 |  |  | 11.2945 | PASS |  |  | 1 |  | 0.572 |  |  | 75.7872 | FAIL |  |  | 1 |  | 1.72 |  |  | 72.1519 | FAIL
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F20_R1_SPK | 30 | 1 | 1 | NH4-N | ug N/L | 0.0378 | 0.723 | 25.3 | PO4-P | ug P/L | 0.0548 | 0.703 | 19 | NO3-N+NO2-N | ug N/L | 0.0347 | 0.353 | 19 |  | 1 |  | 25.3 |  |  |  |  | 112.075 | PASS | 1 |  | 19 |  |  |  |  | 86.5 | PASS | 1 |  | 19 |  |  |  |  | 83.2 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0405 | 0.714 | 24.9 | PO4-P | ug P/L | 0.0622 | 0.797 | 22.2 | NO3-N+NO2-N | ug N/L | 0.0346 | 0.374 | 20.2 |  | 1 |  | 24.9 | -0.4 | PASS |  |  |  |  | 1 |  | 22.2 | -11.2 | PASS |  |  |  |  | 1 |  | 20.2 | -19.2 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | 0.00708 | 0.0161 | 0.519 | PO4-P | ug P/L | 0.0103 | 0.167 | 0.588 | NO3-N+NO2-N | ug N/L | 0.00318 | 0.0514 | 1.98 |  | 1 |  | 0.519 | [6 empty] | 1 |  | 0.588 | [6 empty] | 1 |  | 1.98
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B50_R1 | 31 | 1 | 1 | NH4-N | ug N/L | 0.0187 | 0.131 | 4.55 | PO4-P | ug P/L | 0.0124 | 0.179 | 1.01 | NO3-N+NO2-N | ug N/L | 0.00307 | 0.0559 | 2.24 |  | 2 | spiky integration | 4.55 | [6 empty] | 1 |  | 1.01 | [6 empty] | 1 |  | 2.24
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F50_R1 | 32 | 1 | 1 | NH4-N | ug N/L | 0.0203 | 0.388 | 13.5 | PO4-P | ug P/L | 0.016 | 0.22 | 2.39 | NO3-N+NO2-N | ug N/L | 0.00401 | 0.0532 | 2.09 |  | 1 |  | 13.5 | [6 empty] | 1 |  | 2.39 | [6 empty] | 1 |  | 2.09
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F01_R1 | 33 | 1 | 1 | NH4-N | ug N/L | 0.0161 | 0.265 | 9.24 | PO4-P | ug P/L | 0.021 | 0.284 | 4.59 | NO3-N+NO2-N | ug N/L | 0.0921 | 1.01 | 56.6 |  | 1 |  | 9.24 | [6 empty] | 1 |  | 4.59 | [6 empty] | 1 |  | 56.6
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F99_R1 | 34 | 1 | 1 | NH4-N | ug N/L | 0.00898 | 0.2 | 6.95 | PO4-P | ug P/L | 0.0235 | 0.311 | 5.51 | NO3-N+NO2-N | ug N/L | 0.105 | 1.14 | 63.8 |  | 1 |  | 6.95 | [6 empty] | 1 |  | 5.51 | [6 empty] | 1 |  | 63.8
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_inf | 35 | 1 | 1 | NH4-N | ug N/L | 0.0184 | 0.268 | 9.32 | PO4-P | ug P/L | 0.018 | 0.26 | 3.76 | NO3-N+NO2-N | ug N/L | 0.0331 | 0.29 | 15.5 |  | 2 | spiky integration | 9.32 | [6 empty] | 1 |  | 3.76 | [6 empty] | 2 | iffy integration | 15.5
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F15Jul19_8.0m | 36 | 1 | 1 | NH4-N | ug N/L | 0.198 | 3.5 | 122 | PO4-P | ug P/L | 0.0119 | 0.19 | 1.37 | NO3-N+NO2-N | ug N/L | 0.00707 | 0.0765 | 3.4 |  | 1 |  | 122 | [6 empty] | 1 |  | 1.37 | [6 empty] | 1 |  | 3.4
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B19Jul19_B200_R1 | 37 | 1 | 1 | NH4-N | ug N/L | 0.0796 | 1.39 | 48.4 | PO4-P | ug P/L | 0.0129 | 0.192 | 1.43 | NO3-N+NO2-N | ug N/L | 0.0556 | 0.604 | 33.3 |  | 1 |  | 48.4 | [6 empty] | 1 |  | 1.43 | [6 empty] | 1 |  | 33.3
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F30_R1 | 38 | 1 | 1 | NH4-N | ug N/L | 0.00712 | 0.0989 | 3.42 | PO4-P | ug P/L | 0.0189 | 0.257 | 3.68 | NO3-N+NO2-N | ug N/L | 0.00358 | 0.0539 | 2.12 |  | 1 |  | 3.42 | [6 empty] | 1 |  | 3.68 | [6 empty] | 1 |  | 2.12
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_6.2m | 39 | 1 | 1 | NH4-N | ug N/L | 0.0145 | 0.195 | 6.78 | PO4-P | ug P/L | 0.0166 | 0.228 | 2.68 | NO3-N+NO2-N | ug N/L | 0.00921 | 0.115 | 5.57 |  | 2 | spiky integration | 6.78 | [6 empty] | 1 |  | 2.68 | [6 empty] | 1 |  | 5.57
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F100_R1 | 40 | 1 | 1 | NH4-N | ug N/L | 0.00955 | 0.184 | 6.39 | PO4-P | ug P/L | 0.0417 | 0.518 | 12.6 | NO3-N+NO2-N | ug N/L | 0.223 | 2.5 | 143 |  | 1 |  | 6.39 | [6 empty] | 1 |  | 12.6 | [6 empty] | 1 |  | 143
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_inf_DUP | 44 | 1 | 1 | NH4-N | ug N/L | 0.00801 | 0.135 | 4.68 | PO4-P | ug P/L | 0.017 | 0.228 | 2.67 | NO3-N+NO2-N | ug N/L | 0.0255 | 0.301 | 16.1 |  | 1 |  | 4.68 |  |  | 66.2857 | FAIL |  |  | 1 |  | 2.67 |  |  | 33.9036 | PASS |  |  | 1 |  | 16.1 |  |  | 3.7975 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F100_R1_SPK | 45 | 1 | 1 | NH4-N | ug N/L | 0.0402 | 0.746 | 26 | PO4-P | ug P/L | 0.0903 | 1.05 | 31.1 | NO3-N+NO2-N | ug N/L | 0.247 | 2.72 | 156 |  | 1 |  | 26 |  |  |  |  | 104.55 | PASS | 1 |  | 31.1 |  |  |  |  | 100.275 | PASS | 1 |  | 156 |  |  |  |  | 104 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0372 | 0.676 | 23.6 | PO4-P | ug P/L | 0.06 | 0.731 | 20 | NO3-N+NO2-N | ug N/L | 0.0337 | 0.353 | 19 |  | 1 |  | 23.6 | -5.6 | PASS |  |  |  |  | 1 |  | 20 | -20 | PASS |  |  |  |  | 1 |  | 19 | -24 | FAIL
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | 0.00256 | 0.0309 | 1.04 | PO4-P | ug P/L | 0.00944 | 0.163 | 0.449 | NO3-N+NO2-N | ug N/L | -0.00354 | -0.0409 | -3.22 |  | 1 |  | 1.04 | [6 empty] | 1 |  | 0.449 | [6 empty] | 1 |  | -3.22
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_8.0m | 46 | 1 | 1 | NH4-N | ug N/L | 0.0398 | 0.781 | 27.3 | PO4-P | ug P/L | 0.0185 | 0.269 | 4.07 | NO3-N+NO2-N | ug N/L | 0.0524 | 0.566 | 31.1 |  | 1 |  | 27.3 | [6 empty] | 1 |  | 4.07 | [6 empty] | 1 |  | 31.1
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F30_R1 | 47 | 1 | 1 | NH4-N | ug N/L | 0.0182 | 0.128 | 4.42 | PO4-P | ug P/L | 0.0115 | 0.185 | 1.19 | NO3-N+NO2-N | ug N/L | 0.00739 | 0.0121 | -0.237 |  | 2 | spiky integration | 4.42 | [6 empty] | 1 |  | 1.19 | [6 empty] | 2 | iffy integration | -0.237
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F05Aug19_F100 | 48 | 1 | 1 | NH4-N | ug N/L | 0.00855 | 0.149 | 5.16 | PO4-P | ug P/L | 0.037 | 0.467 | 10.9 | NO3-N+NO2-N | ug N/L | 0.0979 | 1.1 | 61.5 |  | 1 |  | 5.16 | [6 empty] | 1 |  | 10.9 | [6 empty] | 1 |  | 61.5
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B100_R1 | 49 | 1 | 1 | NH4-N | ug N/L | 0.0381 | 0.62 | 21.6 | PO4-P | ug P/L | 0.0199 | 0.289 | 4.75 | NO3-N+NO2-N | ug N/L | 0.0175 | 0.227 | 11.9 |  | 1 |  | 21.6 | [6 empty] | 1 |  | 4.75 | [6 empty] | 1 |  | 11.9
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_0.1m | 50 | 1 | 1 | NH4-N | ug N/L | 0.0141 | 0.271 | 9.44 | PO4-P | ug P/L | 0.0135 | 0.189 | 1.34 | NO3-N+NO2-N | ug N/L | 0.00796 | 0.085 | 3.88 |  | 1 |  | 9.44 | [6 empty] | 1 |  | 1.34 | [6 empty] | 1 |  | 3.88
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F27Jun19_F101_R1 | 51 | 1 | 1 | NH4-N | ug N/L | 0.00922 | 0.194 | 6.76 | PO4-P | ug P/L | 0.0313 | 0.419 | 9.21 | NO3-N+NO2-N | ug N/L | 0.144 | 1.57 | 88.9 |  | 1 |  | 6.76 | [6 empty] | 1 |  | 9.21 | [6 empty] | 1 |  | 88.9
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F200_R1 | 52 | 1 | 1 | NH4-N | ug N/L | 0.032 | 0.627 | 21.9 | PO4-P | ug P/L | 0.0163 | 0.243 | 3.19 | NO3-N+NO2-N | ug N/L | 0.0973 | 1.04 | 58 |  | 1 |  | 21.9 | [6 empty] | 1 |  | 3.19 | [6 empty] | 1 |  | 58
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Mar19_3.8m | 53 | 1 | 1 | NH4-N | ug N/L | 0.00746 | 0.166 | 5.77 | PO4-P | ug P/L | 0.0137 | 0.222 | 2.47 | NO3-N+NO2-N | ug N/L | 0.026 | 0.252 | 13.3 |  | 1 |  | 5.77 | [6 empty] | 1 |  | 2.47 | [6 empty] | 2 | iffy integration | 13.3
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_6.0m | 54 | 1 | 1 | NH4-N | ug N/L | 0.00697 | 0.147 | 5.11 | PO4-P | ug P/L | 0.0153 | 0.235 | 2.92 | NO3-N+NO2-N | ug N/L | 0.00517 | 0.0588 | 2.4 |  | 1 |  | 5.11 | [6 empty] | 1 |  | 2.92 | [6 empty] | 1 |  | 2.4
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B01_R1 | 55 | 1 | 1 | NH4-N | ug N/L | 0.00579 | 0.104 | 3.61 | PO4-P | ug P/L | 0.0116 | 0.175 | 0.871 | NO3-N+NO2-N | ug N/L | 0.00461 | 0.0446 | 1.6 |  | 1 |  | 3.61 | [6 empty] | 1 |  | 0.871 | [6 empty] | 1 |  | 1.6
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_0.1m_DUP | 59 | 1 | 1 | NH4-N | ug N/L | 0.0105 | 0.184 | 6.41 | PO4-P | ug P/L | 0.0158 | 0.243 | 3.19 | NO3-N+NO2-N | ug N/L | 0.0081 | 0.0879 | 4.04 |  | 1 |  | 6.41 |  |  | 38.2334 | PASS |  |  | 1 |  | 3.19 |  |  | 81.6777 | FAIL |  |  | 1 |  | 4.04 |  |  | 4.0404 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B01_R1_SPK | 60 | 1 | 1 | NH4-N | ug N/L | 0.0508 | 0.905 | 31.6 | PO4-P | ug P/L | 0.0572 | 0.686 | 18.4 | NO3-N+NO2-N | ug N/L | 0.0285 | 0.309 | 16.5 |  | 1 |  | 31.6 |  |  |  |  | 147.85 | PASS | 1 |  | 18.4 |  |  |  |  | 92.245 | PASS | 1 |  | 16.5 |  |  |  |  | 78.625 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 1.69 | 29.6 | 1010 | PO4-P | ug P/L | 2.56 | 29.4 | 1210 | NO3-N+NO2-N | ug N/L | 1.36 | 15.1 | 959 |  | 1 |  | 1010 | [6 empty] | 1 |  | 1210 | [6 empty] | 1 |  | 959
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 0.834 | 14.7 | 507 | PO4-P | ug P/L | 1.4 | 15.3 | 578 | NO3-N+NO2-N | ug N/L | 0.731 | 8.17 | 491 |  | 1 |  | 507 | [6 empty] | 1 |  | 578 | [6 empty] | 1 |  | 491
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.402 | 7.12 | 247 | PO4-P | ug P/L | 0.655 | 7.41 | 262 | NO3-N+NO2-N | ug N/L | 0.362 | 4.02 | 233 |  | 1 |  | 247 | [6 empty] | 1 |  | 262 | [6 empty] | 1 |  | 233
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 100 | S2 | 1 | 1 | NH4-N | ug N/L | 0.181 | 3.23 | 113 | PO4-P | ug P/L | 0.279 | 3.06 | 102 | NO3-N+NO2-N | ug N/L | 0.158 | 1.72 | 97.2 |  | 1 |  | 113 | [6 empty] | 1 |  | 102 | [6 empty] | 1 |  | 97.2
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 50 | S2 | 2 | 1 | NH4-N | ug N/L | 0.0783 | 1.46 | 51.2 | PO4-P | ug P/L | 0.141 | 1.58 | 49.4 | NO3-N+NO2-N | ug N/L | 0.0836 | 0.893 | 49.8 |  | 1 |  | 51.2 | [6 empty] | 1 |  | 49.4 | [6 empty] | 1 |  | 49.8
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.04 | 0.718 | 25.1 | PO4-P | ug P/L | 0.0671 | 0.798 | 22.3 | NO3-N+NO2-N | ug N/L | 0.0374 | 0.397 | 21.5 |  | 1 |  | 25.1 | 0.4 | PASS |  |  |  |  | 1 |  | 22.3 | -10.8 | PASS |  |  |  |  | 1 |  | 21.5 | -14 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 10 | S2 | 10 | 1 | NH4-N | ug N/L | 0.0203 | 0.199 | 6.91 | PO4-P | ug P/L | 0.0297 | 0.397 | 8.45 | NO3-N+NO2-N | ug N/L | 0.0173 | 0.204 | 10.6 |  | 1 |  | 6.91 | [6 empty] | 1 |  | 8.45 | [6 empty] | 1 |  | 10.6
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 5 | S2 | 20 | 1 | NH4-N | ug N/L | 0.00765 | 0.176 | 6.1 | PO4-P | ug P/L | 0.0199 | 0.285 | 4.61 | NO3-N+NO2-N | ug N/L | 0.0105 | 0.122 | 5.99 |  | 1 |  | 6.1 | [6 empty] | 1 |  | 4.61 | [6 empty] | 1 |  | 5.99
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 2.5 | S3 | 10 | 1 | NH4-N | ug N/L | 0.0135 | 0.13 | 4.49 | PO4-P | ug P/L | 0.0138 | 0.209 | 2 | NO3-N+NO2-N | ug N/L | 0.00554 | 0.0713 | 3.11 |  | 1 |  | 4.49 | [6 empty] | 1 |  | 2 | [6 empty] | 1 |  | 3.11
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00405 | 0.0694 | 2.38 | PO4-P | ug P/L | 0.00937 | 0.164 | 0.474 | NO3-N+NO2-N | ug N/L | 0.00377 | 0.0153 | -0.0545 |  | 1 |  | 2.38 | [6 empty] | 1 |  | 0.474 | [6 empty] | 1 |  | -0.0545
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | nitrite | S6 | 1 | 1 | NH4-N | ug N/L | 0.00267 | 0.0257 | 0.856 | PO4-P | ug P/L | 0.00891 | 0.144 | -0.209 | NO3-N+NO2-N | ug N/L | 1.45 | 16.1 | 1030 | 93.7888 | 1 |  | 0.856 | [6 empty] | 1 |  | -0.209 | [6 empty] | 1 |  | 1030
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_5.0m | 61 | 1 | 1 | NH4-N | ug N/L | 0.0182 | 0.424 | 14.8 | PO4-P | ug P/L | 0.0114 | 0.168 | 0.628 | NO3-N+NO2-N | ug N/L | 0.0071 | 0.0842 | 3.84 |  | 1 |  | 14.8 | [6 empty] | 1 |  | 0.628 | [6 empty] | 1 |  | 3.84
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F15Jul19_inf | 62 | 1 | 1 | NH4-N | ug N/L | 0.0168 | 0.315 | 11 | PO4-P | ug P/L | 0.0405 | 0.525 | 12.9 | NO3-N+NO2-N | ug N/L | 0.26 | 2.84 | 163 |  | 1 |  | 11 | [6 empty] | 1 |  | 12.9 | [6 empty] | 1 |  | 163
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F17Jun19_0.1m | 63 | 1 | 1 | NH4-N | ug N/L | 0.00646 | 0.103 | 3.56 | PO4-P | ug P/L | 0.0145 | 0.235 | 2.92 | NO3-N+NO2-N | ug N/L | 0.00426 | 0.0528 | 2.06 |  | 1 |  | 3.56 | [6 empty] | 1 |  | 2.92 | [6 empty] | 1 |  | 2.06
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B100_R1 | 64 | 1 | 1 | NH4-N | ug N/L | 0.0565 | 0.954 | 33.3 | PO4-P | ug P/L | 0.0225 | 0.331 | 6.21 | NO3-N+NO2-N | ug N/L | 0.0412 | 0.435 | 23.7 |  | 1 |  | 33.3 | [6 empty] | 1 |  | 6.21 | [6 empty] | 1 |  | 23.7
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F22Apr19_0.1m | 65 | 1 | 1 | NH4-N | ug N/L | 0.0211 | 0.394 | 13.7 | PO4-P | ug P/L | 0.0173 | 0.267 | 4 | NO3-N+NO2-N | ug N/L | 0.0126 | 0.131 | 6.49 |  | 1 |  | 13.7 | [6 empty] | 1 |  | 4 | [6 empty] | 1 |  | 6.49
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F13May19_6.2m | 66 | 1 | 1 | NH4-N | ug N/L | 0.023 | 0.444 | 15.5 | PO4-P | ug P/L | 0.0123 | 0.181 | 1.05 | NO3-N+NO2-N | ug N/L | 0.0132 | 0.148 | 7.44 |  | 1 |  | 15.5 | [6 empty] | 1 |  | 1.05 | [6 empty] | 1 |  | 7.44
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F10Jun19_8.0m | 67 | 1 | 1 | NH4-N | ug N/L | 0.0488 | 0.878 | 30.7 | PO4-P | ug P/L | 0.0117 | 0.175 | 0.871 | NO3-N+NO2-N | ug N/L | 0.00502 | 0.0739 | 3.25 |  | 1 |  | 30.7 | [6 empty] | 1 |  | 0.871 | [6 empty] | 1 |  | 3.25
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F102_R1 | 68 | 1 | 1 | NH4-N | ug N/L | 0.0587 | 1.02 | 35.5 | PO4-P | ug P/L | 0.0196 | 0.259 | 3.75 | NO3-N+NO2-N | ug N/L | 0.208 | 2.31 | 132 |  | 1 |  | 35.5 | [6 empty] | 1 |  | 3.75 | [6 empty] | 1 |  | 132
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F27Jun19_F200_R1 | 69 | 1 | 1 | NH4-N | ug N/L | 0.0437 | 0.768 | 26.8 | PO4-P | ug P/L | 0.0237 | 0.323 | 5.92 | NO3-N+NO2-N | ug N/L | 0.0768 | 0.867 | 48.3 |  | 1 |  | 26.8 | [6 empty] | 1 |  | 5.92 | [6 empty] | 1 |  | 48.3
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F05Aug19_0.1m | 70 | 1 | 1 | NH4-N | ug N/L | 0.0122 | 0.258 | 8.98 | PO4-P | ug P/L | 0.0168 | 0.251 | 3.47 | NO3-N+NO2-N | ug N/L | 0.00532 | 0.0625 | 2.61 |  | 1 |  | 8.98 | [6 empty] | 1 |  | 3.47 | [6 empty] | 1 |  | 2.61
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F22Apr19_0.1m_DUP | 74 | 1 | 1 | NH4-N | ug N/L | 0.0245 | 0.355 | 12.4 | PO4-P | ug P/L | 0.0141 | 0.21 | 2.05 | NO3-N+NO2-N | ug N/L | 0.012 | 0.118 | 5.72 |  | 1 |  | 12.4 |  |  | 9.9617 | PASS |  |  | 1 |  | 2.05 |  |  | 64.4628 | FAIL |  |  | 1 |  | 5.72 |  |  | 12.6126 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F05aug19_0.1m_SPK | 75 | 1 | 1 | NH4-N | ug N/L | 0.0489 | 0.948 | 33.1 | PO4-P | ug P/L | 0.0582 | 0.732 | 20 | NO3-N+NO2-N | ug N/L | 0.0305 | 0.33 | 17.7 |  | 1 |  | 33.1 |  |  |  |  | 128.875 | FAIL | 1 |  | 20 |  |  |  |  | 87.65 | PASS | 1 |  | 17.7 |  |  |  |  | 79.875 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0412 | 0.72 | 25.1 | PO4-P | ug P/L | 0.0608 | 0.766 | 21.2 | NO3-N+NO2-N | ug N/L | 0.0334 | 0.37 | 20 |  | 1 |  | 25.1 | 0.4 | PASS |  |  |  |  | 1 |  | 21.2 | -15.2 | PASS |  |  |  |  | 1 |  | 20 | -20 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | 0.00855 | 0.0943 | 3.26 | PO4-P | ug P/L | 0.00945 | 0.159 | 0.301 | NO3-N+NO2-N | ug N/L | -0.00223 | -0.0186 | -1.96 |  | 1 |  | 3.26 | [6 empty] | 1 |  | 0.301 | [6 empty] | 1 |  | -1.96
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F27Jun19_9.0m | 76 | 1 | 1 | NH4-N | ug N/L | 0.208 | 3.69 | 129 | PO4-P | ug P/L | 0.0135 | 0.203 | 1.8 | NO3-N+NO2-N | ug N/L | 0.00722 | 0.0983 | 4.63 |  | 1 |  | 129 | [6 empty] | 1 |  | 1.8 | [6 empty] | 1 |  | 4.63
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F99_R1 | 77 | 1 | 1 | NH4-N | ug N/L | 0.0183 | 0.183 | 6.35 | PO4-P | ug P/L | 0.0165 | 0.238 | 3.03 | NO3-N+NO2-N | ug N/L | 0.0278 | 0.316 | 16.9 |  | 1 |  | 6.35 | [6 empty] | 1 |  | 3.03 | [6 empty] | 1 |  | 16.9
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B45_R1 | 78 | 1 | 1 | NH4-N | ug N/L | 0.00757 | 0.186 | 6.48 | PO4-P | ug P/L | 0.011 | 0.164 | 0.472 | NO3-N+NO2-N | ug N/L | 0.00287 | 0.0301 | 0.781 |  | 1 |  | 6.48 | [6 empty] | 1 |  | 0.472 | [6 empty] | 1 |  | 0.781
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Mar19_0.1m | 79 | 1 | 1 | NH4-N | ug N/L | 0.0108 | 0.284 | 9.88 | PO4-P | ug P/L | 0.0117 | 0.185 | 1.21 | NO3-N+NO2-N | ug N/L | 0.0259 | 0.28 | 14.9 |  | 1 |  | 9.88 | [6 empty] | 1 |  | 1.21 | [6 empty] | 1 |  | 14.9
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F22Jul19_F102_R1 | 80 | 1 | 1 | NH4-N | ug N/L | 0.0561 | 0.917 | 32 | PO4-P | ug P/L | 0.0214 | 0.312 | 5.54 | NO3-N+NO2-N | ug N/L | 0.195 | 2.18 | 124 |  | 2 | spiky integration | 32 | [6 empty] | 1 |  | 5.54 | [6 empty] | 1 |  | 124
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B20_R1 | 81 | 1 | 1 | NH4-N | ug N/L | 0.00766 | 0.141 | 4.9 | PO4-P | ug P/L | 0.012 | 0.201 | 1.75 | NO3-N+NO2-N | ug N/L | 0.00416 | 0.0355 | 1.08 |  | 1 |  | 4.9 | [6 empty] | 1 |  | 1.75 | [6 empty] | 1 |  | 1.08
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B20Jun19_B200_R1 | 82 | 1 | 1 | NH4-N | ug N/L | 0.068 | 1.26 | 43.9 | PO4-P | ug P/L | 0.0144 | 0.218 | 2.32 | NO3-N+NO2-N | ug N/L | 0.045 | 0.507 | 27.8 |  | 1 |  | 43.9 | [6 empty] | 1 |  | 2.32 | [6 empty] | 1 |  | 27.8
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F102_R1 | 83 | 1 | 1 | NH4-N | ug N/L | 0.00791 | 0.14 | 4.84 | PO4-P | ug P/L | 0.0154 | 0.215 | 2.23 | NO3-N+NO2-N | ug N/L | 0.0199 | 0.241 | 12.7 |  | 1 |  | 4.84 | [6 empty] | 1 |  | 2.23 | [6 empty] | 1 |  | 12.7
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F27Jun19_F102_R1 | 84 | 1 | 1 | NH4-N | ug N/L | 0.0185 | 0.343 | 11.9 | PO4-P | ug P/L | 0.0161 | 0.232 | 2.79 | NO3-N+NO2-N | ug N/L | 0.041 | 0.474 | 25.9 |  | 1 |  | 11.9 | [6 empty] | 1 |  | 2.79 | [6 empty] | 1 |  | 25.9
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B20_R1 | 85 | 1 | 1 | NH4-N | ug N/L | 0.00521 | 0.137 | 4.73 | PO4-P | ug P/L | 0.0122 | 0.179 | 0.985 | NO3-N+NO2-N | ug N/L | 0.00242 | 0.00947 | -0.383 |  | 1 | okay | 4.73 | [6 empty] | 1 |  | 0.985 | [6 empty] | 1 |  | -0.383
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 10 | S2 | 10 | 1 | NH4-N | ug N/L | 0.0226 | 0.299 | 10.4 | PO4-P | ug P/L | 0.0312 | 0.421 | 9.3 | NO3-N+NO2-N | ug N/L | 0.0168 | 0.192 | 9.94 |  | 1 |  | 10.4 | [6 empty] | 1 |  | 9.3 | [6 empty] | 1 |  | 9.94
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F22Jul19_F102_R1_DUP | 89 | 1 | 1 | NH4-N | ug N/L | 0.0554 | 0.933 | 32.6 | PO4-P | ug P/L | 0.023 | 0.359 | 7.15 | NO3-N+NO2-N | ug N/L | 0.186 | 2.05 | 117 |  | 1 |  | 32.6 |  |  | 1.8576 | PASS |  |  | 1 |  | 7.15 |  |  | 25.3743 | PASS |  |  | 1 |  | 117 |  |  | 5.8091 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B20_R1_SPK | 90 | 1 | 1 | NH4-N | ug N/L | 0.037 | 0.574 | 20 | PO4-P | ug P/L | 0.0559 | 0.697 | 18.8 | NO3-N+NO2-N | ug N/L | 0.0296 | 0.313 | 16.8 |  | 2 | spiky integration | 20 |  |  |  |  | 81.35 | PASS | 1 |  | 18.8 |  |  |  |  | 93.775 | PASS | 1 |  | 16.8 |  |  |  |  | 90.115 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0465 | 0.741 | 25.9 | PO4-P | ug P/L | 0.066 | 0.786 | 21.8 | NO3-N+NO2-N | ug N/L | 0.0306 | 0.315 | 16.9 |  | 1 |  | 25.9 | 3.6 | PASS |  |  |  |  | 1 |  | 21.8 | -12.8 | PASS |  |  |  |  | 1 |  | 16.9 | -32.4 | FAIL
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | 0.00851 | 0.0394 | 1.34 | PO4-P | ug P/L | 0.00759 | 0.136 | -0.495 | NO3-N+NO2-N | ug N/L | -0.00246 | 0.00748 | -0.495 |  | 1 |  | 1.34 | [6 empty] | 1 |  | -0.495 | [6 empty] | 1 |  | -0.495
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F200_R1 | 91 | 1 | 1 | NH4-N | ug N/L | 0.0153 | 0.245 | 8.52 | PO4-P | ug P/L | 0.0168 | 0.227 | 2.65 | NO3-N+NO2-N | ug N/L | 0.0009 | 0.0133 | -0.17 |  | 1 |  | 8.52 | [6 empty] | 1 |  | 2.65 | [6 empty] | 1 |  | -0.17
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F102_R1 | 92 | 1 | 1 | NH4-N | ug N/L | 0.00833 | 0.0702 | 2.41 | PO4-P | ug P/L | 0.0121 | 0.194 | 1.49 | NO3-N+NO2-N | ug N/L | 0.00497 | 0.0676 | 2.9 |  | 1 |  | 2.41 | [6 empty] | 1 |  | 1.49 | [6 empty] | 1 |  | 2.9
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B30_R1 | 93 | 1 | 1 | NH4-N | ug N/L | 0.0124 | 0.187 | 6.51 | PO4-P | ug P/L | 0.0126 | 0.201 | 1.76 | NO3-N+NO2-N | ug N/L | 0.00186 | 0.00361 | -0.713 |  | 1 |  | 6.51 | [6 empty] | 1 |  | 1.76 | [6 empty] | 1 |  | -0.713
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F22Apr19_WET | 94 | 1 | 1 | NH4-N | ug N/L | 0.026 | 0.465 | 16.2 | PO4-P | ug P/L | 0.02 | 0.28 | 4.45 | NO3-N+NO2-N | ug N/L | 0.146 | 1.65 | 93.3 |  | 1 |  | 16.2 | [6 empty] | 1 |  | 4.45 | [6 empty] | 1 |  | 93.3
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F20_R1 | 95 | 1 | 1 | NH4-N | ug N/L | 0.0261 | 0.268 | 9.33 | PO4-P | ug P/L | 0.0144 | 0.224 | 2.52 | NO3-N+NO2-N | ug N/L | -0.0039 | -0.0374 | -3.02 |  | 2 | spiky integration | 9.33 | [6 empty] | 1 |  | 2.52 | [6 empty] | 1 |  | -3.02
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B50_R1 | 96 | 1 | 1 | NH4-N | ug N/L | 0.0121 | 0.282 | 9.83 | PO4-P | ug P/L | 0.0132 | 0.189 | 1.35 | NO3-N+NO2-N | ug N/L | 0.00342 | 0.0314 | 0.853 |  | 1 |  | 9.83 | [6 empty] | 1 |  | 1.35 | [6 empty] | 1 |  | 0.853
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F27Jun19_F100_R1 | 97 | 1 | 1 | NH4-N | ug N/L | 0.0185 | 0.298 | 10.4 | PO4-P | ug P/L | 0.0308 | 0.403 | 8.67 | NO3-N+NO2-N | ug N/L | 0.155 | 1.76 | 99.5 |  | 1 |  | 10.4 | [6 empty] | 1 |  | 8.67 | [6 empty] | 1 |  | 99.5
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F30_R1 | 98 | 1 | 1 | NH4-N | ug N/L | 0.00517 | 0.0998 | 3.45 | PO4-P | ug P/L | 0.0117 | 0.191 | 1.39 | NO3-N+NO2-N | ug N/L | -0.00147 | -0.00931 | -1.44 |  | 1 |  | 3.45 | [6 empty] | 1 |  | 1.39 | [6 empty] | 1 |  | -1.44
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F101_R1 | 99 | 1 | 1 | NH4-N | ug N/L | 0.00697 | 0.163 | 5.66 | PO4-P | ug P/L | 0.0139 | 0.209 | 2.01 | NO3-N+NO2-N | ug N/L | 0.0218 | 0.293 | 15.6 |  | 1 |  | 5.66 | [6 empty] | 1 |  | 2.01 | [6 empty] | 1 |  | 15.6
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B01_R1 | 100 | 1 | 1 | NH4-N | ug N/L | 0.0288 | 0.195 | 6.78 | PO4-P | ug P/L | 0.0106 | 0.179 | 0.983 | NO3-N+NO2-N | ug N/L | 0.00285 | 0.0269 | 0.601 |  | 3 | spiky integration | 6.78 | [6 empty] | 1 |  | 0.983 | [6 empty] | 1 |  | 0.601
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F20_R1_DUP | 104 | 1 | 1 | NH4-N | ug N/L | 0.00431 | 0.0992 | 3.43 | PO4-P | ug P/L | 0.0114 | 0.176 | 0.888 | NO3-N+NO2-N | ug N/L | 0.00187 | -0.0103 | -1.5 |  | 1 |  | 3.43 |  |  | 92.4765 | FAIL |  |  | 1 |  | 0.888 |  |  | 95.7746 | FAIL |  |  | 1 |  | -1.5 |  |  | 67.2566 | FAIL
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B01_R1_SPK | 105 | 1 | 1 | NH4-N | ug N/L | 0.0388 | 0.704 | 24.6 | PO4-P | ug P/L | 0.0543 | 0.674 | 18 | NO3-N+NO2-N | ug N/L | 0.0288 | 0.317 | 17 |  | 1 |  | 24.6 |  |  |  |  | 95.25 | PASS | 1 |  | 18 |  |  |  |  | 89.585 | PASS | 1 |  | 17 |  |  |  |  | 86.245 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0402 | 0.745 | 26 | PO4-P | ug P/L | 0.0618 | 0.78 | 21.7 | NO3-N+NO2-N | ug N/L | 0.0332 | 0.373 | 20.2 |  | 1 |  | 26 | 4 | PASS |  |  |  |  | 1 |  | 21.7 | -13.2 | PASS |  |  |  |  | 1 |  | 20.2 | -19.2 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | 0.00579 | 0.148 | 5.12 | PO4-P | ug P/L | 0.00925 | 0.17 | 0.702 | NO3-N+NO2-N | ug N/L | -0.00246 | -0.0226 | -2.19 |  | 1 |  | 5.12 | [6 empty] | 1 |  | 0.702 | [6 empty] | 1 |  | -2.19
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F101_R1 | 106 | 1 | 1 | NH4-N | ug N/L | 0.00959 | 0.182 | 6.34 | PO4-P | ug P/L | 0.0219 | 0.302 | 5.22 | NO3-N+NO2-N | ug N/L | 0.0899 | 1.04 | 58.3 |  | 1 |  | 6.34 | [6 empty] | 1 |  | 5.22 | [6 empty] | 1 |  | 58.3
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B20Jun19_B100_R1 | 107 | 1 | 1 | NH4-N | ug N/L | 0.0301 | 0.528 | 18.4 | PO4-P | ug P/L | 0.0174 | 0.242 | 3.14 | NO3-N+NO2-N | ug N/L | 0.0204 | 0.227 | 11.9 |  | 1 |  | 18.4 | [6 empty] | 1 |  | 3.14 | [6 empty] | 1 |  | 11.9
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F45_R1 | 108 | 1 | 1 | NH4-N | ug N/L | 0.0606 | 0.452 | 15.8 | PO4-P | ug P/L | 0.0188 | 0.241 | 3.11 | NO3-N+NO2-N | ug N/L | -0.00182 | -0.0101 | -1.48 |  | 2 | spiky integration | 15.8 | [6 empty] | 1 |  | 3.11 | [6 empty] | 1 |  | -1.48
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B100_R1 | 109 | 1 | 1 | NH4-N | ug N/L | 0.0275 | 0.55 | 19.2 | PO4-P | ug P/L | 0.0193 | 0.283 | 4.54 | NO3-N+NO2-N | ug N/L | 0.0283 | 0.31 | 16.6 |  | 1 |  | 19.2 | [6 empty] | 1 |  | 4.54 | [6 empty] | 1 |  | 16.6
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B20_R1 | 110 | 1 | 1 | NH4-N | ug N/L | 0.0115 | 0.189 | 6.58 | PO4-P | ug P/L | 0.0103 | 0.179 | 0.983 | NO3-N+NO2-N | ug N/L | -0.00371 | -0.0329 | -2.77 |  | 1 | okay | 6.58 | [6 empty] | 1 |  | 0.983 | [6 empty] | 1 |  | -2.77
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Mar19_WET | 111 | 1 | 1 | NH4-N | ug N/L | 0.0179 | 0.298 | 10.4 | PO4-P | ug P/L | 0.0209 | 0.302 | 5.21 | NO3-N+NO2-N | ug N/L | 0.117 | 1.31 | 73.9 |  | 1 |  | 10.4 | [6 empty] | 1 |  | 5.21 | [6 empty] | 1 |  | 73.9
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_3.8m | 112 | 1 | 1 | NH4-N | ug N/L | 0.045 | 0.518 | 18.1 | PO4-P | ug P/L | 0.017 | 0.237 | 2.98 | NO3-N+NO2-N | ug N/L | 0.00497 | 0.045 | 1.62 |  | 2 | spiky integration | 18.1 | [6 empty] | 1 |  | 2.98 | [6 empty] | 1 |  | 1.62
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F45_R1 | 113 | 1 | 1 | NH4-N | ug N/L | 0.0216 | 0.32 | 11.2 | PO4-P | ug P/L | 0.0138 | 0.216 | 2.27 | NO3-N+NO2-N | ug N/L | -0.00224 | -0.0332 | -2.79 |  | 2 | spiky integration | 11.2 | [6 empty] | 1 |  | 2.27 | [6 empty] | 1 |  | -2.79
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B200_R1 | 114 | 1 | 1 | NH4-N | ug N/L | 0.0689 | 1.07 | 37.5 | PO4-P | ug P/L | 0.0153 | 0.212 | 2.12 | NO3-N+NO2-N | ug N/L | 0.0301 | 0.344 | 18.6 |  | 1 |  | 37.5 | [6 empty] | 1 |  | 2.12 | [6 empty] | 1 |  | 18.6
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B01_R1 | 115 | 1 | 1 | NH4-N | ug N/L | 0.00991 | 0.152 | 5.29 | PO4-P | ug P/L | 0.00983 | 0.166 | 0.543 | NO3-N+NO2-N | ug N/L | 0.00225 | 0.0284 | 0.684 |  | 1 |  | 5.29 | [6 empty] | 1 |  | 0.543 | [6 empty] | 1 |  | 0.684
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B20_R1_DUP | 119 | 1 | 1 | NH4-N | ug N/L | 0.105 | 0.6 | 20.9 | PO4-P | ug P/L | 0.0111 | 0.178 | 0.942 | NO3-N+NO2-N | ug N/L | 0.00286 | 0.0334 | 0.968 |  | 3 | spiky integration | 20.9 | [6 empty] | 1 |  | 0.942 |  |  | 4.2597 | PASS |  |  | 1 |  | 0.968 |  |  | 414.8724 | FAIL
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B01_R1_SPK | 120 | 1 | 1 | NH4-N | ug N/L | 0.0405 | 0.771 | 26.9 | PO4-P | ug P/L | 0.0515 | 0.658 | 17.4 | NO3-N+NO2-N | ug N/L | 0.0293 | 0.304 | 16.2 |  | 1 |  | 26.9 |  |  |  |  | 114.775 | PASS | 1 |  | 17.4 |  |  |  |  | 88.635 | PASS | 1 |  | 16.2 |  |  |  |  | 81.63 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 1.66 | 29.3 | 997 | PO4-P | ug P/L | 2.5 | 28.3 | 1160 | NO3-N+NO2-N | ug N/L | 1.28 | 13.7 | 861 |  | 1 |  | 997 | [6 empty] | 1 |  | 1160 | [6 empty] | 1 |  | 861
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 0.83 | 14.6 | 503 | PO4-P | ug P/L | 1.32 | 15 | 563 | NO3-N+NO2-N | ug N/L | 0.711 | 7.96 | 478 |  | 1 |  | 503 | [6 empty] | 1 |  | 563 | [6 empty] | 1 |  | 478
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.415 | 7.15 | 248 | PO4-P | ug P/L | 0.686 | 7.4 | 261 | NO3-N+NO2-N | ug N/L | 0.359 | 4.02 | 233 |  | 1 |  | 248 | [6 empty] | 1 |  | 261 | [6 empty] | 1 |  | 233
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 100 | S2 | 1 | 1 | NH4-N | ug N/L | 0.18 | 3.19 | 111 | PO4-P | ug P/L | 0.263 | 3.03 | 101 | NO3-N+NO2-N | ug N/L | 0.155 | 1.72 | 97.5 |  | 1 |  | 111 | [6 empty] | 1 |  | 101 | [6 empty] | 1 |  | 97.5
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 50 | S2 | 2 | 1 | NH4-N | ug N/L | 0.0786 | 1.41 | 49.1 | PO4-P | ug P/L | 0.13 | 1.49 | 46.4 | NO3-N+NO2-N | ug N/L | 0.0824 | 0.95 | 53.1 |  | 1 |  | 49.1 | [6 empty] | 1 |  | 46.4 | [6 empty] | 1 |  | 53.1
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0402 | 0.766 | 26.7 | PO4-P | ug P/L | 0.0645 | 0.747 | 20.5 | NO3-N+NO2-N | ug N/L | 0.0336 | 0.382 | 20.7 |  | 1 |  | 26.7 | 6.8 | PASS |  |  |  |  | 1 |  | 20.5 | -18 | PASS |  |  |  |  | 1 |  | 20.7 | -17.2 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 10 | S2 | 10 | 1 | NH4-N | ug N/L | 0.0192 | 0.231 | 8.04 | PO4-P | ug P/L | 0.0316 | 0.428 | 9.53 | NO3-N+NO2-N | ug N/L | 0.0207 | 0.2 | 10.4 |  | 1 |  | 8.04 | [6 empty] | 1 |  | 9.53 | [6 empty] | 1 |  | 10.4
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 5 | S2 | 20 | 1 | NH4-N | ug N/L | 0.00753 | 0.164 | 5.69 | PO4-P | ug P/L | 0.0196 | 0.27 | 4.11 | NO3-N+NO2-N | ug N/L | 0.00971 | 0.116 | 5.61 |  | 1 |  | 5.69 | [6 empty] | 1 |  | 4.11 | [6 empty] | 1 |  | 5.61
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 2.5 | S3 | 10 | 1 | NH4-N | ug N/L | 0.00537 | 0.0862 | 2.97 | PO4-P | ug P/L | 0.0123 | 0.179 | 0.999 | NO3-N+NO2-N | ug N/L | 0.0048 | 0.0549 | 2.18 |  | 1 |  | 2.97 | [6 empty] | 1 |  | 0.999 | [6 empty] | 1 |  | 2.18
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 0 | S5 | 1 | 1 | NH4-N | ug N/L | -0.00246 | -0.0711 | -2.53 | PO4-P | ug P/L | 0.00882 | 0.141 | -0.308 | NO3-N+NO2-N | ug N/L | 0.00153 | 0.00317 | -0.738 |  | 1 |  | -2.53 | [6 empty] | 1 |  | -0.308 | [6 empty] | 1 |  | -0.738
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | nitrite | S6 | 1 | 1 | NH4-N | ug N/L | -0.00261 | -0.0804 | -2.85 | PO4-P | ug P/L | 0.0078 | 0.141 | -0.292 | NO3-N+NO2-N | ug N/L | 1.4 | 15.8 | 1010 | 86.7089 | 1 |  | -2.85 | [6 empty] | 1 |  | -0.292 | [6 empty] | 1 |  | 1010
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F100_R1 | 1 | 1 | 1 | NH4-N | ug N/L | 0.011 | 0.191 | 6.64 | PO4-P | ug P/L | 0.0154 | 0.193 | 1.48 | NO3-N+NO2-N | ug N/L | 0.0339 | 0.366 | 19.8 |  | 1 |  | 6.64 | [6 empty] | 1 |  | 1.48 | [6 empty] | 1 |  | 19.8
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F01_R1 | 2 | 1 | 1 | NH4-N | ug N/L | 0.014 | 0.329 | 11.5 | PO4-P | ug P/L | 0.022 | 0.304 | 5.29 | NO3-N+NO2-N | ug N/L | 0.207 | 2.32 | 132 |  | 1 |  | 11.5 | [6 empty] | 1 |  | 5.29 | [6 empty] | 1 |  | 132
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F01_R1 | 3 | 1 | 1 | NH4-N | ug N/L | 0.0327 | 0.302 | 10.5 | PO4-P | ug P/L | 0.0138 | 0.225 | 2.57 | NO3-N+NO2-N | ug N/L | 0.00465 | 0.0462 | 1.69 |  | 2 | spiky integration | 10.5 | [6 empty] | 1 |  | 2.57 | [6 empty] | 1 |  | 1.69
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F20_R1 | 25 | 1 | 1 | NH4-N | ug N/L | 0.00838 | 0.172 | 5.98 | PO4-P | ug P/L | 0.0144 | 0.209 | 2.02 | NO3-N+NO2-N | ug N/L | 0.00595 | 0.0586 | 2.39 |  | 1 |  | 5.98 | [6 empty] | 1 |  | 2.02 | [6 empty] | 1 |  | 2.39
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F30May19_F30_R1 | 47 | 1 | 1 | NH4-N | ug N/L | 0.0046 | 0.0997 | 3.45 | PO4-P | ug P/L | 0.0114 | 0.186 | 1.24 | NO3-N+NO2-N | ug N/L | 0.00143 | 0.0155 | -0.0449 |  | 1 |  | 3.45 | [6 empty] | 1 |  | 1.24 | [6 empty] | 1 |  | -0.0449
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F99_R1 | 77 | 1 | 1 | NH4-N | ug N/L | 0.0194 | 0.256 | 8.92 | PO4-P | ug P/L | 0.0146 | 0.212 | 2.13 | NO3-N+NO2-N | ug N/L | 0.0276 | 0.309 | 16.6 |  | 2 | spiky integration | 8.92 | [6 empty] | 1 |  | 2.13 | [6 empty] | 1 |  | 16.6
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F200_R1 | 91 | 1 | 1 | NH4-N | ug N/L | 0.00515 | 0.114 | 3.93 | PO4-P | ug P/L | 0.0189 | 0.273 | 4.2 | NO3-N+NO2-N | ug N/L | 0.00291 | 0.0398 | 1.33 |  | 1 |  | 3.93 | [6 empty] | 1 |  | 4.2 | [6 empty] | 1 |  | 1.33
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F102_R1 | 92 | 1 | 1 | NH4-N | ug N/L | 0.0144 | 0.211 | 7.33 | PO4-P | ug P/L | 0.0127 | 0.184 | 1.18 | NO3-N+NO2-N | ug N/L | 0.00637 | 0.0752 | 3.32 |  | 2 |  | 7.33 | [6 empty] | 1 |  | 1.18 | [6 empty] | 1 |  | 3.32
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul19_B01_R1 | 100 | 1 | 1 | NH4-N | ug N/L | 0.0616 | 0.297 | 10.3 | PO4-P | ug P/L | 0.00881 | 0.129 | -0.702 | NO3-N+NO2-N | ug N/L | -0.00379 | -0.0339 | -2.83 |  | 2 | spiky integration | 10.3 | [6 empty] | 1 |  | -0.702 | [6 empty] | 1 |  | -2.83
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F18Jul19_F45_R1 | 108 | 1 | 1 | NH4-N | ug N/L | 0.00911 | 0.192 | 6.69 | PO4-P | ug P/L | 0.0203 | 0.298 | 5.07 | NO3-N+NO2-N | ug N/L | 0.00396 | 0.0472 | 1.74 |  | 1 |  | 6.69 | [6 empty] | 1 |  | 5.07 | [6 empty] | 1 |  | 1.74
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F01Apr19_3.8m | 112 | 1 | 1 | NH4-N | ug N/L | 0.00602 | 0.107 | 3.69 | PO4-P | ug P/L | 0.0143 | 0.225 | 2.58 | NO3-N+NO2-N | ug N/L | 0.0045 | 0.0464 | 1.7 |  | 1 |  | 3.69 | [6 empty] | 1 |  | 2.58 | [6 empty] | 1 |  | 1.7
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0612 | 0.968 | 33.8 | PO4-P | ug P/L | 0.0633 | 0.749 | 20.6 | NO3-N+NO2-N | ug N/L | 0.0329 | 0.389 | 21.1 |  | 1 |  | 33.8 | 35.2 | FAIL |  |  |  |  | 1 |  | 20.6 | -17.6 | PASS |  |  |  |  | 1 |  | 21.1 | -15.6 | PASS
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B18Jul18_B30_R1 | 5 | 1 | 1 | NH4-N | ug N/L | 0.0139 | 0.288 | 10 | PO4-P | ug P/L | 0.016 | 0.215 | 2.24 | NO3-N+NO2-N | ug N/L | 0.00206 | 0.0145 | -0.101 |  | 2 | spiky integration | 10 | [6 empty] | 1 |  | 2.24 | [6 empty] | 1 |  | -0.101
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B30May19_B50_R1 | 8 | 1 | 1 | NH4-N | ug N/L | 0.0091 | 0.149 | 5.18 | PO4-P | ug P/L | 0.0113 | 0.165 | 0.519 | NO3-N+NO2-N | ug N/L | 0.00198 | 0.0221 | 0.332 |  | 1 |  | 5.18 | [6 empty] | 1 |  | 0.519 | [6 empty] | 1 |  | 0.332
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_F45_R1 | 24 | 1 | 1 | NH4-N | ug N/L | 0.0104 | 0.147 | 5.1 | PO4-P | ug P/L | 0.0118 | 0.171 | 0.734 | NO3-N+NO2-N | ug N/L | 0.00131 | 0.0153 | -0.0538 |  | 2 | spiky integration | 5.1 | [6 empty] | 1 |  | 0.734 | [6 empty] | 1 |  | -0.0538
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B01_R1 | 55 | 1 | 1 | NH4-N | ug N/L | 0.0043 | 0.071 | 2.44 | PO4-P | ug P/L | 0.0111 | 0.179 | 0.983 | NO3-N+NO2-N | ug N/L | 0.00259 | 0.027 | 0.603 |  | 1 |  | 2.44 | [6 empty] | 1 |  | 0.983 | [6 empty] | 1 |  | 0.603
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F17Jun19_0.1m | 63 | 1 | 1 | NH4-N | ug N/L | 0.00656 | 0.15 | 5.2 | PO4-P | ug P/L | 0.0138 | 0.199 | 1.69 | NO3-N+NO2-N | ug N/L | 0.00284 | 0.0347 | 1.04 |  | 1 |  | 5.2 | [6 empty] | 1 |  | 1.69 | [6 empty] | 1 |  | 1.04
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | F29Apr19_B20_R1 | 85 | 1 | 1 | NH4-N | ug N/L | 0.0028 | 0.0416 | 1.41 | PO4-P | ug P/L | 0.0121 | 0.191 | 1.41 | NO3-N+NO2-N | ug N/L | 0.0058 | 0.0375 | 1.2 |  | 1 |  | 1.41 | [6 empty] | 1 |  | 1.41 | [6 empty] | 1 |  | 1.2
2019-10-14 | OM_10-14-2019_12-51-46PMbrnedit.omn | B29Apr19_B30_R1 | 93 | 1 | 1 | NH4-N | ug N/L | 0.00589 | 0.135 | 4.69 | PO4-P | ug P/L | 0.0139 | 0.22 | 2.38 | NO3-N+NO2-N | ug N/L | 0.00194 | -0.0131 | -1.66 |  | 1 |  | 4.69 | [6 empty] | 1 |  | 2.38 | [6 empty] | 1 |  | -1.66

## sorted
Sample ID | Cup Number | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN NH4-N NOTES: | NH4-N concentration | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN PO4-P NOTES: | PO4-P concentration | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN NO3-N NOTES: | NO3-N concentration
B18Jul19_B30_R1 | 5 | 2 | spiky integration | 10 | 1 |  | 2.24 | 1 |  | -0.101
B18Jul19_B01_R1 | 100 | 2 | spiky integration | 10.3 | 1 |  | -0.702 | 1 |  | -2.83
B18Jul19_B100_R1 | 64 | 1 |  | 33.3 | 1 |  | 6.21 | 1 |  | 23.7
B18Jul19_B20_R1 | 81 | 1 |  | 4.9 | 1 |  | 1.75 | 1 |  | 1.08
B18Jul19_B30_R1 | 5 | 1 |  | 7.16 | 1 |  | 1.15 | 1 |  | 1.56
B18Jul19_B45_R1_DUP | 29 | 1 |  | 6.08 | 1 |  | 0.572 | 1 |  | 1.72
B18Jul19_B50_R1 | 96 | 1 |  | 9.83 | 1 |  | 1.35 | 1 |  | 0.853
B19Jul19_B200_R1 | 37 | 1 |  | 48.4 | 1 |  | 1.43 | 1 |  | 33.3
B20Jun19_B100_R1 | 107 | 1 |  | 18.4 | 1 |  | 3.14 | 1 |  | 11.9
B20Jun19_B200_R1 | 82 | 1 |  | 43.9 | 1 |  | 2.32 | 1 |  | 27.8
B29Apr19_B01_R1 | 55 | 1 |  | 3.61 | 1 |  | 0.871 | 1 |  | 1.6
B29Apr19_B100_R1 | 109 | 1 |  | 19.2 | 1 |  | 4.54 | 1 |  | 16.6
B29Apr19_B20_R1 | 85 | 1 | okay | 4.73 | 1 |  | 0.985 | 1 |  | -0.383
B29Apr19_B200_R1 | 10 | 1 |  | 23.7 | 1 |  | 0.96 | 1 |  | 8.21
B29Apr19_B30_R1 | 93 | 1 |  | 6.51 | 1 |  | 1.76 | 1 |  | -0.713
B29Apr19_B45_R1 | 78 | 1 |  | 6.48 | 1 |  | 0.472 | 1 |  | 0.781
B29Apr19_B50_R1 | 31 | 2 | spiky integration | 4.55 | 1 |  | 1.01 | 1 |  | 2.24
B30May19_B01_R1 | 115 | 1 |  | 5.29 | 1 |  | 0.543 | 1 |  | 0.684
B30May19_B100_R1 | 49 | 1 |  | 21.6 | 1 |  | 4.75 | 1 |  | 11.9
B30May19_B20_R1 | 110 | 1 | okay | 6.58 | 1 |  | 0.983 | 1 |  | -2.77
B30May19_B200_R1 | 114 | 1 |  | 37.5 | 1 |  | 2.12 | 1 |  | 18.6
B30May19_B30_R1 | 23 | 1 |  | 1.94 | 1 |  | 0.728 | 1 |  | 1.16
B30May19_B45_R1 | 16 | 1 |  | 6.09 | 1 |  | 1.88 | 1 |  | 2.32
B30May19_B50_R1 | 8 | 1 |  | 5.18 | 1 |  | 0.519 | 1 |  | 0.332
F01Apr19_0.1m | 50 | 1 |  | 9.44 | 1 |  | 1.34 | 1 |  | 3.88
F01Apr19_3.8m | 112 | 1 |  | 3.69 | 1 |  | 2.58 | 1 |  | 1.7
F01Apr19_6.0m | 54 | 1 |  | 5.11 | 1 |  | 2.92 | 1 |  | 2.4
F01Apr19_6.2m | 39 | 2 |  | 6.78 | 1 |  | 2.68 | 1 |  | 5.57
F01Apr19_8.0m | 46 | 1 |  | 27.3 | 1 |  | 4.07 | 1 |  | 31.1
F01Apr19_inf_DUP | 44 | 1 |  | 4.68 | 1 |  | 2.67 | 1 |  | 16.1
F05Aug19_0.1m | 70 | 1 |  | 8.98 | 1 |  | 3.47 | 1 |  | 2.61
F05Aug19_F100 | 48 | 1 |  | 5.16 | 1 |  | 10.9 | 1 |  | 61.5
F10Jun19_8.0m | 67 | 1 |  | 30.7 | 1 |  | 0.871 | 1 |  | 3.25
F13May19_6.2m | 66 | 1 |  | 15.5 | 1 |  | 1.05 | 1 |  | 7.44
F15Jul19_8.0m | 36 | 1 |  | 122 | 1 |  | 1.37 | 1 |  | 3.4
F15Jul19_inf | 62 | 1 |  | 11 | 1 |  | 12.9 | 1 |  | 163
F17Jun19_0.1m | 63 | 1 |  | 3.56 | 1 |  | 2.92 | 1 |  | 2.06
F18Jul19_0.1m | 21 | 1 |  | 17.2 | 1 |  | 4.98 | 1 |  | 5.24
F18Jul19_5.0m | 61 | 1 |  | 14.8 | 1 |  | 0.628 | 1 |  | 3.84
F18Jul19_F01_R1 | 2 | 1 |  | 11.5 | 1 |  | 5.29 | 1 |  | 132
F18Jul19_F100_R1 | 40 | 1 |  | 6.39 | 1 |  | 12.6 | 1 |  | 143
F18Jul19_F102_R1 | 68 | 1 |  | 35.5 | 1 |  | 3.75 | 1 |  | 132
F18Jul19_F200_R1 | 4 | 2 | spiky integration | 57.1 | 1 |  | 6.19 | 1 |  | 38.5
F18Jul19_F200_R1 | 91 | 1 |  | 8.52 | 1 |  | 2.65 | 1 |  | -0.17
F18Jul19_F200_R1 | 91 | 1 |  | 3.93 | 1 |  | 4.2 | 1 |  | 1.33
F18Jul19_F30_R1 | 38 | 1 |  | 3.42 | 1 |  | 3.68 | 1 |  | 2.12
F18Jul19_F45_R1 | 108 | 1 |  | 6.69 | 1 |  | 5.07 | 1 |  | 1.74
F18Jun19_F101_R1 | 7 | 1 |  | 4.33 | 1 |  | 14.6 | 1 |  | 144
F18Mar19_0.1m | 79 | 1 |  | 9.88 | 1 |  | 1.21 | 1 |  | 14.9
F18Mar19_3.8m | 53 | 1 |  | 5.77 | 1 |  | 2.47 | 2 | iffy integration | 13.3
F18Mar19_WET | 111 | 1 |  | 10.4 | 1 |  | 5.21 | 1 |  | 73.9
F22Apr19_0.1m | 65 | 1 |  | 13.7 | 1 |  | 4 | 1 |  | 6.49
F22Apr19_WET | 94 | 1 |  | 16.2 | 1 |  | 4.45 | 1 |  | 93.3
F22Jul19_F102_R1_DUP | 89 | 1 |  | 32.6 | 1 |  | 7.15 | 1 |  | 117
F22Jun19_0.1m | 17 | 1 |  | 6.62 | 1 |  | 9.74 | 1 |  | 3.92
F27Jun19_9.0m | 76 | 1 |  | 129 | 1 |  | 1.8 | 1 |  | 4.63
F27Jun19_F100_R1 | 97 | 1 |  | 10.4 | 1 |  | 8.67 | 1 |  | 99.5
F27Jun19_F101_R1 | 51 | 1 |  | 6.76 | 1 |  | 9.21 | 1 |  | 88.9
F27Jun19_F102_R1 | 84 | 1 |  | 11.9 | 1 |  | 2.79 | 1 |  | 25.9
F27Jun19_F200_R1 | 69 | 1 |  | 26.8 | 1 |  | 5.92 | 1 |  | 48.3
F27Jun19_F30_R1 | 19 | 1 |  | 4.68 | 1 |  | 4.21 | 1 |  | 1.42
F27Jun19_F99_R1 | 6 | 1 |  | 12.6 | 1 |  | 6.83 | 1 |  | 92.5
F29Apr19_B20_R1 | 85 | 1 |  | 1.41 | 1 |  | 1.41 | 1 |  | 1.2
F29Apr19_F01_R1 | 3 | 2 | spiky integration | 10.5 | 1 |  | 2.57 | 1 |  | 1.69
F29Apr19_F100_R1 | 1 | 1 |  | 6.64 | 1 |  | 1.48 | 1 |  | 19.8
F29Apr19_F101_R1 | 99 | 1 |  | 5.66 | 1 |  | 2.01 | 1 |  | 15.6
F29Apr19_F102_R1 | 92 | 1 |  | 2.41 | 1 |  | 1.49 | 1 |  | 2.9
F29Apr19_F20_R1_DUP | 104 | 1 |  | 3.43 | 1 |  | 0.888 | 1 |  | -1.5
F29Apr19_F200_R1 | 52 | 1 |  | 21.9 | 1 |  | 3.19 | 1 |  | 58
F29Apr19_F30_R1 | 98 | 1 |  | 3.45 | 1 |  | 1.39 | 1 |  | -1.44
F29Apr19_F45_R1 | 24 | 1 |  | 2.63 | 1 |  | 0.995 | 1 |  | -0.0978
F29Apr19_F50_R1 | 22 | 1 |  | 3.06 | 1 |  | 1.59 | 2 | iffy integration | 1.08
F29Apr19_F99_R1 | 77 | 1 |  | 6.35 | 1 |  | 3.03 | 1 |  | 16.9
F30May19_F01_R1 | 33 | 1 |  | 9.24 | 1 |  | 4.59 | 1 |  | 56.6
F30May19_F100_R1 | 18 | 1 |  | 3.1 | 1 |  | 7.11 | 1 |  | 63.5
F30May19_F101_R1 | 106 | 1 |  | 6.34 | 1 |  | 5.22 | 1 |  | 58.3
F30May19_F102_R1 | 83 | 1 |  | 4.84 | 1 |  | 2.23 | 1 |  | 12.7
F30May19_F20_R1 | 25 | 1 |  | 4.15 | 1 |  | 2.65 | 1 |  | 3.31
F30May19_F200_R1 | 9 | 1 |  | 27.4 | 1 |  | 5.62 | 1 |  | 24.8
F30May19_F30_R1 | 47 | 1 |  | 3.45 | 1 |  | 1.24 | 1 |  | -0.0449
F30May19_F45_R1 | 113 | 2 | spiky integration | 11.2 | 1 |  | 2.27 | 1 |  | -2.79
F30May19_F50_R1 | 32 | 1 |  | 13.5 | 1 |  | 2.39 | 1 |  | 2.09
F30May19_F99_R1 | 34 | 1 |  | 6.95 | 1 |  | 5.51 | 1 |  | 63.8

## MDLs
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00875 | 0.164 | 5.11 | PO4-P | ug P/L | 0.019 | 0.295 | 4.69 | NO3-N+NO2-N | ug N/L | 0.00885 | 0.13 | 7.84
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00884 | 0.186 | 5.89 | PO4-P | ug P/L | 0.0189 | 0.271 | 3.85 | NO3-N+NO2-N | ug N/L | 0.00824 | 0.0975 | 6.03
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.01 | 0.215 | 6.9 | PO4-P | ug P/L | 0.0186 | 0.285 | 4.33 | NO3-N+NO2-N | ug N/L | 0.00827 | 0.133 | 8.03
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00898 | 0.163 | 5.08 | PO4-P | ug P/L | 0.0194 | 0.293 | 4.62 | NO3-N+NO2-N | ug N/L | 0.00901 | 0.114 | 6.99
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0068 | 0.122 | 3.64 | PO4-P | ug P/L | 0.0202 | 0.308 | 5.15 | NO3-N+NO2-N | ug N/L | 0.0107 | 0.132 | 7.98
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00884 | 0.187 | 5.9 | PO4-P | ug P/L | 0.0203 | 0.304 | 5.01 | NO3-N+NO2-N | ug N/L | 0.00898 | 0.117 | 7.12
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00661 | 0.0969 | 2.74 | PO4-P | ug P/L | 0.0196 | 0.292 | 4.56 | NO3-N+NO2-N | ug N/L | 0.00992 | 0.077 | 4.87
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00719 | 0.109 | 3.17 | PO4-P | ug P/L | 0.0192 | 0.279 | 4.11 | NO3-N+NO2-N | ug N/L | 0.00989 | 0.122 | 7.42
2019-10-14 | OM_10-14-2019_10-58-57AMbrnedit.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.00901 | 0.16 | 4.98 | PO4-P | ug P/L | 0.0188 | 0.276 | 4.01 | NO3-N+NO2-N | ug N/L | 0.0146 | 0.124 | 7.54
[9 empty] | Known Conc | 5 |  |  |  | Known Conc | 5 |  |  |  | Known Conc | 5
[9 empty] | Mean | 4.8037 |  |  |  | Mean | 4.54 |  |  |  | Mean | 7.035
[9 empty] | Std Dev | 1.475 |  |  |  | Std Dev | 0.43546 |  |  |  | Std Dev | 1.0945
[9 empty] | CV or %RSD | 30.7044 |  |  |  | CV or %RSD | 9.5917 |  |  |  | CV or %RSD | 15.5582
[9 empty] | T value | 3.1427 |  |  |  | T value | 3.1427 |  |  |  | T value | 3.1427
[9 empty] | MDL | 4.6353 |  |  |  | MDL | 1.3685 |  |  |  | MDL | 3.4397
[9 empty] | LOQ | 14.7496 |  |  |  | LOQ | 4.3546 |  |  |  | LOQ | 10.9452
[9 empty] | Error as % | -3.925 |  |  |  | Error as % | -9.2 |  |  |  | Error as % | 40.7
[9 empty] | Known/MDL | 1.0787 |  |  |  | Known/MDL | 3.6536 |  |  |  | Known/MDL | 1.4536
[9 empty] | Mean PR | 96.075 |  |  |  | Mean PR | 90.8 |  |  |  | Mean PR | 140.7
[9 empty] | S/N | 3.2569 |  |  |  | S/N | 10.4257 |  |  |  | S/N | 6.4275
1) Is the concentration used to calculate the MDL between 1 and 5 x the resulting MDL?
2) Is the signal to noise ratio reasonable?
A CV (%) or %RSD between 10 and 40% (<40% more important), but APHA suggests <=20%
A S/N between 2.5 and 10 (>2.5 more important)
If there is too little noise, it might indicate that the concentration used for the determination is too high. Try again with a lower concentration.
3) Are the recoveries (Mean PR) reasonable?
APHA says between 50 and 150%

## notes
Notes
NO3
many very low
The misintegrations for those don't really matter because they are below detection no matter how they are integrated