## notes
samples originally run on 10Jan2020, but probe was not aligned so did not actually run any of the samples
rerun on 17Jan2020 with different samples for the spikes
reference waater (position 3) was too low for middle and end of run
Another bad run --> samples rerun on different day

## 17Jan2020
No. | Hole Pos. | Name | Method | Coefficients | NPOC vol. [ml] | TIC vol. [ml] | TC vol. [ml] | TIC Area | TC Area | NPOC Area | TNb Area | TIC [mg/l] | TC [mg/l] | TOC (Diff.) [mg/l] | NPOC [mg/l] | TNb [mg/l] | Dilut. Factor | TC Blank | TIC Blank | NPOC Blank | TNb Blank | Memo | Info | Date | Time | Misc. Notes | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BRN Sample Notes | TIC Absolute value Percent error for check standards | TIC Absolute value Relative Percent Difference (RPD) of same vial duplicates | TIC Absolute Value Relative Percent Difference (RPD) of independent prep duplicates | TIC Percent Recovery (PR) of spikes | TOC Absolute value Percent error for check standards | TOC Absolute value Relative Percent Difference (RPD) of same vial duplicates | TOC Absolute Value Relative Percent Difference (RPD) of independent prep duplicates | TOC Percent Recovery (PR) of spikes | TNb Absolute value Percent error for check standards | TNb Absolute value Relative Percent Difference (RPD) of same vial duplicates | TNb Absolute Value Relative Percent Difference (RPD) of independent prep duplicates | TNb Percent Recovery (PR) of spikes | TIC Mean of 2 reps | TC Mean of 2 reps | TOC Mean of 2 reps | TNb Mean of 2 reps
1 | 3 | RunIn | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 3050 | 5618 |  | 7057 | 12.891 | 9.35 | 0 |  | 1.191 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 10:24 |  | 1 |  |  | 17.9623 |  |  |  | #DIV/0! |  |  |  | 4.0313 |  |  | 14.163 | 9.5315 | 0 | 1.2155
2 | 3 | RunIn | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 3648 | 5834 |  | 7364 | 15.435 | 9.713 | 0 |  | 1.24 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 10:32 |  | 1
3 | 1 |  | Flush | [20 empty] | 2020-JAN-17 | 10:39 |  | 1
4 | 2 | Water Blank | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 69 | 316 |  | 65 | 0.348 | 0.515 | 0.168 |  | 0.013 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 10:53 |  | 1 |  |  | 3.5088 |  |  |  | 200 |  |  |  | 8 |  |  | 0.342 | 0.377 | 0.084 | 0.0125
5 | 2 | Water Blank | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 66 | 149 |  | 62 | 0.336 | 0.239 | 0 |  | 0.012 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 11:00 |  | 1
6 | 4 | chk std 3 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1044 | 4198 |  | 2845 | 4.42 | 6.973 | 2.553 |  | 0.494 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 11:16 |  | 1 |  | 37.6235 | 1.7493 |  |  | 40.1163 | 1.7087 |  |  | 66 | 1.6064 |  |  | 4.459 | 7.034 | 2.575 | 0.498
7 | 4 | chk std 3 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1062 | 4271 |  | 2895 | 4.498 | 7.095 | 2.597 |  | 0.502 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 11:24 |  | 1
8 | 3 | Reference | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 2870 | 5448 |  | 7341 | 12.124 | 9.066 | 0 |  | 1.237 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 11:39 |  | 1 |  |  | 4.2069 |  |  |  | #DIV/0! |  |  |  | 1.8422 |  |  | 12.3845 | 9.0165 | 0 | 1.2485
9 | 3 | Reference | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 2992 | 5390 |  | 7488 | 12.645 | 8.967 | 0 |  | 1.26 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 11:47 |  | 1
10 | 8 | F28Aug19 6.2m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1850 | 3851 |  | 2776 | 7.808 | 6.393 | 0 |  | 0.482 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 12:01 |  | 1 |  |  | 2.6913 |  |  |  | #DIV/0! |  |  |  | 1.4418 |  |  | 7.9145 | 6.4005 | 0 | 0.4855
11 | 8 | F28Aug19 6.2m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1900 | 3860 |  | 2816 | 8.021 | 6.408 | 0 |  | 0.489 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 12:09 |  | 1
12 | 9 | F08Nov19 1.6m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1558 | 4916 |  | 1929 | 6.58 | 8.174 | 1.594 |  | 0.337 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 12:24 |  | 1 |  |  | 0.64034 |  |  |  | 1.8645 |  |  |  | 4.9204 |  |  | 6.559 | 8.168 | 1.609 | 0.3455
13 | 9 | F08Nov19 1.6m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1548 | 4909 |  | 2027 | 6.538 | 8.162 | 1.624 |  | 0.354 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 12:33 |  | 1
14 | 10 | B08Aug19 9.0m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1843 | 4398 |  | 10307 | 7.78 | 7.307 | 0 |  | 1.703 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 12:47 |  | 1 |  |  | 0.98484 |  |  |  | #DIV/0! |  |  |  | 1.2256 |  |  | 7.8185 | 7.3315 | 0 | 1.7135
15 | 10 | B08Aug19 9.0m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1861 | 4427 |  | 10443 | 7.857 | 7.356 | 0 |  | 1.724 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 12:55 |  | 1
16 | 11 | B22Aug19 B01 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 925 | 3197 |  | 1236 | 3.924 | 5.302 | 1.378 |  | 0.217 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 13:10 |  | 1 |  |  | 5.9107 |  |  |  | 15.9875 |  |  |  | 0.45977 |  |  | 4.0435 | 5.3195 | 1.276 | 0.2175
17 | 11 | B22Aug19 B01 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 982 | 3218 |  | 1238 | 4.163 | 5.337 | 1.174 |  | 0.218 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 13:18 |  | 1
18 | 12 | F19Aug19 0.1m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1256 | 5165 |  | 2358 | 5.313 | 8.591 | 3.277 |  | 0.411 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 13:33 |  | 1 |  |  | 0.3007 |  |  |  | 1.0322 |  |  |  | 4.2857 |  |  | 5.321 | 8.6155 | 3.294 | 0.42
19 | 12 | F19Aug19 0.1m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1260 | 5194 |  | 2469 | 5.329 | 8.64 | 3.311 |  | 0.429 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 13:41 |  | 1
20 | 13 | F04Oct19 9.0m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 2244 | 4554 |  | 6815 | 9.475 | 7.569 | 0 |  | 1.152 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 13:55 |  | 1 |  |  | 1.3173 |  |  |  | #DIV/0! |  |  |  | 1.9768 |  |  | 9.413 | 7.589 | 0 | 1.1635
21 | 13 | F04Oct19 9.0m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 2215 | 4578 |  | 6957 | 9.351 | 7.609 | 0 |  | 1.175 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 14:03 |  | 1
22 | 14 | F01Jul19 WET | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1612 | 3824 |  | 1021 | 6.807 | 6.348 | 0 |  | 0.18 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 14:18 |  | 1 |  |  | 4.0446 |  |  |  | #DIV/0! |  |  |  | 3.966 |  |  | 6.9475 | 6.277 | 0 | 0.1765
23 | 14 | F01Jul19 WET | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1679 | 3738 |  | 978 | 7.088 | 6.206 | 0 |  | 0.173 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 14:26 |  | 1
24 | 15 | B20Sep19 B01 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 984 | 3665 |  | 1714 | 4.169 | 6.083 | 1.914 |  | 0.3 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 14:41 |  | 1 |  |  | 2.5015 |  |  |  | 3.7929 |  |  |  | 0.33278 |  |  | 4.1175 | 6.0685 | 1.951 | 0.3005
25 | 15 | B20Sep19 B01 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 959 | 3648 |  | 1717 | 4.066 | 6.054 | 1.988 |  | 0.301 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 14:49 |  | 1
26 | 16 | F27Sep19 1.6m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1407 | 5258 |  | 2168 | 5.947 | 8.747 | 2.8 |  | 0.378 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 15:03 |  | 1 |  |  | 3.5673 |  |  |  | 0.17841 |  |  |  | 1.3141 |  |  | 6.055 | 8.8575 | 2.8025 | 0.3805
27 | 16 | F27Sep19 1.6m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1459 | 5390 |  | 2199 | 6.163 | 8.968 | 2.805 |  | 0.383 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 15:12 |  | 1
28 | 17 | F02Sep19 3.8m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1501 | 4239 |  | 1732 | 6.339 | 7.042 | 0.703 |  | 0.303 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 15:26 |  | 1 |  |  | 2.9224 |  |  |  | 12.708 |  |  |  | 1.9608 |  |  | 6.433 | 7.094 | 0.661 | 0.306
29 | 17 | F02Sep19 3.8m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1545 | 4301 |  | 1767 | 6.527 | 7.146 | 0.619 |  | 0.309 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 15:34 |  | 1
30 | 18 | F01Jul19 WET SPK | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 2844 | 7614 |  | 2867 | 12.017 | 12.706 | 0.69 |  | 0.497 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 15:49 |  | 1 |  |  | 1.5359 |  |  |  | 59.1549 |  |  |  | 2.0325 |  |  | 12.11 | 12.6415 | 0.5325 | 0.492
31 | 18 | F01Jul19 WET SPK | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 2888 | 7538 |  | 2808 | 12.203 | 12.577 | 0.375 |  | 0.487 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 15:58 |  | 1
32 | 19 | F19Aug19 0.1m DUP | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1259 | 5302 |  | 2271 | 5.325 | 8.82 | 3.495 |  | 0.396 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 16:13 |  | 1 |  |  | 4.9272 |  | 172.0833 |  | 4.2367 |  | 17.75 |  | 1.2706 |  | 105.1667 | 5.4595 | 8.882 | 3.4225 | 0.3935
33 | 19 | F19Aug19 0.1m DUP | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1323 | 5376 |  | 2242 | 5.594 | 8.944 | 3.35 |  | 0.391 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 16:21 |  | 1
34 | 1 |  | Flush | [20 empty] | 2020-JAN-17 | 16:27 |  | 1 |  |  | 100 | 2.5695 |  |  | #DIV/0! | 3.8264 |  |  | 9.5238 | 6.5151 |  | 0.212 | 0.158 | 0 | 0.02
35 | 2 | Water Blank | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 36 | 100 |  | 107 | 0.212 | 0.158 | 0 |  | 0.02 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 16:41 |  | 1
36 | 2 | Water Blank | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 77 | 118 |  | 115 | 0.382 | 0.188 | 0 |  | 0.022 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 16:49
37 | 5 | chk std 3 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1158 | 3632 |  | 1763 | 4.9 | 6.027 | 1.128 |  | 0.308 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 17:04 |  | 1 |  |  | 4.6641 |  |  |  | 14.9595 |  |  |  | 0 |  |  | 5.017 | 6.066 | 1.0495 | 0.308
38 | 5 | chk std 3 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1214 | 3678 |  | 1761 | 5.134 | 6.105 | 0.971 |  | 0.308 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 17:12 |  | 1
39 | 3 | Reference | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 174 | 4530 |  | 5624 | 0.785 | 7.529 | 6.744 |  | 0.958 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 17:27 |  | 1 |  | 54.8457 | 162.3411 |  |  | 75.593 | 110.069 |  |  | 2.6667 | 24.6224 |  |  | 4.169 | 8.519 | 4.35 | 1.0925
40 | 3 | Reference | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1789 | 5713 |  | 7281 | 7.553 | 9.509 | 1.956 |  | 1.227 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 17:35 |  | 1
41 | 20 | B22Aug19 B100 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1334 | 3364 |  | 667 | 5.641 | 5.58 | 0 |  | 0.118 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 17:50 |  | 1 |  |  | 2.9173 |  |  |  | #DIV/0! |  |  |  | 4.1494 |  |  | 5.7245 | 5.5495 | 0 | 0.1205
42 | 20 | B22Aug19 B100 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1374 | 3327 |  | 696 | 5.808 | 5.519 | 0 |  | 0.123 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 17:58 |  | 1
43 | 21 | F11Oct19 1.6m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1414 | 5514 |  | 2188 | 5.975 | 9.176 | 3.201 |  | 0.381 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 18:12 |  | 1 |  |  | 1.9392 |  |  |  | 1.1801 |  |  |  | 3.1008 |  |  | 6.0335 | 9.2535 | 3.22 | 0.387
44 | 21 | F11Oct19 1.6m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1442 | 5607 |  | 2255 | 6.092 | 9.331 | 3.239 |  | 0.393 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 18:20 |  | 1
45 | 22 | F20Sep19 5.0m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1780 | 4632 |  | 3684 | 7.515 | 7.698 | 0.184 |  | 0.636 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 18:35 |  | 1 |  |  | 0.86121 |  |  |  | 2.1978 |  |  |  | 1.5601 |  |  | 7.5475 | 7.729 | 0.182 | 0.641
46 | 22 | F20Sep19 5.0m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1795 | 4668 |  | 3744 | 7.58 | 7.76 | 0.18 |  | 0.646 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 18:43 |  | 1
47 | 23 | F01Jul19 6.1m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1206 | 3891 |  | 1510 | 5.103 | 6.461 | 1.358 |  | 0.265 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 18:58 |  | 1 |  |  | 4.464 |  |  |  | 4.1338 |  |  |  | 1.1385 |  |  | 5.2195 | 6.55 | 1.3305 | 0.2635
48 | 23 | F01Jul19 6.1m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1262 | 3998 |  | 1496 | 5.336 | 6.639 | 1.303 |  | 0.262 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 19:06 |  | 1
49 | 24 | F19Aug19 6.2m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1735 | 3779 |  | 2024 | 7.324 | 6.274 | 0 |  | 0.353 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 19:20 |  | 1 |  |  | 5.2547 |  |  |  | #DIV/0! |  |  |  | 1.7143 |  |  | 7.1365 | 6.324 | 0 | 0.35
50 | 24 | F19Aug19 6.2m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1645 | 3839 |  | 1986 | 6.949 | 6.374 | 0 |  | 0.347 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 19:28 |  | 1
51 | 25 | B22Aug19 B45 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 903 | 3317 |  | 1069 | 3.83 | 5.502 | 1.672 |  | 0.188 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 19:43 |  | 1 |  |  | 0.39088 |  |  |  | 4.7765 |  |  |  | 2.6954 |  |  | 3.8375 | 5.4705 | 1.633 | 0.1855
52 | 25 | B22Aug19 B45 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 906 | 3279 |  | 1041 | 3.845 | 5.439 | 1.594 |  | 0.183 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 19:50 |  | 1
53 | 26 | B01Aug19 0.1m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 895 | 3054 |  | 1001 | 3.797 | 5.063 | 1.266 |  | 0.176 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 20:05 |  | 1 |  |  | 1.1656 |  |  |  | 3.3398 |  |  |  | 3.8997 |  |  | 3.775 | 5.062 | 1.2875 | 0.1795
54 | 26 | B01Aug19 0.1m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 884 | 3053 |  | 1040 | 3.753 | 5.061 | 1.309 |  | 0.183 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 20:13 |  | 1
55 | 27 | B04Oct19 B100 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1686 | 3725 |  | 645 | 7.12 | 6.183 | 0 |  | 0.114 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 20:27 |  | 1 |  |  | 1.3254 |  |  |  | #DIV/0! |  |  |  | 4.2918 |  |  | 7.1675 | 6.198 | 0 | 0.1165
56 | 27 | B04Oct19 B100 R1 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1709 | 3743 |  | 670 | 7.215 | 6.213 | 0 |  | 0.119 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 20:36 |  | 1
57 | 28 | B01Aug19 6.0m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1211 | 3105 |  | 1228 | 5.125 | 5.149 | 0.024 |  | 0.216 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 20:50 |  | 1 |  |  | 1.6129 |  |  |  | 169.5238 |  |  |  | 0.92166 |  |  | 5.084 | 5.242 | 0.1575 | 0.217
58 | 28 | B01Aug19 6.0m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1192 | 3217 |  | 1238 | 5.043 | 5.335 | 0.291 |  | 0.218 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 20:58 |  | 1
59 | 29 | F10Jun19 3.8m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1207 | 2827 |  | 881 | 5.108 | 4.685 | 0 |  | 0.156 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 21:13 |  | 1 |  |  | 1.3224 |  |  |  | #DIV/0! |  |  |  | 3.1546 |  |  | 5.142 | 4.6975 | 0 | 0.1585
60 | 29 | F10Jun19 3.8m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1224 | 2842 |  | 911 | 5.176 | 4.71 | 0 |  | 0.161 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 21:21 |  | 1
61 | 30 | F20Nov19 1.6m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1467 | 4977 |  | 1661 | 6.198 | 8.276 | 2.077 |  | 0.291 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 21:36 |  | 1 |  |  | 0.016136 |  |  |  | 12.3334 |  |  |  | 5.3512 |  |  | 6.1975 | 8.4115 | 2.2135 | 0.299
62 | 30 | F20Nov19 1.6m | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1467 | 5139 |  | 1752 | 6.197 | 8.547 | 2.35 |  | 0.307 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 21:44 |  | 1
63 | 31 | B01Aug19 0.1m SPK | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1983 | 6608 |  | 2811 | 8.372 | 11.012 | 2.641 |  | 0.488 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 21:59 |  | 1 |  |  | 0.7971 |  |  |  | 3.5336 |  |  |  | 0.81633 |  |  | 8.4055 | 11.0935 | 2.6885 | 0.49
64 | 31 | B01Aug19 0.1m SPK | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1999 | 6704 |  | 2838 | 8.439 | 11.175 | 2.736 |  | 0.492 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 22:07 |  | 1
65 | 32 | F19Aug19 6.2 DUP | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1560 | 3488 |  | 1868 | 6.591 | 5.788 | 0 |  | 0.326 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 22:22 |  | 1 |  |  | 3.195 |  | 154.35 |  | #DIV/0! |  | 46.7 |  | 5.6632 |  | 103.5 | 6.698 | 5.8875 | 0 | 0.3355
66 | 32 | F19Aug19 6.2 DUP | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1611 | 3608 |  | 1978 | 6.805 | 5.987 | 0 |  | 0.345 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 22:30 |  | 1
67 | 1 |  | Flush | [20 empty] | 2020-JAN-17 | 22:36 |  | 1 |  |  | 24.7465 | 6.3392 |  |  | 200 | #DIV/0! |  |  | 28.5714 | 4.2305 |  | 0.216 | 0.249 | 0.033 | 0.018
68 | 2 | Water Blank | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 37 | 155 |  | 95 | 0.216 | 0.249 | 0.033 |  | 0.018 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 22:50 |  | 1
69 | 2 | Water Blank | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 52 | 102 |  | 128 | 0.277 | 0.161 | 0 |  | 0.024 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 22:58 |  | 1
70 | 6 | chk std 3 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1101 | 3664 |  | 1902 | 4.661 | 6.081 | 1.42 |  | 0.332 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 23:13 |  | 1 |  |  | 0.62413 |  |  |  | 7.9134 |  |  |  | 0.89955 |  |  | 4.6465 | 6.125 | 1.4785 | 0.3335
71 | 6 | chk std 3 | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 1094 | 3716 |  | 1920 | 4.632 | 6.169 | 1.537 |  | 0.335 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 23:22 |  | 1
72 | 3 | Reference | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 0 | 196 |  | 147 | 0 | 0.316 | 0.316 |  | 0.027 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 23:36 |  | 1 |  | 43.4105 | 200 |  |  | 65.6163 | 158.8676 |  |  | 11.1667 | 167.6647 |  |  | 0.0985 | 1.635 | 1.5365 | 0.167
73 | 3 | Reference | TIC/TC/TNb | Offset w TIC dec19 |  | 0.3 | 0.3 | 32 | 1786 |  | 1754 | 0.197 | 2.954 | 2.757 |  | 0.307 | 1 | 0 | 0 |  | 0 |  |  | 2020-JAN-17 | 23:44 |  | 1
74 | 1 |  | Flush | [20 empty] | 2020-JAN-17 | 23:50 |  | 1
75 | 3 | [15 empty] | 1