## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250429_001.gcd | 2025-04-29 12:55 | QC outside air | Unknown | 0 | 6.045 | 1501 | 0.004 | ----- | ----- | ----- | ----- | 45 | FMI20250429_001.gcd | 2025-04-29 12:55 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250429_001.gcd | 2025-04-29 12:55 | QC outside air | Unknown | 0 | 12.256 | 2416 | 0.434 | ----- | ----- | ----- | ----- | 1 |  | 45 | 1.9766 | 415.8368 | -0.22445 | 395.5382 | 6.7844 | 565.1217 | -0.00031052 | 529.0309 | 1.9766 | 415.8368 | 45 | FMI20250429_001.gcd | 2025-04-29 12:55 | QC outside air | Unknown | 0 | 2.699 | 5186854 | 0 | ----- | ----- | ----- | -----
46 | FMI20250429_002.gcd | 2025-04-29 13:26 | QC spiked air | Unknown | 0 | 6.002 | 1071672 | 2.421 | ----- | ----- | ----- | ----- | 46 | FMI20250429_002.gcd | 2025-04-29 13:26 | QC spiked air | Unknown | 0 | 5.954 | 9842 | 2.524 | ----- | ----- | ----- | ----- | 46 | FMI20250429_002.gcd | 2025-04-29 13:26 | QC spiked air | Unknown | 0 | 12.228 | 10264 | 2.155 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2370.1582 | 2197.9433 | 2656.881 | 2015.1803 | 2211.7819 | 2434.646 | 2446.4725 | 2131.9201 | 2370.1582 | 2197.9433 | 46 | FMI20250429_002.gcd | 2025-04-29 13:26 | QC spiked air | Unknown | 0 | 2.697 | 5260324 | 0 | ----- | ----- | ----- | -----
47 | FMI20250429_003.gcd | 2025-04-29 13:56 | QC reference tank | Unknown | 0 | 6.031 | 2773 | 0.007 | ----- | ----- | ----- | ----- | 47 | FMI20250429_003.gcd | 2025-04-29 13:56 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250429_003.gcd | 2025-04-29 13:56 | QC reference tank | Unknown | 0 | 12.232 | 1634 | 0.262 | ----- | ----- | ----- | ----- | 1 |  | 47 | 6.4519 | 237.9308 | 1.6275 | 233.9797 | 3.659 | 375.7582 | 3.4305 | 368.9103 | 6.4519 | 237.9308 | 47 | FMI20250429_003.gcd | 2025-04-29 13:56 | QC reference tank | Unknown | 0 | 2.697 | 5275073 | 0 | ----- | ----- | ----- | -----
48 | FMI20250429_004.gcd | 2025-04-29 14:27 | 279 | Unknown | 0 | 6.004 | 72395 | 0.164 | ----- | ----- | ----- | ----- | 48 | FMI20250429_004.gcd | 2025-04-29 14:27 | 279 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250429_004.gcd | 2025-04-29 14:27 | 279 | Unknown | 0 | 12.106 | 78175 | 16.963 | ----- | ----- | ----- | ----- | 1 |  | 48 | 195.964 | 17309.8702 | 167.0913 | 15899.1113 | 201.6129 | 17336.9941 | 204.0385 | 15429.9472 | 195.964 | 17309.8702 | 48 | FMI20250429_004.gcd | 2025-04-29 14:27 | 279 | Unknown | 0 | 2.856 | 827429 | 0 | ----- | ----- | ----- | -----
49 | FMI20250429_005.gcd | 2025-04-29 14:57 | 113 | Unknown | 0 | 6.005 | 77846 | 0.176 | ----- | ----- | ----- | ----- | 49 | FMI20250429_005.gcd | 2025-04-29 14:57 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250429_005.gcd | 2025-04-29 14:57 | 113 | Unknown | 0 | 12.106 | 79206 | 17.186 | ----- | ----- | ----- | ----- | 1 |  | 49 | 210.3682 | 17529.5027 | 179.8243 | 16108.0782 | 216.9088 | 17585.7364 | 219.6044 | 15638.7434 | 210.3682 | 17529.5027 | 49 | FMI20250429_005.gcd | 2025-04-29 14:57 | 113 | Unknown | 0 | 2.859 | 787611 | 0 | ----- | ----- | ----- | -----
50 | FMI20250429_006.gcd | 2025-04-29 15:28 | 338 | Unknown | 0 | 6.006 | 23266 | 0.053 | ----- | ----- | ----- | ----- | 50 | FMI20250429_006.gcd | 2025-04-29 15:28 | 338 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250429_006.gcd | 2025-04-29 15:28 | 338 | Unknown | 0 | 12.163 | 26016 | 5.602 | ----- | ----- | ----- | ----- | 1 |  | 50 | 65.436 | 5756.631 | 52.115 | 5256.5344 | 59.5248 | 6017.4808 | 62.9708 | 5326.9054 | 65.436 | 5756.631 | 50 | FMI20250429_006.gcd | 2025-04-29 15:28 | 338 | Unknown | 0 | 2.859 | 778288 | 0 | ----- | ----- | ----- | -----
51 | FMI20250429_007.gcd | 2025-04-29 15:58 | 385 | Unknown | 0 | 6.004 | 26837 | 0.061 | ----- | ----- | ----- | ----- | 51 | FMI20250429_007.gcd | 2025-04-29 15:58 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250429_007.gcd | 2025-04-29 15:58 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 51 | 74.9664 | #VALUE! | 60.4853 | #VALUE! | 70.1092 | #VALUE! | 73.2715 | #VALUE! | 74.9664 | #VALUE! | 51 | FMI20250429_007.gcd | 2025-04-29 15:58 | 385 | Unknown | 0 | 2.865 | 664926 | 0 | ----- | ----- | ----- | -----
52 | FMI20250429_008.gcd | 2025-04-29 16:29 | 376 | Unknown | 0 | 6.002 | 36566 | 0.083 | ----- | ----- | ----- | ----- | 52 | FMI20250429_008.gcd | 2025-04-29 16:29 | 376 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250429_008.gcd | 2025-04-29 16:29 | 376 | Unknown | 0 | 12.2 | 41045 | 8.885 | ----- | ----- | ----- | ----- | 1 |  | 52 | 100.8974 | 9129.2787 | 83.2793 | 8337.3082 | 98.7418 | 9224.872 | 101.2977 | 8347.5804 | 100.8974 | 9129.2787 | 52 | FMI20250429_008.gcd | 2025-04-29 16:29 | 376 | Unknown | 0 | 2.862 | 717699 | 0 | ----- | ----- | ----- | -----
53 | FMI20250429_009.gcd | 2025-04-29 16:59 | 366 | Unknown | 0 | 6.004 | 35764 | 0.081 | ----- | ----- | ----- | ----- | 53 | FMI20250429_009.gcd | 2025-04-29 16:59 | 366 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250429_009.gcd | 2025-04-29 16:59 | 366 | Unknown | 0 | 12.125 | 5779 | 1.171 | ----- | ----- | ----- | ----- | 1 |  | 53 | 98.7617 | 1180.2395 | 81.4009 | 1089.967 | 96.3928 | 1373.1237 | 98.9894 | 1216.7979 | 98.7617 | 1180.2395 | 53 | FMI20250429_009.gcd | 2025-04-29 16:59 | 366 | Unknown | 0 | 2.863 | 710751 | 0 | ----- | ----- | ----- | -----
54 | FMI20250429_010.gcd | 2025-04-29 17:30 | 153 | Unknown | 0 | 6.01 | 30930 | 0.07 | ----- | ----- | ----- | ----- | 54 | FMI20250429_010.gcd | 2025-04-29 17:30 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250429_010.gcd | 2025-04-29 17:30 | 153 | Unknown | 0 | 12.148 | 4202 | 0.825 | ----- | ----- | ----- | ----- | 1 |  | 54 | 85.8817 | 821.929 | 70.0766 | 764.4028 | 82.1913 | 995.5147 | 85.0688 | 894.4541 | 85.8817 | 821.929 | 54 | FMI20250429_010.gcd | 2025-04-29 17:30 | 153 | Unknown | 0 | 2.865 | 777141 | 0 | ----- | ----- | ----- | -----
55 | FMI20250429_011.gcd | 2025-04-29 18:01 | 358 | Unknown | 0 | 6.002 | 32233 | 0.073 | ----- | ----- | ----- | ----- | 55 | FMI20250429_011.gcd | 2025-04-29 18:01 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250429_011.gcd | 2025-04-29 18:01 | 358 | Unknown | 0 | 12.164 | 5497 | 1.109 | ----- | ----- | ----- | ----- | 1 |  | 55 | 89.3547 | 1116.1842 | 73.1294 | 1031.7588 | 86.0266 | 1305.766 | 88.8224 | 1159.178 | 89.3547 | 1116.1842 | 55 | FMI20250429_011.gcd | 2025-04-29 18:01 | 358 | Unknown | 0 | 2.86 | 745829 | 0 | ----- | ----- | ----- | -----
56 | FMI20250429_012.gcd | 2025-04-29 18:31 | 247 | Unknown | 0 | 6.003 | 16312 | 0.037 | ----- | ----- | ----- | ----- | 56 | FMI20250429_012.gcd | 2025-04-29 18:31 | 247 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250429_012.gcd | 2025-04-29 18:31 | 247 | Unknown | 0 | 12.104 | 54737 | 11.869 | ----- | ----- | ----- | ----- | 1 |  | 56 | 46.8578 | 12310.8149 | 35.8091 | 11133.9764 | 38.7978 | 11658.8128 | 42.8906 | 10669.5459 | 46.8578 | 12310.8149 | 56 | FMI20250429_012.gcd | 2025-04-29 18:31 | 247 | Unknown | 0 | 2.85 | 910302 | 0 | ----- | ----- | ----- | -----
57 | FMI20250429_013.gcd | 2025-04-29 19:02 | 364 | Unknown | 0 | 6 | 33852 | 0.077 | ----- | ----- | ----- | ----- | 57 | FMI20250429_013.gcd | 2025-04-29 19:02 | 364 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250429_013.gcd | 2025-04-29 19:02 | 364 | Unknown | 0 | 12.157 | 5671 | 1.148 | ----- | ----- | ----- | ----- | 1 |  | 57 | 93.6687 | 1155.7086 | 76.9222 | 1067.675 | 90.7845 | 1347.3357 | 93.485 | 1194.7318 | 93.6687 | 1155.7086 | 57 | FMI20250429_013.gcd | 2025-04-29 19:02 | 364 | Unknown | 0 | 2.856 | 789540 | 0 | ----- | ----- | ----- | -----
58 | FMI20250429_014.gcd | 2025-04-29 19:32 | 204 | Unknown | 0 | 6.001 | 38808 | 0.088 | ----- | ----- | ----- | ----- | 58 | FMI20250429_014.gcd | 2025-04-29 19:32 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250429_014.gcd | 2025-04-29 19:32 | 204 | Unknown | 0 | 12.173 | 4925 | 0.984 | ----- | ----- | ----- | ----- | 1 |  | 58 | 106.866 | 986.2323 | 88.5299 | 913.6785 | 105.2977 | 1168.917 | 107.7484 | 1042.2745 | 106.866 | 986.2323 | 58 | FMI20250429_014.gcd | 2025-04-29 19:32 | 204 | Unknown | 0 | 2.855 | 828725 | 0 | ----- | ----- | ----- | -----
59 | FMI20250429_015.gcd | 2025-04-29 20:03 | 302 | Unknown | 0 | 6.002 | 19220 | 0.044 | ----- | ----- | ----- | ----- | 59 | FMI20250429_015.gcd | 2025-04-29 20:03 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250429_015.gcd | 2025-04-29 20:03 | 302 | Unknown | 0 | 12.122 | 37843 | 8.186 | ----- | ----- | ----- | ----- | 1 |  | 59 | 54.6299 | 8412.5783 | 42.6288 | 7681.9011 | 47.4839 | 8558.7945 | 51.2911 | 7706.2759 | 54.6299 | 8412.5783 | 59 | FMI20250429_015.gcd | 2025-04-29 20:03 | 302 | Unknown | 0 | 2.849 | 924110 | 0 | ----- | ----- | ----- | -----
60 | FMI20250429_016.gcd | 2025-04-29 20:33 | 373 | Unknown | 0 | 6.008 | 16153 | 0.037 | ----- | ----- | ----- | ----- | 60 | FMI20250429_016.gcd | 2025-04-29 20:33 | 373 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250429_016.gcd | 2025-04-29 20:33 | 373 | Unknown | 0 | 12.116 | 47726 | 10.342 | ----- | ----- | ----- | ----- | 1 |  | 60 | 46.4327 | 10813.1823 | 35.4362 | 9703.1355 | 38.3221 | 9951.5694 | 42.4312 | 9240.439 | 46.4327 | 10813.1823 | 60 | FMI20250429_016.gcd | 2025-04-29 20:33 | 373 | Unknown | 0 | 2.852 | 963270 | 0 | ----- | ----- | ----- | -----
61 | FMI20250429_017.gcd | 2025-04-29 21:04 | 399 | Unknown | 0 | 6 | 19875 | 0.045 | ----- | ----- | ----- | ----- | 61 | FMI20250429_017.gcd | 2025-04-29 21:04 | 399 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250429_017.gcd | 2025-04-29 21:04 | 399 | Unknown | 0 | 12.121 | 39067 | 8.453 | ----- | ----- | ----- | ----- | 1 |  | 61 | 56.3799 | 8686.6638 | 44.1647 | 7932.4995 | 49.4367 | 8814.5143 | 53.1825 | 7951.5664 | 56.3799 | 8686.6638 | 61 | FMI20250429_017.gcd | 2025-04-29 21:04 | 399 | Unknown | 0 | 2.849 | 911883 | 0 | ----- | ----- | ----- | -----
62 | FMI20250429_018.gcd | 2025-04-29 21:35 | 377 | Unknown | 0 | 5.999 | 14387 | 0.033 | ----- | ----- | ----- | ----- | 62 | FMI20250429_018.gcd | 2025-04-29 21:35 | 377 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250429_018.gcd | 2025-04-29 21:35 | 377 | Unknown | 0 | 12.108 | 55514 | 12.038 | ----- | ----- | ----- | ----- | 1 |  | 62 | 41.7105 | 12476.727 | 31.294 | 11292.3962 | 33.0332 | 11847.772 | 37.3271 | 10827.7824 | 41.7105 | 12476.727 | 62 | FMI20250429_018.gcd | 2025-04-29 21:35 | 377 | Unknown | 0 | 2.842 | 1041735 | 0 | ----- | ----- | ----- | -----
63 | FMI20250429_019.gcd | 2025-04-29 22:05 | 167 | Unknown | 0 | 5.997 | 39284 | 0.089 | ----- | ----- | ----- | ----- | 63 | FMI20250429_019.gcd | 2025-04-29 22:05 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250429_019.gcd | 2025-04-29 22:05 | 167 | Unknown | 0 | 12.148 | 6515 | 1.333 | ----- | ----- | ----- | ----- | 1 |  | 63 | 108.1328 | 1347.3827 | 89.6445 | 1241.8673 | 106.6875 | 1548.5807 | 109.1176 | 1367.1368 | 108.1328 | 1347.3827 | 63 | FMI20250429_019.gcd | 2025-04-29 22:05 | 167 | Unknown | 0 | 2.845 | 980543 | 0 | ----- | ----- | ----- | -----
64 | FMI20250429_020.gcd | 2025-04-29 22:36 | 355 | Unknown | 0 | 5.998 | 15140 | 0.035 | ----- | ----- | ----- | ----- | 64 | FMI20250429_020.gcd | 2025-04-29 22:36 | 355 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250429_020.gcd | 2025-04-29 22:36 | 355 | Unknown | 0 | 12.098 | 56498 | 12.252 | ----- | ----- | ----- | ----- | 1 |  | 64 | 43.7242 | 12686.8213 | 33.0603 | 11492.9761 | 35.2895 | 12087.0008 | 39.5037 | 11028.1331 | 43.7242 | 12686.8213 | 64 | FMI20250429_020.gcd | 2025-04-29 22:36 | 355 | Unknown | 0 | 2.845 | 975192 | 0 | ----- | ----- | ----- | -----
65 | FMI20250429_021.gcd | 2025-04-29 23:06 | 408 | Unknown | 0 | 6.002 | 29152 | 0.066 | ----- | ----- | ----- | ----- | 65 | FMI20250429_021.gcd | 2025-04-29 23:06 | 408 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250429_021.gcd | 2025-04-29 23:06 | 408 | Unknown | 0 | 12.139 | 26444 | 5.696 | ----- | ----- | ----- | ----- | 1 |  | 65 | 81.1412 | 5852.9849 | 65.9104 | 5344.429 | 76.9493 | 6111.672 | 79.9452 | 5413.3027 | 81.1412 | 5852.9849 | 65 | FMI20250429_021.gcd | 2025-04-29 23:06 | 408 | Unknown | 0 | 2.855 | 884605 | 0 | ----- | ----- | ----- | -----
66 | FMI20250429_022.gcd | 2025-04-30 10:14 | 385 rerun | Unknown | 0 | 6.002 | 32784 | 0.074 | ----- | ----- | ----- | ----- | 66 | FMI20250429_022.gcd | 2025-04-30 10:14 | 385 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250429_022.gcd | 2025-04-30 10:14 | 385 rerun | Unknown | 0 | 12.175 | 7494 | 1.547 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 66 | 90.823 | 1569.628 | 74.4203 | 1443.8766 | 87.6468 | 1781.2014 | 90.4094 | 1567.0116 | 90.823 | 1569.628 | 66 | FMI20250429_022.gcd | 2025-04-30 10:14 | 385 rerun | Unknown | 0 | 2.813 | 1595394 | 0 | ----- | ----- | ----- | -----