## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250520_001.gcd | 2025-05-20 12:16 | QC outside air | Unknown | 0 | 6.048 | 1286 | 0.003 | ----- | ----- | ----- | ----- | 45 | FMI20250520_001.gcd | 2025-05-20 12:16 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250520_001.gcd | 2025-05-20 12:16 | QC outside air | Unknown | 0 | 12.214 | 2445 | 0.44 | ----- | ----- | ----- | ----- | 1 |  | 45 | 1.2229 | 422.4332 | -0.49102 | 401.5289 | 7.4853 | 572.1334 | -0.56194 | 534.9675 | 1.2229 | 422.4332 | 45 | FMI20250520_001.gcd | 2025-05-20 12:16 | QC outside air | Unknown | 0 | 2.713 | 4678020 | 0 | ----- | ----- | ----- | -----
46 | FMI20250520_002.gcd | 2025-05-20 12:46 | QC spiked air | Unknown | 0 | 5.998 | 979483 | 2.213 | ----- | ----- | ----- | ----- | 46 | FMI20250520_002.gcd | 2025-05-20 12:46 | QC spiked air | Unknown | 0 | 5.951 | 9054 | 2.329 | ----- | ----- | ----- | ----- | 46 | FMI20250520_002.gcd | 2025-05-20 12:46 | QC spiked air | Unknown | 0 | 12.196 | 8609 | 1.792 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2181.7662 | 1822.6325 | 2462.4547 | 1673.8889 | 2036.4524 | 2045.0722 | 2250.0839 | 1794.5129 | 2181.7662 | 1822.6325 | 46 | FMI20250520_002.gcd | 2025-05-20 12:46 | QC spiked air | Unknown | 0 | 2.703 | 4986661 | 0 | ----- | ----- | ----- | -----
47 | FMI20250520_003.gcd | 2025-05-20 13:17 | QC reference tank | Unknown | 0 | 6.024 | 2589 | 0.006 | ----- | ----- | ----- | ----- | 47 | FMI20250520_003.gcd | 2025-05-20 13:17 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250520_003.gcd | 2025-05-20 13:17 | QC reference tank | Unknown | 0 | 12.204 | 1912 | 0.323 | ----- | ----- | ----- | ----- | 1 |  | 47 | 5.8028 | 301.183 | 1.3305 | 291.4171 | 4.003 | 443.1406 | 2.9228 | 425.8414 | 5.8028 | 301.183 | 47 | FMI20250520_003.gcd | 2025-05-20 13:17 | QC reference tank | Unknown | 0 | 2.7 | 5084442 | 0 | ----- | ----- | ----- | -----
48 | FMI20250520_004.gcd | 2025-05-20 13:48 | 336 | Unknown | 0 | 6.002 | 22898 | 0.052 | ----- | ----- | ----- | ----- | 48 | FMI20250520_004.gcd | 2025-05-20 13:48 | 336 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250520_004.gcd | 2025-05-20 13:48 | 336 | Unknown | 0 | 12.173 | 5155 | 1.034 | ----- | ----- | ----- | ----- | 1 |  | 48 | 64.4535 | 1038.4895 | 51.2523 | 961.1603 | 58.4318 | 1223.9796 | 61.9089 | 1089.2859 | 64.4535 | 1038.4895 | 48 | FMI20250520_004.gcd | 2025-05-20 13:48 | 336 | Unknown | 0 | 2.854 | 833836 | 0 | ----- | ----- | ----- | -----
49 | FMI20250520_005.gcd | 2025-05-20 14:18 | 33 | Unknown | 0 | 6.007 | 3311 | 0.008 | ----- | ----- | ----- | ----- | 49 | FMI20250520_005.gcd | 2025-05-20 14:18 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250520_005.gcd | 2025-05-20 14:18 | 33 | Unknown | 0 | 12.095 | 77884 | 16.9 | ----- | ----- | ----- | ----- | 1 |  | 49 | 8.353 | 17247.8748 | 2.5522 | 15840.1206 | 2.863 | 17266.7708 | 4.9373 | 15371.0052 | 8.353 | 17247.8748 | 49 | FMI20250520_005.gcd | 2025-05-20 14:18 | 33 | Unknown | 0 | 2.856 | 784472 | 0 | ----- | ----- | ----- | -----
50 | FMI20250520_006.gcd | 2025-05-20 14:49 | 378 | Unknown | 0 | 6.011 | 5308 | 0.012 | ----- | ----- | ----- | ----- | 50 | FMI20250520_006.gcd | 2025-05-20 14:49 | 378 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250520_006.gcd | 2025-05-20 14:49 | 378 | Unknown | 0 | 12.077 | 92816 | 20.136 | ----- | ----- | ----- | ----- | 1 |  | 50 | 15.4527 | 20426.7059 | 6.7205 | 18861.5173 | 2.6418 | 20861.1775 | 10.8194 | 18390.2269 | 15.4527 | 20426.7059 | 50 | FMI20250520_006.gcd | 2025-05-20 14:49 | 378 | Unknown | 0 | 2.851 | 895748 | 0 | ----- | ----- | ----- | -----
51 | FMI20250520_007.gcd | 2025-05-20 15:19 | 354 | Unknown | 0 | 5.98 | 6304758 | 14.431 | ----- | ----- | ----- | ----- | 51 | FMI20250520_007.gcd | 2025-05-20 15:19 | 354 | Unknown | 0 | 5.931 | 50604 | 12.573 | ----- | ----- | ----- | ----- | 51 | FMI20250520_007.gcd | 2025-05-20 15:19 | 354 | Unknown | 0 | 12.105 | 57666 | 12.506 | ----- | ----- | ----- | ----- | 1 |  | 51 | 12922.0878 | 12936.1748 | 12681.4208 | 11730.9988 | 11645.981 | 12370.8607 | 13421.6466 | 11265.8872 | 12922.0878 | 12936.1748 | 51 | FMI20250520_007.gcd | 2025-05-20 15:19 | 354 | Unknown | 0 | 2.856 | 740761 | 0 | ----- | ----- | ----- | -----
52 | FMI20250520_008.gcd | 2025-05-20 15:50 | 18 | Unknown | 0 | 5.974 | 8588432 | 19.774 | ----- | ----- | ----- | ----- | 52 | FMI20250520_008.gcd | 2025-05-20 15:50 | 18 | Unknown | 0 | 5.927 | 68326 | 16.926 | ----- | ----- | ----- | ----- | 52 | FMI20250520_008.gcd | 2025-05-20 15:50 | 18 | Unknown | 0 | 12.116 | 50115 | 10.862 | ----- | ----- | ----- | ----- | 1 |  | 52 | 17576.391 | 11323.6182 | 17019.6802 | 10190.9767 | 16400.2502 | 10533.7646 | 18078.9129 | 9727.6728 | 17576.391 | 11323.6182 | 52 | FMI20250520_008.gcd | 2025-05-20 15:50 | 18 | Unknown | 0 | 2.854 | 773060 | 0 | ----- | ----- | ----- | -----
53 | FMI20250520_009.gcd | 2025-05-20 16:20 | 186 | Unknown | 0 | 5.999 | 28991 | 0.066 | ----- | ----- | ----- | ----- | 53 | FMI20250520_009.gcd | 2025-05-20 16:20 | 186 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250520_009.gcd | 2025-05-20 16:20 | 186 | Unknown | 0 | 12.164 | 5718 | 1.158 | ----- | ----- | ----- | ----- | 1 |  | 53 | 80.7118 | 1166.3842 | 65.5332 | 1077.3762 | 76.4742 | 1358.5596 | 79.4812 | 1204.3348 | 80.7118 | 1166.3842 | 53 | FMI20250520_009.gcd | 2025-05-20 16:20 | 186 | Unknown | 0 | 2.85 | 901912 | 0 | ----- | ----- | ----- | -----
54 | FMI20250520_010.gcd | 2025-05-20 16:51 | 266 | Unknown | 0 | 6.006 | 6095 | 0.014 | ----- | ----- | ----- | ----- | 54 | FMI20250520_010.gcd | 2025-05-20 16:51 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250520_010.gcd | 2025-05-20 16:51 | 266 | Unknown | 0 | 12.074 | 93724 | 20.333 | ----- | ----- | ----- | ----- | 1 |  | 54 | 18.2693 | 20619.8547 | 8.6815 | 19044.8783 | 3.7378 | 21079.1615 | 13.2627 | 18573.4772 | 18.2693 | 20619.8547 | 54 | FMI20250520_010.gcd | 2025-05-20 16:51 | 266 | Unknown | 0 | 2.848 | 923065 | 0 | ----- | ----- | ----- | -----
55 | FMI20250520_011.gcd | 2025-05-20 17:22 | 111 | Unknown | 0 | 5.998 | 22875 | 0.052 | ----- | ----- | ----- | ----- | 55 | FMI20250520_011.gcd | 2025-05-20 17:22 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250520_011.gcd | 2025-05-20 17:22 | 111 | Unknown | 0 | 12.167 | 3243 | 0.615 | ----- | ----- | ----- | ----- | 1 |  | 55 | 64.3921 | 603.915 | 51.1984 | 566.3597 | 58.3634 | 764.7752 | 61.8425 | 698.2861 | 64.3921 | 603.915 | 55 | FMI20250520_011.gcd | 2025-05-20 17:22 | 111 | Unknown | 0 | 2.848 | 914054 | 0 | ----- | ----- | ----- | -----
56 | FMI20250520_012.gcd | 2025-05-20 17:52 | 350 | Unknown | 0 | 5.994 | 74646 | 0.169 | ----- | ----- | ----- | ----- | 56 | FMI20250520_012.gcd | 2025-05-20 17:52 | 350 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250520_012.gcd | 2025-05-20 17:52 | 350 | Unknown | 0 | 12.09 | 73747 | 16.002 | ----- | ----- | ----- | ----- | 1 |  | 56 | 201.9141 | 16366.3228 | 172.35 | 15001.0113 | 207.9407 | 16267.6923 | 210.4686 | 14532.6161 | 201.9141 | 16366.3228 | 56 | FMI20250520_012.gcd | 2025-05-20 17:52 | 350 | Unknown | 0 | 2.85 | 855719 | 0 | ----- | ----- | ----- | -----
57 | FMI20250520_013.gcd | 2025-05-20 18:23 | 414 | Unknown | 0 | 6.018 | 3199 | 0.008 | ----- | ----- | ----- | ----- | 57 | FMI20250520_013.gcd | 2025-05-20 18:23 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250520_013.gcd | 2025-05-20 18:23 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | Interference. Do not use CO2. Use CH4. | 57 | 7.9568 | #VALUE! | 2.3528 | #VALUE! | 3.0029 | #VALUE! | 4.6209 | #VALUE! | 7.9568 | #VALUE! | 57 | FMI20250520_013.gcd | 2025-05-20 18:23 | 414 | Unknown | 0 | 2.858 | 813377 | 0 | ----- | ----- | ----- | -----
58 | FMI20250520_014.gcd | 2025-05-20 18:53 | 340 | Unknown | 0 | 6 | 9125 | 0.021 | ----- | ----- | ----- | ----- | 58 | FMI20250520_014.gcd | 2025-05-20 18:53 | 340 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250520_014.gcd | 2025-05-20 18:53 | 340 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | Interference. Do not use CO2. Use CH4. | 58 | 29.2114 | #VALUE! | 17.912 | #VALUE! | 14.2028 | #VALUE! | 23.3304 | #VALUE! | 29.2114 | #VALUE! | 58 | FMI20250520_014.gcd | 2025-05-20 18:53 | 340 | Unknown | 0 | 2.848 | 881840 | 0 | ----- | ----- | ----- | -----
59 | FMI20250520_015.gcd | 2025-05-20 19:24 | 299 | Unknown | 0 | 5.998 | 5653 | 0.013 | ----- | ----- | ----- | ----- | 59 | FMI20250520_015.gcd | 2025-05-20 19:24 | 299 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250520_015.gcd | 2025-05-20 19:24 | 299 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | Interference. Do not use CO2. Use CH4. | 59 | 16.6862 | #VALUE! | 7.558 | #VALUE! | 3.0399 | #VALUE! | 11.8818 | #VALUE! | 16.6862 | #VALUE! | 59 | FMI20250520_015.gcd | 2025-05-20 19:24 | 299 | Unknown | 0 | 2.842 | 994583 | 0 | ----- | ----- | ----- | -----
60 | FMI20250520_016.gcd | 2025-05-20 19:55 | 225 | Unknown | 0 | 5.998 | 8770 | 0.02 | ----- | ----- | ----- | ----- | 60 | FMI20250520_016.gcd | 2025-05-20 19:55 | 225 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250520_016.gcd | 2025-05-20 19:55 | 225 | Unknown | 0 | 12.134 | 1056 | 0.135 | ----- | ----- | ----- | ----- | 1 |  | 60 | 27.9214 | 106.3965 | 16.6925 | 114.5467 | 12.4639 | 235.4354 | 22.0966 | 250.5133 | 27.9214 | 106.3965 | 60 | FMI20250520_016.gcd | 2025-05-20 19:55 | 225 | Unknown | 0 | 2.85 | 849607 | 0 | ----- | ----- | ----- | -----
61 | FMI20250520_017.gcd | 2025-05-20 20:25 | 339 | Unknown | 0 | 5.995 | 23016 | 0.052 | ----- | ----- | ----- | ----- | 61 | FMI20250520_017.gcd | 2025-05-20 20:25 | 339 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250520_017.gcd | 2025-05-20 20:25 | 339 | Unknown | 0 | 12.149 | 3065 | 0.576 | ----- | ----- | ----- | ----- | 1 |  | 61 | 64.7686 | 563.4395 | 51.5289 | 529.5958 | 58.7823 | 721.8553 | 62.2494 | 661.8632 | 64.7686 | 563.4395 | 61 | FMI20250520_017.gcd | 2025-05-20 20:25 | 339 | Unknown | 0 | 2.851 | 830349 | 0 | ----- | ----- | ----- | -----
62 | FMI20250520_018.gcd | 2025-05-20 20:56 | 285 | Unknown | 0 | 6.002 | 5103 | 0.012 | ----- | ----- | ----- | ----- | 62 | FMI20250520_018.gcd | 2025-05-20 20:56 | 285 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250520_018.gcd | 2025-05-20 20:56 | 285 | Unknown | 0 | 12.061 | 96193 | 20.867 | ----- | ----- | ----- | ----- | 1 |  | 62 | 14.7208 | 21144.9692 | 6.2392 | 19543.2542 | 2.4661 | 21671.5546 | 10.1946 | 19071.5641 | 14.7208 | 21144.9692 | 62 | FMI20250520_018.gcd | 2025-05-20 20:56 | 285 | Unknown | 0 | 2.841 | 1015444 | 0 | ----- | ----- | ----- | -----
63 | FMI20250520_019.gcd | 2025-05-20 21:26 | 390 | Unknown | 0 | 5.996 | 13358 | 0.031 | ----- | ----- | ----- | ----- | 63 | FMI20250520_019.gcd | 2025-05-20 21:26 | 390 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250520_019.gcd | 2025-05-20 21:26 | 390 | Unknown | 0 | 12.12 | 32546 | 7.03 | ----- | ----- | ----- | ----- | 1 |  | 63 | 38.9582 | 7224.7472 | 28.8802 | 6596.5263 | 29.947 | 7436.3837 | 34.3523 | 6642.6873 | 38.9582 | 7224.7472 | 63 | FMI20250520_019.gcd | 2025-05-20 21:26 | 390 | Unknown | 0 | 2.845 | 914529 | 0 | ----- | ----- | ----- | -----
64 | FMI20250520_020.gcd | 2025-05-20 21:57 | 271 | Unknown | 0 | 5.956 | 13668618 | 31.896 | ----- | ----- | ----- | ----- | 64 | FMI20250520_020.gcd | 2025-05-20 21:57 | 271 | Unknown | 0 | 5.909 | 105141 | 25.938 | ----- | ----- | ----- | ----- | 64 | FMI20250520_020.gcd | 2025-05-20 21:57 | 271 | Unknown | 0 | 12.105 | 47635 | 10.322 | ----- | ----- | ----- | ----- | 1 |  | 64 | 26402.4576 | 10793.7367 | 25992.9024 | 9684.5472 | 25715.5739 | 9929.3836 | 28082.3776 | 9221.8742 | 26402.4576 | 10793.7367 | 64 | FMI20250520_020.gcd | 2025-05-20 21:57 | 271 | Unknown | 0 | 2.852 | 774784 | 0 | ----- | ----- | ----- | -----
65 | FMI20250520_021.gcd | 2025-05-20 22:28 | 172 | Unknown | 0 | 5.997 | 81230 | 0.183 | ----- | ----- | ----- | ----- | 65 | FMI20250520_021.gcd | 2025-05-20 22:28 | 172 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250520_021.gcd | 2025-05-20 22:28 | 172 | Unknown | 0 | 12.087 | 69527 | 15.085 | ----- | ----- | ----- | ----- | 1 |  | 65 | 219.3025 | 15466.7098 | 187.7266 | 14144.1671 | 226.3574 | 15247.1271 | 229.2592 | 13676.559 | 219.3025 | 15466.7098 | 65 | FMI20250520_021.gcd | 2025-05-20 22:28 | 172 | Unknown | 0 | 2.848 | 965055 | 0 | ----- | ----- | ----- | -----
66 | FMI20250520_022.gcd | 2025-05-20 22:58 | 105 | Unknown | 0 | 6.002 | 3745 | 0.009 | ----- | ----- | ----- | ----- | 66 | FMI20250520_022.gcd | 2025-05-20 22:58 | 105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250520_022.gcd | 2025-05-20 22:58 | 105 | Unknown | 0 | 12.117 | 32144 | 6.942 | ----- | ----- | ----- | ----- | 1 |  | 66 | 9.8902 | 7134.4879 | 3.3595 | 6514.0966 | 2.4486 | 7350.1567 | 6.1769 | 6561.8324 | 9.8902 | 7134.4879 | 66 | FMI20250520_022.gcd | 2025-05-20 22:58 | 105 | Unknown | 0 | 2.845 | 899318 | 0 | ----- | ----- | ----- | -----
67 | FMI20250520_023.gcd | 2025-05-20 23:29 | 374 | Unknown | 0 | 6.009 | 3194 | 0.008 | ----- | ----- | ----- | ----- | 67 | FMI20250520_023.gcd | 2025-05-20 23:29 | 374 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250520_023.gcd | 2025-05-20 23:29 | 374 | Unknown | 0 | 12.125 | 30204 | 6.518 | ----- | ----- | ----- | ----- | 1 |  | 67 | 7.9392 | 6698.6851 | 2.344 | 6116.1854 | 3.0095 | 6931.9644 | 4.6068 | 6171.3656 | 7.9392 | 6698.6851 | 67 | FMI20250520_023.gcd | 2025-05-20 23:29 | 374 | Unknown | 0 | 2.854 | 856654 | 0 | ----- | ----- | ----- | -----
68 | FMI20250520_024.gcd | 2025-05-20 23:59 | 224 | Unknown | 0 | 5.996 | 5826 | 0.014 | ----- | ----- | ----- | ----- | 68 | FMI20250520_024.gcd | 2025-05-20 23:59 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250520_024.gcd | 2025-05-20 23:59 | 224 | Unknown | 0 | 12.068 | 90357 | 19.603 | ----- | ----- | ----- | ----- | 1 |  | 68 | 17.3054 | 19903.5421 | 7.9909 | 18364.7367 | 3.2879 | 20270.5055 | 12.4196 | 17893.7589 | 17.3054 | 19903.5421 | 68 | FMI20250520_024.gcd | 2025-05-20 23:59 | 224 | Unknown | 0 | 2.83 | 1207275 | 0 | ----- | ----- | ----- | -----
69 | FMI20250520_025.gcd | 2025-05-21 00:30 | 181 | Unknown | 0 | 5.961 | 13436344 | 31.335 | ----- | ----- | ----- | ----- | 69 | FMI20250520_025.gcd | 2025-05-21 00:30 | 181 | Unknown | 0 | 5.913 | 104872 | 25.873 | ----- | ----- | ----- | ----- | 69 | FMI20250520_025.gcd | 2025-05-21 00:30 | 181 | Unknown | 0 | 12.116 | 46691 | 10.116 | ----- | ----- | ----- | ----- | 1 |  | 69 | 26338.0669 | 10592.0056 | 25927.5273 | 9491.6948 | 25647.7053 | 9699.1967 | 28009.589 | 9029.2667 | 26338.0669 | 10592.0056 | 69 | FMI20250520_025.gcd | 2025-05-21 00:30 | 181 | Unknown | 0 | 2.858 | 752740 | 0 | ----- | ----- | ----- | -----
70 | FMI20250520_026.gcd | 2025-05-21 01:01 | 405 | Unknown | 0 | 5.991 | 25914 | 0.059 | ----- | ----- | ----- | ----- | 70 | FMI20250520_026.gcd | 2025-05-21 01:01 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250520_026.gcd | 2025-05-21 01:01 | 405 | Unknown | 0 | 12.158 | 3841 | 0.746 | ----- | ----- | ----- | ----- | 1 |  | 70 | 72.5037 | 739.8718 | 58.322 | 689.8582 | 67.3773 | 908.755 | 70.6097 | 820.6228 | 72.5037 | 739.8718 | 70 | FMI20250520_026.gcd | 2025-05-21 01:01 | 405 | Unknown | 0 | 2.845 | 920727 | 0 | ----- | ----- | ----- | -----
71 | FMI20250520_027.gcd | 2025-05-21 01:31 | 66 | Unknown | 0 | 6.003 | 3958 | 0.009 | ----- | ----- | ----- | ----- | 71 | FMI20250520_027.gcd | 2025-05-21 01:31 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250520_027.gcd | 2025-05-21 01:31 | 66 | Unknown | 0 | 12.095 | 76215 | 16.537 | ----- | ----- | ----- | ----- | 1 |  | 71 | 10.6458 | 16892.2718 | 3.7758 | 15501.7018 | 2.3196 | 16863.8786 | 6.7931 | 15032.8708 | 10.6458 | 16892.2718 | 71 | FMI20250520_027.gcd | 2025-05-21 01:31 | 66 | Unknown | 0 | 2.854 | 884610 | 0 | ----- | ----- | ----- | -----
72 | FMI20250520_028.gcd | 2025-05-21 02:02 | 15 | Unknown | 0 | 5.991 | 25504 | 0.058 | ----- | ----- | ----- | ----- | 72 | FMI20250520_028.gcd | 2025-05-21 02:02 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250520_028.gcd | 2025-05-21 02:02 | 15 | Unknown | 0 | 12.162 | 4087 | 0.8 | ----- | ----- | ----- | ----- | 1 |  | 72 | 71.4097 | 795.7903 | 57.361 | 740.6566 | 66.1629 | 967.8895 | 69.4272 | 870.9361 | 71.4097 | 795.7903 | 72 | FMI20250520_028.gcd | 2025-05-21 02:02 | 15 | Unknown | 0 | 2.839 | 1016433 | 0 | ----- | ----- | ----- | -----
73 | FMI20250520_029.gcd | 2025-05-21 02:32 | 88 | Unknown | 0 | 5.996 | 5345 | 0.012 | ----- | ----- | ----- | ----- | 73 | FMI20250520_029.gcd | 2025-05-21 02:32 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250520_029.gcd | 2025-05-21 02:32 | 88 | Unknown | 0 | 12.063 | 91503 | 19.852 | ----- | ----- | ----- | ----- | 2 | Bubble in sample | 73 | 15.5849 | 20147.375 | 6.8086 | 18596.2963 | 2.6783 | 20545.8456 | 10.9327 | 18125.1705 | 15.5849 | 20147.375 | 73 | FMI20250520_029.gcd | 2025-05-21 02:32 | 88 | Unknown | 0 | 2.816 | 1483534 | 0 | ----- | ----- | ----- | -----
74 | FMI20250520_030.gcd | 2025-05-21 10:59 | 414 rerun | Unknown | 0 | 6.013 | 2876 | 0.007 | ----- | ----- | ----- | ----- | 74 | FMI20250520_030.gcd | 2025-05-21 10:59 | 414 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250520_030.gcd | 2025-05-21 10:59 | 414 rerun | Unknown | 0 | 12.147 | 35543 | 7.684 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 74 | 6.8155 | 7897.1507 | 1.798 | 7210.7986 | 3.4824 | 8074.5787 | 3.7165 | 7244.8694 | 6.8155 | 7897.1507 | 74 | FMI20250520_030.gcd | 2025-05-21 10:59 | 414 rerun | Unknown | 0 | 2.806 | 1719463 | 0 | ----- | ----- | ----- | -----
75 | FMI20250520_031.gcd | 2025-05-21 11:29 | 340 rerun | Unknown | 0 | 5.999 | 8359 | 0.019 | ----- | ----- | ----- | ----- | 75 | FMI20250520_031.gcd | 2025-05-21 11:29 | 340 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250520_031.gcd | 2025-05-21 11:29 | 340 rerun | Unknown | 0 | 12.164 | 2906 | 0.541 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 75 | 26.4305 | 527.2818 | 15.3265 | 496.7547 | 10.6207 | 683.4923 | 20.6862 | 629.325 | 26.4305 | 527.2818 | 75 | FMI20250520_031.gcd | 2025-05-21 11:29 | 340 rerun | Unknown | 0 | 2.814 | 1645164 | 0 | ----- | ----- | ----- | -----
76 | FMI20250520_032.gcd | 2025-05-21 12:00 | 299 rerun | Unknown | 0 | 5.993 | 5384 | 0.013 | ----- | ----- | ----- | ----- | 76 | FMI20250520_032.gcd | 2025-05-21 12:00 | 299 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250520_032.gcd | 2025-05-21 12:00 | 299 rerun | Unknown | 0 | 12.059 | 94819 | 20.57 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 76 | 15.7243 | 20852.7587 | 6.902 | 19265.9461 | 2.7185 | 21341.949 | 11.0523 | 18794.4146 | 15.7243 | 20852.7587 | 76 | FMI20250520_032.gcd | 2025-05-21 12:00 | 299 rerun | Unknown | 0 | 2.809 | 1640493 | 0 | ----- | ----- | ----- | -----