## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250603_001.gcd | 2025-06-03 12:16 | QC outside air | Unknown | 0 | 6.062 | 1451 | 0.004 | ----- | ----- | ----- | ----- | 45 | FMI20250603_001.gcd | 2025-06-03 12:16 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250603_001.gcd | 2025-06-03 12:16 | QC outside air | Unknown | 0 | 12.263 | 2158 | 0.377 | ----- | ----- | ----- | ----- | 1 |  | 45 | 1.8013 | 357.1481 | -0.28765 | 342.2398 | 6.9429 | 502.708 | -0.13139 | 476.2115 | 1.8013 | 357.1481 | 45 | FMI20250603_001.gcd | 2025-06-03 12:16 | QC outside air | Unknown | 0 | 2.704 | 5133748 | 0 | ----- | ----- | ----- | -----
46 | FMI20250603_002.gcd | 2025-06-03 12:47 | QC spiked air | Unknown | 0 | 5.999 | 1018160 | 2.3 | ----- | ----- | ----- | ----- | 46 | FMI20250603_002.gcd | 2025-06-03 12:47 | QC spiked air | Unknown | 0 | 5.952 | 9070 | 2.334 | ----- | ----- | ----- | ----- | 46 | FMI20250603_002.gcd | 2025-06-03 12:47 | QC spiked air | Unknown | 0 | 12.227 | 8898 | 1.855 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2260.8148 | 1888.1895 | 2466.4027 | 1733.4961 | 2110.0487 | 2113.2806 | 2332.4897 | 1853.4554 | 2260.8148 | 1888.1895 | 46 | FMI20250603_002.gcd | 2025-06-03 12:47 | QC spiked air | Unknown | 0 | 2.696 | 5216647 | 0 | ----- | ----- | ----- | -----
47 | FMI20250603_003.gcd | 2025-06-03 13:17 | QC reference tank | Unknown | 0 | 6.022 | 2624 | 0.006 | ----- | ----- | ----- | ----- | 47 | FMI20250603_003.gcd | 2025-06-03 13:17 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250603_003.gcd | 2025-06-03 13:17 | QC reference tank | Unknown | 0 | 12.252 | 1332 | 0.196 | ----- | ----- | ----- | ----- | 1 |  | 47 | 5.9262 | 169.2093 | 1.3862 | 171.5791 | 3.9347 | 302.4788 | 3.0191 | 307.0539 | 5.9262 | 169.2093 | 47 | FMI20250603_003.gcd | 2025-06-03 13:17 | QC reference tank | Unknown | 0 | 2.696 | 5212384 | 0 | ----- | ----- | ----- | -----
48 | FMI20250603_004.gcd | 2025-06-03 13:48 | 351 | Unknown | 0 | 5.97 | 11351854 | 26.326 | ----- | ----- | ----- | ----- | 48 | FMI20250603_004.gcd | 2025-06-03 13:48 | 351 | Unknown | 0 | 5.923 | 89279 | 22.06 | ----- | ----- | ----- | ----- | 48 | FMI20250603_004.gcd | 2025-06-03 13:48 | 351 | Unknown | 0 | 12.135 | 45750 | 9.911 | ----- | ----- | ----- | ----- | 1 |  | 48 | 22603.0552 | 10390.8967 | 22133.168 | 9299.41 | 21708.6487 | 9469.6687 | 23782.618 | 8837.2287 | 22603.0552 | 10390.8967 | 48 | FMI20250603_004.gcd | 2025-06-03 13:48 | 351 | Unknown | 0 | 2.864 | 615255 | 0 | ----- | ----- | ----- | -----
49 | FMI20250603_005.gcd | 2025-06-03 14:18 | 273 | Unknown | 0 | 5.968 | 12494181 | 29.064 | ----- | ----- | ----- | ----- | 49 | FMI20250603_005.gcd | 2025-06-03 14:18 | 273 | Unknown | 0 | 5.92 | 95292 | 23.531 | ----- | ----- | ----- | ----- | 49 | FMI20250603_005.gcd | 2025-06-03 14:18 | 273 | Unknown | 0 | 12.132 | 50941 | 11.042 | ----- | ----- | ----- | ----- | 1 |  | 49 | 24043.9411 | 11500.074 | 23597.4718 | 10359.5807 | 23228.7867 | 10734.9508 | 25414.4157 | 9896.0708 | 24043.9411 | 11500.074 | 49 | FMI20250603_005.gcd | 2025-06-03 14:18 | 273 | Unknown | 0 | 2.854 | 798298 | 0 | ----- | ----- | ----- | -----
50 | FMI20250603_006.gcd | 2025-06-03 14:49 | 103 | Unknown | 0 | 5.963 | 15981974 | 37.531 | ----- | ----- | ----- | ----- | 50 | FMI20250603_006.gcd | 2025-06-03 14:49 | 103 | Unknown | 0 | 5.916 | 124729 | 30.717 | ----- | ----- | ----- | ----- | 50 | FMI20250603_006.gcd | 2025-06-03 14:49 | 103 | Unknown | 0 | 12.14 | 45346 | 9.823 | ----- | ----- | ----- | ----- | 1 |  | 50 | 31087.3022 | 10304.5487 | 30745.835 | 9216.8425 | 30649.842 | 9371.1032 | 33370.6289 | 8754.7679 | 31087.3022 | 10304.5487 | 50 | FMI20250603_006.gcd | 2025-06-03 14:49 | 103 | Unknown | 0 | 2.863 | 720874 | 0 | ----- | ----- | ----- | -----
51 | FMI20250603_007.gcd | 2025-06-03 15:20 | 10 | Unknown | 0 | 5.953 | 17439322 | 41.119 | ----- | ----- | ----- | ----- | 51 | FMI20250603_007.gcd | 2025-06-03 15:20 | 10 | Unknown | 0 | 5.906 | 138224 | 34.002 | ----- | ----- | ----- | ----- | 51 | FMI20250603_007.gcd | 2025-06-03 15:20 | 10 | Unknown | 0 | 12.129 | 47307 | 10.25 | ----- | ----- | ----- | ----- | 1 |  | 51 | 34310.3624 | 10723.6458 | 34011.6786 | 9617.5444 | 34040.3385 | 9849.4117 | 37000.0883 | 9154.9561 | 34310.3624 | 10723.6458 | 51 | FMI20250603_007.gcd | 2025-06-03 15:20 | 10 | Unknown | 0 | 2.853 | 791994 | 0 | ----- | ----- | ----- | -----
52 | FMI20250603_008.gcd | 2025-06-03 15:50 | 196 | Unknown | 0 | 6.004 | 12048 | 0.028 | ----- | ----- | ----- | ----- | 52 | FMI20250603_008.gcd | 2025-06-03 15:50 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250603_008.gcd | 2025-06-03 15:50 | 196 | Unknown | 0 | 12.152 | 31499 | 6.801 | ----- | ----- | ----- | ----- | 1 |  | 52 | 35.4536 | 6989.6357 | 25.807 | 6381.8227 | 26.0132 | 7211.4995 | 30.5642 | 6432.0622 | 35.4536 | 6989.6357 | 52 | FMI20250603_008.gcd | 2025-06-03 15:50 | 196 | Unknown | 0 | 2.85 | 898358 | 0 | ----- | ----- | ----- | -----
53 | FMI20250603_009.gcd | 2025-06-03 16:21 | 346 | Unknown | 0 | 6.012 | 4095 | 0.01 | ----- | ----- | ----- | ----- | 53 | FMI20250603_009.gcd | 2025-06-03 16:21 | 346 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250603_009.gcd | 2025-06-03 16:21 | 346 | Unknown | 0 | 12.18 | 4563 | 0.905 | ----- | ----- | ----- | ----- | 1 |  | 53 | 11.1322 | 903.9734 | 4.0505 | 838.9407 | 2.2626 | 1082.1556 | 7.1922 | 968.2699 | 11.1322 | 903.9734 | 53 | FMI20250603_009.gcd | 2025-06-03 16:21 | 346 | Unknown | 0 | 2.844 | 1007677 | 0 | ----- | ----- | ----- | -----
54 | FMI20250603_010.gcd | 2025-06-03 16:51 | 322 | Unknown | 0 | 6.028 | 2000 | 0.005 | ----- | ----- | ----- | ----- | 54 | FMI20250603_010.gcd | 2025-06-03 16:51 | 322 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250603_010.gcd | 2025-06-03 16:51 | 322 | Unknown | 0 | 12.099 | 76997 | 16.707 | ----- | ----- | ----- | ----- | 1 |  | 54 | 3.729 | 17058.8948 | 0.446 | 15660.2836 | 5.35 | 17052.6797 | 1.3236 | 15191.3183 | 3.729 | 17058.8948 | 54 | FMI20250603_010.gcd | 2025-06-03 16:51 | 322 | Unknown | 0 | 2.848 | 943520 | 0 | ----- | ----- | ----- | -----
55 | FMI20250603_011.gcd | 2025-06-03 17:22 | 179 | Unknown | 0 | 6.003 | 10049 | 0.023 | ----- | ----- | ----- | ----- | 55 | FMI20250603_011.gcd | 2025-06-03 17:22 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250603_011.gcd | 2025-06-03 17:22 | 179 | Unknown | 0 | 12.314 | 754 | 0.069 | ----- | ----- | ----- | ----- | 1 |  | 55 | 30.1039 | 37.6579 | 21.1169 | 52.1373 | 19.9999 | 161.9967 | 24.7819 | 188.636 | 30.1039 | 37.6579 | 55 | FMI20250603_011.gcd | 2025-06-03 17:22 | 179 | Unknown | 0 | 2.847 | 940590 | 0 | ----- | ----- | ----- | -----
56 | FMI20250603_012.gcd | 2025-06-03 17:53 | 42 | Unknown | 0 | 6.013 | 2636 | 0.006 | ----- | ----- | ----- | ----- | 56 | FMI20250603_012.gcd | 2025-06-03 17:53 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250603_012.gcd | 2025-06-03 17:53 | 42 | Unknown | 0 | 12.175 | 2183 | 0.382 | ----- | ----- | ----- | ----- | 1 |  | 56 | 5.9686 | 362.8353 | 1.4054 | 347.4045 | 3.9116 | 508.7585 | 3.0521 | 481.33 | 5.9686 | 362.8353 | 56 | FMI20250603_012.gcd | 2025-06-03 17:53 | 42 | Unknown | 0 | 2.848 | 907997 | 0 | ----- | ----- | ----- | -----
57 | FMI20250603_013.gcd | 2025-06-03 18:23 | 267 | Unknown | 0 | 6.002 | 11480 | 0.026 | ----- | ----- | ----- | ----- | 57 | FMI20250603_013.gcd | 2025-06-03 18:23 | 267 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250603_013.gcd | 2025-06-03 18:23 | 267 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 peak detected | 57 | 33.9337 | #VALUE! | 24.4744 | #VALUE! | 24.3058 | #VALUE! | 28.9215 | #VALUE! | 33.9337 | #VALUE! | 57 | FMI20250603_013.gcd | 2025-06-03 18:23 | 267 | Unknown | 0 | 2.849 | 892978 | 0 | ----- | ----- | ----- | -----
58 | FMI20250603_014.gcd | 2025-06-03 18:54 | 238 | Unknown | 0 | 6.017 | 3237 | 0.008 | ----- | ----- | ----- | ----- | 58 | FMI20250603_014.gcd | 2025-06-03 18:54 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250603_014.gcd | 2025-06-03 18:54 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 peak detected | 58 | 8.0912 | #VALUE! | 2.42 | #VALUE! | 2.9539 | #VALUE! | 4.7281 | #VALUE! | 8.0912 | #VALUE! | 58 | FMI20250603_014.gcd | 2025-06-03 18:54 | 238 | Unknown | 0 | 2.842 | 1014772 | 0 | ----- | ----- | ----- | -----
59 | FMI20250603_015.gcd | 2025-06-03 19:24 | 69 | Unknown | 0 | 6.023 | 3465 | 0.008 | ----- | ----- | ----- | ----- | 59 | FMI20250603_015.gcd | 2025-06-03 19:24 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250603_015.gcd | 2025-06-03 19:24 | 69 | Unknown | 0 | 12.089 | 87594 | 19.005 | ----- | ----- | ----- | ----- | 1 |  | 59 | 8.8981 | 19315.5476 | 2.8324 | 17806.1723 | 2.6926 | 19606.22 | 5.3747 | 17335.567 | 8.8981 | 19315.5476 | 59 | FMI20250603_015.gcd | 2025-06-03 19:24 | 69 | Unknown | 0 | 2.856 | 855153 | 0 | ----- | ----- | ----- | -----
60 | FMI20250603_016.gcd | 2025-06-03 19:55 | 389 | Unknown | 0 | 6.031 | 1706 | 0.004 | ----- | ----- | ----- | ----- | 60 | FMI20250603_016.gcd | 2025-06-03 19:55 | 389 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250603_016.gcd | 2025-06-03 19:55 | 389 | Unknown | 0 | 12.178 | 2350 | 0.419 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.696 | 400.824 | 0.042226 | 381.9041 | 6.1625 | 549.1612 | 0.54012 | 515.5198 | 2.696 | 400.824 | 60 | FMI20250603_016.gcd | 2025-06-03 19:55 | 389 | Unknown | 0 | 2.846 | 949583 | 0 | ----- | ----- | ----- | -----
61 | FMI20250603_017.gcd | 2025-06-03 20:26 | 138 | Unknown | 0 | 6.011 | 3829 | 0.009 | ----- | ----- | ----- | ----- | 61 | FMI20250603_017.gcd | 2025-06-03 20:26 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250603_017.gcd | 2025-06-03 20:26 | 138 | Unknown | 0 | 12.2 | 115315 | 24.999 | ----- | ----- | ----- | ----- | 1 |  | 61 | 10.1881 | 25207.5105 | 3.5221 | 23392.557 | 2.3919 | 26242.6557 | 6.4193 | 22919.2444 | 10.1881 | 25207.5105 | 61 | FMI20250603_017.gcd | 2025-06-03 20:26 | 138 | Unknown | 0 | 2.846 | 892318 | 0 | ----- | ----- | ----- | -----
62 | FMI20250603_018.gcd | 2025-06-03 20:56 | 191 | Unknown | 0 | 6.004 | 4476 | 0.01 | ----- | ----- | ----- | ----- | 62 | FMI20250603_018.gcd | 2025-06-03 20:56 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250603_018.gcd | 2025-06-03 20:56 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 peak detected | 62 | 12.4866 | #VALUE! | 4.843 | #VALUE! | 2.2105 | #VALUE! | 8.3134 | #VALUE! | 12.4866 | #VALUE! | 62 | FMI20250603_018.gcd | 2025-06-03 20:56 | 191 | Unknown | 0 | 2.843 | 974358 | 0 | ----- | ----- | ----- | -----
63 | FMI20250603_019.gcd | 2025-06-03 21:27 | 282 | Unknown | 0 | 6.009 | 2593 | 0.006 | ----- | ----- | ----- | ----- | 63 | FMI20250603_019.gcd | 2025-06-03 21:27 | 282 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250603_019.gcd | 2025-06-03 21:27 | 282 | Unknown | 0 | 12.071 | 88505 | 19.202 | ----- | ----- | ----- | ----- | 1 |  | 63 | 5.8169 | 19509.4356 | 1.3368 | 17990.3819 | 3.9951 | 19825.3133 | 2.9338 | 17519.6513 | 5.8169 | 19509.4356 | 63 | FMI20250603_019.gcd | 2025-06-03 21:27 | 282 | Unknown | 0 | 2.845 | 936087 | 0 | ----- | ----- | ----- | -----
64 | FMI20250603_020.gcd | 2025-06-03 21:57 | 281 | Unknown | 0 | 6.016 | 2727 | 0.007 | ----- | ----- | ----- | ----- | 64 | FMI20250603_020.gcd | 2025-06-03 21:57 | 281 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250603_020.gcd | 2025-06-03 21:57 | 281 | Unknown | 0 | 12.061 | 101970 | 22.116 | ----- | ----- | ----- | ----- | 1 |  | 64 | 6.2896 | 22373.1335 | 1.5523 | 20708.1451 | 3.7416 | 23055.6957 | 3.3033 | 20235.8499 | 6.2896 | 22373.1335 | 64 | FMI20250603_020.gcd | 2025-06-03 21:57 | 281 | Unknown | 0 | 2.838 | 1067450 | 0 | ----- | ----- | ----- | -----
65 | FMI20250603_021.gcd | 2025-06-03 22:28 | 68 | Unknown | 0 | 6.012 | 3171 | 0.008 | ----- | ----- | ----- | ----- | 65 | FMI20250603_021.gcd | 2025-06-03 22:28 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250603_021.gcd | 2025-06-03 22:28 | 68 | Unknown | 0 | 12.094 | 64181 | 13.923 | ----- | ----- | ----- | ----- | 1 |  | 65 | 7.8578 | 14326.5148 | 2.3035 | 13057.3907 | 3.04 | 13952.1584 | 4.542 | 12590.8559 | 7.8578 | 14326.5148 | 65 | FMI20250603_021.gcd | 2025-06-03 22:28 | 68 | Unknown | 0 | 2.846 | 887391 | 0 | ----- | ----- | ----- | -----
66 | FMI20250603_022.gcd | 2025-06-03 22:59 | 367 | Unknown | 0 | 6.004 | 2462 | 0.006 | ----- | ----- | ----- | ----- | 66 | FMI20250603_022.gcd | 2025-06-03 22:59 | 367 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250603_022.gcd | 2025-06-03 22:59 | 367 | Unknown | 0 | 11.808 | 323373 | 69.246 | ----- | ----- | ----- | ----- | 1 |  | 66 | 5.3552 | 68908.2487 | 1.1313 | 64068.8702 | 4.2617 | 74045.5751 | 2.5746 | 63648.3305 | 5.3552 | 68908.2487 | 66 | FMI20250603_022.gcd | 2025-06-03 22:59 | 367 | Unknown | 0 | 2.842 | 948522 | 0 | ----- | ----- | ----- | -----
67 | FMI20250603_023.gcd | 2025-06-03 23:29 | 278 | Unknown | 0 | 5.999 | 11437 | 0.026 | ----- | ----- | ----- | ----- | 67 | FMI20250603_023.gcd | 2025-06-03 23:29 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250603_023.gcd | 2025-06-03 23:29 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 peak detected | 67 | 33.8186 | #VALUE! | 24.3735 | #VALUE! | 24.1765 | #VALUE! | 28.7971 | #VALUE! | 33.8186 | #VALUE! | 67 | FMI20250603_023.gcd | 2025-06-03 23:29 | 278 | Unknown | 0 | 2.85 | 919889 | 0 | ----- | ----- | ----- | -----
68 | FMI20250603_024.gcd | 2025-06-04 | 241 | Unknown | 0 | 6.024 | 1792 | 0.004 | ----- | ----- | ----- | ----- | 68 | FMI20250603_024.gcd | 2025-06-04 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250603_024.gcd | 2025-06-04 | 241 | Unknown | 0 | 12.2 | 127185 | 27.559 | ----- | ----- | ----- | ----- | 1 |  | 68 | 2.998 | 27725.4301 | 0.15774 | 25772.6274 | 5.9152 | 29065.1251 | 0.76827 | 25298.8556 | 2.998 | 27725.4301 | 68 | FMI20250603_024.gcd | 2025-06-04 | 241 | Unknown | 0 | 2.845 | 1052353 | 0 | ----- | ----- | ----- | -----
69 | FMI20250603_025.gcd | 2025-06-04 00:30 | 371 | Unknown | 0 | 6 | 11840 | 0.027 | ----- | ----- | ----- | ----- | 69 | FMI20250603_025.gcd | 2025-06-04 00:30 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250603_025.gcd | 2025-06-04 00:30 | 371 | Unknown | 0 | 12.127 | 118962 | 25.786 | ----- | ----- | ----- | ----- | 1 |  | 69 | 34.897 | 25981.4476 | 25.319 | 24124.5874 | 25.388 | 27111.0723 | 29.9627 | 23651.0891 | 34.897 | 25981.4476 | 69 | FMI20250603_025.gcd | 2025-06-04 00:30 | 371 | Unknown | 0 | 2.857 | 832425 | 0 | ----- | ----- | ----- | -----
70 | FMI20250603_026.gcd | 2025-06-04 01:01 | 218 | Unknown | 0 | 6.012 | 2624 | 0.006 | ----- | ----- | ----- | ----- | 70 | FMI20250603_026.gcd | 2025-06-04 01:01 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250603_026.gcd | 2025-06-04 01:01 | 218 | Unknown | 0 | 12.2 | 133872 | 28.999 | ----- | ----- | ----- | ----- | 1 |  | 70 | 5.9262 | 29142.5898 | 1.3862 | 27110.2803 | 3.9347 | 30650.0964 | 3.0191 | 26636.4349 | 5.9262 | 29142.5898 | 70 | FMI20250603_026.gcd | 2025-06-04 01:01 | 218 | Unknown | 0 | 2.845 | 884015 | 0 | ----- | ----- | ----- | -----
71 | FMI20250603_027.gcd | 2025-06-04 01:32 | 171 | Unknown | 0 | 5.986 | 77697 | 0.176 | ----- | ----- | ----- | ----- | 71 | FMI20250603_027.gcd | 2025-06-04 01:32 | 171 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250603_027.gcd | 2025-06-04 01:32 | 171 | Unknown | 0 | 11.547 | 3368938 | 612.131 | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 71 | 209.9747 | 603367.3153 | 179.4764 | 406610.3369 | 216.4919 | 368504.4438 | 219.1792 | 421726.8792 | 209.9747 | 603367.3153 | 71 | FMI20250603_027.gcd | 2025-06-04 01:32 | 171 | Unknown | 0 | 2.85 | 667035 | 0 | ----- | ----- | ----- | -----
72 | FMI20250603_028.gcd | 2025-06-04 02:02 | 177 | Unknown | 0 | 5.999 | 5012 | 0.012 | ----- | ----- | ----- | ----- | 72 | FMI20250603_028.gcd | 2025-06-04 02:02 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250603_028.gcd | 2025-06-04 02:02 | 177 | Unknown | 0 | 12.2 | 182873 | 39.508 | ----- | ----- | ----- | ----- | 1 | small bubble… and small rock! | 72 | 14.3961 | 39498.2734 | 6.0295 | 36842.6956 | 2.4027 | 42152.8425 | 9.9188 | 36372.3758 | 14.3961 | 39498.2734 | 72 | FMI20250603_028.gcd | 2025-06-04 02:02 | 177 | Unknown | 0 | 2.832 | 1111836 | 0 | ----- | ----- | ----- | -----
73 | FMI20250603_029.gcd | 2025-06-04 02:33 | 26 | Unknown | 0 | 5.986 | 104904 | 0.237 | ----- | ----- | ----- | ----- | 73 | FMI20250603_029.gcd | 2025-06-04 02:33 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250603_029.gcd | 2025-06-04 02:33 | 26 | Unknown | 0 | 12.042 | 81688 | 17.725 | ----- | ----- | ----- | ----- | 1 | small bubble | 73 | 281.6373 | 18058.1471 | 242.9583 | 16610.9164 | 291.4482 | 18184.1948 | 296.6175 | 16141.1839 | 281.6373 | 18058.1471 | 73 | FMI20250603_029.gcd | 2025-06-04 02:33 | 26 | Unknown | 0 | 2.831 | 1116409 | 0 | ----- | ----- | ----- | -----