## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250617_001.gcd | 2025-06-17 12:55 | QC outside air | Unknown | 0 | 6.045 | 1672 | 0.004 | ----- | ----- | ----- | ----- | 45 | FMI20250617_001.gcd | 2025-06-17 12:55 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250617_001.gcd | 2025-06-17 12:55 | QC outside air | Unknown | 0 | 12.245 | 1974 | 0.337 | ----- | ----- | ----- | ----- | 1 |  | 45 | 2.5766 | 315.2886 | -0.0028488 | 304.2264 | 6.2625 | 458.1587 | 0.45016 | 438.537 | 2.5766 | 315.2886 | 45 | FMI20250617_001.gcd | 2025-06-17 12:55 | QC outside air | Unknown | 0 | 2.694 | 5189255 | 0 | ----- | ----- | ----- | -----
46 | FMI20250617_002.gcd | 2025-06-17 13:26 | QC spiked air | Unknown | 0 | 5.987 | 969749 | 2.191 | ----- | ----- | ----- | ----- | 46 | FMI20250617_002.gcd | 2025-06-17 13:26 | QC spiked air | Unknown | 0 | 5.942 | 8524 | 2.199 | ----- | ----- | ----- | ----- | 46 | FMI20250617_002.gcd | 2025-06-17 13:26 | QC spiked air | Unknown | 0 | 12.2 | 8991 | 1.875 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2161.8693 | 1909.284 | 2331.6723 | 1752.6767 | 2017.9214 | 2135.2138 | 2229.3415 | 1872.4209 | 2161.8693 | 1909.284 | 46 | FMI20250617_002.gcd | 2025-06-17 13:26 | QC spiked air | Unknown | 0 | 2.696 | 5029671 | 0 | ----- | ----- | ----- | -----
47 | FMI20250617_003.gcd | 2025-06-17 13:56 | QC reference tank | Unknown | 0 | 6.019 | 2885 | 0.007 | ----- | ----- | ----- | ----- | 47 | FMI20250617_003.gcd | 2025-06-17 13:56 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250617_003.gcd | 2025-06-17 13:56 | QC reference tank | Unknown | 0 | 12.222 | 2012 | 0.345 | ----- | ----- | ----- | ----- | 1 |  | 47 | 6.8473 | 323.9338 | 1.8131 | 312.0771 | 3.4675 | 467.3616 | 3.7415 | 446.3179 | 6.8473 | 323.9338 | 47 | FMI20250617_003.gcd | 2025-06-17 13:56 | QC reference tank | Unknown | 0 | 2.691 | 5226545 | 0 | ----- | ----- | ----- | -----
48 | FMI20250617_004.gcd | 2025-06-17 14:27 | 82 | Unknown | 0 | 5.999 | 4524 | 0.011 | ----- | ----- | ----- | ----- | 48 | FMI20250617_004.gcd | 2025-06-17 14:27 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250617_004.gcd | 2025-06-17 14:27 | 82 | Unknown | 0 | 12.157 | 5997 | 1.219 | ----- | ----- | ----- | ----- | 1 |  | 48 | 12.6574 | 1229.7521 | 4.9459 | 1134.9621 | 2.2151 | 1425.1448 | 8.4558 | 1261.3344 | 12.6574 | 1229.7521 | 48 | FMI20250617_004.gcd | 2025-06-17 14:27 | 82 | Unknown | 0 | 2.843 | 923990 | 0 | ----- | ----- | ----- | -----
49 | FMI20250617_005.gcd | 2025-06-17 14:58 | 227 | Unknown | 0 | 6.005 | 4216 | 0.01 | ----- | ----- | ----- | ----- | 49 | FMI20250617_005.gcd | 2025-06-17 14:58 | 227 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250617_005.gcd | 2025-06-17 14:58 | 227 | Unknown | 0 | 12.16 | 5653 | 1.144 | ----- | ----- | ----- | ----- | 1 |  | 49 | 11.5621 | 1151.62 | 4.2976 | 1063.9596 | 2.2291 | 1343.0367 | 7.5465 | 1191.054 | 11.5621 | 1151.62 | 49 | FMI20250617_005.gcd | 2025-06-17 14:58 | 227 | Unknown | 0 | 2.836 | 1052591 | 0 | ----- | ----- | ----- | -----
50 | FMI20250617_006.gcd | 2025-06-17 15:28 | 165 | Unknown | 0 | 5.994 | 15908 | 0.036 | ----- | ----- | ----- | ----- | 50 | FMI20250617_006.gcd | 2025-06-17 15:28 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250617_006.gcd | 2025-06-17 15:28 | 165 | Unknown | 0 | 12.138 | 26013 | 5.602 | ----- | ----- | ----- | ----- | 1 |  | 50 | 45.7777 | 5755.9556 | 34.8616 | 5255.9183 | 37.589 | 6016.82 | 41.7232 | 5326.2998 | 45.7777 | 5755.9556 | 50 | FMI20250617_006.gcd | 2025-06-17 15:28 | 165 | Unknown | 0 | 2.834 | 1074555 | 0 | ----- | ----- | ----- | -----
51 | FMI20250617_007.gcd | 2025-06-17 15:59 | 343 | Unknown | 0 | 5.992 | 24360 | 0.055 | ----- | ----- | ----- | ----- | 51 | FMI20250617_007.gcd | 2025-06-17 15:59 | 343 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250617_007.gcd | 2025-06-17 15:59 | 343 | Unknown | 0 | 12.152 | 13390 | 2.839 | ----- | ----- | ----- | ----- | 1 |  | 51 | 68.3565 | 2906.1051 | 54.6795 | 2659.4375 | 62.7717 | 3163.6649 | 66.1273 | 2768.3283 | 68.3565 | 2906.1051 | 51 | FMI20250617_007.gcd | 2025-06-17 15:59 | 343 | Unknown | 0 | 2.836 | 1049937 | 0 | ----- | ----- | ----- | -----
52 | FMI20250617_008.gcd | 2025-06-17 16:30 | 159 | Unknown | 0 | 5.99 | 39442 | 0.089 | ----- | ----- | ----- | ----- | 52 | FMI20250617_008.gcd | 2025-06-17 16:30 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250617_008.gcd | 2025-06-17 16:30 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 detected | 52 | 108.5533 | #VALUE! | 90.0145 | #VALUE! | 107.1487 | #VALUE! | 109.5721 | #VALUE! | 108.5533 | #VALUE! | 52 | FMI20250617_008.gcd | 2025-06-17 16:30 | 159 | Unknown | 0 | 2.831 | 1157632 | 0 | ----- | ----- | ----- | -----
53 | FMI20250617_009.gcd | 2025-06-17 17:01 | 185 | Unknown | 0 | 5.99 | 43524 | 0.098 | ----- | ----- | ----- | ----- | 53 | FMI20250617_009.gcd | 2025-06-17 17:01 | 185 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250617_009.gcd | 2025-06-17 17:01 | 185 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 detected | 53 | 119.4122 | #VALUE! | 99.5718 | #VALUE! | 119.0362 | #VALUE! | 121.308 | #VALUE! | 119.4122 | #VALUE! | 53 | FMI20250617_009.gcd | 2025-06-17 17:01 | 185 | Unknown | 0 | 2.833 | 1107645 | 0 | ----- | ----- | ----- | -----
54 | FMI20250617_010.gcd | 2025-06-17 17:31 | 38 | Unknown | 0 | 5.988 | 104369 | 0.236 | ----- | ----- | ----- | ----- | 54 | FMI20250617_010.gcd | 2025-06-17 17:31 | 38 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250617_010.gcd | 2025-06-17 17:31 | 38 | Unknown | 0 | 12.082 | 80066 | 17.373 | ----- | ----- | ----- | ----- | 1 |  | 54 | 280.2318 | 17712.69 | 241.7111 | 16282.3446 | 289.9968 | 17793.1561 | 295.0989 | 15812.8699 | 280.2318 | 17712.69 | 54 | FMI20250617_010.gcd | 2025-06-17 17:31 | 38 | Unknown | 0 | 2.833 | 1087240 | 0 | ----- | ----- | ----- | -----
55 | FMI20250617_011.gcd | 2025-06-17 18:02 | 318 | Unknown | 0 | 5.88 | 39260033 | 99.045 | ----- | ----- | ----- | ----- | 55 | FMI20250617_011.gcd | 2025-06-17 18:02 | 318 | Unknown | 0 | 5.834 | 327649 | 79.557 | ----- | ----- | ----- | ----- | 55 | FMI20250617_011.gcd | 2025-06-17 18:02 | 318 | Unknown | 0 | 12.061 | 89269 | 19.368 | ----- | ----- | ----- | ----- | 1 |  | 55 | 79161.6653 | 19672.024 | 79108.35 | 18144.8346 | 80862.8912 | 20009.0011 | 86754.068 | 17674.0007 | 79161.6653 | 19672.024 | 55 | FMI20250617_011.gcd | 2025-06-17 18:02 | 318 | Unknown | 0 | 2.85 | 692310 | 0 | ----- | ----- | ----- | -----
56 | FMI20250617_012.gcd | 2025-06-17 18:32 | 8 | Unknown | 0 | 5.997 | 7502 | 0.017 | ----- | ----- | ----- | ----- | 56 | FMI20250617_012.gcd | 2025-06-17 18:32 | 8 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250617_012.gcd | 2025-06-17 18:32 | 8 | Unknown | 0 | 12.038 | 125955 | 27.294 | ----- | ----- | ----- | ----- | 1 |  | 56 | 23.331 | 27464.6558 | 12.6359 | 25526.3323 | 7.3642 | 28773.1888 | 17.8072 | 25052.5887 | 23.331 | 27464.6558 | 56 | FMI20250617_012.gcd | 2025-06-17 18:32 | 8 | Unknown | 0 | 2.842 | 1037168 | 0 | ----- | ----- | ----- | -----
57 | FMI20250617_013.gcd | 2025-06-17 19:03 | 308 | Unknown | 0 | 6.003 | 3630 | 0.009 | ----- | ----- | ----- | ----- | 57 | FMI20250617_013.gcd | 2025-06-17 19:03 | 308 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250617_013.gcd | 2025-06-17 19:03 | 308 | Unknown | 0 | 12.038 | 117883 | 25.553 | ----- | ----- | ----- | ----- | 1 |  | 57 | 9.4826 | 25752.5003 | 3.1403 | 23908.0799 | 2.5386 | 26854.2563 | 5.8463 | 23434.6324 | 9.4826 | 25752.5003 | 57 | FMI20250617_013.gcd | 2025-06-17 19:03 | 308 | Unknown | 0 | 2.84 | 913683 | 0 | ----- | ----- | ----- | -----
58 | FMI20250617_014.gcd | 2025-06-17 19:34 | 338 | Unknown | 0 | 5.925 | 22632321 | 54.161 | ----- | ----- | ----- | ----- | 58 | FMI20250617_014.gcd | 2025-06-17 19:34 | 338 | Unknown | 0 | 5.878 | 178618 | 43.803 | ----- | ----- | ----- | ----- | 58 | FMI20250617_014.gcd | 2025-06-17 19:34 | 338 | Unknown | 0 | 12.067 | 81084 | 17.594 | ----- | ----- | ----- | ----- | 1 |  | 58 | 43935.7365 | 17929.5124 | 43745.0007 | 16488.5786 | 44145.4292 | 18038.605 | 47796.5117 | 16018.9412 | 43935.7365 | 17929.5124 | 58 | FMI20250617_014.gcd | 2025-06-17 19:34 | 338 | Unknown | 0 | 2.838 | 918728 | 0 | ----- | ----- | ----- | -----
59 | FMI20250617_015.gcd | 2025-06-17 20:04 | 215 | Unknown | 0 | 6.001 | 5856 | 0.014 | ----- | ----- | ----- | ----- | 59 | FMI20250617_015.gcd | 2025-06-17 20:04 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250617_015.gcd | 2025-06-17 20:04 | 215 | Unknown | 0 | 12.038 | 127996 | 27.733 | ----- | ----- | ----- | ----- | 1 |  | 59 | 17.4128 | 27897.354 | 8.0669 | 25934.9797 | 3.3342 | 29257.5455 | 12.5133 | 25461.1919 | 17.4128 | 27897.354 | 59 | FMI20250617_015.gcd | 2025-06-17 20:04 | 215 | Unknown | 0 | 2.84 | 1080560 | 0 | ----- | ----- | ----- | -----
60 | FMI20250617_016.gcd | 2025-06-17 20:35 | 88 | Unknown | 0 | 5.988 | 13338 | 0.03 | ----- | ----- | ----- | ----- | 60 | FMI20250617_016.gcd | 2025-06-17 20:35 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250617_016.gcd | 2025-06-17 20:35 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 60 | 38.9047 | #VALUE! | 28.8333 | #VALUE! | 29.887 | #VALUE! | 34.2945 | #VALUE! | 38.9047 | #VALUE! | 60 | FMI20250617_016.gcd | 2025-06-17 20:35 | 88 | Unknown | 0 | 2.835 | 995519 | 0 | ----- | ----- | ----- | -----
61 | FMI20250617_017.gcd | 2025-06-17 21:06 | 269 | Unknown | 0 | 5.992 | 54727 | 0.124 | ----- | ----- | ----- | ----- | 61 | FMI20250617_017.gcd | 2025-06-17 21:06 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250617_017.gcd | 2025-06-17 21:06 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 61 | 149.1691 | #VALUE! | 125.7878 | #VALUE! | 151.3911 | #VALUE! | 153.4676 | #VALUE! | 149.1691 | #VALUE! | 61 | FMI20250617_017.gcd | 2025-06-17 21:06 | 269 | Unknown | 0 | 2.842 | 1056935 | 0 | ----- | ----- | ----- | -----
62 | FMI20250617_018.gcd | 2025-06-17 21:36 | 184 | Unknown | 0 | 5.877 | 38670037 | 97.358 | ----- | ----- | ----- | ----- | 62 | FMI20250617_018.gcd | 2025-06-17 21:36 | 184 | Unknown | 0 | 5.835 | 329625 | 80.027 | ----- | ----- | ----- | ----- | 62 | FMI20250617_018.gcd | 2025-06-17 21:36 | 184 | Unknown | 0 | 12.048 | 76587 | 16.618 | ----- | ----- | ----- | ----- | 1 |  | 62 | 79625.6997 | 16971.5366 | 79571.4493 | 15577.1436 | 81343.7597 | 16953.6981 | 87261.3556 | 15108.2485 | 79625.6997 | 16971.5366 | 62 | FMI20250617_018.gcd | 2025-06-17 21:36 | 184 | Unknown | 0 | 2.855 | 672736 | 0 | ----- | ----- | ----- | -----
63 | FMI20250617_019.gcd | 2025-06-17 22:07 | 337 | Unknown | 0 | 5.985 | 54414 | 0.123 | ----- | ----- | ----- | ----- | 63 | FMI20250617_019.gcd | 2025-06-17 22:07 | 337 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250617_019.gcd | 2025-06-17 22:07 | 337 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 detected | 63 | 148.3386 | #VALUE! | 125.0556 | #VALUE! | 150.4925 | #VALUE! | 152.5701 | #VALUE! | 148.3386 | #VALUE! | 63 | FMI20250617_019.gcd | 2025-06-17 22:07 | 337 | Unknown | 0 | 2.831 | 1106387 | 0 | ----- | ----- | ----- | -----
64 | FMI20250617_020.gcd | 2025-06-17 22:38 | 294 | Unknown | 0 | 5.982 | 96471 | 0.218 | ----- | ----- | ----- | ----- | 64 | FMI20250617_020.gcd | 2025-06-17 22:38 | 294 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250617_020.gcd | 2025-06-17 22:38 | 294 | Unknown | 0 | 12.053 | 80330 | 17.43 | ----- | ----- | ----- | ----- | 1 |  | 64 | 259.4666 | 17768.9211 | 223.2944 | 16335.8328 | 268.4647 | 17856.817 | 272.6607 | 15866.3156 | 259.4666 | 17768.9211 | 64 | FMI20250617_020.gcd | 2025-06-17 22:38 | 294 | Unknown | 0 | 2.833 | 1031425 | 0 | ----- | ----- | ----- | -----
65 | FMI20250617_021.gcd | 2025-06-17 23:08 | 15 | Unknown | 0 | 5.991 | 6670 | 0.015 | ----- | ----- | ----- | ----- | 65 | FMI20250617_021.gcd | 2025-06-17 23:08 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250617_021.gcd | 2025-06-17 23:08 | 15 | Unknown | 0 | 12.014 | 126006 | 27.305 | ----- | ----- | ----- | ----- | 1 |  | 65 | 20.3338 | 27475.469 | 10.228 | 25536.5461 | 4.9615 | 28785.296 | 15.0926 | 25062.8012 | 20.3338 | 27475.469 | 65 | FMI20250617_021.gcd | 2025-06-17 23:08 | 15 | Unknown | 0 | 2.831 | 1101400 | 0 | ----- | ----- | ----- | -----
66 | FMI20250617_022.gcd | 2025-06-17 23:39 | 12 | Unknown | 0 | 5.986 | 9520 | 0.022 | ----- | ----- | ----- | ----- | 66 | FMI20250617_022.gcd | 2025-06-17 23:39 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250617_022.gcd | 2025-06-17 23:39 | 12 | Unknown | 0 | 12.034 | 98094 | 21.278 | ----- | ----- | ----- | ----- | 1 |  | 66 | 30.6494 | 21549.1916 | 19.3118 | 19926.7653 | 16.2976 | 22127.3263 | 24.7202 | 19454.8651 | 30.6494 | 21549.1916 | 66 | FMI20250617_022.gcd | 2025-06-17 23:39 | 12 | Unknown | 0 | 2.831 | 1081320 | 0 | ----- | ----- | ----- | -----
67 | FMI20250617_023.gcd | 2025-06-18 00:10 | 122 | Unknown | 0 | 6.004 | 3421 | 0.008 | ----- | ----- | ----- | ----- | 67 | FMI20250617_023.gcd | 2025-06-18 00:10 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250617_023.gcd | 2025-06-18 00:10 | 122 | Unknown | 0 | 12.008 | 132226 | 28.644 | ----- | ----- | ----- | ----- | 1 |  | 67 | 8.7423 | 28793.8451 | 2.7517 | 26781.2298 | 2.7387 | 30260.2963 | 5.2494 | 26307.3901 | 8.7423 | 28793.8451 | 67 | FMI20250617_023.gcd | 2025-06-18 00:10 | 122 | Unknown | 0 | 2.828 | 1167090 | 0 | ----- | ----- | ----- | -----
68 | FMI20250617_024.gcd | 2025-06-18 00:40 | 260 | Unknown | 0 | 5.983 | 60613 | 0.137 | ----- | ----- | ----- | ----- | 68 | FMI20250617_024.gcd | 2025-06-18 00:40 | 260 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250617_024.gcd | 2025-06-18 00:40 | 260 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 detected | 68 | 164.7768 | #VALUE! | 139.5534 | #VALUE! | 168.2316 | #VALUE! | 170.3351 | #VALUE! | 164.7768 | #VALUE! | 68 | FMI20250617_024.gcd | 2025-06-18 00:40 | 260 | Unknown | 0 | 2.825 | 1215065 | 0 | ----- | ----- | ----- | -----
69 | FMI20250617_025.gcd | 2025-06-18 01:11 | 232 | Unknown | 0 | 5.999 | 2857 | 0.007 | ----- | ----- | ----- | ----- | 69 | FMI20250617_025.gcd | 2025-06-18 01:11 | 232 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250617_025.gcd | 2025-06-18 01:11 | 232 | Unknown | 0 | 12.02 | 121391 | 26.31 | ----- | ----- | ----- | ----- | 1 |  | 69 | 6.7484 | 26496.7538 | 1.7663 | 24611.7627 | 3.5141 | 27688.8575 | 3.6636 | 24138.1626 | 6.7484 | 26496.7538 | 69 | FMI20250617_025.gcd | 2025-06-18 01:11 | 232 | Unknown | 0 | 2.83 | 1055280 | 0 | ----- | ----- | ----- | -----
70 | FMI20250617_026.gcd | 2025-06-18 01:42 | 181 | Unknown | 0 | 5.982 | 47385 | 0.107 | ----- | ----- | ----- | ----- | 70 | FMI20250617_026.gcd | 2025-06-18 01:42 | 181 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250617_026.gcd | 2025-06-18 01:42 | 181 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 detected | 70 | 129.675 | #VALUE! | 108.6091 | #VALUE! | 130.2317 | #VALUE! | 132.3997 | #VALUE! | 129.675 | #VALUE! | 70 | FMI20250617_026.gcd | 2025-06-18 01:42 | 181 | Unknown | 0 | 2.823 | 1246662 | 0 | ----- | ----- | ----- | -----
71 | FMI20250617_027.gcd | 2025-06-18 02:12 | 292 | Unknown | 0 | 5.988 | 9731 | 0.022 | ----- | ----- | ----- | ----- | 71 | FMI20250617_027.gcd | 2025-06-18 02:12 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250617_027.gcd | 2025-06-18 02:12 | 292 | Unknown | 0 | 12.034 | 104966 | 22.764 | ----- | ----- | ----- | ----- | 1 |  | 71 | 31.4186 | 23009.7905 | 20.0782 | 21311.5964 | 17.4857 | 23772.4477 | 25.4699 | 20839.0266 | 31.4186 | 23009.7905 | 71 | FMI20250617_027.gcd | 2025-06-18 02:12 | 292 | Unknown | 0 | 2.828 | 1129893 | 0 | ----- | ----- | ----- | -----
72 | FMI20250617_028.gcd | 2025-06-18 02:43 | 217 | Unknown | 0 | 5.935 | 20198256 | 47.997 | ----- | ----- | ----- | ----- | 72 | FMI20250617_028.gcd | 2025-06-18 02:43 | 217 | Unknown | 0 | 5.888 | 162573 | 39.916 | ----- | ----- | ----- | ----- | 72 | FMI20250617_028.gcd | 2025-06-18 02:43 | 217 | Unknown | 0 | 12.054 | 95635 | 20.746 | ----- | ----- | ----- | ----- | 1 |  | 72 | 40116.3795 | 21026.3034 | 39886.3753 | 19430.6472 | 40139.3749 | 21537.7159 | 43520.1489 | 18959.0208 | 40116.3795 | 21026.3034 | 72 | FMI20250617_028.gcd | 2025-06-18 02:43 | 217 | Unknown | 0 | 2.835 | 1085728 | 0 | ----- | ----- | ----- | -----
73 | FMI20250617_029.gcd | 2025-06-18 03:14 | 50 | Unknown | 0 | 5.993 | 27326 | 0.062 | ----- | ----- | ----- | ----- | 73 | FMI20250617_029.gcd | 2025-06-18 03:14 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250617_029.gcd | 2025-06-18 03:14 | 50 | Unknown | 0 | 12.147 | 14712 | 3.129 | ----- | ----- | ----- | ----- | 1 |  | 73 | 76.2709 | 3205.3015 | 61.6313 | 2931.7468 | 71.5555 | 3469.2884 | 74.6814 | 3037.1167 | 76.2709 | 3205.3015 | 73 | FMI20250617_029.gcd | 2025-06-18 03:14 | 50 | Unknown | 0 | 2.828 | 1349230 | 0 | ----- | ----- | ----- | -----
74 | FMI20250617_030.gcd | 2025-06-18 10:21 | 088 rerun | Unknown | 0 | 5.997 | 10638 | 0.024 | ----- | ----- | ----- | ----- | 74 | FMI20250617_030.gcd | 2025-06-18 10:21 | 088 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250617_030.gcd | 2025-06-18 10:21 | 088 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 3 | Bad reinjection- do not use. | 74 | 31.6804 | #VALUE! | 22.4989 | #VALUE! | 21.773 | #VALUE! | 26.4859 | #VALUE! | 31.6804 | #VALUE! | 74 | FMI20250617_030.gcd | 2025-06-18 10:21 | 088 rerun | Unknown | 0 | 2.796 | 1832736 | 0 | ----- | ----- | ----- | -----
75 | FMI20250617_031.gcd | 2025-06-18 10:52 | 269 rerun | Unknown | 0 | 5.983 | 53745 | 0.122 | ----- | ----- | ----- | ----- | 75 | FMI20250617_031.gcd | 2025-06-18 10:52 | 269 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250617_031.gcd | 2025-06-18 10:52 | 269 rerun | Unknown | 0 | 12.147 | 572 | 0.029 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 75 | 146.5634 | -3.7717 | 123.4906 | 14.5241 | 148.5708 | 117.6988 | 150.6515 | 151.3404 | 146.5634 | -3.7717 | 75 | FMI20250617_031.gcd | 2025-06-18 10:52 | 269 rerun | Unknown | 0 | 2.797 | 1839256 | 0 | ----- | ----- | ----- | -----
76 | FMI20250617_032.gcd | 2025-06-18 12:01 | 088 rerun 2 | Unknown | 0 | 6.004 | 8343 | 0.019 | ----- | ----- | ----- | ----- | 76 | FMI20250617_032.gcd | 2025-06-18 12:01 | 088 rerun 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250617_032.gcd | 2025-06-18 12:01 | 088 rerun 2 | Unknown | 0 | 12.158 | 27848 | 6.003 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 76 | 26.3725 | 6168.9353 | 15.2743 | 5632.6906 | 10.5527 | 6419.4814 | 20.6316 | 5696.5644 | 26.3725 | 6168.9353 | 76 | FMI20250617_032.gcd | 2025-06-18 12:01 | 088 rerun 2 | Unknown | 0 | 2.779 | 2355475 | 0 | ----- | ----- | ----- | -----