## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
76 | FMI20250624_001.gcd | 2025-06-24 11:38 | QC outside air | Unknown | 0 | 6.051 | 1937 | 0.005 | ----- | ----- | ----- | ----- | 76 | FMI20250624_001.gcd | 2025-06-24 11:38 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250624_001.gcd | 2025-06-24 11:38 | QC outside air | Unknown | 0 | 12.213 | 1948 | 0.331 | ----- | ----- | ----- | ----- | 1 |  | 76 | 3.5075 | 309.3734 | 0.35736 | 298.8548 | 5.5163 | 451.8612 | 1.1548 | 433.2131 | 3.5075 | 309.3734 | 76 | FMI20250624_001.gcd | 2025-06-24 11:38 | QC outside air | Unknown | 0 | 2.708 | 4863193 | 0 | ----- | ----- | ----- | -----
45 | FMI20250617_002.gcd | 2025-06-24 12:09 | QC spiked air | Unknown | 0 | 5.986 | 1058377 | 2.391 | ----- | ----- | ----- | ----- | 45 | FMI20250617_002.gcd | 2025-06-24 12:09 | QC spiked air | Unknown | 0 | 5.938 | 9193 | 2.364 | ----- | ----- | ----- | ----- | 45 | FMI20250617_002.gcd | 2025-06-24 12:09 | QC spiked air | Unknown | 0 | 12.187 | 9455 | 1.977 | ----- | ----- | ----- | ----- | 1 |  | 45 | 2342.9947 | 2014.5168 | 2496.7525 | 1848.3671 | 2186.5164 | 2244.526 | 2418.1569 | 1967.0291 | 2342.9947 | 2014.5168 | 45 | FMI20250617_002.gcd | 2025-06-24 12:09 | QC spiked air | Unknown | 0 | 2.692 | 5168874 | 0 | ----- | ----- | ----- | -----
46 | FMI20250617_005.gcd | 2025-06-24 14:00 | take 3 | Unknown | 0 | 6.045 | 2741 | 0.007 | ----- | ----- | ----- | ----- | 46 | FMI20250617_005.gcd | 2025-06-24 14:00 | take 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | FMI20250617_005.gcd | 2025-06-24 14:00 | take 3 | Unknown | 0 | 12.254 | 1513 | 0.236 | ----- | ----- | ----- | ----- | 1 |  | 46 | 6.339 | 210.3978 | 1.5751 | 208.9787 | 3.7162 | 346.4079 | 3.342 | 344.1281 | 6.339 | 210.3978 | 46 | FMI20250617_005.gcd | 2025-06-24 14:00 | take 3 | Unknown | 0 | 2.701 | 5067256 | 0 | ----- | ----- | ----- | -----
47 | FMI20250617_006.gcd | 2025-06-24 14:31 | 127 | Unknown | 0 | 6.027 | 2026 | 0.005 | ----- | ----- | ----- | ----- | 47 | FMI20250617_006.gcd | 2025-06-24 14:31 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250617_006.gcd | 2025-06-24 14:31 | 127 | Unknown | 0 | 12.037 | 124162 | 26.907 | ----- | ----- | ----- | ----- | 1 |  | 47 | 3.8204 | 27084.4613 | 0.48292 | 25167.1639 | 5.2826 | 28347.4047 | 1.3933 | 24693.4693 | 3.8204 | 27084.4613 | 47 | FMI20250617_006.gcd | 2025-06-24 14:31 | 127 | Unknown | 0 | 2.839 | 996979 | 0 | ----- | ----- | ----- | -----
48 | FMI20250617_007.gcd | 2025-06-24 15:01 | 314 | Unknown | 0 | 5.99 | 56018 | 0.127 | ----- | ----- | ----- | ----- | 48 | FMI20250617_007.gcd | 2025-06-24 15:01 | 314 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250617_007.gcd | 2025-06-24 15:01 | 314 | Unknown | 0 | 12.149 | 13248 | 2.808 | ----- | ----- | ----- | ----- | 1 |  | 48 | 152.594 | 2873.9573 | 128.8075 | 2630.1826 | 155.0941 | 3130.7421 | 157.1689 | 2739.4445 | 152.594 | 2873.9573 | 48 | FMI20250617_007.gcd | 2025-06-24 15:01 | 314 | Unknown | 0 | 2.833 | 1106960 | 0 | ----- | ----- | ----- | -----
49 | FMI20250617_008.gcd | 2025-06-24 15:32 | 405 | Unknown | 0 | 5.989 | 54660 | 0.124 | ----- | ----- | ----- | ----- | 49 | FMI20250617_008.gcd | 2025-06-24 15:32 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250617_008.gcd | 2025-06-24 15:32 | 405 | Unknown | 0 | 12.129 | 30297 | 6.538 | ----- | ----- | ----- | ----- | 1 |  | 49 | 148.9914 | 6719.5851 | 125.631 | 6135.2649 | 151.1988 | 6952.0901 | 153.2755 | 6190.0941 | 148.9914 | 6719.5851 | 49 | FMI20250617_008.gcd | 2025-06-24 15:32 | 405 | Unknown | 0 | 2.844 | 895384 | 0 | ----- | ----- | ----- | -----
50 | FMI20250617_009.gcd | 2025-06-24 16:03 | 293 | Unknown | 0 | 5.995 | 57721 | 0.13 | ----- | ----- | ----- | ----- | 50 | FMI20250617_009.gcd | 2025-06-24 16:03 | 293 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250617_009.gcd | 2025-06-24 16:03 | 293 | Unknown | 0 | 12.138 | 29043 | 6.264 | ----- | ----- | ----- | ----- | 1 |  | 50 | 157.1105 | 6437.7008 | 132.7906 | 5877.9621 | 159.9709 | 6680.0535 | 162.05 | 5937.4739 | 157.1105 | 6437.7008 | 50 | FMI20250617_009.gcd | 2025-06-24 16:03 | 293 | Unknown | 0 | 2.851 | 871942 | 0 | ----- | ----- | ----- | -----
51 | FMI20250617_010.gcd | 2025-06-24 16:33 | 350 | Unknown | 0 | 6.017 | 2923 | 0.007 | ----- | ----- | ----- | ----- | 51 | FMI20250617_010.gcd | 2025-06-24 16:33 | 350 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250617_010.gcd | 2025-06-24 16:33 | 350 | Unknown | 0 | 12.037 | 133031 | 28.818 | ----- | ----- | ----- | ----- | 1 |  | 51 | 6.9814 | 28964.4109 | 1.8768 | 26942.174 | 3.4056 | 30450.9613 | 3.8473 | 26468.3305 | 6.9814 | 28964.4109 | 51 | FMI20250617_010.gcd | 2025-06-24 16:33 | 350 | Unknown | 0 | 2.841 | 1057785 | 0 | ----- | ----- | ----- | -----
52 | FMI20250617_011.gcd | 2025-06-24 17:04 | 34 | Unknown | 0 | 5.991 | 18533 | 0.042 | ----- | ----- | ----- | ----- | 52 | FMI20250617_011.gcd | 2025-06-24 17:04 | 34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250617_011.gcd | 2025-06-24 17:04 | 34 | Unknown | 0 | 12.2 | 87096 | 18.897 | ----- | ----- | ----- | ----- | 1 |  | 52 | 52.7942 | 19209.5509 | 41.0178 | 17705.4558 | 45.4343 | 19486.4235 | 49.307 | 17234.9201 | 52.7942 | 19209.5509 | 52 | FMI20250617_011.gcd | 2025-06-24 17:04 | 34 | Unknown | 0 | 2.843 | 903696 | 0 | ----- | ----- | ----- | -----
53 | FMI20250617_012.gcd | 2025-06-24 17:35 | 25 | Unknown | 0 | 5.914 | 27571635 | 66.963 | ----- | ----- | ----- | ----- | 53 | FMI20250617_012.gcd | 2025-06-24 17:35 | 25 | Unknown | 0 | 5.867 | 218029 | 53.32 | ----- | ----- | ----- | ----- | 53 | FMI20250617_012.gcd | 2025-06-24 17:35 | 25 | Unknown | 0 | 12.067 | 81834 | 17.756 | ----- | ----- | ----- | ----- | 1 |  | 53 | 53294.9819 | 18089.2397 | 53180.5057 | 16640.4854 | 53941.7056 | 18219.3825 | 58232.6999 | 16170.73 | 53294.9819 | 18089.2397 | 53 | FMI20250617_012.gcd | 2025-06-24 17:35 | 25 | Unknown | 0 | 2.848 | 736327 | 0 | ----- | ----- | ----- | -----
54 | FMI20250617_013.gcd | 2025-06-24 18:05 | 45 | Unknown | 0 | 5.991 | 32939 | 0.075 | ----- | ----- | ----- | ----- | 54 | FMI20250617_013.gcd | 2025-06-24 18:05 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250617_013.gcd | 2025-06-24 18:05 | 45 | Unknown | 0 | 12.15 | 505 | 0.014 | ----- | ----- | ----- | ----- | 1 |  | 54 | 91.236 | -19.024 | 74.7834 | 0.67699 | 88.1024 | 101.3837 | 90.8558 | 137.6097 | 91.236 | -19.024 | 54 | FMI20250617_013.gcd | 2025-06-24 18:05 | 45 | Unknown | 0 | 2.839 | 1000617 | 0 | ----- | ----- | ----- | -----
55 | FMI20250617_014.gcd | 2025-06-24 18:36 | 307 | Unknown | 0 | 5.988 | 116028 | 0.262 | ----- | ----- | ----- | ----- | 55 | FMI20250617_014.gcd | 2025-06-24 18:36 | 307 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250617_014.gcd | 2025-06-24 18:36 | 307 | Unknown | 0 | 12.069 | 85490 | 18.549 | ----- | ----- | ----- | ----- | 2 | Not fully capped; big air bubble. If reps don't match, discard this one. | 55 | 310.8255 | 18867.6863 | 268.8795 | 17380.5691 | 321.4228 | 19099.9537 | 328.1562 | 16910.2628 | 310.8255 | 18867.6863 | 55 | FMI20250617_014.gcd | 2025-06-24 18:36 | 307 | Unknown | 0 | 2.827 | 1216748 | 0 | ----- | ----- | ----- | -----
56 | FMI20250617_015.gcd | 2025-06-24 19:07 | 336 | Unknown | 0 | 5.997 | 45104 | 0.102 | ----- | ----- | ----- | ----- | 56 | FMI20250617_015.gcd | 2025-06-24 19:07 | 336 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250617_015.gcd | 2025-06-24 19:07 | 336 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 detected. | 56 | 123.6129 | #VALUE! | 103.2703 | #VALUE! | 123.6233 | #VALUE! | 125.848 | #VALUE! | 123.6129 | #VALUE! | 56 | FMI20250617_015.gcd | 2025-06-24 19:07 | 336 | Unknown | 0 | 2.849 | 952253 | 0 | ----- | ----- | ----- | -----
57 | FMI20250617_016.gcd | 2025-06-24 19:37 | 66 | Unknown | 0 | 5.988 | 40087 | 0.091 | ----- | ----- | ----- | ----- | 57 | FMI20250617_016.gcd | 2025-06-24 19:37 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250617_016.gcd | 2025-06-24 19:37 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 57 | 110.2697 | #VALUE! | 91.5249 | #VALUE! | 109.0306 | #VALUE! | 111.4271 | #VALUE! | 110.2697 | #VALUE! | 57 | FMI20250617_016.gcd | 2025-06-24 19:37 | 66 | Unknown | 0 | 2.838 | 992305 | 0 | ----- | ----- | ----- | -----
58 | FMI20250617_017.gcd | 2025-06-24 20:08 | 331 | Unknown | 0 | 5.989 | 45839 | 0.104 | ----- | ----- | ----- | ----- | 58 | FMI20250617_017.gcd | 2025-06-24 20:08 | 331 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250617_017.gcd | 2025-06-24 20:08 | 331 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 58 | 125.5666 | #VALUE! | 104.9907 | #VALUE! | 125.7545 | #VALUE! | 127.9594 | #VALUE! | 125.5666 | #VALUE! | 58 | FMI20250617_017.gcd | 2025-06-24 20:08 | 331 | Unknown | 0 | 2.841 | 964657 | 0 | ----- | ----- | ----- | -----
59 | FMI20250617_018.gcd | 2025-06-24 20:38 | 304 | Unknown | 0 | 5.991 | 42543 | 0.096 | ----- | ----- | ----- | ----- | 59 | FMI20250617_018.gcd | 2025-06-24 20:38 | 304 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250617_018.gcd | 2025-06-24 20:38 | 304 | Unknown | 0 | 12.158 | 744 | 0.067 | ----- | ----- | ----- | ----- | 1 |  | 59 | 116.8033 | 35.3816 | 97.2752 | 50.0707 | 116.1841 | 159.5635 | 118.4885 | 186.5869 | 116.8033 | 35.3816 | 59 | FMI20250617_018.gcd | 2025-06-24 20:38 | 304 | Unknown | 0 | 2.834 | 1096303 | 0 | ----- | ----- | ----- | -----
60 | FMI20250617_019.gcd | 2025-06-24 21:09 | 305 | Unknown | 0 | 5.992 | 11485 | 0.026 | ----- | ----- | ----- | ----- | 60 | FMI20250617_019.gcd | 2025-06-24 21:09 | 305 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250617_019.gcd | 2025-06-24 21:09 | 305 | Unknown | 0 | 12.036 | 112864 | 24.47 | ----- | ----- | ----- | ----- | 1 |  | 60 | 33.9471 | 24687.2202 | 24.4862 | 22900.2078 | 24.3208 | 25658.417 | 28.9359 | 22427.0423 | 33.9471 | 24687.2202 | 60 | FMI20250617_019.gcd | 2025-06-24 21:09 | 305 | Unknown | 0 | 2.84 | 958571 | 0 | ----- | ----- | ----- | -----
61 | FMI20250617_020.gcd | 2025-06-24 21:40 | 258 | Unknown | 0 | 5.903 | 30730944 | 75.373 | ----- | ----- | ----- | ----- | 61 | FMI20250617_020.gcd | 2025-06-24 21:40 | 258 | Unknown | 0 | 5.857 | 250635 | 61.16 | ----- | ----- | ----- | ----- | 61 | FMI20250617_020.gcd | 2025-06-24 21:40 | 258 | Unknown | 0 | 12.082 | 63062 | 13.68 | ----- | ----- | ----- | ----- | 1 |  | 61 | 61014.379 | 14087.7776 | 60941.2975 | 12829.7271 | 61999.5194 | 13680.8056 | 66794.1035 | 12363.4277 | 61014.379 | 14087.7776 | 61 | FMI20250617_020.gcd | 2025-06-24 21:40 | 258 | Unknown | 0 | 2.847 | 769485 | 0 | ----- | ----- | ----- | -----
62 | FMI20250617_021.gcd | 2025-06-24 22:10 | 411 | Unknown | 0 | 5.866 | 39903747 | 100.894 | ----- | ----- | ----- | ----- | 62 | FMI20250617_021.gcd | 2025-06-24 22:10 | 411 | Unknown | 0 | 5.828 | 353742 | 85.753 | ----- | ----- | ----- | ----- | 62 | FMI20250617_021.gcd | 2025-06-24 22:10 | 411 | Unknown | 0 | 12.092 | 52798 | 11.446 | ----- | ----- | ----- | ----- | 1 |  | 62 | 85282.8403 | 11896.726 | 85211.3629 | 10738.5063 | 87200.1549 | 11187.0506 | 93433.2727 | 10274.5407 | 85282.8403 | 11896.726 | 62 | FMI20250617_021.gcd | 2025-06-24 22:10 | 411 | Unknown | 0 | 2.854 | 644330 | 0 | ----- | ----- | ----- | -----
63 | FMI20250617_022.gcd | 2025-06-24 22:41 | 132 | Unknown | 0 | 5.985 | 140967 | 0.318 | ----- | ----- | ----- | ----- | 63 | FMI20250617_022.gcd | 2025-06-24 22:41 | 132 | Unknown | 0 | 5.936 | 1117 | 0.367 | ----- | ----- | ----- | ----- | 63 | FMI20250617_022.gcd | 2025-06-24 22:41 | 132 | Unknown | 0 | 12.057 | 84636 | 18.364 | ----- | ----- | ----- | ----- | 1 |  | 63 | 376.0262 | 18685.8755 | 326.92 | 17207.755 | 387.2049 | 18894.3602 | 398.6034 | 16737.5738 | 376.0262 | 18685.8755 | 63 | FMI20250617_022.gcd | 2025-06-24 22:41 | 132 | Unknown | 0 | 2.836 | 1023154 | 0 | ----- | ----- | ----- | -----
64 | FMI20250617_023.gcd | 2025-06-24 23:12 | 204 | Unknown | 0 | 5.987 | 56953 | 0.129 | ----- | ----- | ----- | ----- | 64 | FMI20250617_023.gcd | 2025-06-24 23:12 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250617_023.gcd | 2025-06-24 23:12 | 204 | Unknown | 0 | 12.134 | 12888 | 2.729 | ----- | ----- | ----- | ----- | 1 |  | 64 | 155.0739 | 2792.447 | 130.9944 | 2556.0107 | 157.7728 | 3047.1935 | 159.849 | 2666.2072 | 155.0739 | 2792.447 | 64 | FMI20250617_023.gcd | 2025-06-24 23:12 | 204 | Unknown | 0 | 2.839 | 977427 | 0 | ----- | ----- | ----- | -----
65 | FMI20250617_024.gcd | 2025-06-24 23:42 | 371 | Unknown | 0 | 5.859 | 41128469 | 104.439 | ----- | ----- | ----- | ----- | 65 | FMI20250617_024.gcd | 2025-06-24 23:42 | 371 | Unknown | 0 | 5.823 | 367331 | 88.972 | ----- | ----- | ----- | ----- | 65 | FMI20250617_024.gcd | 2025-06-24 23:42 | 371 | Unknown | 0 | 12.064 | 50113 | 10.862 | ----- | ----- | ----- | ----- | 1 |  | 65 | 88465.2254 | 11323.191 | 88379.3067 | 10190.5684 | 90489.7602 | 10533.2774 | 96895.0261 | 9727.2651 | 88465.2254 | 11323.191 | 65 | FMI20250617_024.gcd | 2025-06-24 23:42 | 371 | Unknown | 0 | 2.851 | 667829 | 0 | ----- | ----- | ----- | -----
66 | FMI20250617_025.gcd | 2025-06-25 00:13 | 186 | Unknown | 0 | 5.993 | 12913 | 0.03 | ----- | ----- | ----- | ----- | 66 | FMI20250617_025.gcd | 2025-06-25 00:13 | 186 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250617_025.gcd | 2025-06-25 00:13 | 186 | Unknown | 0 | 12.024 | 114435 | 24.809 | ----- | ----- | ----- | ----- | 1 |  | 66 | 37.7678 | 25020.7217 | 27.8363 | 23215.8207 | 28.6113 | 26032.9489 | 33.0656 | 22742.5588 | 37.7678 | 25020.7217 | 66 | FMI20250617_025.gcd | 2025-06-25 00:13 | 186 | Unknown | 0 | 2.836 | 1020422 | 0 | ----- | ----- | ----- | -----
67 | FMI20250617_026.gcd | 2025-06-25 00:43 | 92 | Unknown | 0 | 6.009 | 3127 | 0.007 | ----- | ----- | ----- | ----- | 67 | FMI20250617_026.gcd | 2025-06-25 00:43 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250617_026.gcd | 2025-06-25 00:43 | 92 | Unknown | 0 | 12.012 | 140403 | 30.404 | ----- | ----- | ----- | ----- | 1 |  | 67 | 7.7023 | 30525.772 | 2.2265 | 28414.5243 | 3.1 | 32194.5613 | 4.4183 | 27940.7355 | 7.7023 | 30525.772 | 67 | FMI20250617_026.gcd | 2025-06-25 00:43 | 92 | Unknown | 0 | 2.83 | 1158986 | 0 | ----- | ----- | ----- | -----
68 | FMI20250617_027.gcd | 2025-06-25 01:14 | 223 | Unknown | 0 | 6.022 | 2005 | 0.005 | ----- | ----- | ----- | ----- | 68 | FMI20250617_027.gcd | 2025-06-25 01:14 | 223 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250617_027.gcd | 2025-06-25 01:14 | 223 | Unknown | 0 | 12.024 | 129602 | 28.079 | ----- | ----- | ----- | ----- | 1 |  | 68 | 3.7466 | 28237.7687 | 0.45308 | 26256.3822 | 5.337 | 29638.4313 | 1.337 | 25782.5684 | 3.7466 | 28237.7687 | 68 | FMI20250617_027.gcd | 2025-06-25 01:14 | 223 | Unknown | 0 | 2.833 | 1098563 | 0 | ----- | ----- | ----- | -----
69 | FMI20250617_028.gcd | 2025-06-25 01:45 | 328 | Unknown | 0 | 5.991 | 12584 | 0.029 | ----- | ----- | ----- | ----- | 69 | FMI20250617_028.gcd | 2025-06-25 01:45 | 328 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250617_028.gcd | 2025-06-25 01:45 | 328 | Unknown | 0 | 12.2 | 302992 | 64.968 | ----- | ----- | ----- | ----- | 1 |  | 69 | 36.8876 | 64668.0223 | 27.0645 | 60181.9044 | 27.6234 | 69519.3286 | 32.1143 | 59750.4958 | 36.8876 | 64668.0223 | 69 | FMI20250617_028.gcd | 2025-06-25 01:45 | 328 | Unknown | 0 | 2.83 | 1135522 | 0 | ----- | ----- | ----- | -----
70 | FMI20250617_029.gcd | 2025-06-25 02:15 | 182 | Unknown | 0 | 5.993 | 11238 | 0.026 | ----- | ----- | ----- | ----- | 70 | FMI20250617_029.gcd | 2025-06-25 02:15 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250617_029.gcd | 2025-06-25 02:15 | 182 | Unknown | 0 | 12.2 | 82661 | 17.936 | ----- | ----- | ----- | ----- | 1 |  | 70 | 33.2861 | 18265.3519 | 23.9067 | 16807.9546 | 23.5781 | 18418.6665 | 28.2215 | 16338.0711 | 33.2861 | 18265.3519 | 70 | FMI20250617_029.gcd | 2025-06-25 02:15 | 182 | Unknown | 0 | 2.83 | 1139805 | 0 | ----- | ----- | ----- | -----
71 | FMI20250617_030.gcd | 2025-06-25 02:46 | 253 | Unknown | 0 | 5.988 | 22781 | 0.052 | ----- | ----- | ----- | ----- | 71 | FMI20250617_030.gcd | 2025-06-25 02:46 | 253 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250617_030.gcd | 2025-06-25 02:46 | 253 | Unknown | 0 | 12.065 | 67492 | 14.643 | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 71 | 64.1412 | 15032.7565 | 50.978 | 13730.6485 | 58.0842 | 14754.4619 | 61.5712 | 13263.4389 | 64.1412 | 15032.7565 | 71 | FMI20250617_030.gcd | 2025-06-25 02:46 | 253 | Unknown | 0 | 2.839 | 964631 | 0 | ----- | ----- | ----- | -----
72 | FMI20250617_031.gcd | 2025-06-25 03:17 | 341 | Unknown | 0 | 5.988 | 34191 | 0.077 | ----- | ----- | ----- | ----- | 72 | FMI20250617_031.gcd | 2025-06-25 03:17 | 341 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250617_031.gcd | 2025-06-25 03:17 | 341 | Unknown | 0 | 12.129 | 547 | 0.024 | ----- | ----- | ----- | ----- | 1 |  | 72 | 94.5718 | -9.4628 | 77.7163 | 9.3573 | 91.7797 | 111.6115 | 94.4611 | 146.2171 | 94.5718 | -9.4628 | 72 | FMI20250617_031.gcd | 2025-06-25 03:17 | 341 | Unknown | 0 | 2.837 | 1020758 | 0 | ----- | ----- | ----- | -----
73 | FMI20250617_032.gcd | 2025-06-25 10:54 | 304 rerun | Unknown | 0 | 5.998 | 38829 | 0.088 | ----- | ----- | ----- | ----- | 73 | FMI20250617_032.gcd | 2025-06-25 10:54 | 304 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250617_032.gcd | 2025-06-25 10:54 | 304 rerun | Unknown | 0 | 12.169 | 2354 | 0.42 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 73 | 106.9219 | 401.7339 | 88.5791 | 382.7304 | 105.359 | 550.1286 | 107.8088 | 516.3386 | 106.9219 | 401.7339 | 73 | FMI20250617_032.gcd | 2025-06-25 10:54 | 304 rerun | Unknown | 0 | 2.799 | 1851291 | 0 | ----- | ----- | ----- | -----
74 | FMI20250617_033.gcd | 2025-06-25 11:25 | 305 rerun | Unknown | 0 | 5.998 | 7888 | 0.018 | ----- | ----- | ----- | ----- | 74 | FMI20250617_033.gcd | 2025-06-25 11:25 | 305 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250617_033.gcd | 2025-06-25 11:25 | 305 rerun | Unknown | 0 | 12.041 | 108103 | 23.442 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 74 | 24.7255 | 23676.206 | 13.8213 | 21942.9568 | 8.7328 | 24522.1451 | 19.0935 | 21470.1281 | 24.7255 | 23676.206 | 74 | FMI20250617_033.gcd | 2025-06-25 11:25 | 305 rerun | Unknown | 0 | 2.814 | 1609667 | 0 | ----- | ----- | ----- | -----
75 | FMI20250617_034.gcd | 2025-06-25 11:55 | 253 rerun | Unknown | 0 | 5.989 | 16950 | 0.039 | ----- | ----- | ----- | ----- | 75 | FMI20250617_034.gcd | 2025-06-25 11:55 | 253 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250617_034.gcd | 2025-06-25 11:55 | 253 rerun | Unknown | 0 | 12.07 | 68768 | 14.92 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 75 | 48.5633 | 15304.8672 | 37.3055 | 13989.9606 | 40.7058 | 15063.416 | 44.7341 | 13522.4996 | 48.5633 | 15304.8672 | 75 | FMI20250617_034.gcd | 2025-06-25 11:55 | 253 rerun | Unknown | 0 | 2.803 | 1724879 | 0 | ----- | ----- | ----- | -----