## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN28feb24_001.gcd | 2024-02-28 12:30 | QC outside air | Unknown | 0 | 6.036 | 936 | -0.005 | ----- | ----- | ----- | ----- | 49 | BRN28feb24_001.gcd | 2024-02-28 12:30 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN28feb24_001.gcd | 2024-02-28 12:30 | QC outside air | Unknown | 0 | 12.252 | 1909 | 0.28 | ----- | ----- | ----- | ----- | 1 |  | 49 | 8.7331 | 442.4138 | -1.8205 | 388.5298 | -3.1874 | 361.0835 | -0.89624 | 290.7973 | 8.7331 | 442.4138 | 49 | BRN28feb24_001.gcd | 2024-02-28 12:30 | QC outside air | Unknown | 0 | 2.703 | 5276234 | 0 | ----- | ----- | ----- | -----
50 | BRN28feb24_002.gcd | 2024-02-28 13:01 | QC spiked air | Unknown | 0 | 6.002 | 937910 | 2.007 | ----- | ----- | ----- | ----- | 50 | BRN28feb24_002.gcd | 2024-02-28 13:01 | QC spiked air | Unknown | 0 | 5.951 | 8937 | 2.266 | ----- | ----- | ----- | ----- | 50 | BRN28feb24_002.gcd | 2024-02-28 13:01 | QC spiked air | Unknown | 0 | 12.214 | 8748 | 2.181 | ----- | ----- | ----- | ----- | 1 |  | 50 | 1957.2834 | 2077.8878 | 2256.8987 | 1651.9056 | 2575.9438 | 1667.5153 | 2433.5848 | 1702.5586 | 1957.2834 | 2077.8878 | 50 | BRN28feb24_002.gcd | 2024-02-28 13:01 | QC spiked air | Unknown | 0 | 2.701 | 5296049 | 0 | ----- | ----- | ----- | -----
51 | BRN28feb24_003.gcd | 2024-02-28 13:32 | QC reference tank | Unknown | 0 | 6.034 | 2419 | -0.002 | ----- | ----- | ----- | ----- | 51 | BRN28feb24_003.gcd | 2024-02-28 13:32 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN28feb24_003.gcd | 2024-02-28 13:32 | QC reference tank | Unknown | 0 | 12.228 | 1131 | 0.063 | ----- | ----- | ----- | ----- | 1 |  | 51 | 4.3533 | 253.6606 | 2.2967 | 244.4371 | 2.1937 | 212.3684 | 1.0649 | 130.0451 | 4.3533 | 253.6606 | 51 | BRN28feb24_003.gcd | 2024-02-28 13:32 | QC reference tank | Unknown | 0 | 2.717 | 5072391 | 0 | ----- | ----- | ----- | -----
52 | BRN28feb24_004.gcd | 2024-02-28 14:02 | 406 | Unknown | 0 | 6.018 | 6995 | 0.008 | ----- | ----- | ----- | ----- | 52 | BRN28feb24_004.gcd | 2024-02-28 14:02 | 406 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN28feb24_004.gcd | 2024-02-28 14:02 | 406 | Unknown | 0 | 12.191 | 8790 | 2.193 | ----- | ----- | ----- | ----- | 1 |  | 52 | 5.811 | 2087.7998 | 15.5902 | 1659.6461 | 17.1914 | 1675.5337 | 11.1447 | 1711.2212 | 5.811 | 2087.7998 | 52 | BRN28feb24_004.gcd | 2024-02-28 14:02 | 406 | Unknown | 0 | 2.866 | 848158 | 0 | ----- | ----- | ----- | -----
53 | BRN28feb24_005.gcd | 2024-02-28 14:33 | 283 | Unknown | 0 | 6.097 | 8297 | 0.01 | ----- | ----- | ----- | ----- | 53 | BRN28feb24_005.gcd | 2024-02-28 14:33 | 283 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN28feb24_005.gcd | 2024-02-28 14:33 | 283 | Unknown | 0 | 12.266 | 12430 | 3.198 | ----- | ----- | ----- | ----- | 1 |  | 53 | 10.3585 | 2940.7303 | 19.5352 | 2329.6537 | 21.0151 | 2370.2458 | 15.1246 | 2461.638 | 10.3585 | 2940.7303 | 53 | BRN28feb24_005.gcd | 2024-02-28 14:33 | 283 | Unknown | 0 | 2.936 | 1077188 | 0 | ----- | ----- | ----- | -----
54 | BRN28feb24_006.gcd | 2024-02-28 15:03 | 359 | Unknown | 0 | 6.017 | 8048 | 0.01 | ----- | ----- | ----- | ----- | 54 | BRN28feb24_006.gcd | 2024-02-28 15:03 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN28feb24_006.gcd | 2024-02-28 15:03 | 359 | Unknown | 0 | 12.193 | 6630 | 1.594 | ----- | ----- | ----- | ----- | 1 |  | 54 | 9.3472 | 1575.9513 | 18.7752 | 1261.2728 | 20.2991 | 1263.0833 | 14.3254 | 1265.5992 | 9.3472 | 1575.9513 | 54 | BRN28feb24_006.gcd | 2024-02-28 15:03 | 359 | Unknown | 0 | 2.86 | 967085 | 0 | ----- | ----- | ----- | -----
55 | BRN28feb24_007.gcd | 2024-02-28 15:34 | 360 | Unknown | 0 | 6.018 | 8585 | 0.011 | ----- | ----- | ----- | ----- | 55 | BRN28feb24_007.gcd | 2024-02-28 15:34 | 360 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN28feb24_007.gcd | 2024-02-28 15:34 | 360 | Unknown | 0 | 12.188 | 7049 | 1.711 | ----- | ----- | ----- | ----- | 1 |  | 55 | 11.6117 | 1675.5731 | 20.4176 | 1338.5957 | 21.8344 | 1343.1029 | 16.0715 | 1352.0603 | 11.6117 | 1675.5731 | 55 | BRN28feb24_007.gcd | 2024-02-28 15:34 | 360 | Unknown | 0 | 2.861 | 919596 | 0 | ----- | ----- | ----- | -----
56 | BRN28feb24_008.gcd | 2024-02-28 16:05 | 33 | Unknown | 0 | 6.016 | 7726 | 0.009 | ----- | ----- | ----- | ----- | 56 | BRN28feb24_008.gcd | 2024-02-28 16:05 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN28feb24_008.gcd | 2024-02-28 16:05 | 33 | Unknown | 0 | 12.188 | 10225 | 2.59 | ----- | ----- | ----- | ----- | 1 |  | 56 | 8.1388 | 2425.4945 | 17.7963 | 1923.9824 | 19.3624 | 1949.462 | 13.3186 | 2007.1394 | 8.1388 | 2425.4945 | 56 | BRN28feb24_008.gcd | 2024-02-28 16:05 | 33 | Unknown | 0 | 2.858 | 957360 | 0 | ----- | ----- | ----- | -----
57 | BRN28feb24_009.gcd | 2024-02-28 16:35 | 90 | Unknown | 0 | 6.006 | 8533 | 0.011 | ----- | ----- | ----- | ----- | 57 | BRN28feb24_009.gcd | 2024-02-28 16:35 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN28feb24_009.gcd | 2024-02-28 16:35 | 90 | Unknown | 0 | 12.177 | 8701 | 2.168 | ----- | ----- | ----- | ----- | 1 |  | 57 | 11.3788 | 2066.7939 | 20.258 | 1643.2432 | 21.6872 | 1658.5422 | 15.8988 | 1692.8646 | 11.3788 | 2066.7939 | 57 | BRN28feb24_009.gcd | 2024-02-28 16:35 | 90 | Unknown | 0 | 2.848 | 965224 | 0 | ----- | ----- | ----- | -----
58 | BRN28feb24_010.gcd | 2024-02-28 17:06 | 391 | Unknown | 0 | 6.018 | 7644 | 0.009 | ----- | ----- | ----- | ----- | 58 | BRN28feb24_010.gcd | 2024-02-28 17:06 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN28feb24_010.gcd | 2024-02-28 17:06 | 391 | Unknown | 0 | 12.178 | 9835 | 2.482 | ----- | ----- | ----- | ----- | 1 |  | 58 | 7.8489 | 2333.9027 | 17.5477 | 1852.1674 | 19.122 | 1875.0212 | 13.067 | 1926.726 | 7.8489 | 2333.9027 | 58 | BRN28feb24_010.gcd | 2024-02-28 17:06 | 391 | Unknown | 0 | 2.86 | 922562 | 0 | ----- | ----- | ----- | -----
59 | BRN28feb24_011.gcd | 2024-02-28 17:37 | 153 | Unknown | 0 | 6.007 | 9621 | 0.013 | ----- | ----- | ----- | ----- | 59 | BRN28feb24_011.gcd | 2024-02-28 17:37 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN28feb24_011.gcd | 2024-02-28 17:37 | 153 | Unknown | 0 | 12.172 | 7509 | 1.838 | ----- | ----- | ----- | ----- | 1 |  | 59 | 16.8603 | 1784.7588 | 23.6208 | 1423.4593 | 24.702 | 1430.946 | 19.6771 | 1446.9714 | 16.8603 | 1784.7588 | 59 | BRN28feb24_011.gcd | 2024-02-28 17:37 | 153 | Unknown | 0 | 2.85 | 925550 | 0 | ----- | ----- | ----- | -----
60 | BRN28feb24_012.gcd | 2024-02-28 18:07 | 89 | Unknown | 0 | 6.028 | 4842 | 0.003 | ----- | ----- | ----- | ----- | 60 | BRN28feb24_012.gcd | 2024-02-28 18:07 | 89 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN28feb24_012.gcd | 2024-02-28 18:07 | 89 | Unknown | 0 | 12.188 | 8423 | 2.091 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.3082 | 2001.1331 | 9.2248 | 1592.0009 | 10.4373 | 1605.466 | 5.6441 | 1635.5235 | 2.3082 | 2001.1331 | 60 | BRN28feb24_012.gcd | 2024-02-28 18:07 | 89 | Unknown | 0 | 2.869 | 809249 | 0 | ----- | ----- | ----- | -----
61 | BRN28feb24_013.gcd | 2024-02-28 18:38 | 122 | Unknown | 0 | 6.01 | 8240 | 0.01 | ----- | ----- | ----- | ----- | 61 | BRN28feb24_013.gcd | 2024-02-28 18:38 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN28feb24_013.gcd | 2024-02-28 18:38 | 122 | Unknown | 0 | 12.167 | 13252 | 3.424 | ----- | ----- | ----- | ----- | 1 |  | 61 | 10.1211 | 3131.6698 | 19.361 | 2480.7274 | 20.8519 | 2527.0689 | 14.9401 | 2631.0067 | 10.1211 | 3131.6698 | 61 | BRN28feb24_013.gcd | 2024-02-28 18:38 | 122 | Unknown | 0 | 2.844 | 1072819 | 0 | ----- | ----- | ----- | -----
62 | BRN28feb24_014.gcd | 2024-02-28 19:09 | 135 | Unknown | 0 | 6.024 | 7900 | 0.009 | ----- | ----- | ----- | ----- | 62 | BRN28feb24_014.gcd | 2024-02-28 19:09 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN28feb24_014.gcd | 2024-02-28 19:09 | 135 | Unknown | 0 | 12.188 | 9274 | 2.327 | ----- | ----- | ----- | ----- | 1 |  | 62 | 8.7779 | 2201.9082 | 18.3247 | 1748.8309 | 19.87 | 1767.9323 | 13.8589 | 1811.0409 | 8.7779 | 2201.9082 | 62 | BRN28feb24_014.gcd | 2024-02-28 19:09 | 135 | Unknown | 0 | 2.867 | 920883 | 0 | ----- | ----- | ----- | -----
63 | BRN28feb24_015.gcd | 2024-02-28 19:39 | 284 | Unknown | 0 | 6.025 | 7927 | 0.01 | ----- | ----- | ----- | ----- | 63 | BRN28feb24_015.gcd | 2024-02-28 19:39 | 284 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN28feb24_015.gcd | 2024-02-28 19:39 | 284 | Unknown | 0 | 12.191 | 9522 | 2.395 | ----- | ----- | ----- | ----- | 1 |  | 63 | 8.88 | 2260.2941 | 18.4068 | 1794.5175 | 19.9485 | 1815.2741 | 13.9435 | 1862.1835 | 8.88 | 2260.2941 | 63 | BRN28feb24_015.gcd | 2024-02-28 19:39 | 284 | Unknown | 0 | 2.86 | 1055913 | 0 | ----- | ----- | ----- | -----
64 | BRN28feb24_016.gcd | 2024-02-28 20:10 | 387 | Unknown | 0 | 6.022 | 8258 | 0.01 | ----- | ----- | ----- | ----- | 64 | BRN28feb24_016.gcd | 2024-02-28 20:10 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN28feb24_016.gcd | 2024-02-28 20:10 | 387 | Unknown | 0 | 12.189 | 11164 | 2.849 | ----- | ----- | ----- | ----- | 1 |  | 64 | 10.1957 | 2645.45 | 19.416 | 2096.8123 | 20.9035 | 2128.6722 | 14.9983 | 2200.7181 | 10.1957 | 2645.45 | 64 | BRN28feb24_016.gcd | 2024-02-28 20:10 | 387 | Unknown | 0 | 2.861 | 978641 | 0 | ----- | ----- | ----- | -----
65 | BRN28feb24_017.gcd | 2024-02-28 20:40 | 125 | Unknown | 0 | 6.023 | 9031 | 0.012 | ----- | ----- | ----- | ----- | 65 | BRN28feb24_017.gcd | 2024-02-28 20:40 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN28feb24_017.gcd | 2024-02-28 20:40 | 125 | Unknown | 0 | 12.196 | 6909 | 1.672 | ----- | ----- | ----- | ----- | 1 |  | 65 | 13.7291 | 1642.3044 | 21.791 | 1312.7623 | 23.0842 | 1316.3666 | 17.5855 | 1323.1721 | 13.7291 | 1642.3044 | 65 | BRN28feb24_017.gcd | 2024-02-28 20:40 | 125 | Unknown | 0 | 2.864 | 940365 | 0 | ----- | ----- | ----- | -----
66 | BRN28feb24_018.gcd | 2024-02-28 21:11 | 224 | Unknown | 0 | 6.025 | 7986 | 0.01 | ----- | ----- | ----- | ----- | 66 | BRN28feb24_018.gcd | 2024-02-28 21:11 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN28feb24_018.gcd | 2024-02-28 21:11 | 224 | Unknown | 0 | 12.191 | 11199 | 2.859 | ----- | ----- | ----- | ----- | 1 |  | 66 | 9.1059 | 2653.633 | 18.5864 | 2103.2521 | 20.1196 | 2135.3515 | 14.1292 | 2207.9326 | 9.1059 | 2653.633 | 66 | BRN28feb24_018.gcd | 2024-02-28 21:11 | 224 | Unknown | 0 | 2.831 | 1633875 | 0 | ----- | ----- | ----- | -----
67 | BRN28feb24_019.gcd | 2024-02-28 21:42 | 288 | Unknown | 0 | 6.03 | 5470 | 0.004 | ----- | ----- | ----- | ----- | 67 | BRN28feb24_019.gcd | 2024-02-28 21:42 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN28feb24_019.gcd | 2024-02-28 21:42 | 288 | Unknown | 0 | 12.195 | 8608 | 2.142 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.8127 | 2044.8361 | 11.0612 | 1626.1021 | 12.4629 | 1640.7868 | 7.1094 | 1673.6826 | 2.8127 | 2044.8361 | 67 | BRN28feb24_019.gcd | 2024-02-28 21:42 | 288 | Unknown | 0 | 2.854 | 1170932 | 0 | ----- | ----- | ----- | -----