## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN25oct23_001.gcd | 2023-10-25 10:05 | QC outside air | Unknown | 0 | 6.08 | 2750 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN25oct23_001.gcd | 2023-10-25 10:05 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN25oct23_001.gcd | 2023-10-25 10:05 | QC outside air | Unknown | 0 | 12.264 | 2511 | 0.448 | ----- | ----- | ----- | ----- | 1 |  | 49 | 3.7 | 588.0882 | 3.2285 | 499.9736 | 3.36 | 476.1427 | 1.5898 | 415.1628 | 3.7 | 588.0882 | 49 | BRN25oct23_001.gcd | 2023-10-25 10:05 | QC outside air | Unknown | 0 | 2.714 | 5219698 | 0 | ----- | ----- | ----- | -----
50 | BRN25oct23_002.gcd | 2023-10-25 10:36 | QC spiked air | Unknown | 0 | 6.01 | 1082234 | 2.318 | ----- | ----- | ----- | ----- | 50 | BRN25oct23_002.gcd | 2023-10-25 10:36 | QC spiked air | Unknown | 0 | 5.957 | 9561 | 2.426 | ----- | ----- | ----- | ----- | 50 | BRN25oct23_002.gcd | 2023-10-25 10:36 | QC spiked air | Unknown | 0 | 12.213 | 9741 | 2.456 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2231.8491 | 2311.806 | 2375.4342 | 1834.8553 | 2735.7057 | 1857.0783 | 2587.5515 | 1907.3432 | 2231.8491 | 2311.806 | 50 | BRN25oct23_002.gcd | 2023-10-25 10:36 | QC spiked air | Unknown | 0 | 2.703 | 5437647 | 0 | ----- | ----- | ----- | -----
51 | BRN25oct23_003.gcd | 2023-10-25 11:06 | QC reference tank new batch | Unknown | 0 | 6.046 | 4093 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN25oct23_003.gcd | 2023-10-25 11:06 | QC reference tank new batch | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN25oct23_003.gcd | 2023-10-25 11:06 | QC reference tank new batch | Unknown | 0 | 12.259 | 2191 | 0.359 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.2633 | 510.6945 | 7.0566 | 440.7401 | 7.9617 | 414.9831 | 4.0464 | 349.0572 | 2.2633 | 510.6945 | 51 | BRN25oct23_003.gcd | 2023-10-25 11:06 | QC reference tank new batch | Unknown | 0 | 2.701 | 5510262 | 0 | ----- | ----- | ----- | -----
52 | BRN25oct23_004.gcd | 2023-10-25 11:37 | 94 | Unknown | 0 | 5.998 | 3181744 | 6.856 | ----- | ----- | ----- | ----- | 52 | BRN25oct23_004.gcd | 2023-10-25 11:37 | 94 | Unknown | 0 | 5.951 | 26020 | 6.648 | ----- | ----- | ----- | ----- | 52 | BRN25oct23_004.gcd | 2023-10-25 11:37 | 94 | Unknown | 0 | 12.14 | 43949 | 11.727 | ----- | ----- | ----- | ----- | 1 |  | 52 | 6138.3864 | 9820.8722 | 5502.9221 | 8061.7334 | 6944.0398 | 8367.7844 | 6643.221 | 8931.266 | 6138.3864 | 9820.8722 | 52 | BRN25oct23_004.gcd | 2023-10-25 11:37 | 94 | Unknown | 0 | 2.866 | 710477 | 0 | ----- | ----- | ----- | -----
53 | BRN25oct23_005.gcd | 2023-10-25 12:07 | 125 | Unknown | 0 | 6.041 | 5956 | 0.005 | ----- | ----- | ----- | ----- | 53 | BRN25oct23_005.gcd | 2023-10-25 12:07 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN25oct23_005.gcd | 2023-10-25 12:07 | 125 | Unknown | 0 | 12.172 | 22303 | 5.903 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.4956 | 5193.337 | 12.4938 | 4138.5829 | 13.9991 | 4252.3875 | 8.322 | 4493.6358 | 3.4956 | 5193.337 | 53 | BRN25oct23_005.gcd | 2023-10-25 12:07 | 125 | Unknown | 0 | 2.838 | 1422605 | 0 | ----- | ----- | ----- | -----
54 | BRN25oct23_006.gcd | 2023-10-25 12:38 | 225 | Unknown | 0 | 6.038 | 5140 | 0.004 | ----- | ----- | ----- | ----- | 54 | BRN25oct23_006.gcd | 2023-10-25 12:38 | 225 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN25oct23_006.gcd | 2023-10-25 12:38 | 225 | Unknown | 0 | 12.18 | 22127 | 5.855 | ----- | ----- | ----- | ----- | 1 |  | 54 | 2.4945 | 5153.9596 | 10.0941 | 4106.4433 | 11.4042 | 4218.8634 | 6.3252 | 4457.4562 | 2.4945 | 5153.9596 | 54 | BRN25oct23_006.gcd | 2023-10-25 12:38 | 225 | Unknown | 0 | 2.865 | 864346 | 0 | ----- | ----- | ----- | -----
55 | BRN25oct23_007.gcd | 2023-10-25 13:08 | 108 | Unknown | 0 | 6.035 | 5306 | 0.004 | ----- | ----- | ----- | ----- | 55 | BRN25oct23_007.gcd | 2023-10-25 13:08 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN25oct23_007.gcd | 2023-10-25 13:08 | 108 | Unknown | 0 | 12.166 | 22451 | 5.943 | ----- | ----- | ----- | ----- | 1 |  | 55 | 2.6399 | 5226.428 | 10.58 | 4165.6063 | 11.9383 | 4280.5774 | 6.7157 | 4524.0584 | 2.6399 | 5226.428 | 55 | BRN25oct23_007.gcd | 2023-10-25 13:08 | 108 | Unknown | 0 | 2.858 | 880860 | 0 | ----- | ----- | ----- | -----
56 | BRN25oct23_008.gcd | 2023-10-25 13:39 | 229 | Unknown | 0 | 6.007 | 2893131 | 6.23 | ----- | ----- | ----- | ----- | 56 | BRN25oct23_008.gcd | 2023-10-25 13:39 | 229 | Unknown | 0 | 5.961 | 22609 | 5.774 | ----- | ----- | ----- | ----- | 56 | BRN25oct23_008.gcd | 2023-10-25 13:39 | 229 | Unknown | 0 | 12.134 | 40095 | 10.7 | ----- | ----- | ----- | ----- | 1 |  | 56 | 5611.0883 | 9028.2295 | 4854.6283 | 7367.5334 | 6072.7885 | 7636.1663 | 5803.5775 | 8142.9103 | 5611.0883 | 9028.2295 | 56 | BRN25oct23_008.gcd | 2023-10-25 13:39 | 229 | Unknown | 0 | 2.871 | 741486 | 0 | ----- | ----- | ----- | -----
57 | BRN25oct23_009.gcd | 2023-10-25 14:10 | 325 | Unknown | 0 | 6.038 | 4510 | 0.002 | ----- | ----- | ----- | ----- | 57 | BRN25oct23_009.gcd | 2023-10-25 14:10 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN25oct23_009.gcd | 2023-10-25 14:10 | 325 | Unknown | 0 | 12.045 | 150176 | 38.467 | ----- | ----- | ----- | ----- | 1 |  | 57 | 2.2135 | 34499.1844 | 8.2608 | 26461.8192 | 9.348 | 28343.0842 | 4.9158 | 30362.1309 | 2.2135 | 34499.1844 | 57 | BRN25oct23_009.gcd | 2023-10-25 14:10 | 325 | Unknown | 0 | 2.864 | 796342 | 0 | ----- | ----- | ----- | -----
58 | BRN25oct23_010.gcd | 2023-10-25 14:40 | 302 | Unknown | 0 | 6.035 | 5407 | 0.004 | ----- | ----- | ----- | ----- | 58 | BRN25oct23_010.gcd | 2023-10-25 14:40 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN25oct23_010.gcd | 2023-10-25 14:40 | 302 | Unknown | 0 | 12.172 | 18698 | 4.919 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.7429 | 4381.1325 | 10.8762 | 3479.4939 | 12.2618 | 3565.5149 | 6.9572 | 3752.2544 | 2.7429 | 4381.1325 | 58 | BRN25oct23_010.gcd | 2023-10-25 14:40 | 302 | Unknown | 0 | 2.866 | 770648 | 0 | ----- | ----- | ----- | -----
59 | BRN25oct23_011.gcd | 2023-10-25 15:11 | 376 | Unknown | 0 | 6.058 | 2907 | -0.001 | ----- | ----- | ----- | ----- | 59 | BRN25oct23_011.gcd | 2023-10-25 15:11 | 376 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN25oct23_011.gcd | 2023-10-25 15:11 | 376 | Unknown | 0 | 11.995 | 217893 | 54.195 | ----- | ----- | ----- | ----- | 1 |  | 59 | 3.4315 | 50253.2721 | 3.672 | 37452.0384 | 3.9087 | 40885.3017 | 1.8499 | 43723.1609 | 3.4315 | 50253.2721 | 59 | BRN25oct23_011.gcd | 2023-10-25 15:11 | 376 | Unknown | 0 | 2.862 | 853471 | 0 | ----- | ----- | ----- | -----
60 | BRN25oct23_012.gcd | 2023-10-25 15:41 | 332 | Unknown | 0 | 6.061 | 2939 | -0.001 | ----- | ----- | ----- | ----- | 60 | BRN25oct23_012.gcd | 2023-10-25 15:41 | 332 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN25oct23_012.gcd | 2023-10-25 15:41 | 332 | Unknown | 0 | 12.056 | 145753 | 37.408 | ----- | ----- | ----- | ----- | 1 |  | 60 | 3.38 | 33457.1411 | 3.7625 | 25723.9543 | 4.0202 | 27518.6892 | 1.9038 | 29481.2998 | 3.38 | 33457.1411 | 60 | BRN25oct23_012.gcd | 2023-10-25 15:41 | 332 | Unknown | 0 | 2.87 | 806833 | 0 | ----- | ----- | ----- | -----
61 | BRN25oct23_013.gcd | 2023-10-25 16:12 | 346 | Unknown | 0 | 6.063 | 2607 | -0.002 | ----- | ----- | ----- | ----- | 61 | BRN25oct23_013.gcd | 2023-10-25 16:12 | 346 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN25oct23_013.gcd | 2023-10-25 16:12 | 346 | Unknown | 0 | 12.01 | 207455 | 51.828 | ----- | ----- | ----- | ----- | 1 |  | 61 | 3.9677 | 47849.3666 | 2.8254 | 35795.5183 | 2.8577 | 38961.747 | 1.3591 | 41678.9295 | 3.9677 | 47849.3666 | 61 | BRN25oct23_013.gcd | 2023-10-25 16:12 | 346 | Unknown | 0 | 2.87 | 832191 | 0 | ----- | ----- | ----- | -----
62 | BRN25oct23_014.gcd | 2023-10-25 16:42 | 405 | Unknown | 0 | 6.038 | 5596 | 0.005 | ----- | ----- | ----- | ----- | 62 | BRN25oct23_014.gcd | 2023-10-25 16:42 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN25oct23_014.gcd | 2023-10-25 16:42 | 405 | Unknown | 0 | 12.177 | 26765 | 7.115 | ----- | ----- | ----- | ----- | 1 |  | 62 | 2.9653 | 6182.2058 | 11.4316 | 4952.0948 | 12.8638 | 5101.9619 | 7.4172 | 5410.3439 | 2.9653 | 6182.2058 | 62 | BRN25oct23_014.gcd | 2023-10-25 16:42 | 405 | Unknown | 0 | 2.863 | 831078 | 0 | ----- | ----- | ----- | -----
63 | BRN25oct23_015.gcd | 2023-10-25 17:13 | 68 | Unknown | 0 | 6.032 | 7869 | 0.009 | ----- | ----- | ----- | ----- | 63 | BRN25oct23_015.gcd | 2023-10-25 17:13 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN25oct23_015.gcd | 2023-10-25 17:13 | 68 | Unknown | 0 | 12.181 | 18037 | 4.738 | ----- | ----- | ----- | ----- | 1 |  | 63 | 8.6616 | 4230.9235 | 18.2305 | 3358.4686 | 19.7799 | 3439.5265 | 13.762 | 3616.2454 | 8.6616 | 4230.9235 | 63 | BRN25oct23_015.gcd | 2023-10-25 17:13 | 68 | Unknown | 0 | 2.864 | 826056 | 0 | ----- | ----- | ----- | -----
64 | BRN25oct23_016.gcd | 2023-10-25 17:43 | 323 | Unknown | 0 | 6.036 | 7381 | 0.008 | ----- | ----- | ----- | ----- | 64 | BRN25oct23_016.gcd | 2023-10-25 17:43 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN25oct23_016.gcd | 2023-10-25 17:43 | 323 | Unknown | 0 | 12.181 | 18507 | 4.867 | ----- | ----- | ----- | ----- | 1 |  | 64 | 6.9683 | 4337.7696 | 16.7523 | 3444.5285 | 18.3455 | 3529.1112 | 12.2732 | 3712.9561 | 6.9683 | 4337.7696 | 64 | BRN25oct23_016.gcd | 2023-10-25 17:43 | 325 | Unknown | 0 | 2.863 | 842838 | 0 | ----- | ----- | ----- | -----
65 | BRN25oct23_017.gcd | 2023-10-25 18:14 | 408 | Unknown | 0 | 6.047 | 4872 | 0.003 | ----- | ----- | ----- | ----- | 65 | BRN25oct23_017.gcd | 2023-10-25 18:14 | 408 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN25oct23_017.gcd | 2023-10-25 18:14 | 408 | Unknown | 0 | 12.184 | 24497 | 6.5 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.3226 | 5681.841 | 9.3122 | 4538.9053 | 10.5351 | 4670.2107 | 5.7115 | 4944.5153 | 2.3226 | 5681.841 | 65 | BRN25oct23_017.gcd | 2023-10-25 18:14 | 408 | Unknown | 0 | 2.875 | 782420 | 0 | ----- | ----- | ----- | -----
66 | BRN25oct23_018.gcd | 2023-10-25 18:45 | 387 | Unknown | 0 | 6.037 | 5830 | 0.005 | ----- | ----- | ----- | ----- | 66 | BRN25oct23_018.gcd | 2023-10-25 18:45 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN25oct23_018.gcd | 2023-10-25 18:45 | 387 | Unknown | 0 | 12.184 | 18512 | 4.868 | ----- | ----- | ----- | ----- | 1 |  | 66 | 3.2941 | 4338.9052 | 12.1214 | 3445.4439 | 13.6034 | 3530.0642 | 8.0011 | 3713.9848 | 3.2941 | 4338.9052 | 66 | BRN25oct23_018.gcd | 2023-10-25 18:45 | 387 | Unknown | 0 | 2.865 | 829048 | 0 | ----- | ----- | ----- | -----
67 | BRN25oct23_019.gcd | 2023-10-25 19:15 | 153 | Unknown | 0 | 6.025 | 165675 | 0.348 | ----- | ----- | ----- | ----- | 67 | BRN25oct23_019.gcd | 2023-10-25 19:15 | 153 | Unknown | 0 | 5.949 | 974 | 0.218 | ----- | ----- | ----- | ----- | 67 | BRN25oct23_019.gcd | 2023-10-25 19:15 | 153 | Unknown | 0 | 12.111 | 93980 | 24.674 | ----- | ----- | ----- | ----- | 1 |  | 67 | 450.4432 | 21140.6074 | 498.4521 | 16904.3223 | 432.824 | 17821.5058 | 384.3242 | 19096.5672 | 450.4432 | 21140.6074 | 67 | BRN25oct23_019.gcd | 2023-10-25 19:15 | 153 | Unknown | 0 | 2.86 | 1040466 | 0 | ----- | ----- | ----- | -----
68 | BRN25oct23_020.gcd | 2023-10-25 19:46 | 377 | Unknown | 0 | 6.04 | 5262 | 0.004 | ----- | ----- | ----- | ----- | 68 | BRN25oct23_020.gcd | 2023-10-25 19:46 | 377 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN25oct23_020.gcd | 2023-10-25 19:46 | 377 | Unknown | 0 | 12.19 | 18820 | 4.952 | ----- | ----- | ----- | ----- | 1 |  | 68 | 2.5984 | 4408.8128 | 10.4511 | 3501.8253 | 11.7971 | 3588.7668 | 6.6114 | 3777.355 | 2.5984 | 4408.8128 | 68 | BRN25oct23_020.gcd | 2023-10-25 19:46 | 377 | Unknown | 0 | 2.863 | 868523 | 0 | ----- | ----- | ----- | -----
69 | BRN25oct23_021.gcd | 2023-10-25 20:16 | 242 | Unknown | 0 | 6.041 | 5701 | 0.005 | ----- | ----- | ----- | ----- | 69 | BRN25oct23_021.gcd | 2023-10-25 20:16 | 242 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN25oct23_021.gcd | 2023-10-25 20:16 | 242 | Unknown | 0 | 12.181 | 18818 | 4.952 | ----- | ----- | ----- | ----- | 1 |  | 69 | 3.1055 | 4408.3592 | 11.7409 | 3501.4593 | 13.1965 | 3588.3857 | 7.6772 | 3776.9435 | 3.1055 | 4408.3592 | 69 | BRN25oct23_021.gcd | 2023-10-25 20:16 | 242 | Unknown | 0 | 2.862 | 884607 | 0 | ----- | ----- | ----- | -----
70 | BRN25oct23_022.gcd | 2023-10-25 20:47 | 180 | Unknown | 0 | 6.016 | 173947 | 0.366 | ----- | ----- | ----- | ----- | 70 | BRN25oct23_022.gcd | 2023-10-25 20:47 | 180 | Unknown | 0 | 5.947 | 1514 | 0.357 | ----- | ----- | ----- | ----- | 70 | BRN25oct23_022.gcd | 2023-10-25 20:47 | 180 | Unknown | 0 | 12.102 | 93170 | 24.47 | ----- | ----- | ----- | ----- | 1 |  | 70 | 471.1846 | 20946.1705 | 522.1415 | 16763.6637 | 454.2811 | 17669.0986 | 403.5206 | 18933.0088 | 471.1846 | 20946.1705 | 70 | BRN25oct23_022.gcd | 2023-10-25 20:47 | 180 | Unknown | 0 | 2.867 | 773973 | 0 | ----- | ----- | ----- | -----
71 | BRN25oct23_023.gcd | 2023-10-25 21:17 | 295 | Unknown | 0 | 6.052 | 3701 | 0 | ----- | ----- | ----- | ----- | 71 | BRN25oct23_023.gcd | 2023-10-25 21:17 | 295 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN25oct23_023.gcd | 2023-10-25 21:17 | 295 | Unknown | 0 | 12.111 | 82808 | 21.841 | ----- | ----- | ----- | ----- | 1 |  | 71 | 2.4813 | 18454.0836 | 5.9313 | 14957.009 | 6.6402 | 15717.5341 | 3.2752 | 16837.7188 | 2.4813 | 18454.0836 | 71 | BRN25oct23_023.gcd | 2023-10-25 21:17 | 295 | Unknown | 0 | 2.859 | 943802 | 0 | ----- | ----- | ----- | -----
72 | BRN25oct23_024.gcd | 2023-10-25 21:48 | 301 | Unknown | 0 | 6.06 | 3690 | 0 | ----- | ----- | ----- | ----- | 72 | BRN25oct23_024.gcd | 2023-10-25 21:48 | 301 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN25oct23_024.gcd | 2023-10-25 21:48 | 301 | Unknown | 0 | 12.129 | 77233 | 20.415 | ----- | ----- | ----- | ----- | 1 |  | 72 | 2.4898 | 17109.6482 | 5.8998 | 13979.4091 | 6.6028 | 14666.1017 | 3.2542 | 15708.1359 | 2.4898 | 17109.6482 | 72 | BRN25oct23_024.gcd | 2023-10-25 21:48 | 301 | Unknown | 0 | 2.868 | 894273 | 0 | ----- | ----- | ----- | -----
73 | BRN25oct23_025.gcd | 2023-10-25 22:18 | 102 | Unknown | 0 | 6.022 | 24455 | 0.045 | ----- | ----- | ----- | ----- | 73 | BRN25oct23_025.gcd | 2023-10-25 22:18 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN25oct23_025.gcd | 2023-10-25 22:18 | 102 | Unknown | 0 | 12.18 | 22863 | 6.056 | ----- | ----- | ----- | ----- | 1 |  | 73 | 63.0534 | 5318.4409 | 76.7952 | 4240.8193 | 63.9555 | 4359.0482 | 54.9022 | 4608.7424 | 63.0534 | 5318.4409 | 73 | BRN25oct23_025.gcd | 2023-10-25 22:18 | 102 | Unknown | 0 | 2.863 | 841176 | 0 | ----- | ----- | ----- | -----
74 | BRN25oct23_026.gcd | 2023-10-25 22:49 | 71 | Unknown | 0 | 6.021 | 32092 | 0.061 | ----- | ----- | ----- | ----- | 74 | BRN25oct23_026.gcd | 2023-10-25 22:49 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN25oct23_026.gcd | 2023-10-25 22:49 | 71 | Unknown | 0 | 12.179 | 22624 | 5.99 | ----- | ----- | ----- | ----- | 1 |  | 74 | 85.6118 | 5265.0833 | 100.4306 | 4197.1911 | 84.0268 | 4313.5282 | 72.7991 | 4559.6185 | 85.6118 | 5265.0833 | 74 | BRN25oct23_026.gcd | 2023-10-25 22:49 | 71 | Unknown | 0 | 2.861 | 883756 | 0 | ----- | ----- | ----- | -----
75 | BRN25oct23_027.gcd | 2023-10-25 23:19 | 287 | Unknown | 0 | 6.031 | 7808 | 0.009 | ----- | ----- | ----- | ----- | 75 | BRN25oct23_027.gcd | 2023-10-25 23:19 | 287 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN25oct23_027.gcd | 2023-10-25 23:19 | 287 | Unknown | 0 | 12.179 | 18423 | 4.844 | ----- | ----- | ----- | ----- | 1 |  | 75 | 8.4359 | 4318.6885 | 18.0451 | 3429.1496 | 19.6021 | 3513.1008 | 13.5721 | 3695.6724 | 8.4359 | 4318.6885 | 75 | BRN25oct23_027.gcd | 2023-10-25 23:19 | 287 | Unknown | 0 | 2.862 | 872887 | 0 | ----- | ----- | ----- | -----
76 | BRN25oct23_028.gcd | 2023-10-25 23:50 | 289 | Unknown | 0 | 6.05 | 4495 | 0.002 | ----- | ----- | ----- | ----- | 76 | BRN25oct23_028.gcd | 2023-10-25 23:50 | 289 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN25oct23_028.gcd | 2023-10-25 23:50 | 289 | Unknown | 0 | 12.194 | 17642 | 4.63 | ----- | ----- | ----- | ----- | 1 |  | 76 | 2.212 | 4140.9714 | 8.2173 | 3286.1203 | 9.2985 | 3364.2316 | 4.8837 | 3534.9586 | 2.212 | 4140.9714 | 76 | BRN25oct23_028.gcd | 2023-10-25 23:50 | 289 | Unknown | 0 | 2.876 | 796374 | 0 | ----- | ----- | ----- | -----
77 | BRN25oct23_029.gcd | 2023-10-26 00:20 | 122 | Unknown | 0 | 6.043 | 5143 | 0.004 | ----- | ----- | ----- | ----- | 77 | BRN25oct23_029.gcd | 2023-10-26 00:20 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN25oct23_029.gcd | 2023-10-26 00:20 | 122 | Unknown | 0 | 12.177 | 20977 | 5.542 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.4968 | 4895.9683 | 10.1029 | 3896.3448 | 11.4139 | 3999.7894 | 6.3321 | 4221.0162 | 2.4968 | 4895.9683 | 77 | BRN25oct23_029.gcd | 2023-10-26 00:20 | 122 | Unknown | 0 | 2.863 | 852674 | 0 | ----- | ----- | ----- | -----