## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN01mar21_001.gcd | 2021-03-01 11:00 | air | Unknown | 0 | 6.115 | 2175 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN01mar21_001.gcd | 2021-03-01 11:00 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN01mar21_001.gcd | 2021-03-01 11:00 | air | Unknown | 0 | 12.25 | 1664 | 0.402 | ----- | ----- | ----- | ----- | 1 |  | 1.6129 | 343.1618 | 1.3259 | 314.2538
38 | BRN01mar21_002.gcd | 2021-03-01 11:31 | air + 100 | Unknown | 0 | 6.004 | 380686 | 0.565 | ----- | ----- | ----- | ----- | 38 | BRN01mar21_002.gcd | 2021-03-01 11:31 | air + 100 | Unknown | 0 | 5.95 | 3301 | 1.204 | ----- | ----- | ----- | ----- | 38 | BRN01mar21_002.gcd | 2021-03-01 11:31 | air + 100 | Unknown | 0 | 12.18 | 5958 | 0.985 | ----- | ----- | ----- | ----- | 1 |  | 1077.9197 | 1137.215 | 985.1755 | 1134.7344
39 | BRN01mar21_003.gcd | 2021-03-01 12:01 | 88 | Unknown | 0 | 6.031 | 8628 | 0.011 | ----- | ----- | ----- | ----- | 39 | BRN01mar21_003.gcd | 2021-03-01 12:01 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN01mar21_003.gcd | 2021-03-01 12:01 | 88 | Unknown | 0 | 12.167 | 7095 | 1.139 | ----- | ----- | ----- | ----- | 1 |  | 20.5496 | 1347.0832 | 21.9559 | 1351.8875
40 | BRN01mar21_004.gcd | 2021-03-01 12:32 | 132 | Unknown | 0 | 6.019 | 10660 | 0.014 | ----- | ----- | ----- | ----- | 40 | BRN01mar21_004.gcd | 2021-03-01 12:32 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN01mar21_004.gcd | 2021-03-01 12:32 | 132 | Unknown | 0 | 12.161 | 10311 | 1.576 | ----- | ----- | ----- | ----- | 1 |  | 26.8791 | 1939.8159 | 27.6643 | 1965.8765
41 | BRN01mar21_005.gcd | 2021-03-01 13:02 | 112 | Unknown | 0 | 6.036 | 11671 | 0.016 | ----- | ----- | ----- | ----- | 41 | BRN01mar21_005.gcd | 2021-03-01 13:02 | 112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN01mar21_005.gcd | 2021-03-01 13:02 | 112 | Unknown | 0 | 12.181 | 9170 | 1.421 | ----- | ----- | ----- | ----- | 1 |  | 30.0936 | 1729.6697 | 30.3255 | 1748.0787
42 | BRN01mar21_006.gcd | 2021-03-01 13:33 | 72 | Unknown | 0 | 6.024 | 11566 | 0.015 | ----- | ----- | ----- | ----- | 42 | BRN01mar21_006.gcd | 2021-03-01 13:33 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN01mar21_006.gcd | 2021-03-01 13:33 | 72 | Unknown | 0 | 12.165 | 9466 | 1.462 | ----- | ----- | ----- | ----- | 1 |  | 29.7577 | 1784.2019 | 30.0491 | 1804.5842
43 | BRN01mar21_007.gcd | 2021-03-01 14:04 | 68 | Unknown | 0 | 6.025 | 10363 | 0.014 | ----- | ----- | ----- | ----- | 43 | BRN01mar21_007.gcd | 2021-03-01 14:04 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN01mar21_007.gcd | 2021-03-01 14:04 | 68 | Unknown | 0 | 12.165 | 8897 | 1.384 | ----- | ----- | ----- | ----- | 1 |  | 25.943 | 1679.3651 | 26.8824 | 1695.9613
44 | BRN01mar21_008.gcd | 2021-03-01 14:34 | 182 | Unknown | 0 | 6.025 | 12876 | 0.017 | ----- | ----- | ----- | ----- | 44 | BRN01mar21_008.gcd | 2021-03-01 14:34 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN01mar21_008.gcd | 2021-03-01 14:34 | 182 | Unknown | 0 | 12.164 | 9068 | 1.407 | ----- | ----- | ----- | ----- | 1 |  | 33.9816 | 1710.8757 | 33.4971 | 1728.6066
45 | BRN01mar21_009.gcd | 2021-03-01 15:05 | 42 | Unknown | 0 | 6.025 | 11454 | 0.015 | ----- | ----- | ----- | ----- | 45 | BRN01mar21_009.gcd | 2021-03-01 15:05 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN01mar21_009.gcd | 2021-03-01 15:05 | 42 | Unknown | 0 | 12.171 | 9075 | 1.408 | ----- | ----- | ----- | ----- | 1 |  | 29.3999 | 1712.1655 | 29.7543 | 1729.9429
46 | BRN01mar21_010.gcd | 2021-03-01 15:36 | 214 | Unknown | 0 | 6.1 | 2351 | 0.002 | ----- | ----- | ----- | ----- | 46 | BRN01mar21_010.gcd | 2021-03-01 15:36 | 214 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN01mar21_010.gcd | 2021-03-01 15:36 | 214 | Unknown | 0 | 12.197 | 7767 | 1.231 | ----- | ----- | ----- | ----- | 1 |  | 2.1059 | 1471.0451 | 1.9526 | 1480.2115
47 | BRN01mar21_011.gcd | 2021-03-01 16:06 | 51 | Unknown | 0 | 6.042 | 10950 | 0.014 | ----- | ----- | ----- | ----- | 47 | BRN01mar21_011.gcd | 2021-03-01 16:06 | 51 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN01mar21_011.gcd | 2021-03-01 16:06 | 51 | Unknown | 0 | 12.196 | 8063 | 1.271 | ----- | ----- | ----- | ----- | 1 |  | 27.7967 | 1525.6294 | 28.4277 | 1536.7305
48 | BRN01mar21_012.gcd | 2021-03-01 16:37 | 16 | Unknown | 0 | 6.038 | 11132 | 0.015 | ----- | ----- | ----- | ----- | 48 | BRN01mar21_012.gcd | 2021-03-01 16:37 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN01mar21_012.gcd | 2021-03-01 16:37 | 16 | Unknown | 0 | 12.192 | 6910 | 1.114 | ----- | ----- | ----- | ----- | 1 |  | 28.3744 | 1312.9469 | 28.9067 | 1316.5576
49 | BRN01mar21_013.gcd | 2021-03-01 17:07 | 136 | Unknown | 0 | 6.04 | 11542 | 0.015 | ----- | ----- | ----- | ----- | 49 | BRN01mar21_013.gcd | 2021-03-01 17:07 | 136 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN01mar21_013.gcd | 2021-03-01 17:07 | 136 | Unknown | 0 | 12.197 | 9170 | 1.421 | ----- | ----- | ----- | ----- | 1 |  | 29.681 | 1729.6697 | 29.986 | 1748.0787
50 | BRN01mar21_014.gcd | 2021-03-01 17:38 | 73 | Unknown | 0 | 6.043 | 12000 | 0.016 | ----- | ----- | ----- | ----- | 50 | BRN01mar21_014.gcd | 2021-03-01 17:38 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN01mar21_014.gcd | 2021-03-01 17:38 | 73 | Unknown | 0 | 12.196 | 6002 | 0.991 | ----- | ----- | ----- | ----- | 1 |  | 31.149 | 1145.3396 | 31.1915 | 1143.1386
51 | BRN01mar21_015.gcd | 2021-03-01 18:09 | 177 | Unknown | 0 | 6.042 | 12532 | 0.017 | ----- | ----- | ----- | ----- | 51 | BRN01mar21_015.gcd | 2021-03-01 18:09 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN01mar21_015.gcd | 2021-03-01 18:09 | 177 | Unknown | 0 | 12.196 | 7447 | 1.187 | ----- | ----- | ----- | ----- | 1 |  | 32.8654 | 1412.0227 | 32.5917 | 1419.1067
52 | BRN01mar21_016.gcd | 2021-03-01 18:39 | 161 | Unknown | 0 | 6.109 | 2113 | 0.001 | ----- | ----- | ----- | ----- | 52 | BRN01mar21_016.gcd | 2021-03-01 18:39 | 161 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN01mar21_016.gcd | 2021-03-01 18:39 | 161 | Unknown | 0 | 12.211 | 7415 | 1.183 | ----- | ----- | ----- | ----- | 1 |  | 1.4395 | 1406.1198 | 1.1043 | 1412.996
53 | BRN01mar21_017.gcd | 2021-03-01 19:10 | 206 | Unknown | 0 | 6.028 | 12876 | 0.017 | ----- | ----- | ----- | ----- | 53 | BRN01mar21_017.gcd | 2021-03-01 19:10 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN01mar21_017.gcd | 2021-03-01 19:10 | 206 | Unknown | 0 | 12.184 | 7845 | 1.241 | ----- | ----- | ----- | ----- | 1 |  | 33.9816 | 1485.4299 | 33.4971 | 1495.1053
54 | BRN01mar21_018.gcd | 2021-03-01 19:40 | 205 | Unknown | 0 | 6.044 | 12262 | 0.016 | ----- | ----- | ----- | ----- | 54 | BRN01mar21_018.gcd | 2021-03-01 19:40 | 205 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN01mar21_018.gcd | 2021-03-01 19:40 | 205 | Unknown | 0 | 12.209 | 7916 | 1.251 | ----- | ----- | ----- | ----- | 1 |  | 31.9928 | 1498.523 | 31.8811 | 1508.6623