## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN09feb21_001.gcd | 2021-02-09 11:30 | air | Unknown | 0 | 6.104 | 2068 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN09feb21_001.gcd | 2021-02-09 11:30 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN09feb21_001.gcd | 2021-02-09 11:30 | air | Unknown | 0 | 12.267 | 3146 | 0.603 | ----- | ----- | ----- | ----- | 1 |  | 1.3138 | 617.4771 | 0.94313 | 597.4963
48 | BRN09feb21_002.gcd | 2021-02-09 12:01 | air + 100 | Unknown | 0 | 6.036 | 776477 | 1.155 | ----- | ----- | ----- | ----- | 48 | BRN09feb21_002.gcd | 2021-02-09 12:01 | air + 100 | Unknown | 0 | 5.988 | 6406 | 1.774 | ----- | ----- | ----- | ----- | 48 | BRN09feb21_002.gcd | 2021-02-09 12:01 | air + 100 | Unknown | 0 | 12.241 | 8647 | 1.35 | ----- | ----- | ----- | ----- | 1 |  | 1776.1342 | 1633.2904 | 1927.7748 | 1648.2326
47 | BRN09feb21_003.gcd | 2021-02-09 12:31 | 71 | Unknown | 0 | 6.041 | 12482 | 0.017 | ----- | ----- | ----- | ----- | 47 | BRN09feb21_003.gcd | 2021-02-09 12:31 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN09feb21_003.gcd | 2021-02-09 12:31 | 71 | Unknown | 0 | 12.213 | 6897 | 1.112 | ----- | ----- | ----- | ----- | 1 |  | 32.7036 | 1310.5479 | 32.4601 | 1314.0749
46 | BRN09feb21_004.gcd | 2021-02-09 13:02 | 10 | Unknown | 0 | 6.036 | 13260 | 0.018 | ----- | ----- | ----- | ----- | 46 | BRN09feb21_004.gcd | 2021-02-09 13:02 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN09feb21_004.gcd | 2021-02-09 13:02 | 10 | Unknown | 0 | 12.199 | 8742 | 1.363 | ----- | ----- | ----- | ----- | 1 |  | 35.2336 | 1650.7998 | 34.5077 | 1666.3698
45 | BRN09feb21_005.gcd | 2021-02-09 13:33 | 160 | Unknown | 0 | 6.05 | 12805 | 0.017 | ----- | ----- | ----- | ----- | 45 | BRN09feb21_005.gcd | 2021-02-09 13:33 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN09feb21_005.gcd | 2021-02-09 13:33 | 160 | Unknown | 0 | 12.219 | 7285 | 1.165 | ----- | ----- | ----- | ----- | 1 |  | 33.7508 | 1382.1377 | 33.3103 | 1388.1711
44 | BRN09feb21_006.gcd | 2021-02-09 14:03 | 128 | Unknown | 0 | 6.035 | 14926 | 0.02 | ----- | ----- | ----- | ----- | 44 | BRN09feb21_006.gcd | 2021-02-09 14:03 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN09feb21_006.gcd | 2021-02-09 14:03 | 128 | Unknown | 0 | 12.206 | 7440 | 1.186 | ----- | ----- | ----- | ----- | 1 |  | 40.738 | 1410.7315 | 38.892 | 1417.77
43 | BRN09feb21_007.gcd | 2021-02-09 14:34 | 143 | Unknown | 0 | 6.051 | 15385 | 0.021 | ----- | ----- | ----- | ----- | 43 | BRN09feb21_007.gcd | 2021-02-09 14:34 | 143 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN09feb21_007.gcd | 2021-02-09 14:34 | 143 | Unknown | 0 | 12.221 | 6928 | 1.117 | ----- | ----- | ----- | ----- | 1 |  | 48.6013 | 1316.2684 | 40.0998 | 1319.9952
42 | BRN09feb21_008.gcd | 2021-02-09 15:04 | 188 | Unknown | 0 | 6.043 | 17539 | 0.024 | ----- | ----- | ----- | ----- | 42 | BRN09feb21_008.gcd | 2021-02-09 15:04 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN09feb21_008.gcd | 2021-02-09 15:04 | 188 | Unknown | 0 | 12.209 | 7727 | 1.225 | ----- | ----- | ----- | ----- | 1 |  | 55.3091 | 1463.668 | 45.767 | 1472.5736
41 | BRN09feb21_009.gcd | 2021-02-09 15:35 | 104 | Unknown | 0 | 6.051 | 14885 | 0.02 | ----- | ----- | ----- | ----- | 41 | BRN09feb21_009.gcd | 2021-02-09 15:35 | 104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN09feb21_009.gcd | 2021-02-09 15:35 | 104 | Unknown | 0 | 12.223 | 6131 | 1.008 | ----- | ----- | ----- | ----- | 1 |  | 40.6011 | 1169.1579 | 38.7841 | 1167.778
40 | BRN09feb21_010.gcd | 2021-02-09 16:06 | 213 | Unknown | 0 | 6.047 | 16036 | 0.022 | ----- | ----- | ----- | ----- | 40 | BRN09feb21_010.gcd | 2021-02-09 16:06 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN09feb21_010.gcd | 2021-02-09 16:06 | 213 | Unknown | 0 | 12.218 | 8514 | 1.332 | ----- | ----- | ----- | ----- | 1 |  | 50.6294 | 1608.7755 | 41.8127 | 1622.8401
39 | BRN09feb21_011.gcd | 2021-02-09 16:36 | 93 | Unknown | 0 | 6.053 | 12447 | 0.017 | ----- | ----- | ----- | ----- | 39 | BRN09feb21_011.gcd | 2021-02-09 16:36 | 93 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN09feb21_011.gcd | 2021-02-09 16:36 | 93 | Unknown | 0 | 12.229 | 6348 | 1.038 | ----- | ----- | ----- | ----- | 1 |  | 32.5904 | 1209.2198 | 32.368 | 1209.2244
38 | BRN09feb21_012.gcd | 2021-02-09 17:07 | 97 | Unknown | 0 | 6.049 | 16369 | 0.023 | ----- | ----- | ----- | ----- | 38 | BRN09feb21_012.gcd | 2021-02-09 17:07 | 97 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 38 | BRN09feb21_012.gcd | 2021-02-09 17:07 | 97 | Unknown | 0 | 12.226 | 7450 | 1.188 | ----- | ----- | ----- | ----- | 1 |  | 51.6665 | 1412.5761 | 42.6888 | 1419.6795
40 | BRN09feb21_013.gcd | 2021-02-10 10:03 | 45 | Unknown | 0 | 6.046 | 15088 | 0.021 | ----- | ----- | ----- | ----- | 40 | BRN09feb21_013.gcd | 2021-02-10 10:03 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN09feb21_013.gcd | 2021-02-10 10:03 | 45 | Unknown | 0 | 12.232 | 7658 | 1.216 | ----- | ----- | ----- | ----- | 1 |  | 47.6758 | 1450.9421 | 39.3183 | 1459.398
39 | BRN09feb21_014.gcd | 2021-02-10 10:34 | 76 | Unknown | 0 | 6.031 | 18653 | 0.026 | ----- | ----- | ----- | ----- | 39 | BRN09feb21_014.gcd | 2021-02-10 10:34 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN09feb21_014.gcd | 2021-02-10 10:34 | 76 | Unknown | 0 | 12.193 | 8093 | 1.275 | ----- | ----- | ----- | ----- | 1 |  | 58.7753 | 1531.161 | 48.6975 | 1542.4586
38 | BRN09feb21_015.gcd | 2021-02-10 11:04 | 167 | Unknown | 0 | 6.044 | 19352 | 0.027 | ----- | ----- | ----- | ----- | 38 | BRN09feb21_015.gcd | 2021-02-10 11:04 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 38 | BRN09feb21_015.gcd | 2021-02-10 11:04 | 167 | Unknown | 0 | 12.209 | 8113 | 1.278 | ----- | ----- | ----- | ----- | 1 |  | 60.9492 | 1534.8486 | 50.5361 | 1546.2774
37 | BRN09feb21_016.gcd | 2021-02-10 11:35 | sample marked "air" | Unknown | 0 | 6.031 | 21480 | 0.03 | ----- | ----- | ----- | ----- | 37 | BRN09feb21_016.gcd | 2021-02-10 11:35 | sample marked "air" | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN09feb21_016.gcd | 2021-02-10 11:35 | sample marked "air" | Unknown | 0 | 12.202 | 9302 | 1.439 | ----- | ----- | ----- | ----- | 1 |  | 67.5623 | 1753.9895 | 56.1329 | 1773.2775