## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN09mar21_001.gcd | 2021-03-09 12:40 | air | Unknown | 0 | 6.118 | 2069 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN09mar21_001.gcd | 2021-03-09 12:40 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN09mar21_001.gcd | 2021-03-09 12:40 | air | Unknown | 0 | 12.297 | 2133 | 0.465 | ----- | ----- | ----- | ----- | 1 |  | 1.3166 | 430.0026 | 0.94672 | 403.8976
38 | BRN09mar21_002.gcd | 2021-03-09 13:11 | air + 100 | Unknown | 0 | 6.046 | 938844 | 1.397 | ----- | ----- | ----- | ----- | 38 | BRN09mar21_002.gcd | 2021-03-09 13:11 | air + 100 | Unknown | 0 | 5.996 | 7048 | 1.892 | ----- | ----- | ----- | ----- | 38 | BRN09mar21_002.gcd | 2021-03-09 13:11 | air + 100 | Unknown | 0 | 12.267 | 9743 | 1.499 | ----- | ----- | ----- | ----- | 1 |  | 1898.0784 | 1835.2237 | 2092.2102 | 1857.4601
39 | BRN09mar21_003.gcd | 2021-03-09 13:41 | 121 | Unknown | 0 | 6.064 | 7637 | 0.01 | ----- | ----- | ----- | ----- | 39 | BRN09mar21_003.gcd | 2021-03-09 13:41 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN09mar21_003.gcd | 2021-03-09 13:41 | 121 | Unknown | 0 | 12.235 | 3404 | 0.638 | ----- | ----- | ----- | ----- | 1 |  | 17.5265 | 665.2043 | 19.1014 | 646.7984
40 | BRN09mar21_004.gcd | 2021-03-09 14:12 | 26 | Unknown | 0 | 6.052 | 8539 | 0.011 | ----- | ----- | ----- | ----- | 40 | BRN09mar21_004.gcd | 2021-03-09 14:12 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN09mar21_004.gcd | 2021-03-09 14:12 | 26 | Unknown | 0 | 12.21 | 4083 | 0.73 | ----- | ----- | ----- | ----- | 1 |  | 20.2764 | 790.7718 | 21.7042 | 776.5405
41 | BRN09mar21_005.gcd | 2021-03-09 14:43 | 98 | Unknown | 0 | 6.063 | 8610 | 0.011 | ----- | ----- | ----- | ----- | 41 | BRN09mar21_005.gcd | 2021-03-09 14:43 | 98 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN09mar21_005.gcd | 2021-03-09 14:43 | 98 | Unknown | 0 | 12.248 | 4081 | 0.73 | ----- | ----- | ----- | ----- | 1 |  | 20.4944 | 790.402 | 21.9051 | 776.1584
42 | BRN09mar21_006.gcd | 2021-03-09 15:13 | 199 | Unknown | 0 | 6.064 | 8589 | 0.011 | ----- | ----- | ----- | ----- | 42 | BRN09mar21_006.gcd | 2021-03-09 15:13 | 199 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN09mar21_006.gcd | 2021-03-09 15:13 | 199 | Unknown | 0 | 12.239 | 4005 | 0.72 | ----- | ----- | ----- | ----- | 1 |  | 20.4299 | 776.3502 | 21.8457 | 761.6372
43 | BRN09mar21_008.gcd | 2021-03-10 14:02 | 127 | Unknown | 0 | 6.068 | 22690 | 0.032 | ----- | ----- | ----- | ----- | 43 | BRN09mar21_008.gcd | 2021-03-10 14:02 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN09mar21_008.gcd | 2021-03-10 14:02 | 127 | Unknown | 0 | 12.27 | 7867 | 1.244 | ----- | ----- | ----- | ----- | 1 |  | 71.3193 | 1489.487 | 59.3148 | 1499.3061
44 | BRN09mar21_009.gcd | 2021-03-10 14:32 | 81 | Unknown | 0 | 6.046 | 11613 | 0.015 | ----- | ----- | ----- | ----- | 44 | BRN09mar21_009.gcd | 2021-03-10 14:32 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN09mar21_009.gcd | 2021-03-10 14:32 | 81 | Unknown | 0 | 12.221 | 5438 | 0.914 | ----- | ----- | ----- | ----- | 1 |  | 29.908 | 1041.179 | 30.1729 | 1035.4068
45 | BRN09mar21_010.gcd | 2021-03-10 15:03 | 68 | Unknown | 0 | 6.052 | 24611 | 0.035 | ----- | ----- | ----- | ----- | 45 | BRN09mar21_010.gcd | 2021-03-10 15:03 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN09mar21_010.gcd | 2021-03-10 15:03 | 68 | Unknown | 0 | 12.227 | 7148 | 1.147 | ----- | ----- | ----- | ----- | 1 |  | 77.279 | 1356.862 | 64.3657 | 1362.0088
46 | BRN09mar21_011.gcd | 2021-03-10 15:33 | 21 | Unknown | 0 | 6.06 | 10829 | 0.014 | ----- | ----- | ----- | ----- | 46 | BRN09mar21_011.gcd | 2021-03-10 15:33 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN09mar21_011.gcd | 2021-03-10 15:33 | 21 | Unknown | 0 | 12.237 | 5132 | 0.873 | ----- | ----- | ----- | ----- | 1 |  | 27.4134 | 984.6496 | 28.1091 | 976.9522
47 | BRN09mar21_012.gcd | 2021-03-10 16:04 | 124 | Unknown | 0 | 6.13 | 12507 | 0.017 | ----- | ----- | ----- | ----- | 47 | BRN09mar21_012.gcd | 2021-03-10 16:04 | 124 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN09mar21_012.gcd | 2021-03-10 16:04 | 124 | Unknown | 0 | 12.301 | 4902 | 0.841 | ----- | ----- | ----- | ----- | 1 |  | 32.7845 | 942.1525 | 32.5259 | 933.0137
48 | BRN09mar21_013.gcd | 2021-03-10 16:35 | 102 try again | Unknown | 0 | 6.06 | 12157 | 0.016 | ----- | ----- | ----- | ----- | 48 | BRN09mar21_013.gcd | 2021-03-10 16:35 | 102 try again | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN09mar21_013.gcd | 2021-03-10 16:35 | 102 try again | Unknown | 0 | 12.23 | 5730 | 0.954 | ----- | ----- | ----- | ----- | 1 |  | 31.6543 | 1095.1111 | 31.6047 | 1091.1841