## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN19apr21_001.gcd | 2021-04-19 10:18 | air | Unknown | 0 | 6.114 | 1841 | -0.001 | ----- | ----- | ----- | ----- | 39 | BRN19apr21_001.gcd | 2021-04-19 10:18 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN19apr21_001.gcd | 2021-04-19 10:18 | air | Unknown | 0 | 12.286 | 2060 | 0.421 | ----- | ----- | ----- | ----- | 1 |  | 0.68093 | 416.4876 | 0.12673 | 389.945
40 | BRN19apr21_002.gcd | 2021-04-19 10:49 | air + 100 | Unknown | 0 | 6.092 | 2399 | 0 | ----- | ----- | ----- | ----- | 40 | BRN19apr21_002.gcd | 2021-04-19 10:49 | air + 100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN19apr21_002.gcd | 2021-04-19 10:49 | air + 100 | Unknown | 0 | 12.23 | 3007 | 0.61 | ----- | ----- | ----- | ----- | 1 |  | 2.2406 | 591.7602 | 2.1229 | 570.9334
41 | BRN19apr21_003.gcd | 2021-04-19 11:19 | 129 | Unknown | 0 | 6.1 | 2187 | 0 | ----- | ----- | ----- | ----- | 41 | BRN19apr21_003.gcd | 2021-04-19 11:19 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN19apr21_003.gcd | 2021-04-19 11:19 | 129 | Unknown | 0 | 12.188 | 7672 | 1.541 | ----- | ----- | ----- | ----- | 1 |  | 1.6465 | 1453.5242 | 1.3687 | 1462.0713
42 | BRN19apr21_004.gcd | 2021-04-19 11:50 | 96 | Unknown | 0 | 6.122 | 1842 | -0.001 | ----- | ----- | ----- | ----- | 42 | BRN19apr21_004.gcd | 2021-04-19 11:50 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN19apr21_004.gcd | 2021-04-19 11:50 | 96 | Unknown | 0 | 12.177 | 36142 | 7.193 | ----- | ----- | ----- | ----- | 1 |  | 0.68371 | 6653.5639 | 0.13034 | 6885.2529
43 | BRN19apr21_005.gcd | 2021-04-19 12:21 | 134 | Unknown | 0 | 6.12 | 2167 | 0 | ----- | ----- | ----- | ----- | 43 | BRN19apr21_005.gcd | 2021-04-19 12:21 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN19apr21_005.gcd | 2021-04-19 12:21 | 134 | Unknown | 0 | 12.145 | 35611 | 7.088 | ----- | ----- | ----- | ----- | 1 |  | 1.5905 | 6557.508 | 1.2973 | 6784.3452
44 | BRN19apr21_006.gcd | 2021-04-19 12:51 | 110 | Unknown | 0 | 6.106 | 2353 | 0 | ----- | ----- | ----- | ----- | 44 | BRN19apr21_006.gcd | 2021-04-19 12:51 | 110 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN19apr21_006.gcd | 2021-04-19 12:51 | 110 | Unknown | 0 | 12.207 | 6893 | 1.386 | ----- | ----- | ----- | ----- | 1 |  | 2.1115 | 1309.8098 | 1.9597 | 1313.311
45 | BRN19apr21_007.gcd | 2021-04-19 13:22 | 23 | Unknown | 0 | 6.051 | 5267 | 0.006 | ----- | ----- | ----- | ----- | 45 | BRN19apr21_007.gcd | 2021-04-19 13:22 | 23 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN19apr21_007.gcd | 2021-04-19 13:22 | 23 | Unknown | 0 | 12.177 | 17223 | 3.443 | ----- | ----- | ----- | ----- | 1 |  | 10.4657 | 3209.3546 | 11.8131 | 3284.3564
46 | BRN19apr21_008.gcd | 2021-04-19 13:53 | 203 | Unknown | 0 | 6.054 | 6664 | 0.009 | ----- | ----- | ----- | ----- | 46 | BRN19apr21_008.gcd | 2021-04-19 13:53 | 203 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN19apr21_008.gcd | 2021-04-19 13:53 | 203 | Unknown | 0 | 12.189 | 7822 | 1.571 | ----- | ----- | ----- | ----- | 1 |  | 14.5988 | 1481.1883 | 16.188 | 1490.7136
47 | BRN19apr21_009.gcd | 2021-04-19 14:23 | 189 | Unknown | 0 | 6.137 | 1938 | -0.001 | ----- | ----- | ----- | ----- | 47 | BRN19apr21_009.gcd | 2021-04-19 14:23 | 189 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN19apr21_009.gcd | 2021-04-19 14:23 | 189 | Unknown | 0 | 12.178 | 32813 | 6.535 | ----- | ----- | ----- | ----- | 1 |  | 0.9511 | 6050.7762 | 0.47632 | 6252.4806
48 | BRN19apr21_010.gcd | 2021-04-19 14:54 | 215 | Unknown | 0 | 6.046 | 24819 | 0.047 | ----- | ----- | ----- | ----- | 48 | BRN19apr21_010.gcd | 2021-04-19 14:54 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN19apr21_010.gcd | 2021-04-19 14:54 | 215 | Unknown | 0 | 12.211 | 4912 | 0.99 | ----- | ----- | ----- | ----- | 1 |  | 77.9239 | 944.0003 | 64.9125 | 934.9241
49 | BRN19apr21_011.gcd | 2021-04-19 15:25 | 217 | Unknown | 0 | 6.046 | 5582 | 0.007 | ----- | ----- | ----- | ----- | 49 | BRN19apr21_011.gcd | 2021-04-19 15:25 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN19apr21_011.gcd | 2021-04-19 15:25 | 217 | Unknown | 0 | 12.171 | 16287 | 3.257 | ----- | ----- | ----- | ----- | 1 |  | 11.3904 | 3037.789 | 12.8193 | 3105.9032
50 | BRN19apr21_012.gcd | 2021-04-19 15:55 | 78 | Unknown | 0 | 6.055 | 9802 | 0.016 | ----- | ----- | ----- | ----- | 50 | BRN19apr21_012.gcd | 2021-04-19 15:55 | 78 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN19apr21_012.gcd | 2021-04-19 15:55 | 78 | Unknown | 0 | 12.22 | 3165 | 0.641 | ----- | ----- | ----- | ----- | 1 |  | 24.1851 | 620.9922 | 25.1903 | 601.1271
51 | BRN19apr21_013.gcd | 2021-04-19 16:26 | 41 | Unknown | 0 | 6.125 | 2339 | 0 | ----- | ----- | ----- | ----- | 51 | BRN19apr21_013.gcd | 2021-04-19 16:26 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN19apr21_013.gcd | 2021-04-19 16:26 | 41 | Unknown | 0 | 12.187 | 33475 | 6.665 | ----- | ----- | ----- | ----- | 1 |  | 2.0723 | 6170.7565 | 1.91 | 6378.3414
52 | BRN19apr21_014.gcd | 2021-04-19 16:57 | 149 | Unknown | 0 | 6.046 | 25809 | 0.049 | ----- | ----- | ----- | ----- | 52 | BRN19apr21_014.gcd | 2021-04-19 16:57 | 149 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN19apr21_014.gcd | 2021-04-19 16:57 | 149 | Unknown | 0 | 12.221 | 4528 | 0.913 | ----- | ----- | ----- | ----- | 1 |  | 80.9926 | 873.0342 | 67.5151 | 861.5622
53 | BRN19apr21_015.gcd | 2021-04-19 17:27 | 192 | Unknown | 0 | 6.028 | 32962 | 0.064 | ----- | ----- | ----- | ----- | 53 | BRN19apr21_015.gcd | 2021-04-19 17:27 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN19apr21_015.gcd | 2021-04-19 17:27 | 192 | Unknown | 0 | 12.189 | 6731 | 1.353 | ----- | ----- | ----- | ----- | 1 |  | 103.117 | 1279.9135 | 86.3124 | 1282.3725
54 | BRN19apr21_016.gcd | 2021-04-19 17:58 | 90 | Unknown | 0 | 6.05 | 11036 | 0.018 | ----- | ----- | ----- | ----- | 54 | BRN19apr21_016.gcd | 2021-04-19 17:58 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN19apr21_016.gcd | 2021-04-19 17:58 | 90 | Unknown | 0 | 12.228 | 4184 | 0.845 | ----- | ----- | ----- | ----- | 1 |  | 28.0695 | 809.4448 | 28.654 | 795.8382
55 | BRN19apr21_017.gcd | 2021-04-19 18:29 | 34 | Unknown | 0 | 6.05 | 28909 | 0.055 | ----- | ----- | ----- | ----- | 55 | BRN19apr21_017.gcd | 2021-04-19 18:29 | 34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN19apr21_017.gcd | 2021-04-19 18:29 | 34 | Unknown | 0 | 12.228 | 5413 | 1.09 | ----- | ----- | ----- | ----- | 1 |  | 90.5912 | 1036.561 | 75.6631 | 1030.6312
56 | BRN19apr21_018.gcd | 2021-04-19 18:59 | 125 | Unknown | 0 | 6.159 | 9076 | 0.014 | ----- | ----- | ----- | ----- | 56 | BRN19apr21_018.gcd | 2021-04-19 18:59 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN19apr21_018.gcd | 2021-04-19 18:59 | 125 | Unknown | 0 | 12.321 | 8690 | 1.744 | ----- | ----- | ----- | ----- | 1 |  | 21.93 | 1641.2159 | 23.209 | 1656.4421