## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN18may21_001.gcd | 2021-05-18 10:39 | air | Unknown | 0 | 6.063 | 2303 | 0 | ----- | ----- | ----- | ----- | 39 | BRN18may21_001.gcd | 2021-05-18 10:39 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN18may21_001.gcd | 2021-05-18 10:39 | air | Unknown | 0 | 12.214 | 1939 | 0.397 | ----- | ----- | ----- | ----- | 1 |  | 1.9713 | 394.0846 | 1.782 | 366.8177
40 | BRN18may21_002.gcd | 2021-05-18 11:09 | air + 100 | Unknown | 0 | 5.998 | 847854 | 1.764 | ----- | ----- | ----- | ----- | 40 | BRN18may21_002.gcd | 2021-05-18 11:09 | air + 100 | Unknown | 0 | 5.946 | 6573 | 1.88 | ----- | ----- | ----- | ----- | 40 | BRN18may21_002.gcd | 2021-05-18 11:09 | air + 100 | Unknown | 0 | 12.174 | 9160 | 1.838 | ----- | ----- | ----- | ----- | 1 |  | 1807.8546 | 1727.8272 | 1970.5501 | 1746.1697
41 | BRN18may21_003.gcd | 2021-05-18 11:40 | 143 | Unknown | 0 | 6.092 | 2318 | 0 | ----- | ----- | ----- | ----- | 41 | BRN18may21_003.gcd | 2021-05-18 11:40 | 143 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN18may21_003.gcd | 2021-05-18 11:40 | 143 | Unknown | 0 | 12.115 | 50670 | 10.057 | ----- | ----- | ----- | ----- | 1 |  | 2.0134 | 9267.8892 | 1.8353 | 9642.4993
42 | BRN18may21_004.gcd | 2021-05-18 12:10 | 213 | Unknown | 0 | 6.042 | 6037 | 0.008 | ----- | ----- | ----- | ----- | 42 | BRN18may21_004.gcd | 2021-05-18 12:10 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN18may21_004.gcd | 2021-05-18 12:10 | 213 | Unknown | 0 | 12.156 | 15130 | 3.027 | ----- | ----- | ----- | ----- | 1 |  | 12.7335 | 2825.5629 | 14.2524 | 2885.2758
43 | BRN18may21_005.gcd | 2021-05-18 12:41 | 22 | Unknown | 0 | 6.091 | 2336 | 0 | ----- | ----- | ----- | ----- | 43 | BRN18may21_005.gcd | 2021-05-18 12:41 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN18may21_005.gcd | 2021-05-18 12:41 | 22 | Unknown | 0 | 12.136 | 31148 | 6.205 | ----- | ----- | ----- | ----- | 1 |  | 2.0638 | 5748.7699 | 1.8993 | 5935.8642
44 | BRN18may21_006.gcd | 2021-05-18 13:12 | 114 | Unknown | 0 | 6.03 | 11537 | 0.019 | ----- | ----- | ----- | ----- | 44 | BRN18may21_006.gcd | 2021-05-18 13:12 | 114 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN18may21_006.gcd | 2021-05-18 13:12 | 114 | Unknown | 0 | 12.149 | 2688 | 0.546 | ----- | ----- | ----- | ----- | 1 |  | 29.665 | 532.7317 | 29.9728 | 509.9701
45 | BRN18may21_007.gcd | 2021-05-18 13:42 | 44 | Unknown | 0 | 6.098 | 1975 | -0.001 | ----- | ----- | ----- | ----- | 45 | BRN18may21_007.gcd | 2021-05-18 13:42 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN18may21_007.gcd | 2021-05-18 13:42 | 44 | Unknown | 0 | 12.09 | 46893 | 9.313 | ----- | ----- | ----- | ----- | 1 |  | 1.0543 | 8590.7639 | 0.60938 | 8926.3286
46 | BRN18may21_008.gcd | 2021-05-18 14:13 | 118 | Unknown | 0 | 6.007 | 14061 | 0.025 | ----- | ----- | ----- | ----- | 46 | BRN18may21_008.gcd | 2021-05-18 14:13 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN18may21_008.gcd | 2021-05-18 14:13 | 118 | Unknown | 0 | 12.14 | 3610 | 0.73 | ----- | ----- | ----- | ----- | 1 |  | 37.8654 | 703.306 | 36.6157 | 686.1621
47 | BRN18may21_009.gcd | 2021-05-18 14:44 | 145 | Unknown | 0 | 6.026 | 22756 | 0.043 | ----- | ----- | ----- | ----- | 47 | BRN18may21_009.gcd | 2021-05-18 14:44 | 145 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN18may21_009.gcd | 2021-05-18 14:44 | 145 | Unknown | 0 | 12.176 | 4078 | 0.824 | ----- | ----- | ----- | ----- | 1 |  | 71.5241 | 789.8473 | 59.4884 | 775.5852
48 | BRN18may21_010.gcd | 2021-05-18 15:14 | 160 | Unknown | 0 | 6.029 | 15177 | 0.027 | ----- | ----- | ----- | ----- | 48 | BRN18may21_010.gcd | 2021-05-18 15:14 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN18may21_010.gcd | 2021-05-18 15:14 | 160 | Unknown | 0 | 12.172 | 3898 | 0.788 | ----- | ----- | ----- | ----- | 1 |  | 47.9532 | 756.5654 | 39.5524 | 741.1925
49 | BRN18may21_011.gcd | 2021-05-18 15:45 | 169 | Unknown | 0 | 6.107 | 2615 | 0.001 | ----- | ----- | ----- | ----- | 49 | BRN18may21_011.gcd | 2021-05-18 15:45 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN18may21_011.gcd | 2021-05-18 15:45 | 169 | Unknown | 0 | 12.114 | 56396 | 11.182 | ----- | ----- | ----- | ----- | 1 |  | 2.8479 | 10291.0079 | 2.8859 | 10727.3421
50 | BRN18may21_012.gcd | 2021-05-18 16:16 | 25 | Unknown | 0 | 6.112 | 2324 | 0 | ----- | ----- | ----- | ----- | 50 | BRN18may21_012.gcd | 2021-05-18 16:16 | 25 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN18may21_012.gcd | 2021-05-18 16:16 | 25 | Unknown | 0 | 12.143 | 30606 | 6.098 | ----- | ----- | ----- | ----- | 1 |  | 2.0302 | 5650.384 | 1.8567 | 5832.778
51 | BRN18may21_013.gcd | 2021-05-18 16:46 | 15 | Unknown | 0 | 6.05 | 3305 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN18may21_013.gcd | 2021-05-18 16:46 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN18may21_013.gcd | 2021-05-18 16:46 | 15 | Unknown | 0 | 12.163 | 11237 | 2.252 | ----- | ----- | ----- | ----- | 1 |  | 4.8011 | 2110.2438 | 5.287 | 2142.6032
52 | BRN18may21_014.gcd | 2021-05-18 17:17 | 104 | Unknown | 0 | 6.018 | 902536 | 1.878 | ----- | ----- | ----- | ----- | 52 | BRN18may21_014.gcd | 2021-05-18 17:17 | 104 | Unknown | 0 | 5.968 | 7712 | 2.185 | ----- | ----- | ----- | ----- | 52 | BRN18may21_014.gcd | 2021-05-18 17:17 | 104 | Unknown | 0 | 12.11 | 56610 | 11.224 | ----- | ----- | ----- | ----- | 1 |  | 2024.2042 | 10329.1655 | 2262.2631 | 10767.8657
53 | BRN18may21_015.gcd | 2021-05-18 17:48 | 71 | Unknown | 0 | 6.178 | 1676 | -0.001 | ----- | ----- | ----- | ----- | 53 | BRN18may21_015.gcd | 2021-05-18 17:48 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN18may21_015.gcd | 2021-05-18 17:48 | 71 | Unknown | 0 | 12.092 | 61970 | 12.276 | ----- | ----- | ----- | ----- | 1 |  | 0.22227 | 11283.0136 | -0.47043 | 11782.363
54 | BRN18may21_016.gcd | 2021-05-18 18:18 | 210 | Unknown | 0 | 6.026 | 24668 | 0.047 | ----- | ----- | ----- | ----- | 54 | BRN18may21_016.gcd | 2021-05-18 18:18 | 210 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN18may21_016.gcd | 2021-05-18 18:18 | 210 | Unknown | 0 | 12.163 | 3697 | 0.748 | ----- | ----- | ----- | ----- | 1 |  | 77.4557 | 719.3959 | 64.5155 | 702.7862
55 | BRN18may21_017.gcd | 2021-05-18 18:49 | 204 | Unknown | 0 | 6.078 | 2512 | 0 | ----- | ----- | ----- | ----- | 55 | BRN18may21_017.gcd | 2021-05-18 18:49 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN18may21_017.gcd | 2021-05-18 18:49 | 204 | Unknown | 0 | 12.121 | 49395 | 9.806 | ----- | ----- | ----- | ----- | 1 |  | 2.5581 | 9039.5126 | 2.5227 | 9400.7938
56 | BRN18may21_018.gcd | 2021-05-18 19:19 | 191 | Unknown | 0 | 6.006 | 27519 | 0.053 | ----- | ----- | ----- | ----- | 56 | BRN18may21_018.gcd | 2021-05-18 19:19 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN18may21_018.gcd | 2021-05-18 19:19 | 191 | Unknown | 0 | 12.146 | 4666 | 0.941 | ----- | ----- | ----- | ----- | 1 |  | 86.2893 | 898.5398 | 72.0099 | 887.9272
57 | BRN18may21_019.gcd | 2021-05-18 19:50 | 27 | Unknown | 0 | 6.112 | 1995 | -0.001 | ----- | ----- | ----- | ----- | 57 | BRN18may21_019.gcd | 2021-05-18 19:50 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN18may21_019.gcd | 2021-05-18 19:50 | 27 | Unknown | 0 | 12.127 | 43571 | 8.659 | ----- | ----- | ----- | ----- | 1 |  | 1.1101 | 7993.7288 | 0.68124 | 8296.0487
58 | BRN18may21_020.gcd | 2021-05-18 20:21 | 115 | Unknown | 0 | 6.025 | 26947 | 0.051 | ----- | ----- | ----- | ----- | 58 | BRN18may21_020.gcd | 2021-05-18 20:21 | 115 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN18may21_020.gcd | 2021-05-18 20:21 | 115 | Unknown | 0 | 12.179 | 4081 | 0.824 | ----- | ----- | ----- | ----- | 1 |  | 84.5181 | 790.402 | 70.5065 | 776.1584
59 | BRN18may21_021.gcd | 2021-05-18 20:51 | 69 | Unknown | 0 | 6.101 | 2504 | 0 | ----- | ----- | ----- | ----- | 59 | BRN18may21_021.gcd | 2021-05-18 20:51 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN18may21_021.gcd | 2021-05-18 20:51 | 69 | Unknown | 0 | 12.125 | 54890 | 10.886 | ----- | ----- | ----- | ----- | 1 |  | 2.5356 | 10022.3155 | 2.4944 | 10442.12
60 | BRN18may21_022.gcd | 2021-05-18 21:22 | 128 | Unknown | 0 | 6.032 | 15032 | 0.027 | ----- | ----- | ----- | ----- | 60 | BRN18may21_022.gcd | 2021-05-18 21:22 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN18may21_022.gcd | 2021-05-18 21:22 | 128 | Unknown | 0 | 12.176 | 4219 | 0.852 | ----- | ----- | ----- | ----- | 1 |  | 47.5013 | 815.9153 | 39.1709 | 802.5254
61 | BRN18may21_023.gcd | 2021-05-18 21:53 | 151 | Unknown | 0 | 6.098 | 2222 | 0 | ----- | ----- | ----- | ----- | 61 | BRN18may21_023.gcd | 2021-05-18 21:53 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN18may21_023.gcd | 2021-05-18 21:53 | 151 | Unknown | 0 | 12.091 | 58839 | 11.662 | ----- | ----- | ----- | ----- | 1 |  | 1.7444 | 10726.2691 | 1.4936 | 11189.8662
62 | BRN18may21_024.gcd | 2021-05-18 22:23 | 66 | Unknown | 0 | 6.084 | 3997 | 0.004 | ----- | ----- | ----- | ----- | 62 | BRN18may21_024.gcd | 2021-05-18 22:23 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN18may21_024.gcd | 2021-05-18 22:23 | 66 | Unknown | 0 | 12.168 | 11127 | 2.23 | ----- | ----- | ----- | ----- | 1 |  | 6.7804 | 2090.0042 | 7.6397 | 2121.6112
63 | BRN18may21_025.gcd | 2021-05-18 22:54 | 137 | Unknown | 0 | 6.041 | 8112 | 0.012 | ----- | ----- | ----- | ----- | 63 | BRN18may21_025.gcd | 2021-05-18 22:54 | 137 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN18may21_025.gcd | 2021-05-18 22:54 | 137 | Unknown | 0 | 12.158 | 14856 | 2.972 | ----- | ----- | ----- | ----- | 1 |  | 18.9703 | 2775.279 | 20.4838 | 2833.0206
64 | BRN18may21_026.gcd | 2021-05-18 23:24 | 167 | Unknown | 0 | 6.021 | 640933 | 1.332 | ----- | ----- | ----- | ----- | 64 | BRN18may21_026.gcd | 2021-05-18 23:24 | 167 | Unknown | 0 | 5.975 | 5414 | 1.568 | ----- | ----- | ----- | ----- | 64 | BRN18may21_026.gcd | 2021-05-18 23:24 | 167 | Unknown | 0 | 12.112 | 58044 | 11.506 | ----- | ----- | ----- | ----- | 1 |  | 1678.3498 | 10584.7088 | 1638.7822 | 11039.3731