## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
1900-02-05 | BRN23mar21_001.gcd | 2021-03-23 14:18 | air | Unknown | 0 | 6.091 | 1779 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN23mar21_001.gcd | 2021-03-23 14:18 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN23mar21_001.gcd | 2021-03-23 14:18 | air | Unknown | 0 | 12.274 | 1989 | 0.446 | ----- | ----- | ----- | ----- | 1 |  | 0.50845 | 403.3423 | -0.097286 | 376.3745
1900-02-06 | BRN23mar21_002.gcd | 2021-03-23 14:48 | air + 100 | Unknown | 0 | 6.034 | 753065 | 1.12 | ----- | ----- | ----- | ----- | 38 | BRN23mar21_002.gcd | 2021-03-23 14:48 | air + 100 | Unknown | 0 | 5.993 | 6307 | 1.756 | ----- | ----- | ----- | ----- | 38 | BRN23mar21_002.gcd | 2021-03-23 14:48 | air + 100 | Unknown | 0 | 12.239 | 10432 | 1.593 | ----- | ----- | ----- | ----- | 1 |  | 1757.33 | 1962.0918 | 1902.4165 | 1988.9709
1900-02-07 | BRN23mar21_003.gcd | 2021-03-23 15:19 | 190 | Unknown | 0 | 6.043 | 11783 | 0.016 | ----- | ----- | ----- | ----- | 39 | BRN23mar21_003.gcd | 2021-03-23 15:19 | 190 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN23mar21_003.gcd | 2021-03-23 15:19 | 190 | Unknown | 0 | 12.211 | 6572 | 1.068 | ----- | ----- | ----- | ----- | 1 |  | 30.4523 | 1250.5677 | 30.6203 | 1252.0061
1900-02-08 | BRN23mar21_004.gcd | 2021-03-23 15:49 | 166 | Unknown | 0 | 6.021 | 93503 | 0.137 | ----- | ----- | ----- | ----- | 40 | BRN23mar21_004.gcd | 2021-03-23 15:49 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN23mar21_004.gcd | 2021-03-23 15:49 | 166 | Unknown | 0 | 12.185 | 12783 | 1.913 | ----- | ----- | ----- | ----- | 1 |  | 287.0272 | 2394.5413 | 244.9123 | 2437.5946
1900-02-09 | BRN23mar21_005.gcd | 2021-03-23 16:20 | 77 | Unknown | 0 | 6.043 | 11399 | 0.015 | ----- | ----- | ----- | ----- | 41 | BRN23mar21_005.gcd | 2021-03-23 16:20 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN23mar21_005.gcd | 2021-03-23 16:20 | 77 | Unknown | 0 | 12.213 | 5613 | 0.938 | ----- | ----- | ----- | ----- | 1 |  | 29.2245 | 1073.5026 | 29.6096 | 1068.8353
1900-02-10 | BRN23mar21_006.gcd | 2021-03-23 16:51 | 196 | Unknown | 0 | 6.121 | 1664 | 0.001 | ----- | ----- | ----- | ----- | 42 | BRN23mar21_006.gcd | 2021-03-23 16:51 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN23mar21_006.gcd | 2021-03-23 16:51 | 196 | Unknown | 0 | 12.21 | 6633 | 1.077 | ----- | ----- | ----- | ----- | 1 |  | 0.18896 | 1261.8265 | -0.51399 | 1263.6562
1900-02-11 | BRN23mar21_007.gcd | 2021-03-23 17:21 | 159 | Unknown | 0 | 6.111 | 1971 | 0.001 | ----- | ----- | ----- | ----- | 43 | BRN23mar21_007.gcd | 2021-03-23 17:21 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN23mar21_007.gcd | 2021-03-23 17:21 | 159 | Unknown | 0 | 12.186 | 6528 | 1.062 | ----- | ----- | ----- | ----- | 1 |  | 1.0431 | 1242.4463 | 0.59501 | 1243.6027
1900-02-12 | BRN23mar21_008.gcd | 2021-03-23 17:52 | 170 | Unknown | 0 | 6.026 | 15429 | 0.021 | ----- | ----- | ----- | ----- | 44 | BRN23mar21_008.gcd | 2021-03-23 17:52 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN23mar21_008.gcd | 2021-03-23 17:52 | 170 | Unknown | 0 | 12.184 | 7967 | 1.258 | ----- | ----- | ----- | ----- | 1 |  | 48.7384 | 1507.9276 | 40.2155 | 1518.4003
1900-02-13 | BRN23mar21_009.gcd | 2021-03-23 18:23 | 211 | Unknown | 0 | 6.023 | 18889 | 0.026 | ----- | ----- | ----- | ----- | 45 | BRN23mar21_009.gcd | 2021-03-23 18:23 | 211 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN23mar21_009.gcd | 2021-03-23 18:23 | 211 | Unknown | 0 | 12.165 | 18863 | 2.74 | ----- | ----- | ----- | ----- | 1 |  | 59.5093 | 3509.6958 | 49.3183 | 3596.9621
1900-02-14 | BRN23mar21_010.gcd | 2021-03-23 18:53 | 45 | Unknown | 0 | 6.042 | 20397 | 0.029 | ----- | ----- | ----- | ----- | 46 | BRN23mar21_010.gcd | 2021-03-23 18:53 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN23mar21_010.gcd | 2021-03-23 18:53 | 45 | Unknown | 0 | 12.196 | 20497 | 2.962 | ----- | ----- | ----- | ----- | 1 |  | 64.1976 | 3808.6024 | 53.2847 | 3908.3371
1900-02-15 | BRN23mar21_011.gcd | 2021-03-23 19:24 | 91 | Unknown | 0 | 6.044 | 13413 | 0.018 | ----- | ----- | ----- | ----- | 47 | BRN23mar21_011.gcd | 2021-03-23 19:24 | 91 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN23mar21_011.gcd | 2021-03-23 19:24 | 91 | Unknown | 0 | 12.22 | 6411 | 1.046 | ----- | ----- | ----- | ----- | 1 |  | 35.7342 | 1220.8495 | 34.9104 | 1221.2569
1900-02-16 | BRN23mar21_012.gcd | 2021-03-23 19:55 | 71 | Unknown | 0 | 6.043 | 15171 | 0.021 | ----- | ----- | ----- | ----- | 48 | BRN23mar21_012.gcd | 2021-03-23 19:55 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN23mar21_012.gcd | 2021-03-23 19:55 | 71 | Unknown | 0 | 12.204 | 8842 | 1.377 | ----- | ----- | ----- | ----- | 1 |  | 47.9345 | 1669.2294 | 39.5367 | 1685.4612
1900-02-17 | BRN23mar21_013.gcd | 2021-03-23 20:25 | 10 | Unknown | 0 | 6.042 | 14828 | 0.02 | ----- | ----- | ----- | ----- | 49 | BRN23mar21_013.gcd | 2021-03-23 20:25 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN23mar21_013.gcd | 2021-03-23 20:25 | 10 | Unknown | 0 | 12.212 | 8318 | 1.306 | ----- | ----- | ----- | ----- | 1 |  | 40.411 | 1572.6442 | 38.6341 | 1585.4186
1900-02-18 | BRN23mar21_014.gcd | 2021-03-23 20:56 | 76 | Unknown | 0 | 6.042 | 13804 | 0.019 | ----- | ----- | ----- | ----- | 50 | BRN23mar21_014.gcd | 2021-03-23 20:56 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN23mar21_014.gcd | 2021-03-23 20:56 | 76 | Unknown | 0 | 12.202 | 5078 | 0.865 | ----- | ----- | ----- | ----- | 1 |  | 37.018 | 974.6726 | 35.9394 | 966.6363
1900-02-19 | BRN23mar21_015.gcd | 2021-03-23 21:26 | 194 | Unknown | 0 | 6.021 | 14942 | 0.02 | ----- | ----- | ----- | ----- | 51 | BRN23mar21_015.gcd | 2021-03-23 21:26 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN23mar21_015.gcd | 2021-03-23 21:26 | 194 | Unknown | 0 | 12.16 | 15770 | 2.319 | ----- | ----- | ----- | ----- | 1 |  | 40.7915 | 2942.9775 | 38.9341 | 3007.3223
1900-02-20 | BRN23mar21_016.gcd | 2021-03-23 21:57 | 97 | Unknown | 0 | 6.041 | 13549 | 0.018 | ----- | ----- | ----- | ----- | 52 | BRN23mar21_016.gcd | 2021-03-23 21:57 | 97 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN23mar21_016.gcd | 2021-03-23 21:57 | 97 | Unknown | 0 | 12.201 | 7562 | 1.203 | ----- | ----- | ----- | ----- | 1 |  | 36.18 | 1433.2354 | 35.2683 | 1441.0666
1900-02-21 | BRN23mar21_017.gcd | 2021-03-23 22:28 | 188 | Unknown | 0 | 6.039 | 13387 | 0.018 | ----- | ----- | ----- | ----- | 53 | BRN23mar21_017.gcd | 2021-03-23 22:28 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN23mar21_017.gcd | 2021-03-23 22:28 | 188 | Unknown | 0 | 12.189 | 16577 | 2.429 | ----- | ----- | ----- | ----- | 1 |  | 35.6491 | 3090.9568 | 34.842 | 3161.1962
1900-02-22 | BRN23mar21_018.gcd | 2021-03-23 22:58 | 133 | Unknown | 0 | 6.04 | 15296 | 0.021 | ----- | ----- | ----- | ----- | 54 | BRN23mar21_018.gcd | 2021-03-23 22:58 | 133 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN23mar21_018.gcd | 2021-03-23 22:58 | 133 | Unknown | 0 | 12.208 | 7202 | 1.154 | ----- | ----- | ----- | ----- | 1 |  | 48.324 | 1366.825 | 39.8656 | 1372.321
1900-02-23 | BRN23mar21_019.gcd | 2021-03-23 23:29 | 24 | Unknown | 0 | 6.035 | 87994 | 0.129 | ----- | ----- | ----- | ----- | 55 | BRN23mar21_019.gcd | 2021-03-23 23:29 | 24 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN23mar21_019.gcd | 2021-03-23 23:29 | 24 | Unknown | 0 | 12.197 | 11164 | 1.692 | ----- | ----- | ----- | ----- | 1 |  | 270.5396 | 2096.8123 | 230.517 | 2128.6722
1900-02-24 | BRN23mar21_020.gcd | 2021-03-24 | 93 | Unknown | 0 | 6.018 | 17261 | 0.024 | ----- | ----- | ----- | ----- | 56 | BRN23mar21_020.gcd | 2021-03-24 | 93 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN23mar21_020.gcd | 2021-03-24 | 93 | Unknown | 0 | 12.168 | 9459 | 1.461 | ----- | ----- | ----- | ----- | 1 |  | 54.4438 | 1782.9124 | 45.0356 | 1803.248