## Sheet1
Weir gauge + pressure relationships
Weir gauge depths collected from pictures taken of Weir gauge during summer - winter 2019. Gauge depths are related to pressure, as mesaured by the WVWA sensor and VT sensor at the same time/date of the picture. The relationship this then used to develop a rating curve which relates gauge height with pressure. The gauge height measured corresponds to water depth above the bottom of the v-notch weir installed on June 6, 2019. The weir is topped at 27.5 cm (as determiend by the weir gauge). The rating curve can be used to determine at what pressure (for both the WVWA and VT pressure transducer) the pressure is too low to accurately measure flow. Additional information about the sensors and published QA/QC'd data can be found on EDI (https://portal.edirepository.org/nis/mapbrowse?packageid=edi.202.5)
Originally developled by A.G. Hounshell, 02 March 2020
Picture file name | Date | Time | Gauge height_cm | Catwalk pressure_psi | WVWA Pressure_psi | Corrected pressure_psi | VT Pressure_psi | Notes
2019-06-10 | 2019-06-10 | 11:14 | 22.5 | 14.252 | 13.894 | 0.358 | 0.409
2019-06-24 | 2019-06-24 | 12:56 | 15 | 14.104 | 13.85 | 0.254 | 0.296
From R script | 2019-06-27 | 15:49 | 14.9 | 14.231 | 13.984 | 0.247 | 0.291
2019-07-08 | 2019-07-08 | 13:48 | 12 | 14.062 | 13.904 | 0.158 | 0.253
2019-07-22 | 2019-07-22 | 14:19 | 10 | 14.046 | 13.887 | 0.159 | 0.232
2019-08-12 | 2019-08-12 | 13:21 | 12.5 | 14.112 | 13.925 | 0.187 | 0.256
2019-08-28 | 2019-08-28 | 16:24 | 10 | 14.02 | 13.874 | 0.146 | 0.221
2019-09-27 | 2019-09-27 | 14:53 | 8 | 14.069 | 13.929 | 0.14 | 0.196
2019-10-30 | 2019-10-30 | 12:56 | 9 | 14.137 | 13.978 | 0.159 | 0.222
2019-12-06 | 2019-12-06 | 12:26 | 13.5 | 14.166 | 13.95 | 0.216 | 0.225 | Weir obstructed by leaves and branches
2020-02-29 | 2020-02-29 | 11:30 | 10.5 | NA | NA | NA | NA | No data as of 02 Mar 2020
Over-tops weir:
Gage Height (cm): | WVWA Pressure: | VT Pressure:
27.5 | 0.43685 | 0.4665
Below Weir:
Gage Height (cm): | WVWA Pressure | VT Pressure
0 | -0.0004 | 0.0815