## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20241022_001.gcd | 2024-10-22 14:13 | QC outside air | Unknown | 0 | 6.063 | 2488 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20241022_001.gcd | 2024-10-22 14:13 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20241022_001.gcd | 2024-10-22 14:13 | QC outside air | Unknown | 0 | 12.228 | 2439 | 0.499 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.6458 | 533.7393 | 2.4379 | 462.3821 | 1.1717 | 400.2895 | 4.2074 | 570.6828 | 2.6458 | 533.7393 | 48 | FMI20241022_001.gcd | 2024-10-22 14:13 | QC outside air | Unknown | 0 | 2.708 | 4921493 | 0 | ----- | ----- | ----- | -----
49 | FMI20241022_002.gcd | 2024-10-22 14:44 | QC spiked air | Unknown | 0 | 5.996 | 1186230 | 2.991 | ----- | ----- | ----- | ----- | 49 | FMI20241022_002.gcd | 2024-10-22 14:44 | QC spiked air | Unknown | 0 | 5.948 | 9075 | 2.702 | ----- | ----- | ----- | ----- | 49 | FMI20241022_002.gcd | 2024-10-22 14:44 | QC spiked air | Unknown | 0 | 12.206 | 11831 | 2.563 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2690.3666 | 2451.0846 | 2611.2771 | 2255.9532 | 2467.6364 | 2338.1956 | 2429.2134 | 2801.2025 | 2690.3666 | 2451.0846 | 49 | FMI20241022_002.gcd | 2024-10-22 14:44 | QC spiked air | Unknown | 0 | 2.696 | 5127863 | 0 | ----- | ----- | ----- | -----
50 | FMI20241022_003.gcd | 2024-10-22 15:15 | QC reference tank | Unknown | 0 | 6.03 | 3504 | 0.005 | ----- | ----- | ----- | ----- | 50 | FMI20241022_003.gcd | 2024-10-22 15:15 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20241022_003.gcd | 2024-10-22 15:15 | QC reference tank | Unknown | 0 | 12.198 | 1176 | 0.221 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.4859 | 275.0973 | 5.9693 | 220.9707 | 2.9045 | 139.3439 | 2.6536 | 264.5932 | 5.4859 | 275.0973 | 50 | FMI20241022_003.gcd | 2024-10-22 15:15 | QC reference tank | Unknown | 0 | 2.695 | 5194044 | 0 | ----- | ----- | ----- | -----
51 | FMI20241022_004.gcd | 2024-10-22 15:45 | 90 | Unknown | 0 | 5.995 | 725351 | 1.826 | ----- | ----- | ----- | ----- | 51 | FMI20241022_004.gcd | 2024-10-22 15:45 | 90 | Unknown | 0 | 5.951 | 5751 | 1.727 | ----- | ----- | ----- | ----- | 51 | FMI20241022_004.gcd | 2024-10-22 15:45 | 90 | Unknown | 0 | 12.139 | 29611 | 6.437 | ----- | ----- | ----- | ----- | 1 |  | 51 | 1708.1652 | 6051.9217 | 1759.9926 | 5643.5082 | 1647.2311 | 5994.5175 | 1551.4948 | 6803.4504 | 1708.1652 | 6051.9217 | 51 | FMI20241022_004.gcd | 2024-10-22 15:45 | 90 | Unknown | 0 | 2.861 | 694514 | 0 | ----- | ----- | ----- | -----
52 | FMI20241022_005.gcd | 2024-10-22 16:16 | 116 | Unknown | 0 | 6.02 | 3652 | 0.006 | ----- | ----- | ----- | ----- | 52 | FMI20241022_005.gcd | 2024-10-22 16:16 | 116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20241022_005.gcd | 2024-10-22 16:16 | 116 | Unknown | 0 | 12.162 | 11742 | 2.543 | ----- | ----- | ----- | ----- | 1 |  | 52 | 5.9094 | 2432.9651 | 6.4737 | 2238.9706 | 3.1819 | 2319.8528 | 2.5203 | 2780.4434 | 5.9094 | 2432.9651 | 52 | FMI20241022_005.gcd | 2024-10-22 16:16 | 116 | Unknown | 0 | 2.862 | 690378 | 0 | ----- | ----- | ----- | -----
53 | FMI20241022_006.gcd | 2024-10-22 16:46 | 366 | Unknown | 0 | 5.997 | 469338 | 1.18 | ----- | ----- | ----- | ----- | 53 | FMI20241022_006.gcd | 2024-10-22 16:46 | 366 | Unknown | 0 | 5.954 | 4381 | 1.324 | ----- | ----- | ----- | ----- | 53 | FMI20241022_006.gcd | 2024-10-22 16:46 | 366 | Unknown | 0 | 12.15 | 21938 | 4.77 | ----- | ----- | ----- | ----- | 1 |  | 53 | 1161.4256 | 4502.6097 | 1209.6629 | 4182.8621 | 1081.7944 | 4418.6024 | 1060.5185 | 5111.6421 | 1161.4256 | 4502.6097 | 53 | FMI20241022_006.gcd | 2024-10-22 16:46 | 366 | Unknown | 0 | 2.859 | 736380 | 0 | ----- | ----- | ----- | -----
54 | FMI20241022_007.gcd | 2024-10-22 17:17 | 251 | Unknown | 0 | 5.998 | 277872 | 0.697 | ----- | ----- | ----- | ----- | 54 | FMI20241022_007.gcd | 2024-10-22 17:17 | 251 | Unknown | 0 | 5.946 | 2963 | 0.907 | ----- | ----- | ----- | ----- | 54 | FMI20241022_007.gcd | 2024-10-22 17:17 | 251 | Unknown | 0 | 12.153 | 18688 | 4.062 | ----- | ----- | ----- | ----- | 1 |  | 54 | 752.001 | 3844.2554 | 722.4466 | 3563.6089 | 643.7547 | 3750.197 | 691.7355 | 4378.863 | 752.001 | 3844.2554 | 54 | FMI20241022_007.gcd | 2024-10-22 17:17 | 251 | Unknown | 0 | 2.857 | 758319 | 0 | ----- | ----- | ----- | -----
55 | FMI20241022_008.gcd | 2024-10-22 17:47 | 249 | Unknown | 0 | 6.041 | 1869 | 0.001 | ----- | ----- | ----- | ----- | 55 | FMI20241022_008.gcd | 2024-10-22 17:47 | 249 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20241022_008.gcd | 2024-10-22 17:47 | 249 | Unknown | 0 | 12.014 | 154938 | 32.66 | ----- | ----- | ----- | ----- | 1 |  | 55 | 0.97326 | 30836.1504 | 0.22776 | 29229.9536 | 0.26298 | 31309.357 | 5.7005 | 35619.306 | 0.97326 | 30836.1504 | 55 | FMI20241022_008.gcd | 2024-10-22 17:47 | 249 | Unknown | 0 | 2.853 | 844007 | 0 | ----- | ----- | ----- | -----
56 | FMI20241022_009.gcd | 2024-10-22 18:18 | 399 | Unknown | 0 | 6.006 | 12011 | 0.027 | ----- | ----- | ----- | ----- | 56 | FMI20241022_009.gcd | 2024-10-22 18:18 | 399 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20241022_009.gcd | 2024-10-22 18:18 | 399 | Unknown | 0 | 12.163 | 15558 | 3.378 | ----- | ----- | ----- | ----- | 1 |  | 56 | 30.4572 | 3209.0153 | 31.2204 | 2966.8958 | 25.7202 | 3105.9614 | 25.902 | 3664.0324 | 30.4572 | 3209.0153 | 56 | FMI20241022_009.gcd | 2024-10-22 18:18 | 399 | Unknown | 0 | 2.853 | 850882 | 0 | ----- | ----- | ----- | -----
57 | FMI20241022_010.gcd | 2024-10-22 18:48 | 94 | Unknown | 0 | 5.78 | 71495526 | 228.573 | ----- | ----- | ----- | ----- | 57 | FMI20241022_010.gcd | 2024-10-22 18:48 | 94 | Unknown | 0 | 5.754 | 688884 | 174.894 | ----- | ----- | ----- | ----- | 57 | FMI20241022_010.gcd | 2024-10-22 18:48 | 94 | Unknown | 0 | 12.109 | 57852 | 12.507 | ----- | ----- | ----- | ----- | 1 |  | 57 | 175468.8603 | 11303.7427 | 167391.515 | 11003.0246 | 161253.041 | 11768.8967 | 166175.5227 | 12416.0541 | 175468.8603 | 11303.7427 | 57 | FMI20241022_010.gcd | 2024-10-22 18:48 | 94 | Unknown | 0 | 2.866 | 534268 | 0 | ----- | ----- | ----- | -----
58 | FMI20241022_011.gcd | 2024-10-22 19:19 | 311 | Unknown | 0 | 6.024 | 3595 | 0.006 | ----- | ----- | ----- | ----- | 58 | FMI20241022_011.gcd | 2024-10-22 19:19 | 311 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20241022_011.gcd | 2024-10-22 19:19 | 311 | Unknown | 0 | 12.124 | 47078 | 10.203 | ----- | ----- | ----- | ----- | 1 |  | 58 | 5.746 | 9108.2328 | 6.2797 | 8961.4179 | 3.0743 | 9570.7617 | 2.5688 | 9793.5724 | 5.746 | 9108.2328 | 58 | FMI20241022_011.gcd | 2024-10-22 19:19 | 311 | Unknown | 0 | 2.856 | 796039 | 0 | ----- | ----- | ----- | -----
59 | FMI20241022_012.gcd | 2024-10-22 19:49 | 218 | Unknown | 0 | 6 | 344043 | 0.863 | ----- | ----- | ----- | ----- | 59 | FMI20241022_012.gcd | 2024-10-22 19:49 | 218 | Unknown | 0 | 5.951 | 2790 | 0.856 | ----- | ----- | ----- | ----- | 59 | FMI20241022_012.gcd | 2024-10-22 19:49 | 218 | Unknown | 0 | 12.151 | 24200 | 5.262 | ----- | ----- | ----- | ----- | 1 |  | 59 | 893.5503 | 4960.0787 | 891.8318 | 4613.6595 | 795.8098 | 4883.4945 | 819.3418 | 5615.9696 | 893.5503 | 4960.0787 | 59 | FMI20241022_012.gcd | 2024-10-22 19:49 | 218 | Unknown | 0 | 2.859 | 746318 | 0 | ----- | ----- | ----- | -----
60 | FMI20241022_013.gcd | 2024-10-22 20:20 | 395 | Unknown | 0 | 6.043 | 2682 | 0.003 | ----- | ----- | ----- | ----- | 60 | FMI20241022_013.gcd | 2024-10-22 20:20 | 395 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20241022_013.gcd | 2024-10-22 20:20 | 395 | Unknown | 0 | 12.126 | 46676 | 10.117 | ----- | ----- | ----- | ----- | 1 |  | 60 | 3.179 | 9026.2059 | 3.1214 | 8885.1684 | 1.4794 | 9488.6301 | 3.8246 | 9695.5385 | 3.179 | 9026.2059 | 60 | FMI20241022_013.gcd | 2024-10-22 20:20 | 395 | Unknown | 0 | 2.854 | 837360 | 0 | ----- | ----- | ----- | -----
61 | FMI20241022_014.gcd | 2024-10-22 20:51 | 370 | Unknown | 0 | 6.032 | 2454 | 0.003 | ----- | ----- | ----- | ----- | 61 | FMI20241022_014.gcd | 2024-10-22 20:51 | 370 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20241022_014.gcd | 2024-10-22 20:51 | 370 | Unknown | 0 | 12.153 | 23145 | 5.033 | ----- | ----- | ----- | ----- | 1 |  | 61 | 2.5528 | 4746.7907 | 2.3177 | 4412.7557 | 1.1189 | 4666.7007 | 4.2786 | 5381.3313 | 2.5528 | 4746.7907 | 61 | FMI20241022_014.gcd | 2024-10-22 20:51 | 370 | Unknown | 0 | 2.851 | 890409 | 0 | ----- | ----- | ----- | -----
62 | FMI20241022_015.gcd | 2024-10-22 21:21 | 299 | Unknown | 0 | 6.011 | 7070 | 0.014 | ----- | ----- | ----- | ----- | 62 | FMI20241022_015.gcd | 2024-10-22 21:21 | 299 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20241022_015.gcd | 2024-10-22 21:21 | 299 | Unknown | 0 | 12.167 | 14522 | 3.152 | ----- | ----- | ----- | ----- | 1 |  | 62 | 16.3878 | 2998.4989 | 17.417 | 2769.3194 | 11.3605 | 2892.6155 | 6.0233 | 3425.4618 | 16.3878 | 2998.4989 | 62 | FMI20241022_015.gcd | 2024-10-22 21:21 | 299 | Unknown | 0 | 2.856 | 837119 | 0 | ----- | ----- | ----- | -----
63 | FMI20241022_016.gcd | 2024-10-22 21:52 | 338 | Unknown | 0 | 6.001 | 279904 | 0.702 | ----- | ----- | ----- | ----- | 63 | FMI20241022_016.gcd | 2024-10-22 21:52 | 338 | Unknown | 0 | 5.951 | 2625 | 0.808 | ----- | ----- | ----- | ----- | 63 | FMI20241022_016.gcd | 2024-10-22 21:52 | 338 | Unknown | 0 | 12.162 | 18612 | 4.045 | ----- | ----- | ----- | ----- | 1 |  | 63 | 756.3485 | 3828.8449 | 727.6639 | 3549.1238 | 648.4346 | 3734.5601 | 695.6565 | 4361.612 | 756.3485 | 3828.8449 | 63 | FMI20241022_016.gcd | 2024-10-22 21:52 | 338 | Unknown | 0 | 2.858 | 779360 | 0 | ----- | ----- | ----- | -----
64 | FMI20241022_017.gcd | 2024-10-22 22:22 | 62 | Unknown | 0 | 5.77 | 71282686 | 227.642 | ----- | ----- | ----- | ----- | 64 | FMI20241022_017.gcd | 2024-10-22 22:22 | 62 | Unknown | 0 | 5.746 | 734234 | 184.935 | ----- | ----- | ----- | ----- | 64 | FMI20241022_017.gcd | 2024-10-22 22:22 | 62 | Unknown | 0 | 12.111 | 52112 | 11.282 | ----- | ----- | ----- | ----- | 1 |  | 64 | 186034.6548 | 10134.7483 | 177723.9693 | 9915.7998 | 171208.2718 | 10598.5467 | 176517.0297 | 11020.0719 | 186034.6548 | 10134.7483 | 64 | FMI20241022_017.gcd | 2024-10-22 22:22 | 62 | Unknown | 0 | 2.864 | 564367 | 0 | ----- | ----- | ----- | -----
65 | FMI20241022_018.gcd | 2024-10-22 22:53 | 274 | Unknown | 0 | 6.012 | 5537 | 0.011 | ----- | ----- | ----- | ----- | 65 | FMI20241022_018.gcd | 2024-10-22 22:53 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20241022_018.gcd | 2024-10-22 22:53 | 274 | Unknown | 0 | 12.021 | 151504 | 31.965 | ----- | ----- | ----- | ----- | 1 |  | 65 | 11.5231 | 30153.0035 | 12.6763 | 28590.4835 | 7.2725 | 30626.4044 | 2.8917 | 34811.7442 | 11.5231 | 30153.0035 | 65 | FMI20241022_018.gcd | 2024-10-22 22:53 | 274 | Unknown | 0 | 2.848 | 951718 | 0 | ----- | ----- | ----- | -----
66 | FMI20241022_019.gcd | 2024-10-22 23:23 | 49 | Unknown | 0 | 6.003 | 34321 | 0.083 | ----- | ----- | ----- | ----- | 66 | FMI20241022_019.gcd | 2024-10-22 23:23 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20241022_019.gcd | 2024-10-22 23:23 | 49 | Unknown | 0 | 12.162 | 10412 | 2.252 | ----- | ----- | ----- | ----- | 1 |  | 66 | 94.8354 | 2162.0771 | 89.8823 | 1985.1537 | 78.0208 | 2045.6938 | 92.1612 | 2469.3623 | 94.8354 | 2162.0771 | 66 | FMI20241022_019.gcd | 2024-10-22 23:23 | 49 | Unknown | 0 | 2.852 | 889184 | 0 | ----- | ----- | ----- | -----
67 | FMI20241022_020.gcd | 2024-10-22 23:54 | 220 | Unknown | 0 | 6.037 | 2484 | 0.003 | ----- | ----- | ----- | ----- | 67 | FMI20241022_020.gcd | 2024-10-22 23:54 | 220 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20241022_020.gcd | 2024-10-22 23:54 | 220 | Unknown | 0 | 11.987 | 197422 | 41.16 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.6348 | 39240.8786 | 2.4238 | 37109.4876 | 1.1654 | 39708.774 | 4.2157 | 45530.3337 | 2.6348 | 39240.8786 | 67 | FMI20241022_020.gcd | 2024-10-22 23:54 | 220 | Unknown | 0 | 2.845 | 1028294 | 0 | ----- | ----- | ----- | -----
68 | FMI20241022_021.gcd | 2024-10-23 00:24 | 180 | Unknown | 0 | 6.025 | 3013 | 0.004 | ----- | ----- | ----- | ----- | 68 | FMI20241022_021.gcd | 2024-10-23 00:24 | 180 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20241022_021.gcd | 2024-10-23 00:24 | 180 | Unknown | 0 | 12.152 | 23123 | 5.028 | ----- | ----- | ----- | ----- | 1 |  | 68 | 4.0986 | 4742.3415 | 4.2776 | 4408.5658 | 2.0296 | 4662.1792 | 3.2653 | 5376.4276 | 4.0986 | 4742.3415 | 68 | FMI20241022_021.gcd | 2024-10-23 00:24 | 180 | Unknown | 0 | 2.845 | 1002010 | 0 | ----- | ----- | ----- | -----
69 | FMI20241022_022.gcd | 2024-10-23 10:44 | 216 | Unknown | 0 | 6.047 | 2947 | 0.004 | ----- | ----- | ----- | ----- | 69 | FMI20241022_022.gcd | 2024-10-23 10:44 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20241022_022.gcd | 2024-10-23 10:44 | 216 | Unknown | 0 | 12.186 | 27598 | 6 | ----- | ----- | ----- | ----- | 1 |  | 69 | 3.9142 | 5646.1434 | 4.0481 | 5260.4952 | 1.9174 | 5581.3693 | 3.3673 | 6364.8036 | 3.9142 | 5646.1434 | 69 | FMI20241022_022.gcd | 2024-10-23 10:44 | 216 | Unknown | 0 | 2.848 | 1069886 | 0 | ----- | ----- | ----- | -----
70 | FMI20241022_023.gcd | 2024-10-23 11:14 | 361 | Unknown | 0 | 6.003 | 364255 | 0.914 | ----- | ----- | ----- | ----- | 70 | FMI20241022_023.gcd | 2024-10-23 11:14 | 361 | Unknown | 0 | 5.967 | 3369 | 1.027 | ----- | ----- | ----- | ----- | 70 | FMI20241022_023.gcd | 2024-10-23 11:14 | 361 | Unknown | 0 | 12.148 | 29602 | 6.435 | ----- | ----- | ----- | ----- | 1 |  | 70 | 936.7758 | 6050.1086 | 943.3596 | 5641.7961 | 842.1146 | 5992.6708 | 858.2868 | 6801.4974 | 936.7758 | 6050.1086 | 70 | FMI20241022_023.gcd | 2024-10-23 11:14 | 361 | Unknown | 0 | 2.859 | 825191 | 0 | ----- | ----- | ----- | -----
71 | FMI20241022_024.gcd | 2024-10-23 11:45 | 324 | Unknown | 0 | 6.009 | 34159 | 0.083 | ----- | ----- | ----- | ----- | 71 | FMI20241022_024.gcd | 2024-10-23 11:45 | 324 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20241022_024.gcd | 2024-10-23 11:45 | 324 | Unknown | 0 | 12.179 | 8250 | 1.777 | ----- | ----- | ----- | ----- | 1 |  | 71 | 94.369 | 1721.2799 | 89.4568 | 1572.4353 | 77.6414 | 1599.838 | 91.6857 | 1960.2367 | 94.369 | 1721.2799 | 71 | FMI20241022_024.gcd | 2024-10-23 11:45 | 324 | Unknown | 0 | 2.857 | 905203 | 0 | ----- | ----- | ----- | -----
72 | FMI20241022_025.gcd | 2024-10-23 12:15 | 8 | Unknown | 0 | 6.046 | 1580 | 0.001 | ----- | ----- | ----- | ----- | 72 | FMI20241022_025.gcd | 2024-10-23 12:15 | 8 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20241022_025.gcd | 2024-10-23 12:15 | 8 | Unknown | 0 | 11.984 | 192244 | 40.133 | ----- | ----- | ----- | ----- | 1 |  | 72 | 0.20738 | 38221.1423 | -0.81933 | 36152.2617 | -0.12313 | 38689.9729 | 6.5394 | 44330.2666 | 0.20738 | 38221.1423 | 72 | FMI20241022_025.gcd | 2024-10-23 12:15 | 8 | Unknown | 0 | 2.841 | 1074641 | 0 | ----- | ----- | ----- | -----
73 | FMI20241022_026.gcd | 2024-10-23 12:46 | 367 | Unknown | 0 | 6.021 | 4273 | 0.007 | ----- | ----- | ----- | ----- | 73 | FMI20241022_026.gcd | 2024-10-23 12:46 | 367 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20241022_026.gcd | 2024-10-23 12:46 | 367 | Unknown | 0 | 12.162 | 11860 | 2.569 | ----- | ----- | ----- | ----- | 1 |  | 73 | 7.714 | 2456.9886 | 8.5626 | 2261.4869 | 4.4155 | 2344.1724 | 2.2188 | 2807.9652 | 7.714 | 2456.9886 | 73 | FMI20241022_026.gcd | 2024-10-23 12:46 | 367 | Unknown | 0 | 2.85 | 949829 | 0 | ----- | ----- | ----- | -----
74 | FMI20241022_027.gcd | 2024-10-23 13:16 | 143 | Unknown | 0 | 6.043 | 2756 | 0.003 | ----- | ----- | ----- | ----- | 74 | FMI20241022_027.gcd | 2024-10-23 13:16 | 143 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20241022_027.gcd | 2024-10-23 13:16 | 143 | Unknown | 0 | 12.149 | 24856 | 5.405 | ----- | ----- | ----- | ----- | 1 |  | 74 | 3.3835 | 5092.6343 | 3.381 | 4738.5634 | 1.5996 | 5018.2684 | 3.6892 | 5761.356 | 3.3835 | 5092.6343 | 74 | FMI20241022_027.gcd | 2024-10-23 13:16 | 143 | Unknown | 0 | 2.845 | 1024804 | 0 | ----- | ----- | ----- | -----