## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20241105_001.gcd | 2024-11-05 12:59 | QC outside air | Unknown | 0 | 6.046 | 2374 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20241105_001.gcd | 2024-11-05 12:59 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20241105_001.gcd | 2024-11-05 12:59 | QC outside air | Unknown | 0 | 12.225 | 1884 | 0.377 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.3345 | 420.1077 | 2.0342 | 356.3051 | 0.99595 | 285.6322 | 4.4513 | 436.3571 | 2.3345 | 420.1077 | 48 | FMI20241105_001.gcd | 2024-11-05 12:59 | QC outside air | Unknown | 0 | 2.696 | 5015036 | 0 | ----- | ----- | ----- | -----
49 | FMI20241105_002.gcd | 2024-11-05 13:30 | QC spiked air | Unknown | 0 | 5.988 | 1142147 | 2.88 | ----- | ----- | ----- | ----- | 49 | FMI20241105_002.gcd | 2024-11-05 13:30 | QC spiked air | Unknown | 0 | 5.939 | 7428 | 2.219 | ----- | ----- | ----- | ----- | 49 | FMI20241105_002.gcd | 2024-11-05 13:30 | QC spiked air | Unknown | 0 | 12.187 | 10059 | 2.174 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2596.5331 | 2090.1442 | 2189.5318 | 1917.7776 | 2061.1895 | 1972.9131 | 2345.6015 | 2386.5262 | 2596.5331 | 2090.1442 | 49 | FMI20241105_002.gcd | 2024-11-05 13:30 | QC spiked air | Unknown | 0 | 2.694 | 5085034 | 0 | ----- | ----- | ----- | -----
50 | FMI20241105_003.gcd | 2024-11-05 14:00 | QC reference tank | Unknown | 0 | 6.022 | 4172 | 0.007 | ----- | ----- | ----- | ----- | 50 | FMI20241105_003.gcd | 2024-11-05 14:00 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20241105_003.gcd | 2024-11-05 14:00 | QC reference tank | Unknown | 0 | 12.207 | 1874 | 0.375 | ----- | ----- | ----- | ----- | 1 |  | 50 | 7.4175 | 418.06 | 8.2259 | 354.3937 | 4.2072 | 283.5662 | 2.2394 | 433.9342 | 7.4175 | 418.06 | 50 | FMI20241105_003.gcd | 2024-11-05 14:00 | QC reference tank | Unknown | 0 | 2.694 | 5102210 | 0 | ----- | ----- | ----- | -----
51 | FMI20241105_004.gcd | 2024-11-05 14:31 | 391 | Unknown | 0 | 6.028 | 2917 | 0.004 | ----- | ----- | ----- | ----- | 51 | FMI20241105_004.gcd | 2024-11-05 14:31 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20241105_004.gcd | 2024-11-05 14:31 | 391 | Unknown | 0 | 12.106 | 54409 | 11.773 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.8306 | 10602.7397 | 3.9436 | 10351.0077 | 1.8667 | 11067.0924 | 3.4153 | 11579.0314 | 3.8306 | 10602.7397 | 51 | FMI20241105_004.gcd | 2024-11-05 14:31 | 391 | Unknown | 0 | 2.863 | 706247 | 0 | ----- | ----- | ----- | -----
52 | FMI20241105_005.gcd | 2024-11-05 15:01 | 243 | Unknown | 0 | 5.993 | 25816 | 0.062 | ----- | ----- | ----- | ----- | 52 | FMI20241105_005.gcd | 2024-11-05 15:01 | 243 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20241105_005.gcd | 2024-11-05 15:01 | 243 | Unknown | 0 | 12.153 | 10071 | 2.177 | ----- | ----- | ----- | ----- | 1 |  | 52 | 70.3271 | 2092.5898 | 67.5335 | 1920.068 | 58.0923 | 1975.3873 | 67.0871 | 2389.344 | 70.3271 | 2092.5898 | 52 | FMI20241105_005.gcd | 2024-11-05 15:01 | 243 | Unknown | 0 | 2.856 | 717189 | 0 | ----- | ----- | ----- | -----
53 | FMI20241105_006.gcd | 2024-11-05 15:32 | 208 | Unknown | 0 | 5.992 | 30551 | 0.073 | ----- | ----- | ----- | ----- | 53 | FMI20241105_006.gcd | 2024-11-05 15:32 | 208 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20241105_006.gcd | 2024-11-05 15:32 | 208 | Unknown | 0 | 12.145 | 10513 | 2.274 | ----- | ----- | ----- | ----- | 1 |  | 53 | 83.9768 | 2182.6557 | 79.9779 | 2004.4305 | 69.1886 | 2066.5165 | 81.0748 | 2493.0424 | 83.9768 | 2182.6557 | 53 | FMI20241105_006.gcd | 2024-11-05 15:32 | 208 | Unknown | 0 | 2.851 | 802177 | 0 | ----- | ----- | ----- | -----
54 | FMI20241105_007.gcd | 2024-11-05 16:02 | 381 | Unknown | 0 | 6.002 | 8338 | 0.018 | ----- | ----- | ----- | ----- | 54 | FMI20241105_007.gcd | 2024-11-05 16:02 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20241105_007.gcd | 2024-11-05 16:02 | 381 | Unknown | 0 | 12.142 | 13468 | 2.921 | ----- | ----- | ----- | ----- | 1 |  | 54 | 20.6146 | 2784.1931 | 21.1324 | 2568.2742 | 15.258 | 2675.5066 | 10.5314 | 3181.7414 | 20.6146 | 2784.1931 | 54 | FMI20241105_007.gcd | 2024-11-05 16:02 | 381 | Unknown | 0 | 2.847 | 859262 | 0 | ----- | ----- | ----- | -----
55 | FMI20241105_008.gcd | 2024-11-05 16:33 | 41 | Unknown | 0 | 6.009 | 5306 | 0.01 | ----- | ----- | ----- | ----- | 55 | FMI20241105_008.gcd | 2024-11-05 16:33 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20241105_008.gcd | 2024-11-05 16:33 | 41 | Unknown | 0 | 12.142 | 12448 | 2.698 | ----- | ----- | ----- | ----- | 1 |  | 55 | 10.8133 | 2576.6738 | 11.9383 | 2373.6801 | 6.7157 | 2465.3472 | 2.6399 | 2944.9181 | 10.8133 | 2576.6738 | 55 | FMI20241105_008.gcd | 2024-11-05 16:33 | 41 | Unknown | 0 | 2.853 | 761017 | 0 | ----- | ----- | ----- | -----
56 | FMI20241105_009.gcd | 2024-11-05 17:03 | 169 | Unknown | 0 | 5.999 | 9559 | 0.021 | ----- | ----- | ----- | ----- | 56 | FMI20241105_009.gcd | 2024-11-05 17:03 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20241105_009.gcd | 2024-11-05 17:03 | 169 | Unknown | 0 | 12.143 | 13905 | 3.017 | ----- | ----- | ----- | ----- | 1 |  | 56 | 24.8584 | 2873.0627 | 24.5339 | 2651.6341 | 19.4525 | 2765.5292 | 16.5136 | 3282.9135 | 24.8584 | 2873.0627 | 56 | FMI20241105_009.gcd | 2024-11-05 17:03 | 169 | Unknown | 0 | 2.846 | 887707 | 0 | ----- | ----- | ----- | -----
57 | FMI20241105_010.gcd | 2024-11-05 17:34 | 347 | Unknown | 0 | 6.005 | 9011 | 0.019 | ----- | ----- | ----- | ----- | 57 | FMI20241105_010.gcd | 2024-11-05 17:34 | 347 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20241105_010.gcd | 2024-11-05 17:34 | 347 | Unknown | 0 | 12.152 | 13566 | 2.942 | ----- | ----- | ----- | ----- | 1 |  | 57 | 22.9326 | 2804.1246 | 23.0286 | 2586.9688 | 17.5164 | 2695.6956 | 13.6296 | 3204.445 | 22.9326 | 2804.1246 | 57 | FMI20241105_010.gcd | 2024-11-05 17:34 | 347 | Unknown | 0 | 2.853 | 842296 | 0 | ----- | ----- | ----- | -----
58 | FMI20241105_011.gcd | 2024-11-05 18:04 | 123 | Unknown | 0 | 6.025 | 2507 | 0.003 | ----- | ----- | ----- | ----- | 58 | FMI20241105_011.gcd | 2024-11-05 18:04 | 123 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20241105_011.gcd | 2024-11-05 18:04 | 123 | Unknown | 0 | 12.086 | 62072 | 13.406 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.6978 | 12162.1676 | 2.505 | 11801.6597 | 1.2013 | 12628.2555 | 4.1681 | 13440.6494 | 2.6978 | 12162.1676 | 58 | FMI20241105_011.gcd | 2024-11-05 18:04 | 123 | Unknown | 0 | 2.846 | 881322 | 0 | ----- | ----- | ----- | -----
59 | FMI20241105_012.gcd | 2024-11-05 18:35 | 325 | Unknown | 0 | 5.767 | 80715777 | 271.991 | ----- | ----- | ----- | ----- | 59 | FMI20241105_012.gcd | 2024-11-05 18:35 | 325 | Unknown | 0 | 5.74 | 704901 | 178.456 | ----- | ----- | ----- | ----- | 59 | FMI20241105_012.gcd | 2024-11-05 18:35 | 325 | Unknown | 0 | 12.082 | 60073 | 12.98 | ----- | ----- | ----- | ----- | 1 |  | 59 | 179215.1191 | 11755.6413 | 171050.226 | 11423.4211 | 164778.1977 | 12221.2934 | 169837.3981 | 12955.4836 | 179215.1191 | 11755.6413 | 59 | FMI20241105_012.gcd | 2024-11-05 18:35 | 325 | Unknown | 0 | 2.864 | 545443 | 0 | ----- | ----- | ----- | -----
60 | FMI20241105_013.gcd | 2024-11-05 19:06 | 319 | Unknown | 0 | 5.999 | 8222 | 0.017 | ----- | ----- | ----- | ----- | 60 | FMI20241105_013.gcd | 2024-11-05 19:06 | 319 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20241105_013.gcd | 2024-11-05 19:06 | 319 | Unknown | 0 | 12.139 | 13178 | 2.857 | ----- | ----- | ----- | ----- | 1 |  | 60 | 20.2203 | 2725.2052 | 20.8002 | 2512.9519 | 14.882 | 2615.7608 | 10.0469 | 3114.5058 | 20.2203 | 2725.2052 | 60 | FMI20241105_013.gcd | 2024-11-05 19:06 | 319 | Unknown | 0 | 2.834 | 1094950 | 0 | ----- | ----- | ----- | -----
61 | FMI20241105_014.gcd | 2024-11-05 19:36 | 282 | Unknown | 0 | 6.007 | 6271 | 0.012 | ----- | ----- | ----- | ----- | 61 | FMI20241105_014.gcd | 2024-11-05 19:36 | 282 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20241105_014.gcd | 2024-11-05 19:36 | 282 | Unknown | 0 | 12.133 | 19490 | 4.237 | ----- | ----- | ----- | ----- | 1 |  | 61 | 13.8188 | 4006.8344 | 14.9801 | 3716.4535 | 9.1446 | 3915.189 | 4.0744 | 4560.5858 | 13.8188 | 4006.8344 | 61 | FMI20241105_014.gcd | 2024-11-05 19:36 | 282 | Unknown | 0 | 2.847 | 848280 | 0 | ----- | ----- | ----- | -----
62 | FMI20241105_015.gcd | 2024-11-05 20:07 | 66 | Unknown | 0 | 5.986 | 483174 | 1.214 | ----- | ----- | ----- | ----- | 62 | FMI20241105_015.gcd | 2024-11-05 20:07 | 66 | Unknown | 0 | 5.934 | 3743 | 1.137 | ----- | ----- | ----- | ----- | 62 | FMI20241105_015.gcd | 2024-11-05 20:07 | 66 | Unknown | 0 | 12.102 | 43956 | 9.533 | ----- | ----- | ----- | ----- | 1 |  | 62 | 1190.9944 | 8929.5386 | 1244.5274 | 8369.1128 | 1113.2199 | 8932.6972 | 1087.1153 | 9822.2995 | 1190.9944 | 8929.5386 | 62 | FMI20241105_015.gcd | 2024-11-05 20:07 | 66 | Unknown | 0 | 2.846 | 876830 | 0 | ----- | ----- | ----- | -----
63 | FMI20241105_016.gcd | 2024-11-05 20:37 | 68 | Unknown | 0 | 6.018 | 3775 | 0.006 | ----- | ----- | ----- | ----- | 63 | FMI20241105_016.gcd | 2024-11-05 20:37 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20241105_016.gcd | 2024-11-05 20:37 | 68 | Unknown | 0 | 12.081 | 61260 | 13.233 | ----- | ----- | ----- | ----- | 1 |  | 63 | 6.2634 | 11997.0585 | 6.891 | 11648.0337 | 3.4174 | 12462.9709 | 2.4275 | 13243.613 | 6.2634 | 11997.0585 | 63 | FMI20241105_016.gcd | 2024-11-05 20:37 | 68 | Unknown | 0 | 2.847 | 845933 | 0 | ----- | ----- | ----- | -----
64 | FMI20241105_017.gcd | 2024-11-05 21:08 | 408 | Unknown | 0 | 5.74 | 81644462 | 276.764 | ----- | ----- | ----- | ----- | 64 | FMI20241105_017.gcd | 2024-11-05 21:08 | 408 | Unknown | 0 | 5.721 | 771994 | 193.191 | ----- | ----- | ----- | ----- | 64 | FMI20241105_017.gcd | 2024-11-05 21:08 | 408 | Unknown | 0 | 12.085 | 54824 | 11.861 | ----- | ----- | ----- | ----- | 1 |  | 64 | 194734.8206 | 10687.2649 | 186264.1486 | 10429.6186 | 179436.527 | 11151.7161 | 185064.9663 | 11679.9729 | 194734.8206 | 10687.2649 | 64 | FMI20241105_017.gcd | 2024-11-05 21:08 | 408 | Unknown | 0 | 2.858 | 542566 | 0 | ----- | ----- | ----- | -----
65 | FMI20241105_018.gcd | 2024-11-05 21:38 | 377 | Unknown | 0 | 6 | 14162 | 0.032 | ----- | ----- | ----- | ----- | 65 | FMI20241105_018.gcd | 2024-11-05 21:38 | 377 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20241105_018.gcd | 2024-11-05 21:38 | 377 | Unknown | 0 | 12.144 | 14463 | 3.139 | ----- | ----- | ----- | ----- | 1 |  | 65 | 36.6767 | 2986.5061 | 36.8815 | 2758.0664 | 30.7662 | 2880.4639 | 32.3587 | 3411.8457 | 36.6767 | 2986.5061 | 65 | FMI20241105_018.gcd | 2024-11-05 21:38 | 377 | Unknown | 0 | 2.857 | 784040 | 0 | ----- | ----- | ----- | -----
66 | FMI20241105_019.gcd | 2024-11-05 22:09 | 348 | Unknown | 0 | 5.995 | 12852 | 0.029 | ----- | ----- | ----- | ----- | 66 | FMI20241105_019.gcd | 2024-11-05 22:09 | 348 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20241105_019.gcd | 2024-11-05 22:09 | 348 | Unknown | 0 | 12.137 | 16627 | 3.612 | ----- | ----- | ----- | ----- | 1 |  | 66 | 32.8892 | 3426.1029 | 33.434 | 3170.7292 | 27.6932 | 3326.0457 | 28.4282 | 3909.1759 | 32.8892 | 3426.1029 | 66 | FMI20241105_019.gcd | 2024-11-05 22:09 | 348 | Unknown | 0 | 2.85 | 787917 | 0 | ----- | ----- | ----- | -----
67 | FMI20241105_020.gcd | 2024-11-05 22:39 | 343 | Unknown | 0 | 6.002 | 7212 | 0.015 | ----- | ----- | ----- | ----- | 67 | FMI20241105_020.gcd | 2024-11-05 22:39 | 343 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20241105_020.gcd | 2024-11-05 22:39 | 343 | Unknown | 0 | 12.137 | 12568 | 2.724 | ----- | ----- | ----- | ----- | 1 |  | 67 | 16.8521 | 2601.0943 | 17.8423 | 2396.5753 | 11.7738 | 2490.0746 | 6.4418 | 2972.8289 | 16.8521 | 2601.0943 | 67 | FMI20241105_020.gcd | 2024-11-05 22:39 | 343 | Unknown | 0 | 2.844 | 904605 | 0 | ----- | ----- | ----- | -----
68 | FMI20241105_021.gcd | 2024-11-05 23:10 | 152 | Unknown | 0 | 5.998 | 11382 | 0.025 | ----- | ----- | ----- | ----- | 68 | FMI20241105_021.gcd | 2024-11-05 23:10 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20241105_021.gcd | 2024-11-05 23:10 | 152 | Unknown | 0 | 12.139 | 15450 | 3.354 | ----- | ----- | ----- | ----- | 1 |  | 68 | 28.638 | 3187.0756 | 29.5648 | 2946.3007 | 24.2445 | 3083.7233 | 24.0111 | 3639.2078 | 28.638 | 3187.0756 | 68 | FMI20241105_021.gcd | 2024-11-05 23:10 | 152 | Unknown | 0 | 2.848 | 809619 | 0 | ----- | ----- | ----- | -----
69 | FMI20241105_022.gcd | 2024-11-05 23:40 | 292 | Unknown | 0 | 6.007 | 6143 | 0.012 | ----- | ----- | ----- | ----- | 69 | FMI20241105_022.gcd | 2024-11-05 23:40 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20241105_022.gcd | 2024-11-05 23:40 | 292 | Unknown | 0 | 12.136 | 13509 | 2.93 | ----- | ----- | ----- | ----- | 1 |  | 69 | 13.414 | 2792.5319 | 14.5829 | 2576.0955 | 8.8069 | 2683.9531 | 3.8263 | 3191.2409 | 13.414 | 2792.5319 | 69 | FMI20241105_022.gcd | 2024-11-05 23:40 | 292 | Unknown | 0 | 2.845 | 889082 | 0 | ----- | ----- | ----- | -----
70 | FMI20241105_023.gcd | 2024-11-06 00:11 | 167 | Unknown | 0 | 6.027 | 3512 | 0.005 | ----- | ----- | ----- | ----- | 70 | FMI20241105_023.gcd | 2024-11-06 00:11 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20241105_023.gcd | 2024-11-06 00:11 | 167 | Unknown | 0 | 12.078 | 60285 | 13.026 | ----- | ----- | ----- | ----- | 1 |  | 70 | 5.5087 | 11798.7637 | 5.9966 | 11463.5406 | 2.9193 | 12264.4626 | 2.6458 | 13006.9524 | 5.5087 | 11798.7637 | 70 | FMI20241105_023.gcd | 2024-11-06 00:11 | 167 | Unknown | 0 | 2.843 | 909728 | 0 | ----- | ----- | ----- | -----
71 | FMI20241105_024.gcd | 2024-11-06 00:42 | 335 | Unknown | 0 | 6.009 | 5743 | 0.011 | ----- | ----- | ----- | ----- | 71 | FMI20241105_024.gcd | 2024-11-06 00:42 | 335 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20241105_024.gcd | 2024-11-06 00:42 | 335 | Unknown | 0 | 12.132 | 17397 | 3.78 | ----- | ----- | ----- | ----- | 1 |  | 71 | 12.1612 | 3582.3862 | 13.3292 | 3317.5272 | 7.7821 | 3484.5361 | 3.1649 | 4085.1068 | 12.1612 | 3582.3862 | 71 | FMI20241105_024.gcd | 2024-11-06 00:42 | 335 | Unknown | 0 | 2.845 | 880680 | 0 | ----- | ----- | ----- | -----
72 | FMI20241105_025.gcd | 2024-11-06 01:12 | 71 | Unknown | 0 | 6.017 | 3746 | 0.006 | ----- | ----- | ----- | ----- | 72 | FMI20241105_025.gcd | 2024-11-06 01:12 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20241105_025.gcd | 2024-11-06 01:12 | 71 | Unknown | 0 | 12.1 | 44169 | 9.578 | ----- | ----- | ----- | ----- | 1 |  | 72 | 6.1798 | 8972.0811 | 6.7928 | 8409.5332 | 3.3615 | 8976.2453 | 2.4479 | 9865.7103 | 6.1798 | 8972.0811 | 72 | FMI20241105_025.gcd | 2024-11-06 01:12 | 71 | Unknown | 0 | 2.842 | 923082 | 0 | ----- | ----- | ----- | -----
73 | FMI20241105_026.gcd | 2024-11-06 01:43 | 134 | Unknown | 0 | 6.023 | 2960 | 0.004 | ----- | ----- | ----- | ----- | 73 | FMI20241105_026.gcd | 2024-11-06 01:43 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20241105_026.gcd | 2024-11-06 01:43 | 134 | Unknown | 0 | 12.083 | 62275 | 13.449 | ----- | ----- | ----- | ----- | 1 |  | 73 | 3.9505 | 12203.4399 | 4.0933 | 11840.0629 | 1.9394 | 12669.5715 | 3.3469 | 13489.9001 | 3.9505 | 12203.4399 | 73 | FMI20241105_026.gcd | 2024-11-06 01:43 | 134 | Unknown | 0 | 2.842 | 932694 | 0 | ----- | ----- | ----- | -----
74 | FMI20241105_027.gcd | 2024-11-06 02:13 | 359 | Unknown | 0 | 6.019 | 3141 | 0.004 | ----- | ----- | ----- | ----- | 74 | FMI20241105_027.gcd | 2024-11-06 02:13 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20241105_027.gcd | 2024-11-06 02:13 | 359 | Unknown | 0 | 12.089 | 54813 | 11.859 | ----- | ----- | ----- | ----- | 1 |  | 74 | 4.4576 | 10685.0246 | 4.7213 | 10427.535 | 2.2509 | 11149.4732 | 3.0807 | 11677.2975 | 4.4576 | 10685.0246 | 74 | FMI20241105_027.gcd | 2024-11-06 02:13 | 359 | Unknown | 0 | 2.839 | 986459 | 0 | ----- | ----- | ----- | -----