## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20241120_001.gcd | 2024-11-20 13:13 | QC outside air | Unknown | 0 | 6.064 | 3005 | 0.004 | ----- | ----- | ----- | ----- | 48 | FMI20241120_001.gcd | 2024-11-20 13:13 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20241120_001.gcd | 2024-11-20 13:13 | QC outside air | Unknown | 0 | 12.215 | 2046 | 0.413 | ----- | ----- | ----- | ----- | 1 |  | 48 | 4.0762 | 453.2797 | 4.2498 | 387.2691 | 2.0159 | 319.1014 | 3.2774 | 475.5947 | 4.0762 | 453.2797 | 48 | FMI20241120_001.gcd | 2024-11-20 13:13 | QC outside air | Unknown | 0 | 2.707 | 4817763 | 0 | ----- | ----- | ----- | -----
49 | FMI20241120_002.gcd | 2024-11-20 13:44 | QC spiked air | Unknown | 0 | 5.995 | 996323 | 2.511 | ----- | ----- | ----- | ----- | 49 | FMI20241120_002.gcd | 2024-11-20 13:44 | QC spiked air | Unknown | 0 | 5.949 | 6396 | 1.916 | ----- | ----- | ----- | ----- | 49 | FMI20241120_002.gcd | 2024-11-20 13:44 | QC spiked air | Unknown | 0 | 12.202 | 9748 | 2.106 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2285.9657 | 2026.7576 | 1925.2134 | 1858.4145 | 1806.4588 | 1908.7866 | 2068.5032 | 2313.4518 | 2285.9657 | 2026.7576 | 49 | FMI20241120_002.gcd | 2024-11-20 13:44 | QC spiked air | Unknown | 0 | 2.701 | 4927319 | 0 | ----- | ----- | ----- | -----
50 | FMI20241120_003.gcd | 2024-11-20 14:15 | QC reference tank | Unknown | 0 | 6.026 | 3987 | 0.007 | ----- | ----- | ----- | ----- | 50 | FMI20241120_003.gcd | 2024-11-20 14:15 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20241120_003.gcd | 2024-11-20 14:15 | QC reference tank | Unknown | 0 | 12.212 | 1015 | 0.185 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.8774 | 242.1134 | 7.6061 | 190.1932 | 3.8335 | 106.0742 | 2.3059 | 225.4701 | 6.8774 | 242.1134 | 50 | FMI20241120_003.gcd | 2024-11-20 14:15 | QC reference tank | Unknown | 0 | 2.703 | 4803545 | 0 | ----- | ----- | ----- | -----
51 | FMI20241120_004.gcd | 2024-11-20 14:45 | 321 | Unknown | 0 | 6.056 | 2383 | 0.003 | ----- | ----- | ----- | ----- | 51 | FMI20241120_004.gcd | 2024-11-20 14:45 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20241120_004.gcd | 2024-11-20 14:45 | 321 | Unknown | 0 | 12.151 | 20592 | 4.477 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.359 | 4230.103 | 2.0661 | 3926.4377 | 1.0097 | 4141.8451 | 4.4315 | 4809.3277 | 2.359 | 4230.103 | 51 | FMI20241120_004.gcd | 2024-11-20 14:45 | 321 | Unknown | 0 | 2.861 | 753834 | 0 | ----- | ----- | ----- | -----
52 | FMI20241120_005.gcd | 2024-11-20 15:16 | 372 | Unknown | 0 | 6.046 | 2015 | 0.002 | ----- | ----- | ----- | ----- | 52 | FMI20241120_005.gcd | 2024-11-20 15:16 | 372 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20241120_005.gcd | 2024-11-20 15:16 | 372 | Unknown | 0 | 12.144 | 23691 | 5.151 | ----- | ----- | ----- | ----- | 1 |  | 52 | 1.3638 | 4857.1914 | 0.75305 | 4516.7351 | 0.46727 | 4778.9063 | 5.311 | 5502.8917 | 1.3638 | 4857.1914 | 52 | FMI20241120_005.gcd | 2024-11-20 15:16 | 372 | Unknown | 0 | 2.862 | 650954 | 0 | ----- | ----- | ----- | -----
53 | FMI20241120_006.gcd | 2024-11-20 15:46 | 371 | Unknown | 0 | 6.017 | 6029 | 0.012 | ----- | ----- | ----- | ----- | 53 | FMI20241120_006.gcd | 2024-11-20 15:46 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20241120_006.gcd | 2024-11-20 15:46 | 371 | Unknown | 0 | 12.142 | 25818 | 5.614 | ----- | ----- | ----- | ----- | 1 |  | 53 | 13.0551 | 5286.9292 | 14.2275 | 4921.7052 | 8.5101 | 5215.8698 | 3.6202 | 5973.8498 | 13.0551 | 5286.9292 | 53 | FMI20241120_006.gcd | 2024-11-20 15:46 | 371 | Unknown | 0 | 2.859 | 712678 | 0 | ----- | ----- | ----- | -----
54 | FMI20241120_007.gcd | 2024-11-20 16:17 | 354 | Unknown | 0 | 6.062 | 2169 | 0.002 | ----- | ----- | ----- | ----- | 54 | FMI20241120_007.gcd | 2024-11-20 16:17 | 354 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20241120_007.gcd | 2024-11-20 16:17 | 354 | Unknown | 0 | 12.157 | 21523 | 4.679 | ----- | ----- | ----- | ----- | 1 |  | 54 | 1.7784 | 4418.6133 | 1.3045 | 4103.8073 | 0.68947 | 4333.2822 | 4.9252 | 5018.6085 | 1.7784 | 4418.6133 | 54 | FMI20241120_007.gcd | 2024-11-20 16:17 | 354 | Unknown | 0 | 2.868 | 646884 | 0 | ----- | ----- | ----- | -----
55 | FMI20241120_008.gcd | 2024-11-20 16:47 | 266 | Unknown | 0 | 6.043 | 2454 | 0.003 | ----- | ----- | ----- | ----- | 55 | FMI20241120_008.gcd | 2024-11-20 16:47 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20241120_008.gcd | 2024-11-20 16:47 | 266 | Unknown | 0 | 12.14 | 26647 | 5.794 | ----- | ----- | ----- | ----- | 1 |  | 55 | 2.5528 | 5454.2733 | 2.3177 | 5079.5028 | 1.1189 | 5386.1141 | 4.2786 | 6156.2884 | 2.5528 | 5454.2733 | 55 | FMI20241120_008.gcd | 2024-11-20 16:47 | 266 | Unknown | 0 | 2.857 | 714411 | 0 | ----- | ----- | ----- | -----
56 | FMI20241120_009.gcd | 2024-11-20 17:18 | 68 | Unknown | 0 | 6.035 | 2584 | 0.003 | ----- | ----- | ----- | ----- | 56 | FMI20241120_009.gcd | 2024-11-20 17:18 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20241120_009.gcd | 2024-11-20 17:18 | 68 | Unknown | 0 | 12.126 | 26282 | 5.714 | ----- | ----- | ----- | ----- | 1 |  | 56 | 2.9091 | 5380.6035 | 2.7767 | 5010.0289 | 1.3226 | 5311.1616 | 4.0129 | 6076.0399 | 2.9091 | 5380.6035 | 56 | FMI20241120_009.gcd | 2024-11-20 17:18 | 68 | Unknown | 0 | 2.852 | 784969 | 0 | ----- | ----- | ----- | -----
57 | FMI20241120_010.gcd | 2024-11-20 17:49 | 219 | Unknown | 0 | 6.019 | 5424 | 0.01 | ----- | ----- | ----- | ----- | 57 | FMI20241120_010.gcd | 2024-11-20 17:49 | 219 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20241120_010.gcd | 2024-11-20 17:49 | 219 | Unknown | 0 | 12.154 | 19365 | 4.209 | ----- | ----- | ----- | ----- | 1 |  | 57 | 11.1751 | 3981.4998 | 12.3161 | 3692.6324 | 6.9982 | 3889.4754 | 2.7613 | 4532.301 | 11.1751 | 3981.4998 | 57 | FMI20241120_010.gcd | 2024-11-20 17:49 | 219 | Unknown | 0 | 2.865 | 712130 | 0 | ----- | ----- | ----- | -----
58 | FMI20241120_011.gcd | 2024-11-20 18:19 | 405 | Unknown | 0 | 6.01 | 7162 | 0.015 | ----- | ----- | ----- | ----- | 58 | FMI20241120_011.gcd | 2024-11-20 18:19 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20241120_011.gcd | 2024-11-20 18:19 | 405 | Unknown | 0 | 12.14 | 13739 | 2.98 | ----- | ----- | ----- | ----- | 1 |  | 58 | 16.6883 | 2839.3071 | 17.6928 | 2619.9696 | 11.6276 | 2731.3341 | 6.292 | 3244.5025 | 16.6883 | 2839.3071 | 58 | FMI20241120_011.gcd | 2024-11-20 18:19 | 405 | Unknown | 0 | 2.852 | 800265 | 0 | ----- | ----- | ----- | -----
59 | FMI20241120_012.gcd | 2024-11-20 18:50 | 375 | Unknown | 0 | 6.009 | 6308 | 0.012 | ----- | ----- | ----- | ----- | 59 | FMI20241120_012.gcd | 2024-11-20 18:50 | 375 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20241120_012.gcd | 2024-11-20 18:50 | 375 | Unknown | 0 | 12.137 | 20925 | 4.549 | ----- | ----- | ----- | ----- | 1 |  | 59 | 13.9362 | 4297.5412 | 15.0946 | 3989.8825 | 9.2432 | 4210.3234 | 4.1494 | 4884.274 | 13.9362 | 4297.5412 | 59 | FMI20241120_012.gcd | 2024-11-20 18:50 | 375 | Unknown | 0 | 2.836 | 1085215 | 0 | ----- | ----- | ----- | -----
60 | FMI20241120_013.gcd | 2024-11-20 19:20 | 80 | Unknown | 0 | 6.015 | 6343 | 0.013 | ----- | ----- | ----- | ----- | 60 | FMI20241120_013.gcd | 2024-11-20 19:20 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20241120_013.gcd | 2024-11-20 19:20 | 80 | Unknown | 0 | 12.14 | 25215 | 5.483 | ----- | ----- | ----- | ----- | 1 |  | 60 | 14.0473 | 5165.1544 | 15.2027 | 4806.912 | 9.3367 | 5092.015 | 4.2218 | 5840.7533 | 14.0473 | 5165.1544 | 60 | FMI20241120_013.gcd | 2024-11-20 19:20 | 80 | Unknown | 0 | 2.86 | 794422 | 0 | ----- | ----- | ----- | -----
61 | FMI20241120_014.gcd | 2024-11-20 19:51 | 150 | Unknown | 0 | 6.009 | 6773 | 0.014 | ----- | ----- | ----- | ----- | 61 | FMI20241120_014.gcd | 2024-11-20 19:51 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20241120_014.gcd | 2024-11-20 19:51 | 150 | Unknown | 0 | 12.129 | 26150 | 5.686 | ----- | ----- | ----- | ----- | 1 |  | 61 | 15.4244 | 5353.9574 | 16.5198 | 4984.903 | 10.5152 | 5284.0538 | 5.2184 | 6046.9886 | 15.4244 | 5353.9574 | 61 | FMI20241120_014.gcd | 2024-11-20 19:51 | 150 | Unknown | 0 | 2.849 | 844356 | 0 | ----- | ----- | ----- | -----
62 | FMI20241120_015.gcd | 2024-11-20 20:21 | 50 | Unknown | 0 | 6.002 | 37157 | 0.09 | ----- | ----- | ----- | ----- | 62 | FMI20241120_015.gcd | 2024-11-20 20:21 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20241120_015.gcd | 2024-11-20 20:21 | 50 | Unknown | 0 | 12.168 | 8204 | 1.767 | ----- | ----- | ----- | ----- | 1 |  | 62 | 102.9984 | 1711.8951 | 97.3307 | 1563.6524 | 84.6634 | 1590.3492 | 100.4715 | 1949.3579 | 102.9984 | 1711.8951 | 62 | FMI20241120_015.gcd | 2024-11-20 20:21 | 50 | Unknown | 0 | 2.86 | 766978 | 0 | ----- | ----- | ----- | -----
63 | FMI20241120_016.gcd | 2024-11-20 20:52 | 197 | Unknown | 0 | 6.052 | 2440 | 0.003 | ----- | ----- | ----- | ----- | 63 | FMI20241120_016.gcd | 2024-11-20 20:52 | 197 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20241120_016.gcd | 2024-11-20 20:52 | 197 | Unknown | 0 | 12.145 | 18201 | 3.955 | ----- | ----- | ----- | ----- | 1 |  | 63 | 2.5145 | 3745.4947 | 2.2681 | 3470.7866 | 1.0972 | 3649.9925 | 4.3083 | 4268.2288 | 2.5145 | 3745.4947 | 63 | FMI20241120_016.gcd | 2024-11-20 20:52 | 197 | Unknown | 0 | 2.851 | 825278 | 0 | ----- | ----- | ----- | -----
64 | FMI20241120_017.gcd | 2024-11-20 21:22 | 273 | Unknown | 0 | 6.015 | 6801 | 0.014 | ----- | ----- | ----- | ----- | 64 | FMI20241120_017.gcd | 2024-11-20 21:22 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20241120_017.gcd | 2024-11-20 21:22 | 273 | Unknown | 0 | 12.161 | 12937 | 2.805 | ----- | ----- | ----- | ----- | 1 |  | 64 | 15.5148 | 2676.1765 | 16.6048 | 2466.975 | 10.5938 | 2566.1067 | 5.2902 | 3058.5724 | 15.5148 | 2676.1765 | 64 | FMI20241120_017.gcd | 2024-11-20 21:22 | 273 | Unknown | 0 | 2.856 | 855229 | 0 | ----- | ----- | ----- | -----
65 | FMI20241120_018.gcd | 2024-11-20 21:53 | 204 | Unknown | 0 | 6.055 | 2357 | 0.002 | ----- | ----- | ----- | ----- | 65 | FMI20241120_018.gcd | 2024-11-20 21:53 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20241120_018.gcd | 2024-11-20 21:53 | 204 | Unknown | 0 | 12.141 | 23112 | 5.025 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.2882 | 4740.117 | 1.9739 | 4406.4709 | 0.97007 | 4659.9185 | 4.4888 | 5373.9756 | 2.2882 | 4740.117 | 65 | FMI20241120_018.gcd | 2024-11-20 21:53 | 204 | Unknown | 0 | 2.851 | 834112 | 0 | ----- | ----- | ----- | -----
66 | FMI20241120_019.gcd | 2024-11-20 22:23 | 288 | Unknown | 0 | 6.01 | 6987 | 0.014 | ----- | ----- | ----- | ----- | 66 | FMI20241120_019.gcd | 2024-11-20 22:23 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20241120_019.gcd | 2024-11-20 22:23 | 288 | Unknown | 0 | 12.072 | 26649 | 5.794 | ----- | ----- | ----- | ----- | 1 |  | 66 | 16.1176 | 5454.6769 | 17.1673 | 5079.8834 | 11.1217 | 5386.5248 | 5.7888 | 6156.7278 | 16.1176 | 5454.6769 | 66 | FMI20241120_019.gcd | 2024-11-20 22:23 | 288 | Unknown | 0 | 2.848 | 896055 | 0 | ----- | ----- | ----- | -----
67 | FMI20241120_020.gcd | 2024-11-20 22:54 | 183 | Unknown | 0 | 6.008 | 6947 | 0.014 | ----- | ----- | ----- | ----- | 67 | FMI20241120_020.gcd | 2024-11-20 22:54 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20241120_020.gcd | 2024-11-20 22:54 | 183 | Unknown | 0 | 12.153 | 13926 | 3.021 | ----- | ----- | ----- | ----- | 1 |  | 67 | 15.9876 | 2877.3328 | 17.0467 | 2655.6398 | 11.0073 | 2769.855 | 5.6784 | 3287.7709 | 15.9876 | 2877.3328 | 67 | FMI20241120_020.gcd | 2024-11-20 22:54 | 183 | Unknown | 0 | 2.849 | 895721 | 0 | ----- | ----- | ----- | -----
68 | FMI20241120_021.gcd | 2024-11-20 23:24 | 385 | Unknown | 0 | 6.009 | 5958 | 0.012 | ----- | ----- | ----- | ----- | 68 | FMI20241120_021.gcd | 2024-11-20 23:24 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20241120_021.gcd | 2024-11-20 23:24 | 385 | Unknown | 0 | 12.146 | 26643 | 5.793 | ----- | ----- | ----- | ----- | 1 |  | 68 | 12.8323 | 5453.466 | 14.0053 | 5078.7414 | 8.3272 | 5385.2927 | 3.4989 | 6155.4097 | 12.8323 | 5453.466 | 68 | FMI20241120_021.gcd | 2024-11-20 23:24 | 385 | Unknown | 0 | 2.853 | 812710 | 0 | ----- | ----- | ----- | -----
69 | FMI20241120_022.gcd | 2024-11-20 23:55 | 44 | Unknown | 0 | 6.018 | 6708 | 0.013 | ----- | ----- | ----- | ----- | 69 | FMI20241120_022.gcd | 2024-11-20 23:55 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20241120_022.gcd | 2024-11-20 23:55 | 44 | Unknown | 0 | 12.152 | 28771 | 6.255 | ----- | ----- | ----- | ----- | 1 |  | 69 | 15.2149 | 5882.6543 | 16.3221 | 5483.6977 | 10.3336 | 5822.141 | 5.0549 | 6620.8579 | 15.2149 | 5882.6543 | 69 | FMI20241120_022.gcd | 2024-11-20 23:55 | 44 | Unknown | 0 | 2.855 | 931082 | 0 | ----- | ----- | ----- | -----
70 | FMI20241120_023.gcd | 2024-11-21 00:26 | 334 | Unknown | 0 | 6.017 | 6727 | 0.013 | ----- | ----- | ----- | ----- | 70 | FMI20241120_023.gcd | 2024-11-21 00:26 | 334 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20241120_023.gcd | 2024-11-21 00:26 | 334 | Unknown | 0 | 12.141 | 29151 | 6.337 | ----- | ----- | ----- | ----- | 1 |  | 70 | 15.2761 | 5959.2381 | 16.3799 | 5555.9958 | 10.3866 | 5900.1253 | 5.1022 | 6703.539 | 15.2761 | 5959.2381 | 70 | FMI20241120_023.gcd | 2024-11-21 00:26 | 334 | Unknown | 0 | 2.852 | 859470 | 0 | ----- | ----- | ----- | -----
71 | FMI20241120_024.gcd | 2024-11-21 00:56 | 21 | Unknown | 0 | 6.014 | 7005 | 0.014 | ----- | ----- | ----- | ----- | 71 | FMI20241120_024.gcd | 2024-11-21 00:56 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20241120_024.gcd | 2024-11-21 00:56 | 21 | Unknown | 0 | 12.166 | 14592 | 3.167 | ----- | ----- | ----- | ----- | 1 |  | 71 | 16.1761 | 3012.727 | 17.2215 | 2782.6702 | 11.1733 | 2907.0325 | 5.839 | 3441.6122 | 16.1761 | 3012.727 | 71 | FMI20241120_024.gcd | 2024-11-21 00:56 | 21 | Unknown | 0 | 2.85 | 881907 | 0 | ----- | ----- | ----- | -----
72 | FMI20241120_025.gcd | 2024-11-21 01:27 | 238 | Unknown | 0 | 6.014 | 7072 | 0.014 | ----- | ----- | ----- | ----- | 72 | FMI20241120_025.gcd | 2024-11-21 01:27 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20241120_025.gcd | 2024-11-21 01:27 | 238 | Unknown | 0 | 12.145 | 26727 | 5.811 | ----- | ----- | ----- | ----- | 1 |  | 72 | 16.3944 | 5470.4179 | 17.423 | 5094.7294 | 11.3663 | 5402.5411 | 6.029 | 6173.8609 | 16.3944 | 5470.4179 | 72 | FMI20241120_025.gcd | 2024-11-21 01:27 | 238 | Unknown | 0 | 2.849 | 899457 | 0 | ----- | ----- | ----- | -----
73 | FMI20241120_026.gcd | 2024-11-21 01:57 | 151 | Unknown | 0 | 6.068 | 1675 | 0.001 | ----- | ----- | ----- | ----- | 73 | FMI20241120_026.gcd | 2024-11-21 01:57 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20241120_026.gcd | 2024-11-21 01:57 | 151 | Unknown | 0 | 12.158 | 19305 | 4.196 | ----- | ----- | ----- | ----- | 1 |  | 73 | 0.45809 | 3969.3386 | -0.47406 | 3681.1982 | 0.0011148 | 3877.1326 | 6.2537 | 4518.7193 | 0.45809 | 3969.3386 | 73 | FMI20241120_026.gcd | 2024-11-21 01:57 | 151 | Unknown | 0 | 2.85 | 881333 | 0 | ----- | ----- | ----- | -----
74 | FMI20241120_027.gcd | 2024-11-21 02:28 | 147 | Unknown | 0 | 6.002 | 41064 | 0.1 | ----- | ----- | ----- | ----- | 74 | FMI20241120_027.gcd | 2024-11-21 02:28 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20241120_027.gcd | 2024-11-21 02:28 | 147 | Unknown | 0 | 12.166 | 9943 | 2.149 | ----- | ----- | ----- | ----- | 2 | large air bubble in sample | 74 | 114.2365 | 2066.503 | 107.5887 | 1895.6361 | 93.8125 | 1948.9951 | 111.8785 | 2359.2805 | 114.2365 | 2066.503 | 74 | FMI20241120_027.gcd | 2024-11-21 02:28 | 147 | Unknown | 0 | 2.834 | 1195979 | 0 | ----- | ----- | ----- | -----