## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN01sep21_001.gcd | 2021-09-01 12:12 | air | Unknown | 0 | 6.063 | 2537 | 0 | ----- | ----- | ----- | ----- | 39 | BRN01sep21_001.gcd | 2021-09-01 12:12 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN01sep21_001.gcd | 2021-09-01 12:12 | air | Unknown | 0 | 12.218 | 3832 | 0.775 | ----- | ----- | ----- | ----- | 1 |  | 2.6284 | 744.3611 | 2.611 | 728.5816
40 | BRN01sep21_002.gcd | 2021-09-01 12:42 | air + 100 | Unknown | 0 | 6.002 | 853086 | 1.775 | ----- | ----- | ----- | ----- | 40 | BRN01sep21_002.gcd | 2021-09-01 12:42 | air + 100 | Unknown | 0 | 5.949 | 6253 | 1.794 | ----- | ----- | ----- | ----- | 40 | BRN01sep21_002.gcd | 2021-09-01 12:42 | air + 100 | Unknown | 0 | 12.168 | 9519 | 1.909 | ----- | ----- | ----- | ----- | 1 |  | 1747.0731 | 1793.9649 | 1888.5845 | 1814.7015
41 | BRN01sep21_003.gcd | 2021-09-01 13:13 | 96 | Unknown | 0 | 6.007 | 39221 | 0.077 | ----- | ----- | ----- | ----- | 41 | BRN01sep21_003.gcd | 2021-09-01 13:13 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN01sep21_003.gcd | 2021-09-01 13:13 | 96 | Unknown | 0 | 12.169 | 4997 | 1.007 | ----- | ----- | ----- | ----- | 1 |  | 122.4078 | 959.7064 | 102.7503 | 951.1624
42 | BRN01sep21_004.gcd | 2021-09-01 13:43 | 81 | Unknown | 0 | 6.007 | 44192 | 0.087 | ----- | ----- | ----- | ----- | 42 | BRN01sep21_004.gcd | 2021-09-01 13:43 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN01sep21_004.gcd | 2021-09-01 13:43 | 81 | Unknown | 0 | 12.157 | 5843 | 1.176 | ----- | ----- | ----- | ----- | 1 |  | 137.6833 | 1115.9792 | 115.7987 | 1112.7685
43 | BRN01sep21_005.gcd | 2021-09-01 14:14 | 175 | Unknown | 0 | 6.012 | 16681 | 0.03 | ----- | ----- | ----- | ----- | 43 | BRN01sep21_005.gcd | 2021-09-01 14:14 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN01sep21_005.gcd | 2021-09-01 14:14 | 175 | Unknown | 0 | 12.152 | 14284 | 2.858 | ----- | ----- | ----- | ----- | 1 |  | 52.6381 | 2670.2765 | 43.5097 | 2723.9252
44 | BRN01sep21_006.gcd | 2021-09-01 14:45 | 140 | Unknown | 0 | 6.002 | 874858 | 1.82 | ----- | ----- | ----- | ----- | 44 | BRN01sep21_006.gcd | 2021-09-01 14:45 | 140 | Unknown | 0 | 5.947 | 7284 | 2.07 | ----- | ----- | ----- | ----- | 44 | BRN01sep21_006.gcd | 2021-09-01 14:45 | 140 | Unknown | 0 | 12.082 | 78259 | 15.46 | ----- | ----- | ----- | ----- | 1 |  | 1942.9059 | 14159.6156 | 2152.6528 | 14859.6789
45 | BRN01sep21_007.gcd | 2021-09-01 15:15 | 215 | Unknown | 0 | 6.005 | 215396 | 0.444 | ----- | ----- | ----- | ----- | 45 | BRN01sep21_007.gcd | 2021-09-01 15:15 | 215 | Unknown | 0 | 5.943 | 1337 | 0.474 | ----- | ----- | ----- | ----- | 45 | BRN01sep21_007.gcd | 2021-09-01 15:15 | 215 | Unknown | 0 | 12.016 | 155243 | 30.294 | ----- | ----- | ----- | ----- | 1 |  | 639.1611 | 27304.1008 | 561.5482 | 29286.7313
46 | BRN01sep21_008.gcd | 2021-09-01 15:46 | 179 | Unknown | 0 | 6.02 | 13898 | 0.024 | ----- | ----- | ----- | ----- | 46 | BRN01sep21_008.gcd | 2021-09-01 15:46 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN01sep21_008.gcd | 2021-09-01 15:46 | 179 | Unknown | 0 | 12.14 | 32140 | 6.401 | ----- | ----- | ----- | ----- | 1 |  | 37.3276 | 5928.7459 | 36.1868 | 6124.5138
47 | BRN01sep21_009.gcd | 2021-09-01 16:16 | 71 | Unknown | 0 | 6.055 | 3208 | 0.002 | ----- | ----- | ----- | ----- | 47 | BRN01sep21_009.gcd | 2021-09-01 16:16 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN01sep21_009.gcd | 2021-09-01 16:16 | 71 | Unknown | 0 | 12.169 | 7389 | 1.484 | ----- | ----- | ----- | ----- | 1 |  | 4.5253 | 1401.3235 | 4.9528 | 1408.031
48 | BRN01sep21_010.gcd | 2021-09-01 16:47 | 196 | Unknown | 0 | 6.015 | 162262 | 0.333 | ----- | ----- | ----- | ----- | 48 | BRN01sep21_010.gcd | 2021-09-01 16:47 | 196 | Unknown | 0 | 5.927 | 781 | 0.324 | ----- | ----- | ----- | ----- | 48 | BRN01sep21_010.gcd | 2021-09-01 16:47 | 196 | Unknown | 0 | 12.033 | 150867 | 29.46 | ----- | ----- | ----- | ----- | 1 |  | 488.6454 | 26576.8731 | 423.9661 | 28471.821
49 | BRN01sep21_011.gcd | 2021-09-01 17:18 | 115 | Unknown | 0 | 6.013 | 14871 | 0.026 | ----- | ----- | ----- | ----- | 49 | BRN01sep21_011.gcd | 2021-09-01 17:18 | 115 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN01sep21_011.gcd | 2021-09-01 17:18 | 115 | Unknown | 0 | 12.129 | 32662 | 6.505 | ----- | ----- | ----- | ----- | 1 |  | 40.5544 | 6023.4014 | 38.7472 | 6223.7701
50 | BRN01sep21_012.gcd | 2021-09-01 17:48 | 27 | Unknown | 0 | 6.047 | 3156 | 0.002 | ----- | ----- | ----- | ----- | 50 | BRN01sep21_012.gcd | 2021-09-01 17:48 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN01sep21_012.gcd | 2021-09-01 17:48 | 27 | Unknown | 0 | 12.176 | 7937 | 1.594 | ----- | ----- | ----- | ----- | 1 |  | 4.3776 | 1502.3955 | 4.7732 | 1512.6721
51 | BRN01sep21_013.gcd | 2021-09-01 18:19 | 136 | Unknown | 0 | 6.009 | 40990 | 0.081 | ----- | ----- | ----- | ----- | 51 | BRN01sep21_013.gcd | 2021-09-01 18:19 | 136 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN01sep21_013.gcd | 2021-09-01 18:19 | 136 | Unknown | 0 | 12.076 | 87341 | 17.228 | ----- | ----- | ----- | ----- | 1 |  | 127.8484 | 15749.0136 | 107.3944 | 16571.7026
52 | BRN01sep21_014.gcd | 2021-09-01 18:49 | 22 | Unknown | 0 | 6.003 | 796332 | 1.656 | ----- | ----- | ----- | ----- | 52 | BRN01sep21_014.gcd | 2021-09-01 18:49 | 22 | Unknown | 0 | 5.956 | 5695 | 1.644 | ----- | ----- | ----- | ----- | 52 | BRN01sep21_014.gcd | 2021-09-01 18:49 | 22 | Unknown | 0 | 12.087 | 76995 | 15.213 | ----- | ----- | ----- | ----- | 1 |  | 1641.087 | 13937.588 | 1745.6471 | 14621.193
53 | BRN01sep21_015.gcd | 2021-09-01 19:20 | 206 | Unknown | 0 | 6.015 | 14227 | 0.025 | ----- | ----- | ----- | ----- | 53 | BRN01sep21_015.gcd | 2021-09-01 19:20 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN01sep21_015.gcd | 2021-09-01 19:20 | 206 | Unknown | 0 | 12.156 | 14421 | 2.886 | ----- | ----- | ----- | ----- | 1 |  | 38.4142 | 2695.4294 | 37.0526 | 2750.0557
54 | BRN01sep21_016.gcd | 2021-09-01 19:50 | 15 | Unknown | 0 | 6.009 | 45628 | 0.09 | ----- | ----- | ----- | ----- | 54 | BRN01sep21_016.gcd | 2021-09-01 19:50 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN01sep21_016.gcd | 2021-09-01 19:50 | 15 | Unknown | 0 | 12.074 | 90609 | 17.863 | ----- | ----- | ----- | ----- | 1 |  | 142.0885 | 16318.3975 | 119.567 | 17187.0883
55 | BRN01sep21_017.gcd | 2021-09-01 20:21 | 45 | Unknown | 0 | 6.01 | 52720 | 0.105 | ----- | ----- | ----- | ----- | 55 | BRN01sep21_017.gcd | 2021-09-01 20:21 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN01sep21_017.gcd | 2021-09-01 20:21 | 45 | Unknown | 0 | 12.164 | 7547 | 1.516 | ----- | ----- | ----- | ----- | 1 |  | 163.7952 | 1430.4686 | 138.1701 | 1438.2023
56 | BRN01sep21_018.gcd | 2021-09-01 20:52 | 186 | Unknown | 0 | 6.009 | 56308 | 0.113 | ----- | ----- | ----- | ----- | 56 | BRN01sep21_018.gcd | 2021-09-01 20:52 | 186 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN01sep21_018.gcd | 2021-09-01 20:52 | 186 | Unknown | 0 | 12.165 | 7084 | 1.424 | ----- | ----- | ----- | ----- | 1 |  | 174.7458 | 1345.0536 | 147.5772 | 1349.7868
57 | BRN01sep21_019.gcd | 2021-09-01 21:22 | 68 | Unknown | 0 | 6.016 | 73517 | 0.148 | ----- | ----- | ----- | ----- | 57 | BRN01sep21_019.gcd | 2021-09-01 21:22 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN01sep21_019.gcd | 2021-09-01 21:22 | 68 | Unknown | 0 | 12.035 | 150301 | 29.352 | ----- | ----- | ----- | ----- | 1 |  | 226.9757 | 26482.6366 | 192.6528 | 28366.3734
58 | BRN01sep21_020.gcd | 2021-09-01 21:53 | 88 | Unknown | 0 | 6.006 | 127032 | 0.26 | ----- | ----- | ----- | ----- | 58 | BRN01sep21_020.gcd | 2021-09-01 21:53 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN01sep21_020.gcd | 2021-09-01 21:53 | 88 | Unknown | 0 | 12.02 | 150944 | 29.475 | ----- | ----- | ----- | ----- | 1 |  | 386.3066 | 26589.6902 | 332.3672 | 28486.1655
59 | BRN01sep21_021.gcd | 2021-09-01 22:23 | 42 | Unknown | 0 | 6.012 | 138910 | 0.285 | ----- | ----- | ----- | ----- | 59 | BRN01sep21_021.gcd | 2021-09-01 22:23 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN01sep21_021.gcd | 2021-09-01 22:23 | 42 | Unknown | 0 | 12.027 | 155131 | 30.273 | ----- | ----- | ----- | ----- | 1 |  | 421.0371 | 27285.518 | 363.2839 | 29265.8821
60 | BRN01sep21_022.gcd | 2021-09-01 22:54 | 145 | Unknown | 0 | 6.009 | 50837 | 0.101 | ----- | ----- | ----- | ----- | 60 | BRN01sep21_022.gcd | 2021-09-01 22:54 | 145 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN01sep21_022.gcd | 2021-09-01 22:54 | 145 | Unknown | 0 | 12.015 | 156161 | 30.469 | ----- | ----- | ----- | ----- | 1 |  | 158.0398 | 27456.354 | 133.2319 | 29457.6046