## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN05sep21_001.gcd | 2021-10-05 12:58 | air | Unknown | 0 | 6.061 | 2370 | 0 | ----- | ----- | ----- | ----- | 39 | BRN05sep21_001.gcd | 2021-10-05 12:58 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN05sep21_001.gcd | 2021-10-05 12:58 | air | Unknown | 0 | 12.22 | 2535 | 0.516 | ----- | ----- | ----- | ----- | 1 |  | 2.1592 | 504.4156 | 2.02 | 480.7295
40 | BRN05sep21_002.gcd | 2021-10-05 13:29 | air + 100 | Unknown | 0 | 6.004 | 879298 | 1.83 | ----- | ----- | ----- | ----- | 40 | BRN05sep21_002.gcd | 2021-10-05 13:29 | air + 100 | Unknown | 0 | 5.959 | 7824 | 2.215 | ----- | ----- | ----- | ----- | 40 | BRN05sep21_002.gcd | 2021-10-05 13:29 | air + 100 | Unknown | 0 | 12.171 | 9425 | 1.89 | ----- | ----- | ----- | ----- | 1 |  | 2045.4787 | 1776.6491 | 2290.945 | 1796.7576
41 | BRN05sep21_003.gcd | 2021-10-05 13:59 | 210 | Unknown | 0 | 6.012 | 15956 | 0.028 | ----- | ----- | ----- | ----- | 41 | BRN05sep21_003.gcd | 2021-10-05 13:59 | 210 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN05sep21_003.gcd | 2021-10-05 13:59 | 210 | Unknown | 0 | 12.112 | 4292 | 0.866 | ----- | ----- | ----- | ----- | 1 |  | 50.3802 | 829.4105 | 41.6022 | 816.4729
42 | BRN05sep21_004.gcd | 2021-10-05 14:30 | 154 | Unknown | 0 | 6.007 | 330451 | 0.684 | ----- | ----- | ----- | ----- | 42 | BRN05sep21_004.gcd | 2021-10-05 14:30 | 154 | Unknown | 0 | 5.964 | 2855 | 0.881 | ----- | ----- | ----- | ----- | 42 | BRN05sep21_004.gcd | 2021-10-05 14:30 | 154 | Unknown | 0 | 11.997 | 169702 | 33.042 | ----- | ----- | ----- | ----- | 1 |  | 949.2895 | 29689.8821 | 857.1253 | 31974.8964
43 | BRN05sep21_005.gcd | 2021-10-05 15:00 | 46 | Unknown | 0 | 6.037 | 2245 | 0 | ----- | ----- | ----- | ----- | 43 | BRN05sep21_005.gcd | 2021-10-05 15:00 | 46 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN05sep21_005.gcd | 2021-10-05 15:00 | 46 | Unknown | 0 | 11.951 | 216272 | 41.813 | ----- | ----- | ----- | ----- | 1 |  | 1.8088 | 37195.6813 | 1.5756 | 40586.81
44 | BRN05sep21_006.gcd | 2021-10-05 15:31 | 141 | Unknown | 0 | 6.001 | 187519 | 0.386 | ----- | ----- | ----- | ----- | 44 | BRN05sep21_006.gcd | 2021-10-05 15:31 | 141 | Unknown | 0 | 5.94 | 1401 | 0.491 | ----- | ----- | ----- | ----- | 44 | BRN05sep21_006.gcd | 2021-10-05 15:31 | 141 | Unknown | 0 | 12.038 | 111030 | 21.817 | ----- | ----- | ----- | ----- | 1 |  | 560.767 | 19845.9847 | 489.4502 | 21024.6302
45 | BRN05sep21_007.gcd | 2021-10-05 16:02 | 127 | Unknown | 0 | 6.01 | 224809 | 0.464 | ----- | ----- | ----- | ----- | 45 | BRN05sep21_007.gcd | 2021-10-05 16:02 | 127 | Unknown | 0 | 5.963 | 1793 | 0.596 | ----- | ----- | ----- | ----- | 45 | BRN05sep21_007.gcd | 2021-10-05 16:02 | 127 | Unknown | 0 | 12.001 | 169294 | 32.964 | ----- | ----- | ----- | ----- | 1 |  | 665.3453 | 29622.9206 | 585.8504 | 31899.1357
46 | BRN05sep21_008.gcd | 2021-10-05 16:32 | 167 | Unknown | 0 | 6.044 | 2856 | 0.001 | ----- | ----- | ----- | ----- | 46 | BRN05sep21_008.gcd | 2021-10-05 16:32 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN05sep21_008.gcd | 2021-10-05 16:32 | 167 | Unknown | 0 | 11.961 | 204633 | 39.632 | ----- | ----- | ----- | ----- | 1 |  | 3.5278 | 35345.3155 | 3.7308 | 38441.0896
47 | BRN05sep21_009.gcd | 2021-10-05 17:03 | 94 | Unknown | 0 | 6.009 | 18352 | 0.033 | ----- | ----- | ----- | ----- | 47 | BRN05sep21_009.gcd | 2021-10-05 17:03 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN05sep21_009.gcd | 2021-10-05 17:03 | 94 | Unknown | 0 | 12.149 | 5656 | 1.139 | ----- | ----- | ----- | ----- | 1 |  | 57.8389 | 1081.4444 | 47.9057 | 1077.049
48 | BRN05sep21_010.gcd | 2021-10-05 17:33 | 217 | Unknown | 0 | 6.012 | 18203 | 0.033 | ----- | ----- | ----- | ----- | 48 | BRN05sep21_010.gcd | 2021-10-05 17:33 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN05sep21_010.gcd | 2021-10-05 17:33 | 217 | Unknown | 0 | 12.157 | 3928 | 0.794 | ----- | ----- | ----- | ----- | 1 |  | 57.3754 | 762.1127 | 47.5137 | 746.9247
49 | BRN05sep21_011.gcd | 2021-10-05 18:04 | 20 | Unknown | 0 | 6.016 | 11438 | 0.019 | ----- | ----- | ----- | ----- | 49 | BRN05sep21_011.gcd | 2021-10-05 18:04 | 20 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN05sep21_011.gcd | 2021-10-05 18:04 | 20 | Unknown | 0 | 12.106 | 49118 | 9.751 | ----- | ----- | ----- | ----- | 1 |  | 29.3489 | 8989.8697 | 29.7122 | 9348.2751
50 | BRN05sep21_012.gcd | 2021-10-05 18:34 | 66 | Unknown | 0 | 6.04 | 2207 | 0 | ----- | ----- | ----- | ----- | 50 | BRN05sep21_012.gcd | 2021-10-05 18:34 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN05sep21_012.gcd | 2021-10-05 18:34 | 66 | Unknown | 0 | 11.95 | 217752 | 42.09 | ----- | ----- | ----- | ----- | 1 |  | 1.7024 | 37429.7527 | 1.4401 | 40859.3413
51 | BRN05sep21_013.gcd | 2021-10-05 19:05 | 147 | Unknown | 0 | 6.012 | 12306 | 0.021 | ----- | ----- | ----- | ----- | 51 | BRN05sep21_013.gcd | 2021-10-05 19:05 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN05sep21_013.gcd | 2021-10-05 19:05 | 147 | Unknown | 0 | 12.109 | 46371 | 9.211 | ----- | ----- | ----- | ----- | 1 |  | 32.1348 | 8497.041 | 31.9969 | 8827.3138
52 | BRN05sep21_014.gcd | 2021-10-05 19:36 | 90 | Unknown | 0 | 6.004 | 174179 | 0.358 | ----- | ----- | ----- | ----- | 52 | BRN05sep21_014.gcd | 2021-10-05 19:36 | 90 | Unknown | 0 | 5.952 | 1149 | 0.423 | ----- | ----- | ----- | ----- | 52 | BRN05sep21_014.gcd | 2021-10-05 19:36 | 90 | Unknown | 0 | 12.043 | 116962 | 22.961 | ----- | ----- | ----- | ----- | 1 |  | 522.8043 | 20860.8843 | 454.8827 | 22136.8378
53 | BRN05sep21_015.gcd | 2021-10-05 20:06 | 17 | Unknown | 0 | 6.009 | 20349 | 0.038 | ----- | ----- | ----- | ----- | 53 | BRN05sep21_015.gcd | 2021-10-05 20:06 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN05sep21_015.gcd | 2021-10-05 20:06 | 17 | Unknown | 0 | 12.151 | 4809 | 0.97 | ----- | ----- | ----- | ----- | 1 |  | 64.0484 | 924.967 | 53.1585 | 915.2468
54 | BRN05sep21_017.gcd | 2021-10-06 09:31 | 118 | Unknown | 0 | 6.044 | 4051 | 0.004 | ----- | ----- | ----- | ----- | 54 | BRN05sep21_017.gcd | 2021-10-06 09:31 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN05sep21_017.gcd | 2021-10-06 09:31 | 118 | Unknown | 0 | 12.001 | 198359 | 38.453 | ----- | ----- | ----- | ----- | 1 |  | 6.9357 | 34340.8218 | 7.821 | 37282.6121
55 | BRN05sep21_018.gcd | 2021-10-06 10:02 | 76 | Unknown | 0 | 6.059 | 2251 | 0 | ----- | ----- | ----- | ----- | 55 | BRN05sep21_018.gcd | 2021-10-06 10:02 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN05sep21_018.gcd | 2021-10-06 10:02 | 76 | Unknown | 0 | 11.963 | 202040 | 39.145 | ----- | ----- | ----- | ----- | 1 |  | 1.8256 | 34930.7645 | 1.5969 | 37962.4542
56 | BRN05sep21_019.gcd | 2021-10-06 10:32 | 102 | Unknown | 0 | 6.058 | 2398 | 0 | ----- | ----- | ----- | ----- | 56 | BRN05sep21_019.gcd | 2021-10-06 10:32 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN05sep21_019.gcd | 2021-10-06 10:32 | 102 | Unknown | 0 | 11.935 | 216240 | 41.807 | ----- | ----- | ----- | ----- | 1 |  | 2.2378 | 37190.6173 | 2.1193 | 40580.9167