## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN07sep21_001.gcd | 2021-09-07 12:36 | air | Unknown | 0 | 6.071 | 2728 | 0.001 | ----- | ----- | ----- | ----- | 39 | BRN07sep21_001.gcd | 2021-09-07 12:36 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN07sep21_001.gcd | 2021-09-07 12:36 | air | Unknown | 0 | 12.22 | 2662 | 0.541 | ----- | ----- | ----- | ----- | 1 |  | 3.1664 | 527.92 | 3.2829 | 505.0012
40 | BRN07sep21_002.gcd | 2021-09-07 13:06 | air + 100 | Unknown | 0 | 6.005 | 948267 | 1.974 | ----- | ----- | ----- | ----- | 40 | BRN07sep21_002.gcd | 2021-09-07 13:06 | air + 100 | Unknown | 0 | 5.957 | 8130 | 2.297 | ----- | ----- | ----- | ----- | 40 | BRN07sep21_002.gcd | 2021-09-07 13:06 | air + 100 | Unknown | 0 | 12.167 | 10229 | 2.051 | ----- | ----- | ----- | ----- | 1 |  | 2103.6041 | 1924.7188 | 2369.3054 | 1950.2255
41 | BRN07sep21_003.gcd | 2021-09-07 13:37 | 182 | Unknown | 0 | 6.007 | 34643 | 0.067 | ----- | ----- | ----- | ----- | 41 | BRN07sep21_003.gcd | 2021-09-07 13:37 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN07sep21_003.gcd | 2021-09-07 13:37 | 182 | Unknown | 0 | 12.127 | 30521 | 6.081 | ----- | ----- | ----- | ----- | 1 |  | 108.3043 | 5634.9512 | 90.7281 | 5816.6105
42 | BRN07sep21_004.gcd | 2021-09-07 14:07 | 129 | Unknown | 0 | 6.003 | 780660 | 1.624 | ----- | ----- | ----- | ----- | 42 | BRN07sep21_004.gcd | 2021-09-07 14:07 | 129 | Unknown | 0 | 5.953 | 6692 | 1.911 | ----- | ----- | ----- | ----- | 42 | BRN07sep21_004.gcd | 2021-09-07 14:07 | 129 | Unknown | 0 | 12.15 | 8181 | 1.642 | ----- | ----- | ----- | ----- | 1 |  | 1830.4579 | 1547.3863 | 2001.03 | 1559.2609
43 | BRN07sep21_005.gcd | 2021-09-07 14:38 | 108 | Unknown | 0 | 5.863 | 50019602 | 111.418 | ----- | ----- | ----- | ----- | 43 | BRN07sep21_005.gcd | 2021-09-07 14:38 | 108 | Unknown | 0 | 5.828 | 433150 | 109.8 | ----- | ----- | ----- | ----- | 43 | BRN07sep21_005.gcd | 2021-09-07 14:38 | 108 | Unknown | 0 | 12.046 | 106970 | 21.033 | ----- | ----- | ----- | ----- | 1 |  | 83431.0132 | 19148.8172 | 107580.2482 | 20262.7496
44 | BRN07sep21_006.gcd | 2021-09-07 15:08 | 51 | Unknown | 0 | 6.005 | 175474 | 0.361 | ----- | ----- | ----- | ----- | 44 | BRN07sep21_006.gcd | 2021-09-07 15:08 | 51 | Unknown | 0 | 5.95 | 1420 | 0.496 | ----- | ----- | ----- | ----- | 44 | BRN07sep21_006.gcd | 2021-09-07 15:08 | 51 | Unknown | 0 | 12.049 | 111344 | 21.878 | ----- | ----- | ----- | ----- | 1 |  | 526.5023 | 19899.8174 | 458.2402 | 21083.5317
45 | BRN07sep21_007.gcd | 2021-09-07 15:39 | 134 | Unknown | 0 | 6.01 | 377725 | 0.783 | ----- | ----- | ----- | ----- | 45 | BRN07sep21_007.gcd | 2021-09-07 15:39 | 134 | Unknown | 0 | 5.97 | 3015 | 0.924 | ----- | ----- | ----- | ----- | 45 | BRN07sep21_007.gcd | 2021-09-07 15:39 | 134 | Unknown | 0 | 12.062 | 88321 | 17.419 | ----- | ----- | ----- | ----- | 1 |  | 1070.4521 | 15919.8998 | 977.6447 | 16756.2795
46 | BRN07sep21_008.gcd | 2021-09-07 16:10 | 59 | Unknown | 0 | 6.012 | 25347 | 0.048 | ----- | ----- | ----- | ----- | 46 | BRN07sep21_008.gcd | 2021-09-07 16:10 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN07sep21_008.gcd | 2021-09-07 16:10 | 59 | Unknown | 0 | 12.179 | 1712 | 0.351 | ----- | ----- | ----- | ----- | 1 |  | 79.5607 | 352.0508 | 66.3006 | 323.4287
47 | BRN07sep21_009.gcd | 2021-09-07 16:40 | 73 | Unknown | 0 | 6.008 | 183048 | 0.377 | ----- | ----- | ----- | ----- | 47 | BRN07sep21_009.gcd | 2021-09-07 16:40 | 73 | Unknown | 0 | 5.972 | 1489 | 0.514 | ----- | ----- | ----- | ----- | 47 | BRN07sep21_009.gcd | 2021-09-07 16:40 | 73 | Unknown | 0 | 12.072 | 103860 | 20.432 | ----- | ----- | ----- | ----- | 1 |  | 548.0759 | 18613.3803 | 477.8694 | 19678.779
48 | BRN07sep21_010.gcd | 2021-09-07 17:11 | 194 | Unknown | 0 | 6.012 | 34259 | 0.067 | ----- | ----- | ----- | ----- | 48 | BRN07sep21_010.gcd | 2021-09-07 17:11 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN07sep21_010.gcd | 2021-09-07 17:11 | 194 | Unknown | 0 | 12.16 | 5343 | 1.076 | ----- | ----- | ----- | ----- | 1 |  | 107.1198 | 1023.6303 | 89.7195 | 1017.2594
49 | BRN07sep21_011.gcd | 2021-09-07 17:41 | 78 | Unknown | 0 | 6.008 | 2265593 | 4.73 | ----- | ----- | ----- | ----- | 49 | BRN07sep21_011.gcd | 2021-09-07 17:41 | 78 | Unknown | 0 | 5.961 | 18546 | 5.086 | ----- | ----- | ----- | ----- | 49 | BRN07sep21_011.gcd | 2021-09-07 17:41 | 78 | Unknown | 0 | 12.128 | 49011 | 9.73 | ----- | ----- | ----- | ----- | 1 |  | 4082.5153 | 8970.691 | 5034.3912 | 9327.9874
50 | BRN07sep21_012.gcd | 2021-09-07 18:12 | 97 | Unknown | 0 | 6.004 | 1006598 | 2.096 | ----- | ----- | ----- | ----- | 50 | BRN07sep21_012.gcd | 2021-09-07 18:12 | 97 | Unknown | 0 | 5.96 | 8510 | 2.399 | ----- | ----- | ----- | ----- | 50 | BRN07sep21_012.gcd | 2021-09-07 18:12 | 97 | Unknown | 0 | 12.166 | 6739 | 1.355 | ----- | ----- | ----- | ----- | 1 |  | 2175.7869 | 1281.39 | 2466.6105 | 1283.9004
51 | BRN07sep21_013.gcd | 2021-09-07 18:42 | 135 | Unknown | 0 | 5.89 | 41860069 | 92.145 | ----- | ----- | ----- | ----- | 51 | BRN07sep21_013.gcd | 2021-09-07 18:42 | 135 | Unknown | 0 | 5.852 | 350797 | 89.893 | ----- | ----- | ----- | ----- | 51 | BRN07sep21_013.gcd | 2021-09-07 18:42 | 135 | Unknown | 0 | 12.041 | 124029 | 24.321 | ----- | ----- | ----- | ----- | 1 |  | 67580.0976 | 22064.2036 | 87760.666 | 23460.3561
52 | BRN07sep21_014.gcd | 2021-09-07 19:13 | 111 | Unknown | 0 | 6.011 | 38274 | 0.075 | ----- | ----- | ----- | ----- | 52 | BRN07sep21_014.gcd | 2021-09-07 19:13 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN07sep21_014.gcd | 2021-09-07 19:13 | 111 | Unknown | 0 | 12.16 | 4424 | 0.893 | ----- | ----- | ----- | ----- | 1 |  | 119.4932 | 853.8111 | 100.2638 | 841.6926
53 | BRN07sep21_015.gcd | 2021-09-07 19:43 | 99 | Unknown | 0 | 6.005 | 272995 | 0.564 | ----- | ----- | ----- | ----- | 53 | BRN07sep21_015.gcd | 2021-09-07 19:43 | 99 | Unknown | 0 | 5.952 | 1933 | 0.633 | ----- | ----- | ----- | ----- | 53 | BRN07sep21_015.gcd | 2021-09-07 19:43 | 99 | Unknown | 0 | 12.001 | 169007 | 32.91 | ----- | ----- | ----- | ----- | 1 |  | 797.1192 | 29575.8053 | 709.9205 | 31845.8401
54 | BRN07sep21_016.gcd | 2021-09-07 20:14 | 82 | Unknown | 0 | 6.015 | 19321 | 0.035 | ----- | ----- | ----- | ----- | 54 | BRN07sep21_016.gcd | 2021-09-07 20:14 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN07sep21_016.gcd | 2021-09-07 20:14 | 82 | Unknown | 0 | 12.116 | 48388 | 9.608 | ----- | ----- | ----- | ----- | 1 |  | 60.8528 | 8858.9956 | 50.4546 | 9209.8565
55 | BRN07sep21_017.gcd | 2021-09-07 20:45 | 169 | Unknown | 0 | 6.001 | 2137804 | 4.462 | ----- | ----- | ----- | ----- | 55 | BRN07sep21_017.gcd | 2021-09-07 20:45 | 169 | Unknown | 0 | 5.952 | 16376 | 4.506 | ----- | ----- | ----- | ----- | 55 | BRN07sep21_017.gcd | 2021-09-07 20:45 | 169 | Unknown | 0 | 12.109 | 49966 | 9.918 | ----- | ----- | ----- | ----- | 1 |  | 3670.1833 | 9141.8147 | 4479.5242 | 9509.0465
56 | BRN07sep21_018.gcd | 2021-09-07 21:15 | 170 | Unknown | 0 | 6.007 | 197235 | 0.406 | ----- | ----- | ----- | ----- | 56 | BRN07sep21_018.gcd | 2021-09-07 21:15 | 170 | Unknown | 0 | 5.956 | 2815 | 0.87 | ----- | ----- | ----- | ----- | 56 | BRN07sep21_018.gcd | 2021-09-07 21:15 | 170 | Unknown | 0 | 12.064 | 95502 | 18.813 | ----- | ----- | ----- | ----- | 1 |  | 588.2338 | 17168.3987 | 514.5999 | 18107.8229
57 | BRN07sep21_019.gcd | 2021-09-07 21:46 | 166 | Unknown | 0 | 6.017 | 38988 | 0.076 | ----- | ----- | ----- | ----- | 57 | BRN07sep21_019.gcd | 2021-09-07 21:46 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN07sep21_019.gcd | 2021-09-07 21:46 | 166 | Unknown | 0 | 12.162 | 4869 | 0.982 | ----- | ----- | ----- | ----- | 1 |  | 121.6908 | 936.0545 | 102.1385 | 926.7093
58 | BRN07sep21_020.gcd | 2021-09-07 22:16 | 104 | Unknown | 0 | 6.011 | 28730 | 0.055 | ----- | ----- | ----- | ----- | 58 | BRN07sep21_020.gcd | 2021-09-07 22:16 | 104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN07sep21_020.gcd | 2021-09-07 22:16 | 104 | Unknown | 0 | 12.17 | 1278 | 0.264 | ----- | ----- | ----- | ----- | 1 |  | 90.0374 | 271.6687 | 75.1927 | 240.469
59 | BRN07sep21_021.gcd | 2021-09-07 22:47 | 28 | Unknown | 0 | 5.846 | 55688818 | 125.105 | ----- | ----- | ----- | ----- | 59 | BRN07sep21_021.gcd | 2021-09-07 22:47 | 28 | Unknown | 0 | 5.811 | 508762 | 127.734 | ----- | ----- | ----- | ----- | 59 | BRN07sep21_021.gcd | 2021-09-07 22:47 | 28 | Unknown | 0 | 12.018 | 143463 | 28.046 | ----- | ----- | ----- | ----- | 1 |  | 98023.6892 | 25340.9611 | 125537.7826 | 27091.6103
60 | BRN07sep21_022.gcd | 2021-09-07 23:17 | 147 | Unknown | 0 | 6.02 | 18620 | 0.034 | ----- | ----- | ----- | ----- | 60 | BRN07sep21_022.gcd | 2021-09-07 23:17 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN07sep21_022.gcd | 2021-09-07 23:17 | 147 | Unknown | 0 | 12.125 | 42057 | 8.361 | ----- | ----- | ----- | ----- | 1 |  | 58.6726 | 7721.1708 | 48.6107 | 8008.6799
61 | BRN07sep21_023.gcd | 2021-09-07 23:48 | 164 | Unknown | 0 | 6.015 | 16737 | 0.03 | ----- | ----- | ----- | ----- | 61 | BRN07sep21_023.gcd | 2021-09-07 23:48 | 164 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN07sep21_023.gcd | 2021-09-07 23:48 | 164 | Unknown | 0 | 12.119 | 42303 | 8.409 | ----- | ----- | ----- | ----- | 1 |  | 52.8125 | 7765.4765 | 43.657 | 8055.3776
62 | BRN07sep21_024.gcd | 2021-09-08 00:18 | 197 | Unknown | 0 | 5.881 | 44228929 | 97.69 | ----- | ----- | ----- | ----- | 62 | BRN07sep21_024.gcd | 2021-09-08 00:18 | 197 | Unknown | 0 | 5.844 | 385823 | 98.408 | ----- | ----- | ----- | ----- | 62 | BRN07sep21_024.gcd | 2021-09-08 00:18 | 197 | Unknown | 0 | 12.028 | 131576 | 25.77 | ----- | ----- | ----- | ----- | 1 |  | 74316.2908 | 23342.3309 | 96223.5093 | 24871.9761
63 | BRN07sep21_025.gcd | 2021-09-08 00:49 | 213 | Unknown | 0 | 6.006 | 325716 | 0.674 | ----- | ----- | ----- | ----- | 63 | BRN07sep21_025.gcd | 2021-09-08 00:49 | 213 | Unknown | 0 | 5.943 | 2410 | 0.762 | ----- | ----- | ----- | ----- | 63 | BRN07sep21_025.gcd | 2021-09-08 00:49 | 213 | Unknown | 0 | 12.072 | 84340 | 16.644 | ----- | ----- | ----- | ----- | 1 |  | 936.9528 | 15224.9682 | 845.0242 | 16006.2888
64 | BRN07sep21_026.gcd | 2021-09-08 01:20 | 130 | Unknown | 0 | 6.02 | 28438 | 0.054 | ----- | ----- | ----- | ----- | 64 | BRN07sep21_026.gcd | 2021-09-08 01:20 | 130 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN07sep21_026.gcd | 2021-09-08 01:20 | 130 | Unknown | 0 | 12.184 | 1858 | 0.38 | ----- | ----- | ----- | ----- | 1 |  | 89.1339 | 379.0865 | 74.4253 | 351.3355
65 | BRN07sep21_027.gcd | 2021-09-08 01:50 | 181 | Unknown | 0 | 6.006 | 140572 | 0.288 | ----- | ----- | ----- | ----- | 65 | BRN07sep21_027.gcd | 2021-09-08 01:50 | 181 | Unknown | 0 | 5.958 | 1682 | 0.566 | ----- | ----- | ----- | ----- | 65 | BRN07sep21_027.gcd | 2021-09-08 01:50 | 181 | Unknown | 0 | 12.005 | 146895 | 28.702 | ----- | ----- | ----- | ----- | 1 |  | 425.8783 | 25914.7031 | 367.6071 | 27731.6054
66 | BRN07sep21_028.gcd | 2021-09-08 02:21 | 177 | Unknown | 0 | 6.008 | 101514 | 0.207 | ----- | ----- | ----- | ----- | 66 | BRN07sep21_028.gcd | 2021-09-08 02:21 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN07sep21_028.gcd | 2021-09-08 02:21 | 177 | Unknown | 0 | 12.049 | 110218 | 21.66 | ----- | ----- | ----- | ----- | 1 |  | 310.9147 | 19706.7168 | 265.8324 | 20872.297
67 | BRN07sep21_029.gcd | 2021-09-08 02:51 | 173 | Unknown | 0 | 6.006 | 123535 | 0.253 | ----- | ----- | ----- | ----- | 67 | BRN07sep21_029.gcd | 2021-09-08 02:51 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN07sep21_029.gcd | 2021-09-08 02:51 | 173 | Unknown | 0 | 12.005 | 159834 | 31.168 | ----- | ----- | ----- | ----- | 1 |  | 376.0377 | 28064.4742 | 323.2586 | 30141.0101
68 | BRN07sep21_030.gcd | 2021-09-08 03:22 | 208 | Unknown | 0 | 6.015 | 196002 | 0.404 | ----- | ----- | ----- | ----- | 68 | BRN07sep21_030.gcd | 2021-09-08 03:22 | 208 | Unknown | 0 | 5.988 | 1648 | 0.557 | ----- | ----- | ----- | ----- | 68 | BRN07sep21_030.gcd | 2021-09-08 03:22 | 208 | Unknown | 0 | 12.026 | 159874 | 31.175 | ----- | ----- | ----- | ----- | 1 |  | 584.7567 | 28071.0875 | 511.4096 | 30148.4501
69 | BRN07sep21_031.gcd | 2021-09-08 03:52 | 201 | Unknown | 0 | 6.012 | 39073 | 0.077 | ----- | ----- | ----- | ----- | 69 | BRN07sep21_031.gcd | 2021-09-08 03:52 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN07sep21_031.gcd | 2021-09-08 03:52 | 201 | Unknown | 0 | 12.162 | 5847 | 1.177 | ----- | ----- | ----- | ----- | 1 |  | 121.9524 | 1116.7179 | 102.3617 | 1113.5325
70 | BRN07sep21_032.gcd | 2021-09-08 04:23 | 153 | Unknown | 0 | 6.03 | 6968 | 0.01 | ----- | ----- | ----- | ----- | 70 | BRN07sep21_032.gcd | 2021-09-08 04:23 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN07sep21_032.gcd | 2021-09-08 04:23 | 153 | Unknown | 0 | 12.157 | 11198 | 2.244 | ----- | ----- | ----- | ----- | 1 |  | 15.5092 | 2103.0681 | 17.11 | 2135.1607
71 | BRN07sep21_033.gcd | 2021-09-08 04:54 | 131 | Unknown | 0 | 6.052 | 3468 | 0.002 | ----- | ----- | ----- | ----- | 71 | BRN07sep21_033.gcd | 2021-09-08 04:54 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN07sep21_033.gcd | 2021-09-08 04:54 | 131 | Unknown | 0 | 12.143 | 29064 | 5.793 | ----- | ----- | ----- | ----- | 1 |  | 5.2655 | 5370.2728 | 5.8462 | 5539.4437
72 | BRN07sep21_034.gcd | 2021-09-08 05:24 | 77 | Unknown | 0 | 6.01 | 46372 | 0.092 | ----- | ----- | ----- | ----- | 72 | BRN07sep21_034.gcd | 2021-09-08 05:24 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN07sep21_034.gcd | 2021-09-08 05:24 | 77 | Unknown | 0 | 12.176 | 2631 | 0.535 | ----- | ----- | ----- | ----- | 1 |  | 144.3695 | 522.1829 | 121.5191 | 499.0766
73 | BRN07sep21_035.gcd | 2021-09-08 05:55 | 10 | Unknown | 0 | 6.024 | 23125 | 0.043 | ----- | ----- | ----- | ----- | 73 | BRN07sep21_035.gcd | 2021-09-08 05:55 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN07sep21_035.gcd | 2021-09-08 05:55 | 10 | Unknown | 0 | 12.137 | 41450 | 8.241 | ----- | ----- | ----- | ----- | 1 |  | 72.6693 | 7611.8147 | 60.4586 | 7893.4457
74 | BRN07sep21_036.gcd | 2021-09-08 06:25 | 122 | Unknown | 0 | 6.031 | 7282 | 0.01 | ----- | ----- | ----- | ----- | 74 | BRN07sep21_036.gcd | 2021-09-08 06:25 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN07sep21_036.gcd | 2021-09-08 06:25 | 122 | Unknown | 0 | 12.114 | 10125 | 2.03 | ----- | ----- | ----- | ----- | 1 |  | 16.4536 | 1905.5701 | 18.0511 | 1930.3751