## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
40 | BRN12oct21_002.gcd | 2021-10-12 10:28 | air + 100 | Unknown | 0 | 6.01 | 858039 | 1.785 | ----- | ----- | ----- | ----- | 40 | BRN12oct21_002.gcd | 2021-10-12 10:28 | air + 100 | Unknown | 0 | 5.964 | 7173 | 2.04 | ----- | ----- | ----- | ----- | 40 | BRN12oct21_002.gcd | 2021-10-12 10:28 | air + 100 | Unknown | 0 | 12.176 | 9208 | 1.847 | ----- | ----- | ----- | ----- | 1 |  | 1921.8217 | 1736.6711 | 2124.2246 | 1755.333
41 | BRN12oct21_003.gcd | 2021-10-12 10:58 | 204 | Unknown | 0 | 6.051 | 2275 | 0 | ----- | ----- | ----- | ----- | 41 | BRN12oct21_003.gcd | 2021-10-12 10:58 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN12oct21_003.gcd | 2021-10-12 10:58 | 204 | Unknown | 0 | 11.966 | 215531 | 41.674 | ----- | ----- | ----- | ----- | 1 |  | 1.8929 | 37078.3842 | 1.6824 | 40450.3335
42 | BRN12oct21_004.gcd | 2021-10-12 11:29 | 92 | Unknown | 0 | 6.033 | 3885 | 0.003 | ----- | ----- | ----- | ----- | 42 | BRN12oct21_004.gcd | 2021-10-12 11:29 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN12oct21_004.gcd | 2021-10-12 11:29 | 92 | Unknown | 0 | 12.133 | 31829 | 6.34 | ----- | ----- | ----- | ----- | 1 |  | 6.4587 | 5872.3352 | 7.2627 | 6065.374
43 | BRN12oct21_005.gcd | 2021-10-12 11:59 | 25 | Unknown | 0 | 6.004 | 296125 | 0.613 | ----- | ----- | ----- | ----- | 43 | BRN12oct21_005.gcd | 2021-10-12 11:59 | 25 | Unknown | 0 | 5.951 | 2638 | 0.823 | ----- | ----- | ----- | ----- | 43 | BRN12oct21_005.gcd | 2021-10-12 11:59 | 25 | Unknown | 0 | 12.12 | 43855 | 8.715 | ----- | ----- | ----- | ----- | 1 |  | 859.0262 | 8044.8239 | 769.2766 | 8349.9458
44 | BRN12oct21_006.gcd | 2021-10-12 12:30 | 93 | Unknown | 0 | 6.033 | 4041 | 0.004 | ----- | ----- | ----- | ----- | 44 | BRN12oct21_006.gcd | 2021-10-12 12:30 | 93 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN12oct21_006.gcd | 2021-10-12 12:30 | 93 | Unknown | 0 | 12.126 | 37416 | 7.444 | ----- | ----- | ----- | ----- | 1 |  | 6.9069 | 6883.8811 | 7.7874 | 7127.3179
45 | BRN12oct21_007.gcd | 2021-10-12 13:00 | 78 | Unknown | 0 | 6.028 | 6105 | 0.008 | ----- | ----- | ----- | ----- | 45 | BRN12oct21_007.gcd | 2021-10-12 13:00 | 78 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN12oct21_007.gcd | 2021-10-12 13:00 | 78 | Unknown | 0 | 12.157 | 7045 | 1.416 | ----- | ----- | ----- | ----- | 1 |  | 12.935 | 1337.8576 | 14.4646 | 1342.339
46 | BRN12oct21_008.gcd | 2021-10-12 13:31 | 143 | Unknown | 0 | 6.003 | 352011 | 0.729 | ----- | ----- | ----- | ----- | 46 | BRN12oct21_008.gcd | 2021-10-12 13:31 | 143 | Unknown | 0 | 5.95 | 2716 | 0.844 | ----- | ----- | ----- | ----- | 46 | BRN12oct21_008.gcd | 2021-10-12 13:31 | 143 | Unknown | 0 | 12.05 | 107715 | 21.177 | ----- | ----- | ----- | ----- | 1 |  | 1005 | 19276.9007 | 912.157 | 20402.593
47 | BRN12oct21_009.gcd | 2021-10-12 14:01 | 149 | Unknown | 0 | 6.05 | 2613 | 0.001 | ----- | ----- | ----- | ----- | 47 | BRN12oct21_009.gcd | 2021-10-12 14:01 | 149 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN12oct21_009.gcd | 2021-10-12 14:01 | 149 | Unknown | 0 | 11.956 | 229276 | 44.241 | ----- | ----- | ----- | ----- | 1 |  | 2.8423 | 39242.9394 | 2.8788 | 42978.9659
48 | BRN12oct21_010.gcd | 2021-10-12 14:32 | 168 | Unknown | 0 | 6.055 | 2417 | 0 | ----- | ----- | ----- | ----- | 48 | BRN12oct21_010.gcd | 2021-10-12 14:32 | 168 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN12oct21_010.gcd | 2021-10-12 14:32 | 168 | Unknown | 0 | 11.966 | 214744 | 41.527 | ----- | ----- | ----- | ----- | 1 |  | 2.2911 | 36953.73 | 2.1867 | 40305.3651
49 | BRN12oct21_011.gcd | 2021-10-12 15:02 | 153 | Unknown | 0 | 6.024 | 6761 | 0.009 | ----- | ----- | ----- | ----- | 49 | BRN12oct21_011.gcd | 2021-10-12 15:02 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN12oct21_011.gcd | 2021-10-12 15:02 | 153 | Unknown | 0 | 12.155 | 8145 | 1.635 | ----- | ----- | ----- | ----- | 1 |  | 14.8889 | 1540.7488 | 16.4833 | 1552.3873
50 | BRN12oct21_012.gcd | 2021-10-12 15:33 | 68 | Unknown | 0 | 6.012 | 213510 | 0.44 | ----- | ----- | ----- | ----- | 50 | BRN12oct21_012.gcd | 2021-10-12 15:33 | 68 | Unknown | 0 | 5.969 | 1666 | 0.562 | ----- | ----- | ----- | ----- | 50 | BRN12oct21_012.gcd | 2021-10-12 15:33 | 68 | Unknown | 0 | 12.068 | 102853 | 20.237 | ----- | ----- | ----- | ----- | 1 |  | 633.8974 | 18439.7487 | 556.6763 | 19489.6253
51 | BRN12oct21_013.gcd | 2021-10-12 16:04 | 129 | Unknown | 0 | 6.035 | 6376 | 0.008 | ----- | ----- | ----- | ----- | 51 | BRN12oct21_013.gcd | 2021-10-12 16:04 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN12oct21_013.gcd | 2021-10-12 16:04 | 129 | Unknown | 0 | 12.178 | 7373 | 1.481 | ----- | ----- | ----- | ----- | 1 |  | 13.74 | 1398.372 | 15.3046 | 1404.9757
52 | BRN12oct21_014.gcd | 2021-10-12 16:34 | 74 | Unknown | 0 | 6.036 | 5385 | 0.006 | ----- | ----- | ----- | ----- | 52 | BRN12oct21_014.gcd | 2021-10-12 16:34 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN12oct21_014.gcd | 2021-10-12 16:34 | 74 | Unknown | 0 | 12.006 | 178070 | 34.627 | ----- | ----- | ----- | ----- | 1 |  | 10.8116 | 31058.6388 | 12.1914 | 33527.5389
53 | BRN12oct21_015.gcd | 2021-10-12 17:05 | 57 | Unknown | 0 | 6.051 | 2679 | 0.001 | ----- | ----- | ----- | ----- | 53 | BRN12oct21_015.gcd | 2021-10-12 17:05 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN12oct21_015.gcd | 2021-10-12 17:05 | 57 | Unknown | 0 | 12.159 | 7490 | 1.505 | ----- | ----- | ----- | ----- | 1 |  | 3.0282 | 1419.9546 | 3.1109 | 1427.3178
54 | BRN12oct21_016.gcd | 2021-10-12 17:35 | 85 | Unknown | 0 | 6.065 | 2355 | 0 | ----- | ----- | ----- | ----- | 54 | BRN12oct21_016.gcd | 2021-10-12 17:35 | 85 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN12oct21_016.gcd | 2021-10-12 17:35 | 85 | Unknown | 0 | 11.958 | 216496 | 41.855 | ----- | ----- | ----- | ----- | 1 |  | 2.1171 | 37231.126 | 1.9668 | 40628.0626
55 | BRN12oct21_017.gcd | 2021-10-12 18:06 | 7 | Unknown | 0 | 6.065 | 2758 | 0.001 | ----- | ----- | ----- | ----- | 55 | BRN12oct21_017.gcd | 2021-10-12 18:06 | 7 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN12oct21_017.gcd | 2021-10-12 18:06 | 7 | Unknown | 0 | 12.002 | 185857 | 36.098 | ----- | ----- | ----- | ----- | 1 |  | 3.251 | 32324.4647 | 3.388 | 34970.3341
56 | BRN12oct21_018.gcd | 2021-10-12 18:36 | 16 | Unknown | 0 | 6.034 | 6388 | 0.009 | ----- | ----- | ----- | ----- | 56 | BRN12oct21_018.gcd | 2021-10-12 18:36 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN12oct21_018.gcd | 2021-10-12 18:36 | 16 | Unknown | 0 | 12.172 | 7715 | 1.55 | ----- | ----- | ----- | ----- | 1 |  | 13.7757 | 1461.4549 | 15.3416 | 1470.2822
57 | BRN12oct21_019.gcd | 2021-10-12 19:07 | 177 | Unknown | 0 | 6.063 | 2560 | 0.001 | ----- | ----- | ----- | ----- | 57 | BRN12oct21_019.gcd | 2021-10-12 19:07 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN12oct21_019.gcd | 2021-10-12 19:07 | 177 | Unknown | 0 | 12.162 | 7469 | 1.5 | ----- | ----- | ----- | ----- | 1 |  | 2.6931 | 1416.0809 | 2.6921 | 1423.3077
58 | BRN12oct21_020.gcd | 2021-10-12 19:37 | 211 | Unknown | 0 | 6.005 | 326384 | 0.676 | ----- | ----- | ----- | ----- | 58 | BRN12oct21_020.gcd | 2021-10-12 19:37 | 211 | Unknown | 0 | 5.963 | 4016 | 1.193 | ----- | ----- | ----- | ----- | 58 | BRN12oct21_020.gcd | 2021-10-12 19:37 | 211 | Unknown | 0 | 12.12 | 39329 | 7.822 | ----- | ----- | ----- | ----- | 1 |  | 938.6954 | 7229.3358 | 846.7317 | 7490.6963