## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN13oct21_001.gcd | 2021-10-13 14:49 | air | Unknown | 0 | 6.062 | 2752 | 0.001 | ----- | ----- | ----- | ----- | 39 | BRN13oct21_001.gcd | 2021-10-13 14:49 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN13oct21_001.gcd | 2021-10-13 14:49 | air | Unknown | 0 | 12.201 | 2609 | 0.53 | ----- | ----- | ----- | ----- | 1 |  | 3.2341 | 518.1113 | 3.367 | 494.8721
40 | BRN13oct21_002.gcd | 2021-10-13 15:19 | air + 100 | Unknown | 0 | 6.01 | 818936 | 1.704 | ----- | ----- | ----- | ----- | 40 | BRN13oct21_002.gcd | 2021-10-13 15:19 | air + 100 | Unknown | 0 | 5.964 | 6705 | 1.915 | ----- | ----- | ----- | ----- | 40 | BRN13oct21_002.gcd | 2021-10-13 15:19 | air + 100 | Unknown | 0 | 12.177 | 8571 | 1.72 | ----- | ----- | ----- | ----- | 1 |  | 1832.9272 | 1619.2822 | 2004.3597 | 1633.7227
41 | BRN13oct21_003.gcd | 2021-10-13 15:50 | 136 | Unknown | 0 | 6.009 | 1028587 | 2.142 | ----- | ----- | ----- | ----- | 41 | BRN13oct21_003.gcd | 2021-10-13 15:50 | 136 | Unknown | 0 | 5.96 | 8486 | 2.393 | ----- | ----- | ----- | ----- | 41 | BRN13oct21_003.gcd | 2021-10-13 15:50 | 136 | Unknown | 0 | 12.161 | 12677 | 2.538 | ----- | ----- | ----- | ----- | 1 |  | 2171.228 | 2375.0583 | 2460.4651 | 2417.3713
42 | BRN13oct21_004.gcd | 2021-10-13 16:21 | 194 | Unknown | 0 | 5.958 | 18502108 | 39.456 | ----- | ----- | ----- | ----- | 42 | BRN13oct21_004.gcd | 2021-10-13 16:21 | 194 | Unknown | 0 | 5.913 | 144393 | 38.122 | ----- | ----- | ----- | ----- | 42 | BRN13oct21_004.gcd | 2021-10-13 16:21 | 194 | Unknown | 0 | 12.055 | 107859 | 21.205 | ----- | ----- | ----- | ----- | 1 |  | 28048.2208 | 19301.6498 | 36890.019 | 20429.6211
43 | BRN13oct21_005.gcd | 2021-10-13 16:51 | 42 | Unknown | 0 | 6.008 | 69983 | 0.141 | ----- | ----- | ----- | ----- | 43 | BRN13oct21_005.gcd | 2021-10-13 16:51 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN13oct21_005.gcd | 2021-10-13 16:51 | 42 | Unknown | 0 | 12.099 | 68510 | 13.556 | ----- | ----- | ----- | ----- | 1 |  | 216.2894 | 12441.9655 | 183.402 | 13018.9357
44 | BRN13oct21_006.gcd | 2021-10-13 17:22 | 197 | Unknown | 0 | 6.018 | 11474 | 0.019 | ----- | ----- | ----- | ----- | 44 | BRN13oct21_006.gcd | 2021-10-13 17:22 | 197 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN13oct21_006.gcd | 2021-10-13 17:22 | 197 | Unknown | 0 | 12.159 | 7718 | 1.55 | ----- | ----- | ----- | ----- | 1 |  | 29.4638 | 1462.0081 | 29.807 | 1470.855
45 | BRN13oct21_007.gcd | 2021-10-13 17:52 | 27 | Unknown | 0 | 6.013 | 79619 | 0.161 | ----- | ----- | ----- | ----- | 45 | BRN13oct21_007.gcd | 2021-10-13 17:52 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN13oct21_007.gcd | 2021-10-13 17:52 | 27 | Unknown | 0 | 12.096 | 69602 | 13.769 | ----- | ----- | ----- | ----- | 1 |  | 245.3794 | 12634.9554 | 208.6186 | 13225.2738
46 | BRN13oct21_008.gcd | 2021-10-13 18:23 | 164 | Unknown | 0 | 6.027 | 9516 | 0.015 | ----- | ----- | ----- | ----- | 46 | BRN13oct21_008.gcd | 2021-10-13 18:23 | 164 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN13oct21_008.gcd | 2021-10-13 18:23 | 164 | Unknown | 0 | 12.171 | 9057 | 1.817 | ----- | ----- | ----- | ----- | 1 |  | 23.2941 | 1708.8488 | 24.417 | 1726.5066
47 | BRN13oct21_009.gcd | 2021-10-13 18:53 | 104 | Unknown | 0 | 5.832 | 60269720 | 136.352 | ----- | ----- | ----- | ----- | 47 | BRN13oct21_009.gcd | 2021-10-13 18:53 | 104 | Unknown | 0 | 5.799 | 571905 | 142.472 | ----- | ----- | ----- | ----- | 47 | BRN13oct21_009.gcd | 2021-10-13 18:53 | 104 | Unknown | 0 | 12.068 | 94651 | 18.648 | ----- | ----- | ----- | ----- | 1 |  | 110238.702 | 17020.7808 | 140358.1401 | 17947.7429
48 | BRN13oct21_010.gcd | 2021-10-13 19:24 | 28 | Unknown | 0 | 5.876 | 44952046 | 99.391 | ----- | ----- | ----- | ----- | 48 | BRN13oct21_010.gcd | 2021-10-13 19:24 | 28 | Unknown | 0 | 5.841 | 399955 | 101.824 | ----- | ----- | ----- | ----- | 48 | BRN13oct21_010.gcd | 2021-10-13 19:24 | 28 | Unknown | 0 | 12.061 | 105540 | 20.757 | ----- | ----- | ----- | ----- | 1 |  | 77036.4362 | 18902.7703 | 99624.0845 | 19994.2749
49 | BRN13oct21_011.gcd | 2021-10-13 19:54 | 113 | Unknown | 0 | 5.964 | 17886058 | 38.111 | ----- | ----- | ----- | ----- | 49 | BRN13oct21_011.gcd | 2021-10-13 19:54 | 113 | Unknown | 0 | 5.919 | 140129 | 37.022 | ----- | ----- | ----- | ----- | 49 | BRN13oct21_011.gcd | 2021-10-13 19:54 | 113 | Unknown | 0 | 12.067 | 105813 | 20.809 | ----- | ----- | ----- | ----- | 1 |  | 27234.5018 | 18949.7627 | 35821.0783 | 20045.5343
50 | BRN13oct21_012.gcd | 2021-10-13 20:25 | 145 | Unknown | 0 | 6.01 | 1090870 | 2.272 | ----- | ----- | ----- | ----- | 50 | BRN13oct21_012.gcd | 2021-10-13 20:25 | 145 | Unknown | 0 | 5.962 | 10254 | 2.866 | ----- | ----- | ----- | ----- | 50 | BRN13oct21_012.gcd | 2021-10-13 20:25 | 145 | Unknown | 0 | 12.153 | 12193 | 2.442 | ----- | ----- | ----- | ----- | 1 |  | 2507.08 | 2286.0802 | 2913.1153 | 2325.0262
51 | BRN13oct21_013.gcd | 2021-10-13 20:56 | 135 | Unknown | 0 | 5.813 | 62271164 | 141.321 | ----- | ----- | ----- | ----- | 51 | BRN13oct21_013.gcd | 2021-10-13 20:56 | 135 | Unknown | 0 | 5.783 | 625188 | 154.747 | ----- | ----- | ----- | ----- | 51 | BRN13oct21_013.gcd | 2021-10-13 20:56 | 135 | Unknown | 0 | 12.047 | 110150 | 21.647 | ----- | ----- | ----- | ----- | 1 |  | 120566.6764 | 19695.0502 | 152739.7423 | 20859.5391
52 | BRN13oct21_014.gcd | 2021-10-13 21:26 | 140 | Unknown | 0 | 5.863 | 46749306 | 103.635 | ----- | ----- | ----- | ----- | 52 | BRN13oct21_014.gcd | 2021-10-13 21:26 | 140 | Unknown | 0 | 5.829 | 429240 | 108.864 | ----- | ----- | ----- | ----- | 52 | BRN13oct21_014.gcd | 2021-10-13 21:26 | 140 | Unknown | 0 | 12.013 | 149018 | 29.107 | ----- | ----- | ----- | ----- | 1 |  | 82677.4273 | 26268.8737 | 106645.3992 | 28127.3081
53 | BRN13oct21_015.gcd | 2021-10-13 21:57 | 108 | Unknown | 0 | 6.018 | 28880 | 0.055 | ----- | ----- | ----- | ----- | 53 | BRN13oct21_015.gcd | 2021-10-13 21:57 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN13oct21_015.gcd | 2021-10-13 21:57 | 108 | Unknown | 0 | 12.174 | 9141 | 1.834 | ----- | ----- | ----- | ----- | 1 |  | 90.5015 | 1724.3265 | 75.5869 | 1742.5425
54 | BRN13oct21_016.gcd | 2021-10-13 22:27 | 186 | Unknown | 0 | 6.016 | 53502 | 0.107 | ----- | ----- | ----- | ----- | 54 | BRN13oct21_016.gcd | 2021-10-13 22:27 | 186 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN13oct21_016.gcd | 2021-10-13 22:27 | 186 | Unknown | 0 | 12.17 | 9193 | 1.844 | ----- | ----- | ----- | ----- | 1 |  | 166.1836 | 1733.9074 | 140.2206 | 1752.4694