## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN28sep21_001.gcd | 2021-09-28 14:41 | air | Unknown | 0 | 6.073 | 2699 | 0.001 | ----- | ----- | ----- | ----- | 39 | BRN28sep21_001.gcd | 2021-09-28 14:41 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN28sep21_001.gcd | 2021-09-28 14:41 | air | Unknown | 0 | 12.218 | 2736 | 0.556 | ----- | ----- | ----- | ----- | 1 |  | 3.0846 | 541.6145 | 3.1811 | 519.1435
40 | BRN28sep21_002.gcd | 2021-09-28 15:12 | air + 100 | Unknown | 0 | 6.008 | 883673 | 1.839 | ----- | ----- | ----- | ----- | 40 | BRN28sep21_002.gcd | 2021-09-28 15:12 | air + 100 | Unknown | 0 | 5.956 | 7320 | 2.08 | ----- | ----- | ----- | ----- | 40 | BRN28sep21_002.gcd | 2021-09-28 15:12 | air + 100 | Unknown | 0 | 12.179 | 9654 | 1.936 | ----- | ----- | ----- | ----- | 1 |  | 1949.744 | 1818.8315 | 2161.8726 | 1840.4714
41 | BRN28sep21_003.gcd | 2021-09-28 15:42 | 215 | Unknown | 0 | 6.025 | 5080 | 0.006 | ----- | ----- | ----- | ----- | 41 | BRN28sep21_003.gcd | 2021-09-28 15:42 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN28sep21_003.gcd | 2021-09-28 15:42 | 215 | Unknown | 0 | 12.011 | 154386 | 30.131 | ----- | ----- | ----- | ----- | 1 |  | 9.9188 | 27161.8691 | 11.2104 | 29127.1875
42 | BRN28sep21_004.gcd | 2021-09-28 16:13 | 201 | Unknown | 0 | 6.056 | 2342 | 0 | ----- | ----- | ----- | ----- | 42 | BRN28sep21_004.gcd | 2021-09-28 16:13 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN28sep21_004.gcd | 2021-09-28 16:13 | 201 | Unknown | 0 | 11.973 | 201395 | 39.024 | ----- | ----- | ----- | ----- | 1 |  | 2.0807 | 34827.5152 | 1.9206 | 37843.3613
43 | BRN28sep21_005.gcd | 2021-09-28 16:43 | 87 | Unknown | 0 | 6.025 | 8589 | 0.013 | ----- | ----- | ----- | ----- | 43 | BRN28sep21_005.gcd | 2021-09-28 16:43 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN28sep21_005.gcd | 2021-09-28 16:43 | 87 | Unknown | 0 | 12.153 | 12298 | 2.463 | ----- | ----- | ----- | ----- | 1 |  | 20.4299 | 2305.3858 | 21.8457 | 2345.0604
44 | BRN28sep21_006.gcd | 2021-09-28 17:14 | 121 | Unknown | 0 | 6.055 | 2353 | 0 | ----- | ----- | ----- | ----- | 44 | BRN28sep21_006.gcd | 2021-09-28 17:14 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN28sep21_006.gcd | 2021-09-28 17:14 | 121 | Unknown | 0 | 11.968 | 196974 | 38.193 | ----- | ----- | ----- | ----- | 1 |  | 2.1115 | 34118.4116 | 1.9597 | 37026.703
45 | BRN28sep21_007.gcd | 2021-09-28 17:44 | 175 | Unknown | 0 | 6.05 | 2884 | 0.001 | ----- | ----- | ----- | ----- | 45 | BRN28sep21_007.gcd | 2021-09-28 17:44 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN28sep21_007.gcd | 2021-09-28 17:44 | 175 | Unknown | 0 | 12.022 | 138187 | 27.037 | ----- | ----- | ----- | ----- | 1 |  | 3.607 | 24456.066 | 3.8285 | 26107.0012
46 | BRN28sep21_008.gcd | 2021-09-28 18:15 | 173 | Unknown | 0 | 6.056 | 2277 | 0 | ----- | ----- | ----- | ----- | 46 | BRN28sep21_008.gcd | 2021-09-28 18:15 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN28sep21_008.gcd | 2021-09-28 18:15 | 173 | Unknown | 0 | 11.984 | 187444 | 36.398 | ----- | ----- | ----- | ----- | 1 |  | 1.8985 | 32581.5078 | 1.6895 | 35264.1356
47 | BRN28sep21_009.gcd | 2021-09-28 18:46 | 15 | Unknown | 0 | 6.06 | 2444 | 0 | ----- | ----- | ----- | ----- | 47 | BRN28sep21_009.gcd | 2021-09-28 18:46 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN28sep21_009.gcd | 2021-09-28 18:46 | 15 | Unknown | 0 | 12.165 | 5295 | 1.067 | ----- | ----- | ----- | ----- | 1 |  | 2.3669 | 1014.7631 | 2.2823 | 1008.0901
48 | BRN28sep21_010.gcd | 2021-09-28 19:16 | 115 | Unknown | 0 | 6.055 | 3123 | 0.002 | ----- | ----- | ----- | ----- | 48 | BRN28sep21_010.gcd | 2021-09-28 19:16 | 115 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN28sep21_010.gcd | 2021-09-28 19:16 | 115 | Unknown | 0 | 12.157 | 5668 | 1.141 | ----- | ----- | ----- | ----- | 1 |  | 4.284 | 1083.6606 | 4.659 | 1079.3412
49 | BRN28sep21_011.gcd | 2021-09-28 19:47 | 88 | Unknown | 0 | 6.02 | 8376 | 0.013 | ----- | ----- | ----- | ----- | 49 | BRN28sep21_011.gcd | 2021-09-28 19:47 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN28sep21_011.gcd | 2021-09-28 19:47 | 88 | Unknown | 0 | 12.147 | 10639 | 2.132 | ----- | ----- | ----- | ----- | 1 |  | 19.7769 | 2000.1958 | 21.2408 | 2028.4784
50 | BRN28sep21_012.gcd | 2021-09-28 20:17 | 59 | Unknown | 0 | 6.013 | 243469 | 0.503 | ----- | ----- | ----- | ----- | 50 | BRN28sep21_012.gcd | 2021-09-28 20:17 | 59 | Unknown | 0 | 5.974 | 2321 | 0.738 | ----- | ----- | ----- | ----- | 50 | BRN28sep21_012.gcd | 2021-09-28 20:17 | 59 | Unknown | 0 | 12.131 | 33559 | 6.682 | ----- | ----- | ----- | ----- | 1 |  | 716.8243 | 6185.9766 | 633.9631 | 6394.3107
51 | BRN28sep21_013.gcd | 2021-09-28 20:48 | 81 | Unknown | 0 | 6.019 | 8603 | 0.013 | ----- | ----- | ----- | ----- | 51 | BRN28sep21_013.gcd | 2021-09-28 20:48 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN28sep21_013.gcd | 2021-09-28 20:48 | 81 | Unknown | 0 | 12.157 | 9690 | 1.943 | ----- | ----- | ----- | ----- | 1 |  | 20.4729 | 1825.4621 | 21.8853 | 1847.3432
52 | BRN28sep21_014.gcd | 2021-09-28 21:18 | 68 | Unknown | 0 | 6.007 | 62917 | 0.126 | ----- | ----- | ----- | ----- | 52 | BRN28sep21_014.gcd | 2021-09-28 21:18 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN28sep21_014.gcd | 2021-09-28 21:18 | 68 | Unknown | 0 | 12.094 | 66933 | 13.247 | ----- | ----- | ----- | ----- | 1 |  | 194.8615 | 12162.9969 | 164.8966 | 12720.8864
53 | BRN28sep21_015.gcd | 2021-09-28 21:49 | 44 | Unknown | 0 | 6.027 | 9777 | 0.016 | ----- | ----- | ----- | ----- | 53 | BRN28sep21_015.gcd | 2021-09-28 21:49 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN28sep21_015.gcd | 2021-09-28 21:49 | 44 | Unknown | 0 | 12.163 | 13206 | 2.644 | ----- | ----- | ----- | ----- | 1 |  | 24.1071 | 2472.2754 | 25.123 | 2518.2935
54 | BRN28sep21_016.gcd | 2021-09-28 22:19 | 179 | Unknown | 0 | 6.058 | 2488 | 0 | ----- | ----- | ----- | ----- | 54 | BRN28sep21_016.gcd | 2021-09-28 22:19 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN28sep21_016.gcd | 2021-09-28 22:19 | 179 | Unknown | 0 | 11.98 | 189794 | 36.841 | ----- | ----- | ----- | ----- | 1 |  | 2.4906 | 32961.5516 | 2.4379 | 35699.0409
55 | BRN28sep21_017.gcd | 2021-09-28 22:50 | 182 | Unknown | 0 | 6.02 | 8770 | 0.013 | ----- | ----- | ----- | ----- | 55 | BRN28sep21_017.gcd | 2021-09-28 22:50 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN28sep21_017.gcd | 2021-09-28 22:50 | 182 | Unknown | 0 | 12.148 | 10431 | 2.091 | ----- | ----- | ----- | ----- | 1 |  | 20.9862 | 1961.9077 | 22.3556 | 1988.78
56 | BRN28sep21_018.gcd | 2021-09-28 23:20 | 45 | Unknown | 0 | 6.028 | 8503 | 0.013 | ----- | ----- | ----- | ----- | 56 | BRN28sep21_018.gcd | 2021-09-28 23:20 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN28sep21_018.gcd | 2021-09-28 23:20 | 45 | Unknown | 0 | 12.163 | 11473 | 2.299 | ----- | ----- | ----- | ----- | 1 |  | 20.166 | 2153.6618 | 21.6021 | 2187.6393
57 | BRN28sep21_019.gcd | 2021-09-28 23:51 | 134 | Unknown | 0 | 6.008 | 51454 | 0.102 | ----- | ----- | ----- | ----- | 57 | BRN28sep21_019.gcd | 2021-09-28 23:51 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN28sep21_019.gcd | 2021-09-28 23:51 | 134 | Unknown | 0 | 12.091 | 65205 | 12.909 | ----- | ----- | ----- | ----- | 1 |  | 159.9263 | 11856.9583 | 134.8501 | 12394.2055
58 | BRN28sep21_020.gcd | 2021-09-29 00:22 | 71 | Unknown | 0 | 6.006 | 302770 | 0.626 | ----- | ----- | ----- | ----- | 58 | BRN28sep21_020.gcd | 2021-09-29 00:22 | 71 | Unknown | 0 | 5.957 | 2652 | 0.827 | ----- | ----- | ----- | ----- | 58 | BRN28sep21_020.gcd | 2021-09-29 00:22 | 71 | Unknown | 0 | 12.119 | 35416 | 7.049 | ----- | ----- | ----- | ----- | 1 |  | 876.65 | 6522.2244 | 786.305 | 6747.2864