## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD set at 0.2) | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN08jun22_001.gcd | 2022-06-08 10:44 | air | Unknown | 0 | 6.065 | 1707 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN08jun22_001.gcd | 2022-06-08 10:44 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN08jun22_001.gcd | 2022-06-08 10:44 | air | Unknown | 0 | 12.21 | 2079 | 0.364 | ----- | ----- | ----- | ----- | 1 |  | 49 | 0.043557 | 325.919 | 0.30835 | 420.0053 | -0.358 | 393.5765 | 0.043557 | 325.919 | -1.5898 | 196.9499 | 49 | BRN08jun22_001.gcd | 2022-06-08 10:44 | air | Unknown | 0 | 2.7 | 5132598 | 958.294 | ----- | ----- | ----- | -----
50 | BRN08jun22_002.gcd | 2022-06-08 11:15 | air + 100 | Unknown | 0 | 6.004 | 788932 | 1.59 | ----- | ----- | ----- | ----- | 50 | BRN08jun22_002.gcd | 2022-06-08 11:15 | air + 100 | Unknown | 0 | 5.957 | 6876 | 1.837 | ----- | ----- | ----- | ----- | 50 | BRN08jun22_002.gcd | 2022-06-08 11:15 | air + 100 | Unknown | 0 | 12.194 | 7445 | 1.505 | ----- | ----- | ----- | ----- | 1 |  | 50 | 1924.9433 | 1433.767 | 1865.4077 | 1411.6538 | 2048.1575 | 1418.7247 | 1924.9433 | 1433.767 | 843.6016 | 693.0727 | 50 | BRN08jun22_002.gcd | 2022-06-08 11:15 | air + 100 | Unknown | 0 | 2.708 | 4982489 | 957.022 | ----- | ----- | ----- | -----
51 | BRN08jun22_003.gcd | 2022-06-08 11:46 | yellow tank | Unknown | 0 | 6.027 | 3187 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN08jun22_003.gcd | 2022-06-08 11:46 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN08jun22_003.gcd | 2022-06-08 11:46 | yellow tank | Unknown | 0 | 12.182 | 1199 | 0.177 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.3316 | 144.0966 | 4.4657 | 257.0344 | 4.8803 | 225.3674 | 2.3316 | 144.0966 | 0.64364 | 106.1341 | 51 | BRN08jun22_003.gcd | 2022-06-08 11:46 | yellow tank | Unknown | 0 | 2.704 | 5098516 | 958.021 | ----- | ----- | ----- | -----
52 | BRN08jun22_004.gcd | 2022-06-08 12:16 | 106 | Unknown | 0 | 6.003 | 2048754 | 4.145 | ----- | ----- | ----- | ----- | 52 | BRN08jun22_004.gcd | 2022-06-08 12:16 | 106 | Unknown | 0 | 5.957 | 16307 | 4.148 | ----- | ----- | ----- | ----- | 52 | BRN08jun22_004.gcd | 2022-06-08 12:16 | 106 | Unknown | 0 | 12.124 | 50836 | 10.616 | ----- | ----- | ----- | ----- | 1 |  | 52 | 4251.1062 | 10338.1499 | 3657.0728 | 9297.608 | 4461.8778 | 9673.9645 | 4251.1062 | 10338.1499 | 2271.9346 | 1066.0045 | 52 | BRN08jun22_004.gcd | 2022-06-08 12:16 | 106 | Unknown | 0 | 2.851 | 1007570 | 0 | ----- | ----- | ----- | -----
53 | BRN08jun22_005.gcd | 2022-06-08 12:47 | 171 | Unknown | 0 | 6.015 | 8887 | 0.013 | ----- | ----- | ----- | ----- | 53 | BRN08jun22_005.gcd | 2022-06-08 12:47 | 171 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN08jun22_005.gcd | 2022-06-08 12:47 | 171 | Unknown | 0 | 12.151 | 15430 | 3.197 | ----- | ----- | ----- | ----- | 1 |  | 53 | 17.0904 | 3079.6051 | 21.3466 | 2880.6074 | 22.6832 | 2942.4867 | 17.0904 | 3079.6051 | 9.8675 | 1247.9743 | 53 | BRN08jun22_005.gcd | 2022-06-08 12:47 | 171 | Unknown | 0 | 2.826 | 1487807 | 0 | ----- | ----- | ----- | -----
54 | BRN08jun22_006.gcd | 2022-06-08 13:17 | 173 | Unknown | 0 | 5.997 | 2701249 | 5.472 | ----- | ----- | ----- | ----- | 54 | BRN08jun22_006.gcd | 2022-06-08 13:17 | 173 | Unknown | 0 | 5.953 | 20596 | 5.198 | ----- | ----- | ----- | ----- | 54 | BRN08jun22_006.gcd | 2022-06-08 13:17 | 173 | Unknown | 0 | 12.105 | 48795 | 10.192 | ----- | ----- | ----- | ----- | 1 |  | 54 | 5307.8507 | 9921.4646 | 4472.0739 | 8931.9706 | 5558.4008 | 9287.0317 | 5307.8507 | 9921.4646 | 3095.1002 | 1193.6227 | 54 | BRN08jun22_006.gcd | 2022-06-08 13:17 | 173 | Unknown | 0 | 2.828 | 1437979 | 0 | ----- | ----- | ----- | -----
55 | BRN08jun22_007.gcd | 2022-06-08 13:48 | 16 | Unknown | 0 | 6.008 | 28474 | 0.053 | ----- | ----- | ----- | ----- | 55 | BRN08jun22_007.gcd | 2022-06-08 13:48 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN08jun22_007.gcd | 2022-06-08 13:48 | 16 | Unknown | 0 | 12.151 | 4876 | 0.959 | ----- | ----- | ----- | ----- | 1 |  | 55 | 64.3217 | 903.5625 | 89.2453 | 937.348 | 74.5199 | 928.0466 | 64.3217 | 903.5625 | 49.0922 | 467.9104 | 55 | BRN08jun22_007.gcd | 2022-06-08 13:48 | 16 | Unknown | 0 | 2.827 | 1457280 | 0 | ----- | ----- | ----- | -----
56 | BRN08jun22_008.gcd | 2022-06-08 14:18 | 160 | Unknown | 0 | 6.054 | 1684 | -0.001 | ----- | ----- | ----- | ----- | 56 | BRN08jun22_008.gcd | 2022-06-08 14:18 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN08jun22_008.gcd | 2022-06-08 14:18 | 160 | Unknown | 0 | 12.091 | 71185 | 14.821 | ----- | ----- | ----- | ----- | 1 |  | 56 | 0.013021 | 14480.9219 | 0.24448 | 12914.4543 | -0.44141 | 13524.3196 | 0.013021 | 14480.9219 | -1.624 | -990.0202 | 56 | BRN08jun22_008.gcd | 2022-06-08 14:18 | 160 | Unknown | 0 | 2.84 | 1168804 | 0 | ----- | ----- | ----- | -----
57 | BRN08jun22_009.gcd | 2022-06-08 14:49 | 87 | Unknown | 0 | 6.013 | 13575 | 0.023 | ----- | ----- | ----- | ----- | 57 | BRN08jun22_009.gcd | 2022-06-08 14:49 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN08jun22_009.gcd | 2022-06-08 14:49 | 87 | Unknown | 0 | 12.11 | 44404 | 9.278 | ----- | ----- | ----- | ----- | 1 |  | 57 | 29.3893 | 9024.2886 | 36.2653 | 8143.567 | 35.3367 | 8454.1267 | 29.3893 | 9024.2886 | 18.194 | 1419.6024 | 57 | BRN08jun22_009.gcd | 2022-06-08 14:49 | 87 | Unknown | 0 | 2.845 | 1113538 | 0 | ----- | ----- | ----- | -----
58 | BRN08jun22_010.gcd | 2022-06-08 15:19 | 169 | Unknown | 0 | 6.002 | 34932 | 0.066 | ----- | ----- | ----- | ----- | 58 | BRN08jun22_010.gcd | 2022-06-08 15:19 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN08jun22_010.gcd | 2022-06-08 15:19 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 58 | 79.4521 | #VALUE! | 109.1956 | #VALUE! | 91.4872 | #VALUE! | 79.4521 | #VALUE! | 64.5815 | #VALUE! | 58 | BRN08jun22_010.gcd | 2022-06-08 15:19 | 169 | Unknown | 0 | 2.819 | 1567905 | 0 | ----- | ----- | ----- | -----
59 | BRN08jun22_011.gcd | 2022-06-08 15:50 | 120 | Unknown | 0 | 6.012 | 16626 | 0.029 | ----- | ----- | ----- | ----- | 59 | BRN08jun22_011.gcd | 2022-06-08 15:50 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN08jun22_011.gcd | 2022-06-08 15:50 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 59 | 36.5456 | #VALUE! | 52.4668 | #VALUE! | 43.365 | #VALUE! | 36.5456 | #VALUE! | 23.9718 | #VALUE! | 59 | BRN08jun22_011.gcd | 2022-06-08 15:50 | 120 | Unknown | 0 | 2.832 | 1397096 | 0 | ----- | ----- | ----- | -----
60 | BRN08jun22_012.gcd | 2022-06-08 16:21 | 142 | Unknown | 0 | 6.008 | 52017 | 0.1 | ----- | ----- | ----- | ----- | 60 | BRN08jun22_012.gcd | 2022-06-08 16:21 | 142 | Unknown | 0 | 5.961 | 481 | 0.268 | ----- | ----- | ----- | ----- | 60 | BRN08jun22_012.gcd | 2022-06-08 16:21 | 142 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 60 | 119.448 | #VALUE! | 161.6471 | #VALUE! | 136.3266 | #VALUE! | 119.448 | #VALUE! | 111.6733 | #VALUE! | 60 | BRN08jun22_012.gcd | 2022-06-08 16:21 | 142 | Unknown | 0 | 2.858 | 908390 | 0 | ----- | ----- | ----- | -----
61 | BRN08jun22_013.gcd | 2022-06-08 16:51 | 34 | Unknown | 0 | 5.999 | 88418 | 0.174 | ----- | ----- | ----- | ----- | 61 | BRN08jun22_013.gcd | 2022-06-08 16:51 | 34 | Unknown | 0 | 5.96 | 984 | 0.391 | ----- | ----- | ----- | ----- | 61 | BRN08jun22_013.gcd | 2022-06-08 16:51 | 34 | Unknown | 0 | 12.144 | 2870 | 0.533 | ----- | ----- | ----- | ----- | 1 |  | 61 | 204.5058 | 489.3188 | 271.8103 | 566.411 | 231.6252 | 544.7521 | 204.5058 | 489.3188 | 241.5999 | 276.3076 | 61 | BRN08jun22_013.gcd | 2022-06-08 16:51 | 34 | Unknown | 0 | 2.84 | 1093759 | 0 | ----- | ----- | ----- | -----
62 | BRN08jun22_014.gcd | 2022-06-08 17:22 | 158 | Unknown | 0 | 6.035 | 2045 | -0.001 | ----- | ----- | ----- | ----- | 62 | BRN08jun22_014.gcd | 2022-06-08 17:22 | 158 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN08jun22_014.gcd | 2022-06-08 17:22 | 158 | Unknown | 0 | 12.08 | 77606 | 16.14 | ----- | ----- | ----- | ----- | 1 |  | 62 | 0.51002 | 15783.7611 | 1.2496 | 14044.9381 | 0.86069 | 14736.4802 | 0.51002 | 15783.7611 | -1.0856 | -1934.4371 | 62 | BRN08jun22_014.gcd | 2022-06-08 17:22 | 158 | Unknown | 0 | 2.844 | 1134442 | 0 | ----- | ----- | ----- | -----
63 | BRN08jun22_015.gcd | 2022-06-08 17:52 | 80 | Unknown | 0 | 6.035 | 2644 | 0.001 | ----- | ----- | ----- | ----- | 63 | BRN08jun22_015.gcd | 2022-06-08 17:52 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN08jun22_015.gcd | 2022-06-08 17:52 | 80 | Unknown | 0 | 12.163 | 6176 | 1.236 | ----- | ----- | ----- | ----- | 1 |  | 63 | 1.4182 | 1171.9058 | 2.9296 | 1177.4662 | 2.9879 | 1176.373 | 1.4182 | 1171.9058 | -0.18352 | 584.6876 | 63 | BRN08jun22_015.gcd | 2022-06-08 17:52 | 80 | Unknown | 0 | 2.855 | 952058 | 0 | ----- | ----- | ----- | -----
64 | BRN08jun22_016.gcd | 2022-06-08 18:23 | 22 | Unknown | 0 | 6.012 | 12661 | 0.021 | ----- | ----- | ----- | ----- | 64 | BRN08jun22_016.gcd | 2022-06-08 18:23 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN08jun22_016.gcd | 2022-06-08 18:23 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 64 | 27.2451 | #VALUE! | 33.2834 | #VALUE! | 32.9313 | #VALUE! | 27.2451 | #VALUE! | 16.5182 | #VALUE! | 64 | BRN08jun22_016.gcd | 2022-06-08 18:23 | 22 | Unknown | 0 | 2.844 | 1195853 | 0 | ----- | ----- | ----- | -----
65 | BRN08jun22_017.gcd | 2022-06-08 18:53 | 118 | Unknown | 0 | 6.042 | 1606 | -0.002 | ----- | ----- | ----- | ----- | 65 | BRN08jun22_017.gcd | 2022-06-08 18:53 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN08jun22_017.gcd | 2022-06-08 18:53 | 118 | Unknown | 0 | 12.074 | 73929 | 15.385 | ----- | ----- | ----- | ----- | 1 |  | 65 | -0.089388 | 15037.9448 | 0.028039 | 13398.1974 | -0.72473 | 14042.4978 | -0.089388 | 15037.9448 | -1.7398 | -1376.2604 | 65 | BRN08jun22_017.gcd | 2022-06-08 18:53 | 118 | Unknown | 0 | 2.837 | 1228367 | 0 | ----- | ----- | ----- | -----
66 | BRN08jun22_018.gcd | 2022-06-08 19:24 | 48 | Unknown | 0 | 6.014 | 4991 | 0.005 | ----- | ----- | ----- | ----- | 66 | BRN08jun22_018.gcd | 2022-06-08 19:24 | 48 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN08jun22_018.gcd | 2022-06-08 19:24 | 48 | Unknown | 0 | 12.134 | 14980 | 3.102 | ----- | ----- | ----- | ----- | 1 |  | 66 | 5.9814 | 2986.9393 | 9.659 | 2798.0364 | 10.9221 | 2856.6692 | 5.9814 | 2986.9393 | 3.4561 | 1222.5346 | 66 | BRN08jun22_018.gcd | 2022-06-08 19:24 | 48 | Unknown | 0 | 2.83 | 1271383 | 0 | ----- | ----- | ----- | -----
67 | BRN08jun22_019.gcd | 2022-06-08 19:54 | 186 (196) | Unknown | 0 | 6.007 | 27437 | 0.051 | ----- | ----- | ----- | ----- | 67 | BRN08jun22_019.gcd | 2022-06-08 19:54 | 186 (196) | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN08jun22_019.gcd | 2022-06-08 19:54 | 186 (196) | Unknown | 0 | 12.149 | 5723 | 1.139 | ----- | ----- | ----- | ----- | 1 |  | 67 | 61.8914 | 1078.4083 | 86.0354 | 1093.8183 | 71.7944 | 1089.847 | 61.8914 | 1078.4083 | 46.7231 | 544.6552 | 67 | BRN08jun22_019.gcd | 2022-06-08 19:54 | 186 (196) | Unknown | 0 | 2.836 | 1283617 | 0 | ----- | ----- | ----- | -----
68 | BRN08jun22_020.gcd | 2022-06-08 20:25 | 113 | Unknown | 0 | 5.998 | 47082 | 0.09 | ----- | ----- | ----- | ----- | 68 | BRN08jun22_020.gcd | 2022-06-08 20:25 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN08jun22_020.gcd | 2022-06-08 20:25 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 68 | 107.9 | #VALUE! | 146.5455 | #VALUE! | 123.382 | #VALUE! | 107.9 | #VALUE! | 97.1595 | #VALUE! | 68 | BRN08jun22_020.gcd | 2022-06-08 20:25 | 113 | Unknown | 0 | 2.823 | 1416288 | 0 | ----- | ----- | ----- | -----
69 | BRN08jun22_021.gcd | 2022-06-08 20:55 | 72 | Unknown | 0 | 6.009 | 23874 | 0.043 | ----- | ----- | ----- | ----- | 69 | BRN08jun22_021.gcd | 2022-06-08 20:55 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN08jun22_021.gcd | 2022-06-08 20:55 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 69 | 53.5402 | #VALUE! | 74.9932 | #VALUE! | 62.428 | #VALUE! | 53.5402 | #VALUE! | 38.8324 | #VALUE! | 69 | BRN08jun22_021.gcd | 2022-06-08 20:55 | 72 | Unknown | 0 | 2.853 | 982633 | 0 | ----- | ----- | ----- | -----
70 | BRN08jun22_022.gcd | 2022-06-08 21:26 | 68 | Unknown | 0 | 5.943 | 23722991 | 49.792 | ----- | ----- | ----- | ----- | 70 | BRN08jun22_022.gcd | 2022-06-08 21:26 | 68 | Unknown | 0 | 5.898 | 179346 | 43.387 | ----- | ----- | ----- | ----- | 70 | BRN08jun22_022.gcd | 2022-06-08 21:26 | 68 | Unknown | 0 | 12.088 | 60320 | 12.581 | ----- | ----- | ----- | ----- | 1 |  | 70 | 43919.8391 | 12271.5894 | 34722.9674 | 10989.7692 | 45624.8631 | 11470.164 | 43919.8391 | 12271.5894 | 109916.3719 | 284.994 | 70 | BRN08jun22_022.gcd | 2022-06-08 21:26 | 68 | Unknown | 0 | 2.86 | 798047 | 0 | ----- | ----- | ----- | -----
71 | BRN08jun22_023.gcd | 2022-06-08 21:57 | 148 | Unknown | 0 | 6.044 | 1870 | -0.001 | ----- | ----- | ----- | ----- | 71 | BRN08jun22_023.gcd | 2022-06-08 21:57 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN08jun22_023.gcd | 2022-06-08 21:57 | 148 | Unknown | 0 | 12.087 | 66917 | 13.943 | ----- | ----- | ----- | ----- | 1 |  | 71 | 0.26436 | 13613.7683 | 0.76166 | 12160.165 | 0.23136 | 12717.862 | 0.26436 | 13613.7683 | -1.3471 | -440.7396 | 71 | BRN08jun22_023.gcd | 2022-06-08 21:57 | 148 | Unknown | 0 | 2.844 | 1150932 | 0 | ----- | ----- | ----- | -----
72 | BRN08jun22_024.gcd | 2022-06-08 22:27 | 10 | Unknown | 0 | 6.032 | 1645 | -0.001 | ----- | ----- | ----- | ----- | 72 | BRN08jun22_024.gcd | 2022-06-08 22:27 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN08jun22_024.gcd | 2022-06-08 22:27 | 10 | Unknown | 0 | 12.055 | 79147 | 16.455 | ----- | ----- | ----- | ----- | 1 |  | 72 | -0.038404 | 16096.1213 | 0.13623 | 14315.477 | -0.58298 | 15027.1917 | -0.038404 | 16096.1213 | -1.6819 | -2182.1947 | 72 | BRN08jun22_024.gcd | 2022-06-08 22:27 | 10 | Unknown | 0 | 2.805 | 1756638 | 0 | ----- | ----- | ----- | -----
73 | BRN08jun22_025.gcd | 2022-06-08 22:58 | 27 | Unknown | 0 | 6.025 | 2865 | 0.001 | ----- | ----- | ----- | ----- | 73 | BRN08jun22_025.gcd | 2022-06-08 22:58 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN08jun22_025.gcd | 2022-06-08 22:58 | 27 | Unknown | 0 | 12.159 | 5631 | 1.12 | ----- | ----- | ----- | ----- | 1 |  | 73 | 1.7796 | 1059.4185 | 3.5532 | 1076.8271 | 3.7622 | 1072.2736 | 1.7796 | 1059.4185 | 0.15205 | 536.4387 | 73 | BRN08jun22_025.gcd | 2022-06-08 22:58 | 27 | Unknown | 0 | 2.832 | 1407946 | 0 | ----- | ----- | ----- | -----
74 | BRN08jun22_026.gcd | 2022-06-08 23:28 | 123 | Unknown | 0 | 6.024 | 4063 | 0.003 | ----- | ----- | ----- | ----- | 74 | BRN08jun22_026.gcd | 2022-06-08 23:28 | 123 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN08jun22_026.gcd | 2022-06-08 23:28 | 123 | Unknown | 0 | 12.094 | 58633 | 12.232 | ----- | ----- | ----- | ----- | 1 |  | 74 | 3.9858 | 11928.0077 | 6.9702 | 10689.5957 | 7.8612 | 11150.8725 | 3.9858 | 11928.0077 | 1.997 | 446.5431 | 74 | BRN08jun22_026.gcd | 2022-06-08 23:28 | 123 | Unknown | 0 | 2.842 | 1163299 | 0 | ----- | ----- | ----- | -----
75 | BRN08jun22_027.gcd | 2022-06-08 23:59 | 104 | Unknown | 0 | 6.035 | 1823 | -0.001 | ----- | ----- | ----- | ----- | 75 | BRN08jun22_027.gcd | 2022-06-08 23:59 | 104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN08jun22_027.gcd | 2022-06-08 23:59 | 104 | Unknown | 0 | 12.068 | 75263 | 15.659 | ----- | ----- | ----- | ----- | 1 |  | 75 | 0.1999 | 15308.6036 | 0.63084 | 13633.0283 | 0.061742 | 14294.3225 | 0.1999 | 15308.6036 | -1.4172 | -1573.3886 | 75 | BRN08jun22_027.gcd | 2022-06-08 23:59 | 104 | Unknown | 0 | 2.809 | 1651028 | 0 | ----- | ----- | ----- | -----
76 | BRN08jun22_028.gcd | 2022-06-09 00:29 | 12 | Unknown | 0 | 5.997 | 57174 | 0.111 | ----- | ----- | ----- | ----- | 76 | BRN08jun22_028.gcd | 2022-06-09 00:29 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN08jun22_028.gcd | 2022-06-09 00:29 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 76 | 131.5113 | #VALUE! | 177.3857 | #VALUE! | 149.8472 | #VALUE! | 131.5113 | #VALUE! | 127.6312 | #VALUE! | 76 | BRN08jun22_028.gcd | 2022-06-09 00:29 | 12 | Unknown | 0 | 2.831 | 1253785 | 0 | ----- | ----- | ----- | -----
77 | BRN08jun22_029.gcd | 2022-06-09 01:00 | 215 | Unknown | 0 | 6.006 | 46871 | 0.09 | ----- | ----- | ----- | ----- | 77 | BRN08jun22_029.gcd | 2022-06-09 01:00 | 215 | Unknown | 0 | 5.967 | 539 | 0.282 | ----- | ----- | ----- | ----- | 77 | BRN08jun22_029.gcd | 2022-06-09 01:00 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 77 | 107.4062 | #VALUE! | 145.8989 | #VALUE! | 122.8284 | #VALUE! | 107.4062 | #VALUE! | 96.5554 | #VALUE! | 77 | BRN08jun22_029.gcd | 2022-06-09 01:00 | 215 | Unknown | 0 | 2.837 | 1321271 | 0 | ----- | ----- | ----- | -----
78 | BRN08jun22_030.gcd | 2022-06-09 01:30 | 145 | Unknown | 0 | 5.945 | 22942191 | 48.088 | ----- | ----- | ----- | ----- | 78 | BRN08jun22_030.gcd | 2022-06-09 01:30 | 145 | Unknown | 0 | 5.9 | 175106 | 42.382 | ----- | ----- | ----- | ----- | 78 | BRN08jun22_030.gcd | 2022-06-09 01:30 | 145 | Unknown | 0 | 12.067 | 87350 | 18.132 | ----- | ----- | ----- | ----- | 1 |  | 78 | 42901.2609 | 17756.8268 | 33912.8544 | 15750.5835 | 44567.8898 | 16573.3978 | 42901.2609 | 17756.8268 | 105130.7076 | -3638.5294 | 78 | BRN08jun22_030.gcd | 2022-06-09 01:30 | 145 | Unknown | 0 | 2.837 | 1217046 | 0 | ----- | ----- | ----- | -----
79 | BRN08jun22_031.gcd | 2022-06-09 02:01 | 26 | Unknown | 0 | 6.021 | 4479 | 0.004 | ----- | ----- | ----- | ----- | 79 | BRN08jun22_031.gcd | 2022-06-09 02:01 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN08jun22_031.gcd | 2022-06-09 02:01 | 26 | Unknown | 0 | 12.092 | 60974 | 12.716 | ----- | ----- | ----- | ----- | 1 |  | 79 | 4.8494 | 12404.7468 | 8.171 | 11106.0415 | 9.2457 | 11593.9189 | 4.8494 | 12404.7468 | 2.6478 | 219.7329 | 79 | BRN08jun22_031.gcd | 2022-06-09 02:01 | 26 | Unknown | 0 | 2.844 | 1168310 | 0 | ----- | ----- | ----- | -----
80 | BRN08jun22_032.gcd | 2022-06-09 02:32 | 30 | Unknown | 0 | 6.007 | 28057 | 0.052 | ----- | ----- | ----- | ----- | 80 | BRN08jun22_032.gcd | 2022-06-09 02:32 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN08jun22_032.gcd | 2022-06-09 02:32 | 30 | Unknown | 0 | 12.152 | 2700 | 0.497 | ----- | ----- | ----- | ----- | 1 |  | 80 | 63.3444 | 454.204 | 87.9547 | 534.9524 | 73.4239 | 512.2635 | 63.3444 | 454.204 | 48.1356 | 259.4338 | 80 | BRN08jun22_032.gcd | 2022-06-09 02:32 | 30 | Unknown | 0 | 2.829 | 1457592 | 0 | ----- | ----- | ----- | -----
81 | BRN08jun22_033.gcd | 2022-06-09 03:02 | 128 | Unknown | 0 | 6.009 | 11742 | 0.019 | ----- | ----- | ----- | ----- | 81 | BRN08jun22_033.gcd | 2022-06-09 03:02 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN08jun22_033.gcd | 2022-06-09 03:02 | 128 | Unknown | 0 | 12.109 | 45618 | 9.531 | ----- | ----- | ----- | ----- | 1 |  | 81 | 25.0891 | 9272.4334 | 30.3209 | 8361.7827 | 30.5124 | 8684.4665 | 25.0891 | 9272.4334 | 14.8588 | 1363.7586 | 81 | BRN08jun22_033.gcd | 2022-06-09 03:02 | 128 | Unknown | 0 | 2.829 | 1396634 | 0 | ----- | ----- | ----- | -----

## sorted
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD set at 0.2) | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN08jun22_001.gcd | 2022-06-08 10:44 | air | Unknown | 0 | 6.065 | 1707 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN08jun22_001.gcd | 2022-06-08 10:44 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN08jun22_001.gcd | 2022-06-08 10:44 | air | Unknown | 0 | 12.21 | 2079 | 0.364 | ----- | ----- | ----- | ----- | 1 |  | 49 | 0.043557 | 325.919 | 0.30835 | 420.0053 | -0.358 | 393.5765 | 0.043557 | 325.919 | -1.5898 | 196.9499 | 49 | BRN08jun22_001.gcd | 2022-06-08 10:44 | air | Unknown | 0 | 2.7 | 5132598 | 958.294 | ----- | ----- | ----- | -----
50 | BRN08jun22_002.gcd | 2022-06-08 11:15 | air + 100 | Unknown | 0 | 6.004 | 788932 | 1.59 | ----- | ----- | ----- | ----- | 50 | BRN08jun22_002.gcd | 2022-06-08 11:15 | air + 100 | Unknown | 0 | 5.957 | 6876 | 1.837 | ----- | ----- | ----- | ----- | 50 | BRN08jun22_002.gcd | 2022-06-08 11:15 | air + 100 | Unknown | 0 | 12.194 | 7445 | 1.505 | ----- | ----- | ----- | ----- | 1 |  | 50 | 1924.9433 | 1433.767 | 1865.4077 | 1411.6538 | 2048.1575 | 1418.7247 | 1924.9433 | 1433.767 | 843.6016 | 693.0727 | 50 | BRN08jun22_002.gcd | 2022-06-08 11:15 | air + 100 | Unknown | 0 | 2.708 | 4982489 | 957.022 | ----- | ----- | ----- | -----
51 | BRN08jun22_003.gcd | 2022-06-08 11:46 | yellow tank | Unknown | 0 | 6.027 | 3187 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN08jun22_003.gcd | 2022-06-08 11:46 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN08jun22_003.gcd | 2022-06-08 11:46 | yellow tank | Unknown | 0 | 12.182 | 1199 | 0.177 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.3316 | 144.0966 | 4.4657 | 257.0344 | 4.8803 | 225.3674 | 2.3316 | 144.0966 | 0.64364 | 106.1341 | 51 | BRN08jun22_003.gcd | 2022-06-08 11:46 | yellow tank | Unknown | 0 | 2.704 | 5098516 | 958.021 | ----- | ----- | ----- | -----
65 | BRN08jun22_017.gcd | 2022-06-08 18:53 | 118 | Unknown | 0 | 6.042 | 1606 | -0.002 | ----- | ----- | ----- | ----- | 65 | BRN08jun22_017.gcd | 2022-06-08 18:53 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN08jun22_017.gcd | 2022-06-08 18:53 | 118 | Unknown | 0 | 12.074 | 73929 | 15.385 | ----- | ----- | ----- | ----- | 1 |  | 65 | -0.089388 | 15037.9448 | 0.028039 | 13398.1974 | -0.72473 | 14042.4978 | -0.089388 | 15037.9448 | -1.7398 | -1376.2604 | 65 | BRN08jun22_017.gcd | 2022-06-08 18:53 | 118 | Unknown | 0 | 2.837 | 1228367 | 0 | ----- | ----- | ----- | -----
72 | BRN08jun22_024.gcd | 2022-06-08 22:27 | 10 | Unknown | 0 | 6.032 | 1645 | -0.001 | ----- | ----- | ----- | ----- | 72 | BRN08jun22_024.gcd | 2022-06-08 22:27 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN08jun22_024.gcd | 2022-06-08 22:27 | 10 | Unknown | 0 | 12.055 | 79147 | 16.455 | ----- | ----- | ----- | ----- | 1 |  | 72 | -0.038404 | 16096.1213 | 0.13623 | 14315.477 | -0.58298 | 15027.1917 | -0.038404 | 16096.1213 | -1.6819 | -2182.1947 | 72 | BRN08jun22_024.gcd | 2022-06-08 22:27 | 10 | Unknown | 0 | 2.805 | 1756638 | 0 | ----- | ----- | ----- | -----
56 | BRN08jun22_008.gcd | 2022-06-08 14:18 | 160 | Unknown | 0 | 6.054 | 1684 | -0.001 | ----- | ----- | ----- | ----- | 56 | BRN08jun22_008.gcd | 2022-06-08 14:18 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN08jun22_008.gcd | 2022-06-08 14:18 | 160 | Unknown | 0 | 12.091 | 71185 | 14.821 | ----- | ----- | ----- | ----- | 1 |  | 56 | 0.013021 | 14480.9219 | 0.24448 | 12914.4543 | -0.44141 | 13524.3196 | 0.013021 | 14480.9219 | -1.624 | -990.0202 | 56 | BRN08jun22_008.gcd | 2022-06-08 14:18 | 160 | Unknown | 0 | 2.84 | 1168804 | 0 | ----- | ----- | ----- | -----
75 | BRN08jun22_027.gcd | 2022-06-08 23:59 | 104 | Unknown | 0 | 6.035 | 1823 | -0.001 | ----- | ----- | ----- | ----- | 75 | BRN08jun22_027.gcd | 2022-06-08 23:59 | 104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN08jun22_027.gcd | 2022-06-08 23:59 | 104 | Unknown | 0 | 12.068 | 75263 | 15.659 | ----- | ----- | ----- | ----- | 1 |  | 75 | 0.1999 | 15308.6036 | 0.63084 | 13633.0283 | 0.061742 | 14294.3225 | 0.1999 | 15308.6036 | -1.4172 | -1573.3886 | 75 | BRN08jun22_027.gcd | 2022-06-08 23:59 | 104 | Unknown | 0 | 2.809 | 1651028 | 0 | ----- | ----- | ----- | -----
71 | BRN08jun22_023.gcd | 2022-06-08 21:57 | 148 | Unknown | 0 | 6.044 | 1870 | -0.001 | ----- | ----- | ----- | ----- | 71 | BRN08jun22_023.gcd | 2022-06-08 21:57 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN08jun22_023.gcd | 2022-06-08 21:57 | 148 | Unknown | 0 | 12.087 | 66917 | 13.943 | ----- | ----- | ----- | ----- | 1 |  | 71 | 0.26436 | 13613.7683 | 0.76166 | 12160.165 | 0.23136 | 12717.862 | 0.26436 | 13613.7683 | -1.3471 | -440.7396 | 71 | BRN08jun22_023.gcd | 2022-06-08 21:57 | 148 | Unknown | 0 | 2.844 | 1150932 | 0 | ----- | ----- | ----- | -----
62 | BRN08jun22_014.gcd | 2022-06-08 17:22 | 158 | Unknown | 0 | 6.035 | 2045 | -0.001 | ----- | ----- | ----- | ----- | 62 | BRN08jun22_014.gcd | 2022-06-08 17:22 | 158 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN08jun22_014.gcd | 2022-06-08 17:22 | 158 | Unknown | 0 | 12.08 | 77606 | 16.14 | ----- | ----- | ----- | ----- | 1 |  | 62 | 0.51002 | 15783.7611 | 1.2496 | 14044.9381 | 0.86069 | 14736.4802 | 0.51002 | 15783.7611 | -1.0856 | -1934.4371 | 62 | BRN08jun22_014.gcd | 2022-06-08 17:22 | 158 | Unknown | 0 | 2.844 | 1134442 | 0 | ----- | ----- | ----- | -----
63 | BRN08jun22_015.gcd | 2022-06-08 17:52 | 80 | Unknown | 0 | 6.035 | 2644 | 0.001 | ----- | ----- | ----- | ----- | 63 | BRN08jun22_015.gcd | 2022-06-08 17:52 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN08jun22_015.gcd | 2022-06-08 17:52 | 80 | Unknown | 0 | 12.163 | 6176 | 1.236 | ----- | ----- | ----- | ----- | 1 |  | 63 | 1.4182 | 1171.9058 | 2.9296 | 1177.4662 | 2.9879 | 1176.373 | 1.4182 | 1171.9058 | -0.18352 | 584.6876 | 63 | BRN08jun22_015.gcd | 2022-06-08 17:52 | 80 | Unknown | 0 | 2.855 | 952058 | 0 | ----- | ----- | ----- | -----
73 | BRN08jun22_025.gcd | 2022-06-08 22:58 | 27 | Unknown | 0 | 6.025 | 2865 | 0.001 | ----- | ----- | ----- | ----- | 73 | BRN08jun22_025.gcd | 2022-06-08 22:58 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN08jun22_025.gcd | 2022-06-08 22:58 | 27 | Unknown | 0 | 12.159 | 5631 | 1.12 | ----- | ----- | ----- | ----- | 1 |  | 73 | 1.7796 | 1059.4185 | 3.5532 | 1076.8271 | 3.7622 | 1072.2736 | 1.7796 | 1059.4185 | 0.15205 | 536.4387 | 73 | BRN08jun22_025.gcd | 2022-06-08 22:58 | 27 | Unknown | 0 | 2.832 | 1407946 | 0 | ----- | ----- | ----- | -----
74 | BRN08jun22_026.gcd | 2022-06-08 23:28 | 123 | Unknown | 0 | 6.024 | 4063 | 0.003 | ----- | ----- | ----- | ----- | 74 | BRN08jun22_026.gcd | 2022-06-08 23:28 | 123 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN08jun22_026.gcd | 2022-06-08 23:28 | 123 | Unknown | 0 | 12.094 | 58633 | 12.232 | ----- | ----- | ----- | ----- | 1 |  | 74 | 3.9858 | 11928.0077 | 6.9702 | 10689.5957 | 7.8612 | 11150.8725 | 3.9858 | 11928.0077 | 1.997 | 446.5431 | 74 | BRN08jun22_026.gcd | 2022-06-08 23:28 | 123 | Unknown | 0 | 2.842 | 1163299 | 0 | ----- | ----- | ----- | -----
79 | BRN08jun22_031.gcd | 2022-06-09 02:01 | 26 | Unknown | 0 | 6.021 | 4479 | 0.004 | ----- | ----- | ----- | ----- | 79 | BRN08jun22_031.gcd | 2022-06-09 02:01 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN08jun22_031.gcd | 2022-06-09 02:01 | 26 | Unknown | 0 | 12.092 | 60974 | 12.716 | ----- | ----- | ----- | ----- | 1 |  | 79 | 4.8494 | 12404.7468 | 8.171 | 11106.0415 | 9.2457 | 11593.9189 | 4.8494 | 12404.7468 | 2.6478 | 219.7329 | 79 | BRN08jun22_031.gcd | 2022-06-09 02:01 | 26 | Unknown | 0 | 2.844 | 1168310 | 0 | ----- | ----- | ----- | -----
66 | BRN08jun22_018.gcd | 2022-06-08 19:24 | 48 | Unknown | 0 | 6.014 | 4991 | 0.005 | ----- | ----- | ----- | ----- | 66 | BRN08jun22_018.gcd | 2022-06-08 19:24 | 48 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN08jun22_018.gcd | 2022-06-08 19:24 | 48 | Unknown | 0 | 12.134 | 14980 | 3.102 | ----- | ----- | ----- | ----- | 1 |  | 66 | 5.9814 | 2986.9393 | 9.659 | 2798.0364 | 10.9221 | 2856.6692 | 5.9814 | 2986.9393 | 3.4561 | 1222.5346 | 66 | BRN08jun22_018.gcd | 2022-06-08 19:24 | 48 | Unknown | 0 | 2.83 | 1271383 | 0 | ----- | ----- | ----- | -----
53 | BRN08jun22_005.gcd | 2022-06-08 12:47 | 171 | Unknown | 0 | 6.015 | 8887 | 0.013 | ----- | ----- | ----- | ----- | 53 | BRN08jun22_005.gcd | 2022-06-08 12:47 | 171 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN08jun22_005.gcd | 2022-06-08 12:47 | 171 | Unknown | 0 | 12.151 | 15430 | 3.197 | ----- | ----- | ----- | ----- | 1 |  | 53 | 17.0904 | 3079.6051 | 21.3466 | 2880.6074 | 22.6832 | 2942.4867 | 17.0904 | 3079.6051 | 9.8675 | 1247.9743 | 53 | BRN08jun22_005.gcd | 2022-06-08 12:47 | 171 | Unknown | 0 | 2.826 | 1487807 | 0 | ----- | ----- | ----- | -----
81 | BRN08jun22_033.gcd | 2022-06-09 03:02 | 128 | Unknown | 0 | 6.009 | 11742 | 0.019 | ----- | ----- | ----- | ----- | 81 | BRN08jun22_033.gcd | 2022-06-09 03:02 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN08jun22_033.gcd | 2022-06-09 03:02 | 128 | Unknown | 0 | 12.109 | 45618 | 9.531 | ----- | ----- | ----- | ----- | 1 |  | 81 | 25.0891 | 9272.4334 | 30.3209 | 8361.7827 | 30.5124 | 8684.4665 | 25.0891 | 9272.4334 | 14.8588 | 1363.7586 | 81 | BRN08jun22_033.gcd | 2022-06-09 03:02 | 128 | Unknown | 0 | 2.829 | 1396634 | 0 | ----- | ----- | ----- | -----
64 | BRN08jun22_016.gcd | 2022-06-08 18:23 | 22 | Unknown | 0 | 6.012 | 12661 | 0.021 | ----- | ----- | ----- | ----- | 64 | BRN08jun22_016.gcd | 2022-06-08 18:23 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN08jun22_016.gcd | 2022-06-08 18:23 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 64 | 27.2451 | #VALUE! | 33.2834 | #VALUE! | 32.9313 | #VALUE! | 27.2451 | #VALUE! | 16.5182 | #VALUE! | 64 | BRN08jun22_016.gcd | 2022-06-08 18:23 | 22 | Unknown | 0 | 2.844 | 1195853 | 0 | ----- | ----- | ----- | -----
57 | BRN08jun22_009.gcd | 2022-06-08 14:49 | 87 | Unknown | 0 | 6.013 | 13575 | 0.023 | ----- | ----- | ----- | ----- | 57 | BRN08jun22_009.gcd | 2022-06-08 14:49 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN08jun22_009.gcd | 2022-06-08 14:49 | 87 | Unknown | 0 | 12.11 | 44404 | 9.278 | ----- | ----- | ----- | ----- | 1 |  | 57 | 29.3893 | 9024.2886 | 36.2653 | 8143.567 | 35.3367 | 8454.1267 | 29.3893 | 9024.2886 | 18.194 | 1419.6024 | 57 | BRN08jun22_009.gcd | 2022-06-08 14:49 | 87 | Unknown | 0 | 2.845 | 1113538 | 0 | ----- | ----- | ----- | -----
59 | BRN08jun22_011.gcd | 2022-06-08 15:50 | 120 | Unknown | 0 | 6.012 | 16626 | 0.029 | ----- | ----- | ----- | ----- | 59 | BRN08jun22_011.gcd | 2022-06-08 15:50 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN08jun22_011.gcd | 2022-06-08 15:50 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 59 | 36.5456 | #VALUE! | 52.4668 | #VALUE! | 43.365 | #VALUE! | 36.5456 | #VALUE! | 23.9718 | #VALUE! | 59 | BRN08jun22_011.gcd | 2022-06-08 15:50 | 120 | Unknown | 0 | 2.832 | 1397096 | 0 | ----- | ----- | ----- | -----
69 | BRN08jun22_021.gcd | 2022-06-08 20:55 | 72 | Unknown | 0 | 6.009 | 23874 | 0.043 | ----- | ----- | ----- | ----- | 69 | BRN08jun22_021.gcd | 2022-06-08 20:55 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN08jun22_021.gcd | 2022-06-08 20:55 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 69 | 53.5402 | #VALUE! | 74.9932 | #VALUE! | 62.428 | #VALUE! | 53.5402 | #VALUE! | 38.8324 | #VALUE! | 69 | BRN08jun22_021.gcd | 2022-06-08 20:55 | 72 | Unknown | 0 | 2.853 | 982633 | 0 | ----- | ----- | ----- | -----
67 | BRN08jun22_019.gcd | 2022-06-08 19:54 | 186 (196) | Unknown | 0 | 6.007 | 27437 | 0.051 | ----- | ----- | ----- | ----- | 67 | BRN08jun22_019.gcd | 2022-06-08 19:54 | 186 (196) | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN08jun22_019.gcd | 2022-06-08 19:54 | 186 (196) | Unknown | 0 | 12.149 | 5723 | 1.139 | ----- | ----- | ----- | ----- | 1 |  | 67 | 61.8914 | 1078.4083 | 86.0354 | 1093.8183 | 71.7944 | 1089.847 | 61.8914 | 1078.4083 | 46.7231 | 544.6552 | 67 | BRN08jun22_019.gcd | 2022-06-08 19:54 | 186 (196) | Unknown | 0 | 2.836 | 1283617 | 0 | ----- | ----- | ----- | -----
80 | BRN08jun22_032.gcd | 2022-06-09 02:32 | 30 | Unknown | 0 | 6.007 | 28057 | 0.052 | ----- | ----- | ----- | ----- | 80 | BRN08jun22_032.gcd | 2022-06-09 02:32 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN08jun22_032.gcd | 2022-06-09 02:32 | 30 | Unknown | 0 | 12.152 | 2700 | 0.497 | ----- | ----- | ----- | ----- | 1 |  | 80 | 63.3444 | 454.204 | 87.9547 | 534.9524 | 73.4239 | 512.2635 | 63.3444 | 454.204 | 48.1356 | 259.4338 | 80 | BRN08jun22_032.gcd | 2022-06-09 02:32 | 30 | Unknown | 0 | 2.829 | 1457592 | 0 | ----- | ----- | ----- | -----
55 | BRN08jun22_007.gcd | 2022-06-08 13:48 | 16 | Unknown | 0 | 6.008 | 28474 | 0.053 | ----- | ----- | ----- | ----- | 55 | BRN08jun22_007.gcd | 2022-06-08 13:48 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN08jun22_007.gcd | 2022-06-08 13:48 | 16 | Unknown | 0 | 12.151 | 4876 | 0.959 | ----- | ----- | ----- | ----- | 1 |  | 55 | 64.3217 | 903.5625 | 89.2453 | 937.348 | 74.5199 | 928.0466 | 64.3217 | 903.5625 | 49.0922 | 467.9104 | 55 | BRN08jun22_007.gcd | 2022-06-08 13:48 | 16 | Unknown | 0 | 2.827 | 1457280 | 0 | ----- | ----- | ----- | -----
58 | BRN08jun22_010.gcd | 2022-06-08 15:19 | 169 | Unknown | 0 | 6.002 | 34932 | 0.066 | ----- | ----- | ----- | ----- | 58 | BRN08jun22_010.gcd | 2022-06-08 15:19 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN08jun22_010.gcd | 2022-06-08 15:19 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 58 | 79.4521 | #VALUE! | 109.1956 | #VALUE! | 91.4872 | #VALUE! | 79.4521 | #VALUE! | 64.5815 | #VALUE! | 58 | BRN08jun22_010.gcd | 2022-06-08 15:19 | 169 | Unknown | 0 | 2.819 | 1567905 | 0 | ----- | ----- | ----- | -----
77 | BRN08jun22_029.gcd | 2022-06-09 01:00 | 215 | Unknown | 0 | 6.006 | 46871 | 0.09 | ----- | ----- | ----- | ----- | 77 | BRN08jun22_029.gcd | 2022-06-09 01:00 | 215 | Unknown | 0 | 5.967 | 539 | 0.282 | ----- | ----- | ----- | ----- | 77 | BRN08jun22_029.gcd | 2022-06-09 01:00 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 77 | 107.4062 | #VALUE! | 145.8989 | #VALUE! | 122.8284 | #VALUE! | 107.4062 | #VALUE! | 96.5554 | #VALUE! | 77 | BRN08jun22_029.gcd | 2022-06-09 01:00 | 215 | Unknown | 0 | 2.837 | 1321271 | 0 | ----- | ----- | ----- | -----
68 | BRN08jun22_020.gcd | 2022-06-08 20:25 | 113 | Unknown | 0 | 5.998 | 47082 | 0.09 | ----- | ----- | ----- | ----- | 68 | BRN08jun22_020.gcd | 2022-06-08 20:25 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN08jun22_020.gcd | 2022-06-08 20:25 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 68 | 107.9 | #VALUE! | 146.5455 | #VALUE! | 123.382 | #VALUE! | 107.9 | #VALUE! | 97.1595 | #VALUE! | 68 | BRN08jun22_020.gcd | 2022-06-08 20:25 | 113 | Unknown | 0 | 2.823 | 1416288 | 0 | ----- | ----- | ----- | -----
60 | BRN08jun22_012.gcd | 2022-06-08 16:21 | 142 | Unknown | 0 | 6.008 | 52017 | 0.1 | ----- | ----- | ----- | ----- | 60 | BRN08jun22_012.gcd | 2022-06-08 16:21 | 142 | Unknown | 0 | 5.961 | 481 | 0.268 | ----- | ----- | ----- | ----- | 60 | BRN08jun22_012.gcd | 2022-06-08 16:21 | 142 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 60 | 119.448 | #VALUE! | 161.6471 | #VALUE! | 136.3266 | #VALUE! | 119.448 | #VALUE! | 111.6733 | #VALUE! | 60 | BRN08jun22_012.gcd | 2022-06-08 16:21 | 142 | Unknown | 0 | 2.858 | 908390 | 0 | ----- | ----- | ----- | -----
76 | BRN08jun22_028.gcd | 2022-06-09 00:29 | 12 | Unknown | 0 | 5.997 | 57174 | 0.111 | ----- | ----- | ----- | ----- | 76 | BRN08jun22_028.gcd | 2022-06-09 00:29 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN08jun22_028.gcd | 2022-06-09 00:29 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 76 | 131.5113 | #VALUE! | 177.3857 | #VALUE! | 149.8472 | #VALUE! | 131.5113 | #VALUE! | 127.6312 | #VALUE! | 76 | BRN08jun22_028.gcd | 2022-06-09 00:29 | 12 | Unknown | 0 | 2.831 | 1253785 | 0 | ----- | ----- | ----- | -----
61 | BRN08jun22_013.gcd | 2022-06-08 16:51 | 34 | Unknown | 0 | 5.999 | 88418 | 0.174 | ----- | ----- | ----- | ----- | 61 | BRN08jun22_013.gcd | 2022-06-08 16:51 | 34 | Unknown | 0 | 5.96 | 984 | 0.391 | ----- | ----- | ----- | ----- | 61 | BRN08jun22_013.gcd | 2022-06-08 16:51 | 34 | Unknown | 0 | 12.144 | 2870 | 0.533 | ----- | ----- | ----- | ----- | 1 |  | 61 | 204.5058 | 489.3188 | 271.8103 | 566.411 | 231.6252 | 544.7521 | 204.5058 | 489.3188 | 241.5999 | 276.3076 | 61 | BRN08jun22_013.gcd | 2022-06-08 16:51 | 34 | Unknown | 0 | 2.84 | 1093759 | 0 | ----- | ----- | ----- | -----
52 | BRN08jun22_004.gcd | 2022-06-08 12:16 | 106 | Unknown | 0 | 6.003 | 2048754 | 4.145 | ----- | ----- | ----- | ----- | 52 | BRN08jun22_004.gcd | 2022-06-08 12:16 | 106 | Unknown | 0 | 5.957 | 16307 | 4.148 | ----- | ----- | ----- | ----- | 52 | BRN08jun22_004.gcd | 2022-06-08 12:16 | 106 | Unknown | 0 | 12.124 | 50836 | 10.616 | ----- | ----- | ----- | ----- | 1 |  | 52 | 4251.1062 | 10338.1499 | 3657.0728 | 9297.608 | 4461.8778 | 9673.9645 | 4251.1062 | 10338.1499 | 2271.9346 | 1066.0045 | 52 | BRN08jun22_004.gcd | 2022-06-08 12:16 | 106 | Unknown | 0 | 2.851 | 1007570 | 0 | ----- | ----- | ----- | -----
54 | BRN08jun22_006.gcd | 2022-06-08 13:17 | 173 | Unknown | 0 | 5.997 | 2701249 | 5.472 | ----- | ----- | ----- | ----- | 54 | BRN08jun22_006.gcd | 2022-06-08 13:17 | 173 | Unknown | 0 | 5.953 | 20596 | 5.198 | ----- | ----- | ----- | ----- | 54 | BRN08jun22_006.gcd | 2022-06-08 13:17 | 173 | Unknown | 0 | 12.105 | 48795 | 10.192 | ----- | ----- | ----- | ----- | 1 |  | 54 | 5307.8507 | 9921.4646 | 4472.0739 | 8931.9706 | 5558.4008 | 9287.0317 | 5307.8507 | 9921.4646 | 3095.1002 | 1193.6227 | 54 | BRN08jun22_006.gcd | 2022-06-08 13:17 | 173 | Unknown | 0 | 2.828 | 1437979 | 0 | ----- | ----- | ----- | -----
78 | BRN08jun22_030.gcd | 2022-06-09 01:30 | 145 | Unknown | 0 | 5.945 | 22942191 | 48.088 | ----- | ----- | ----- | ----- | 78 | BRN08jun22_030.gcd | 2022-06-09 01:30 | 145 | Unknown | 0 | 5.9 | 175106 | 42.382 | ----- | ----- | ----- | ----- | 78 | BRN08jun22_030.gcd | 2022-06-09 01:30 | 145 | Unknown | 0 | 12.067 | 87350 | 18.132 | ----- | ----- | ----- | ----- | 1 |  | 78 | 42901.2609 | 17756.8268 | 33912.8544 | 15750.5835 | 44567.8898 | 16573.3978 | 42901.2609 | 17756.8268 | 105130.7076 | -3638.5294 | 78 | BRN08jun22_030.gcd | 2022-06-09 01:30 | 145 | Unknown | 0 | 2.837 | 1217046 | 0 | ----- | ----- | ----- | -----
70 | BRN08jun22_022.gcd | 2022-06-08 21:26 | 68 | Unknown | 0 | 5.943 | 23722991 | 49.792 | ----- | ----- | ----- | ----- | 70 | BRN08jun22_022.gcd | 2022-06-08 21:26 | 68 | Unknown | 0 | 5.898 | 179346 | 43.387 | ----- | ----- | ----- | ----- | 70 | BRN08jun22_022.gcd | 2022-06-08 21:26 | 68 | Unknown | 0 | 12.088 | 60320 | 12.581 | ----- | ----- | ----- | ----- | 1 |  | 70 | 43919.8391 | 12271.5894 | 34722.9674 | 10989.7692 | 45624.8631 | 11470.164 | 43919.8391 | 12271.5894 | 109916.3719 | 284.994 | 70 | BRN08jun22_022.gcd | 2022-06-08 21:26 | 68 | Unknown | 0 | 2.86 | 798047 | 0 | ----- | ----- | ----- | -----