## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [15 empty] | WHAT WE'RE USING |  | ALL POSSIBLE CALIBRATIONS... | [7 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Measured headspace CH4 in ppm from GC in ppm | Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN12jul22_001.gcd | 2022-07-12 11:47 | air | Unknown | 0 | 6.048 | 1430 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN12jul22_001.gcd | 2022-07-12 11:47 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN12jul22_001.gcd | 2022-07-12 11:47 | air | Unknown | 0 | 12.207 | 4319 | 0.841 | ----- | ----- | ----- | ----- | 1 |  | 83 | -0.31397 | 788.5613 | -0.4594 | 834.4017 | -1.3666 | 821.6315 | -0.31397 | 788.5613 | -2.0004 | 416.0969 | 49 | BRN12jul22_001.gcd | 2022-07-12 11:47 | air | Unknown | 0 | 2.7 | 5565004 | 961.233 | ----- | ----- | ----- | -----
50 | BRN12jul22_002.gcd | 2022-07-12 12:18 | air + 100 | Unknown | 0 | 6.01 | 1003018 | 2.023 | ----- | ----- | ----- | ----- | 50 | BRN12jul22_002.gcd | 2022-07-12 12:18 | air + 100 | Unknown | 0 | 5.96 | 9654 | 2.518 | ----- | ----- | ----- | ----- | 50 | BRN12jul22_002.gcd | 2022-07-12 12:18 | air + 100 | Unknown | 0 | 12.185 | 8071 | 1.638 | ----- | ----- | ----- | ----- | 1 |  | 84 | 2610.4972 | 1562.9133 | 2393.1008 | 1527.1045 | 2759.5151 | 1538.258 | 2610.4972 | 1562.9133 | 1209.8101 | 744.4989 | 50 | BRN12jul22_002.gcd | 2022-07-12 12:18 | air + 100 | Unknown | 0 | 2.716 | 5104432 | 958.069 | ----- | ----- | ----- | -----
51 | BRN12jul22_003.gcd | 2022-07-12 12:48 | yellow tank | Unknown | 0 | 6.038 | 3344 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN12jul22_003.gcd | 2022-07-12 12:48 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN12jul22_003.gcd | 2022-07-12 12:48 | yellow tank | Unknown | 0 | 12.219 | 1719 | 0.288 | ----- | ----- | ----- | ----- | 1 |  | 85 | 2.6117 | 251.5419 | 4.9121 | 353.3471 | 5.4211 | 324.7668 | 2.6117 | 251.5419 | 0.88448 | 160.12 | 51 | BRN12jul22_003.gcd | 2022-07-12 12:48 | yellow tank | Unknown | 0 | 2.701 | 5416050 | 960.308 | ----- | ----- | ----- | -----
52 | BRN12jul22_004.gcd | 2022-07-12 13:19 | yellow tank | Unknown | 0 | 6.042 | 3366 | 0.002 | ----- | ----- | ----- | ----- | 52 | BRN12jul22_004.gcd | 2022-07-12 13:19 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN12jul22_004.gcd | 2022-07-12 13:19 | yellow tank | Unknown | 0 | 12.217 | 1380 | 0.215 | ----- | ----- | ----- | ----- | 1 |  | 86 | 2.6515 | 181.4974 | 4.9748 | 290.5625 | 5.4966 | 259.967 | 2.6515 | 181.4974 | 0.91829 | 125.0309 | 52 | BRN12jul22_004.gcd | 2022-07-12 13:19 | yellow tank | Unknown | 0 | 2.708 | 5562311 | 961.217 | ----- | ----- | ----- | -----
53 | BRN12jul22_005.gcd | 2022-07-12 13:49 | 409 | Unknown | 0 | 6.014 | 43005 | 0.082 | ----- | ----- | ----- | ----- | 53 | BRN12jul22_005.gcd | 2022-07-12 13:49 | 409 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN12jul22_005.gcd | 2022-07-12 13:49 | 409 | Unknown | 0 | 12.166 | 15064 | 3.12 | ----- | ----- | ----- | ----- | 1 |  | 87 | 98.3568 | 3004.2377 | 134.0394 | 2813.4516 | 112.6835 | 2872.689 | 98.3568 | 3004.2377 | 85.7275 | 1227.3362 | 53 | BRN12jul22_005.gcd | 2022-07-12 13:49 | 409 | Unknown | 0 | 2.844 | 1236166 | 0 | ----- | ----- | ----- | -----
54 | BRN12jul22_006.gcd | 2022-07-12 14:20 | 221 | Unknown | 0 | 6.008 | 26408 | 0.049 | ----- | ----- | ----- | ----- | 54 | BRN12jul22_006.gcd | 2022-07-12 14:20 | 221 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN12jul22_006.gcd | 2022-07-12 14:20 | 221 | Unknown | 0 | 12.05 | 118502 | 24.442 | ----- | ----- | ----- | ----- | 1 |  | 88 | 59.4798 | 24032.2931 | 82.8485 | 21123.639 | 69.0897 | 22425.3897 | 59.4798 | 24032.2931 | 44.4046 | -11277.8546 | 54 | BRN12jul22_006.gcd | 2022-07-12 14:20 | 221 | Unknown | 0 | 2.86 | 769292 | 0 | ----- | ----- | ----- | -----
55 | BRN12jul22_007.gcd | 2022-07-12 14:51 | 140 | Unknown | 0 | 6.005 | 1375565 | 2.778 | ----- | ----- | ----- | ----- | 55 | BRN12jul22_007.gcd | 2022-07-12 14:51 | 140 | Unknown | 0 | 5.958 | 11039 | 2.858 | ----- | ----- | ----- | ----- | 55 | BRN12jul22_007.gcd | 2022-07-12 14:51 | 140 | Unknown | 0 | 12.08 | 94280 | 19.544 | ----- | ----- | ----- | ----- | 1 |  | 89 | 2952.1753 | 19157.1359 | 2656.2064 | 16956.3971 | 3114.0539 | 17877.9474 | 2952.1753 | 19157.1359 | 1409.396 | -5049.239 | 55 | BRN12jul22_007.gcd | 2022-07-12 14:51 | 140 | Unknown | 0 | 2.834 | 1323879 | 0 | ----- | ----- | ----- | -----
56 | BRN12jul22_008.gcd | 2022-07-12 15:21 | 406 | Unknown | 0 | 6.014 | 35734 | 0.067 | ----- | ----- | ----- | ----- | 56 | BRN12jul22_008.gcd | 2022-07-12 15:21 | 406 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN12jul22_008.gcd | 2022-07-12 15:21 | 406 | Unknown | 0 | 12.162 | 14349 | 2.968 | ----- | ----- | ----- | ----- | 1 |  | 90 | 81.3306 | 2856.9839 | 111.6685 | 2682.2106 | 93.5936 | 2736.323 | 81.3306 | 2856.9839 | 66.5936 | 1185.6891 | 56 | BRN12jul22_008.gcd | 2022-07-12 15:21 | 406 | Unknown | 0 | 2.864 | 829323 | 0 | ----- | ----- | ----- | -----
57 | BRN12jul22_009.gcd | 2022-07-12 15:52 | 192 | Unknown | 0 | 6.015 | 4733 | 0.005 | ----- | ----- | ----- | ----- | 57 | BRN12jul22_009.gcd | 2022-07-12 15:52 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN12jul22_009.gcd | 2022-07-12 15:52 | 192 | Unknown | 0 | 12.043 | 122965 | 25.338 | ----- | ----- | ----- | ----- | 1 |  | 91 | 5.4015 | 24927.2931 | 8.9078 | 21883.434 | 10.0811 | 23261.1924 | 5.4015 | 24927.2931 | 3.0478 | -12645.6982 | 57 | BRN12jul22_009.gcd | 2022-07-12 15:52 | 192 | Unknown | 0 | 2.852 | 831352 | 0 | ----- | ----- | ----- | -----
58 | BRN12jul22_010.gcd | 2022-07-12 16:22 | 166 | Unknown | 0 | 5.96 | 18339373 | 38.137 | ----- | ----- | ----- | ----- | 58 | BRN12jul22_010.gcd | 2022-07-12 16:22 | 166 | Unknown | 0 | 5.915 | 139631 | 33.949 | ----- | ----- | ----- | ----- | 58 | BRN12jul22_010.gcd | 2022-07-12 16:22 | 166 | Unknown | 0 | 12.095 | 77229 | 16.062 | ----- | ----- | ----- | ----- | 1 |  | 92 | 34351.7718 | 15707.3249 | 27139.4739 | 13978.7063 | 35696.1873 | 14665.347 | 34351.7718 | 15707.3249 | 69246.4982 | -1875.0678 | 58 | BRN12jul22_010.gcd | 2022-07-12 16:22 | 166 | Unknown | 0 | 2.839 | 1198160 | 0 | ----- | ----- | ----- | -----
59 | BRN12jul22_011.gcd | 2022-07-12 16:53 | 324 | Unknown | 0 | 6.014 | 80309 | 0.157 | ----- | ----- | ----- | ----- | 59 | BRN12jul22_011.gcd | 2022-07-12 16:53 | 324 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN12jul22_011.gcd | 2022-07-12 16:53 | 324 | Unknown | 0 | 12.181 | 750 | 0.081 | ----- | ----- | ----- | ----- | 1 |  | 93 | 185.5761 | 51.3106 | 247.4567 | 173.8447 | 210.4234 | 139.5329 | 185.5761 | 51.3106 | 209.1691 | 58.771 | 59 | BRN12jul22_011.gcd | 2022-07-12 16:53 | 324 | Unknown | 0 | 2.863 | 850133 | 0 | ----- | ----- | ----- | -----
60 | BRN12jul22_012.gcd | 2022-07-12 17:24 | 255 | Unknown | 0 | 5.921 | 30987031 | 65.884 | ----- | ----- | ----- | ----- | 60 | BRN12jul22_012.gcd | 2022-07-12 17:24 | 255 | Unknown | 0 | 5.88 | 252539 | 60.587 | ----- | ----- | ----- | ----- | 60 | BRN12jul22_012.gcd | 2022-07-12 17:24 | 255 | Unknown | 0 | 12.104 | 67593 | 14.082 | ----- | ----- | ----- | ----- | 1 |  | 94 | 61393.2091 | 13751.177 | 48726.1601 | 12279.7878 | 63757.1164 | 12845.6347 | 61393.2091 | 13751.177 | 209248.1841 | -523.5625 | 60 | BRN12jul22_012.gcd | 2022-07-12 17:24 | 255 | Unknown | 0 | 2.862 | 759391 | 0 | ----- | ----- | ----- | -----
61 | BRN12jul22_013.gcd | 2022-07-12 17:54 | 271 | Unknown | 0 | 6.007 | 1290294 | 2.606 | ----- | ----- | ----- | ----- | 61 | BRN12jul22_013.gcd | 2022-07-12 17:54 | 271 | Unknown | 0 | 5.956 | 11059 | 2.863 | ----- | ----- | ----- | ----- | 61 | BRN12jul22_013.gcd | 2022-07-12 17:54 | 271 | Unknown | 0 | 12.128 | 46575 | 9.73 | ----- | ----- | ----- | ----- | 1 |  | 95 | 2957.1087 | 9467.9937 | 2660.0059 | 8533.6724 | 3119.173 | 8866.0103 | 2957.1087 | 9467.9937 | 1412.361 | 1316.1632 | 61 | BRN12jul22_013.gcd | 2022-07-12 17:54 | 271 | Unknown | 0 | 2.861 | 829605 | 0 | ----- | ----- | ----- | -----
62 | BRN12jul22_014.gcd | 2022-07-12 18:25 | 380 | Unknown | 0 | 5.92 | 31470359 | 66.97 | ----- | ----- | ----- | ----- | 62 | BRN12jul22_014.gcd | 2022-07-12 18:25 | 380 | Unknown | 0 | 5.88 | 259845 | 62.29 | ----- | ----- | ----- | ----- | 62 | BRN12jul22_014.gcd | 2022-07-12 18:25 | 380 | Unknown | 0 | 12.055 | 115132 | 23.763 | ----- | ----- | ----- | ----- | 1 |  | 96 | 63125.9731 | 23355.8072 | 50125.8668 | 20548.2628 | 65555.2432 | 21793.848 | 63125.9731 | 23355.8072 | 220898.2864 | -10290.4026 | 62 | BRN12jul22_014.gcd | 2022-07-12 18:25 | 380 | Unknown | 0 | 2.83 | 1391222 | 0 | ----- | ----- | ----- | -----
63 | BRN12jul22_015.gcd | 2022-07-12 18:55 | 112 | Unknown | 0 | 6.018 | 11297 | 0.018 | ----- | ----- | ----- | ----- | 63 | BRN12jul22_015.gcd | 2022-07-12 18:55 | 112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN12jul22_015.gcd | 2022-07-12 18:55 | 112 | Unknown | 0 | 12.056 | 113038 | 23.342 | ----- | ----- | ----- | ----- | 1 |  | 97 | 24.0451 | 22935.1705 | 28.8994 | 20190.0259 | 29.3411 | 21401.244 | 24.0451 | 22935.1705 | 14.0645 | -9696.514 | 63 | BRN12jul22_015.gcd | 2022-07-12 18:55 | 112 | Unknown | 0 | 2.835 | 1319155 | 0 | ----- | ----- | ----- | -----
64 | BRN12jul22_016.gcd | 2022-07-12 19:26 | 125 | Unknown | 0 | 6.015 | 113574 | 0.225 | ----- | ----- | ----- | ----- | 64 | BRN12jul22_016.gcd | 2022-07-12 19:26 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN12jul22_016.gcd | 2022-07-12 19:26 | 125 | Unknown | 0 | 12.15 | 31024 | 6.481 | ----- | ----- | ----- | ----- | 1 |  | 98 | 263.1629 | 6284.3981 | 346.6779 | 5726.2642 | 297.2969 | 5912.2807 | 263.1629 | 6284.3981 | #VALUE! | 1699.2198 | 64 | BRN12jul22_016.gcd | 2022-07-12 19:26 | 125 | Unknown | 0 | 2.834 | 1432590 | 0 | ----- | ----- | ----- | -----
65 | BRN12jul22_017.gcd | 2022-07-12 19:57 | 237 | Unknown | 0 | 6.011 | 811133 | 1.635 | ----- | ----- | ----- | ----- | 65 | BRN12jul22_017.gcd | 2022-07-12 19:57 | 237 | Unknown | 0 | 5.963 | 6812 | 1.822 | ----- | ----- | ----- | ----- | 65 | BRN12jul22_017.gcd | 2022-07-12 19:57 | 237 | Unknown | 0 | 12.141 | 37183 | 7.771 | ----- | ----- | ----- | ----- | 1 |  | 99 | 1909.1459 | 7546.7428 | 1853.2512 | 6841.7739 | 2031.7655 | 7083.0509 | 1909.1459 | 7546.7428 | 835.7014 | 1647.0035 | 65 | BRN12jul22_017.gcd | 2022-07-12 19:57 | 237 | Unknown | 0 | 2.859 | 908944 | 0 | ----- | ----- | ----- | -----
66 | BRN12jul22_018.gcd | 2022-07-12 20:27 | 295 | Unknown | 0 | 6.02 | 9012 | 0.013 | ----- | ----- | ----- | ----- | 66 | BRN12jul22_018.gcd | 2022-07-12 20:27 | 295 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN12jul22_018.gcd | 2022-07-12 20:27 | 295 | Unknown | 0 | 12.059 | 112534 | 23.24 | ----- | ----- | ----- | ----- | 1 |  | 100 | 17.5198 | 22833.895 | 21.7323 | 20103.7205 | 23.0314 | 21306.7278 | 17.5198 | 22833.895 | 10.0809 | -9555.8245 | 66 | BRN12jul22_018.gcd | 2022-07-12 20:27 | 295 | Unknown | 0 | 2.84 | 1218061 | 0 | ----- | ----- | ----- | -----
67 | BRN12jul22_019.gcd | 2022-07-12 20:58 | 188 | Unknown | 0 | 6.014 | 31008 | 0.058 | ----- | ----- | ----- | ----- | 67 | BRN12jul22_019.gcd | 2022-07-12 20:58 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN12jul22_019.gcd | 2022-07-12 20:58 | 188 | Unknown | 0 | 12.166 | 16224 | 3.365 | ----- | ----- | ----- | ----- | 1 |  | 101 | 70.2593 | 3243.0835 | 97.0816 | 3026.2374 | 81.1787 | 3093.8909 | 70.2593 | 3243.0835 | 55.0188 | 1291.1624 | 67 | BRN12jul22_019.gcd | 2022-07-12 20:58 | 188 | Unknown | 0 | 2.844 | 1172087 | 0 | ----- | ----- | ----- | -----
68 | BRN12jul22_020.gcd | 2022-07-12 21:28 | 59 | Unknown | 0 | 6.03 | 3980 | 0.003 | ----- | ----- | ----- | ----- | 68 | BRN12jul22_020.gcd | 2022-07-12 21:28 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN12jul22_020.gcd | 2022-07-12 21:28 | 59 | Unknown | 0 | 12.067 | 108295 | 22.385 | ----- | ----- | ----- | ----- | 1 |  | 102 | 3.8195 | 21981.5829 | 6.7315 | 19376.5686 | 7.5826 | 20511.4519 | 3.8195 | 21981.5829 | 1.8678 | -8407.1069 | 68 | BRN12jul22_020.gcd | 2022-07-12 21:28 | 59 | Unknown | 0 | 2.856 | 906267 | 0 | ----- | ----- | ----- | -----
69 | BRN12jul22_021.gcd | 2022-07-12 21:59 | 378 | Unknown | 0 | 6.012 | 57938 | 0.112 | ----- | ----- | ----- | ----- | 69 | BRN12jul22_021.gcd | 2022-07-12 21:59 | 378 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN12jul22_021.gcd | 2022-07-12 21:59 | 378 | Unknown | 0 | 12.203 | 648 | 0.06 | ----- | ----- | ----- | ----- | 1 |  | 103 | 133.2981 | 30.2309 | 179.7136 | 154.9428 | 151.8497 | 120.0328 | 133.2981 | 30.2309 | 130.0641 | 47.9148 | 69 | BRN12jul22_021.gcd | 2022-07-12 21:59 | 378 | Unknown | 0 | 2.835 | 1353988 | 0 | ----- | ----- | ----- | -----
70 | BRN12jul22_022.gcd | 2022-07-12 22:30 | 243 | Unknown | 0 | 6.006 | 1248407 | 2.521 | ----- | ----- | ----- | ----- | 70 | BRN12jul22_022.gcd | 2022-07-12 22:30 | 243 | Unknown | 0 | 5.958 | 9959 | 2.593 | ----- | ----- | ----- | ----- | 70 | BRN12jul22_022.gcd | 2022-07-12 22:30 | 243 | Unknown | 0 | 12.126 | 45299 | 9.465 | ----- | ----- | ----- | ----- | 1 |  | 104 | 2685.7468 | 9207.2363 | 2451.0399 | 8304.4606 | 2837.597 | 8623.9453 | 2685.7468 | 9207.2363 | 1252.7905 | 1378.9236 | 70 | BRN12jul22_022.gcd | 2022-07-12 22:30 | 243 | Unknown | 0 | 2.864 | 761848 | 0 | ----- | ----- | ----- | -----
71 | BRN12jul22_023.gcd | 2022-07-12 23:00 | 141 | Unknown | 0 | 6.052 | 1615 | -0.002 | ----- | ----- | ----- | ----- | 71 | BRN12jul22_023.gcd | 2022-07-12 23:00 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN12jul22_023.gcd | 2022-07-12 23:00 | 141 | Unknown | 0 | 12.07 | 109427 | 22.613 | ----- | ----- | ----- | ----- | 1 |  | 105 | -0.077661 | 22209.2776 | 0.053 | 19570.971 | -0.692 | 20723.8828 | -0.077661 | 22209.2776 | -1.7264 | -8707.8157 | 71 | BRN12jul22_023.gcd | 2022-07-12 23:00 | 141 | Unknown | 0 | 2.863 | 850240 | 0 | ----- | ----- | ----- | -----
72 | BRN12jul22_024.gcd | 2022-07-12 23:31 | 273 | Unknown | 0 | 6.013 | 46220 | 0.089 | ----- | ----- | ----- | ----- | 72 | BRN12jul22_024.gcd | 2022-07-12 23:31 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN12jul22_024.gcd | 2022-07-12 23:31 | 273 | Unknown | 0 | 12.174 | 1272 | 0.192 | ----- | ----- | ----- | ----- | 1 |  | 106 | 105.8825 | 159.1811 | 143.9036 | 270.5572 | 121.1203 | 239.3221 | 105.8825 | 159.1811 | 94.7003 | 113.769 | 72 | BRN12jul22_024.gcd | 2022-07-12 23:31 | 273 | Unknown | 0 | 2.858 | 935525 | 0 | ----- | ----- | ----- | -----
73 | BRN12jul22_025.gcd | 2022-07-13 00:01 | 299 | Unknown | 0 | 6.01 | 668968 | 1.347 | ----- | ----- | ----- | ----- | 73 | BRN12jul22_025.gcd | 2022-07-13 00:01 | 299 | Unknown | 0 | 5.963 | 5070 | 1.394 | ----- | ----- | ----- | ----- | 73 | BRN12jul22_025.gcd | 2022-07-13 00:01 | 299 | Unknown | 0 | 12.137 | 38877 | 8.125 | ----- | ----- | ----- | ----- | 1 |  | 107 | 1532.2237 | 7893.6044 | 1736.4343 | 7147.7539 | 1708.2146 | 7404.8487 | 1532.2237 | 7893.6044 | 629.9487 | 1609.7606 | 73 | BRN12jul22_025.gcd | 2022-07-13 00:01 | 299 | Unknown | 0 | 2.834 | 1393701 | 0 | ----- | ----- | ----- | -----
74 | BRN12jul22_026.gcd | 2022-07-13 00:32 | 259 | Unknown | 0 | 5.963 | 18343877 | 38.147 | ----- | ----- | ----- | ----- | 74 | BRN12jul22_026.gcd | 2022-07-13 00:32 | 259 | Unknown | 0 | 5.917 | 138001 | 33.56 | ----- | ----- | ----- | ----- | 74 | BRN12jul22_026.gcd | 2022-07-13 00:32 | 259 | Unknown | 0 | 12.09 | 89849 | 18.642 | ----- | ----- | ----- | ----- | 1 |  | 108 | 33957.769 | 18262.0694 | 26828.4503 | 16186.1023 | 35287.3378 | 17044.0064 | 33957.769 | 18262.0694 | 67776.1153 | -4128.1942 | 74 | BRN12jul22_026.gcd | 2022-07-13 00:32 | 259 | Unknown | 0 | 2.842 | 1180881 | 0 | ----- | ----- | ----- | -----
75 | BRN12jul22_027.gcd | 2022-07-13 01:03 | 313 | Unknown | 0 | 6.008 | 1471641 | 2.973 | ----- | ----- | ----- | ----- | 75 | BRN12jul22_027.gcd | 2022-07-13 01:03 | 313 | Unknown | 0 | 5.958 | 11267 | 2.914 | ----- | ----- | ----- | ----- | 75 | BRN12jul22_027.gcd | 2022-07-13 01:03 | 313 | Unknown | 0 | 12.078 | 94751 | 19.64 | ----- | ----- | ----- | ----- | 1 |  | 109 | 3008.4155 | 19252.2195 | 2699.5203 | 17038.1319 | 3172.411 | 17966.555 | 3008.4155 | 19252.2195 | 1443.3369 | -5151.1141 | 75 | BRN12jul22_027.gcd | 2022-07-13 01:03 | 313 | Unknown | 0 | 2.842 | 1197364 | 0 | ----- | ----- | ----- | -----
76 | BRN12jul22_028.gcd | 2022-07-13 01:33 | 325 | Unknown | 0 | 6.014 | 35884 | 0.068 | ----- | ----- | ----- | ----- | 76 | BRN12jul22_028.gcd | 2022-07-13 01:33 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN12jul22_028.gcd | 2022-07-13 01:33 | 325 | Unknown | 0 | 12.157 | 17921 | 3.723 | ----- | ----- | ----- | ----- | 1 |  | 110 | 81.6819 | 3592.3746 | 112.1309 | 3337.224 | 93.9876 | 3417.4151 | 81.6819 | 3592.3746 | 66.9721 | 1376.1967 | 76 | BRN12jul22_028.gcd | 2022-07-13 01:33 | 325 | Unknown | 0 | 2.839 | 1307711 | 0 | ----- | ----- | ----- | -----
77 | BRN12jul22_029.gcd | 2022-07-13 02:04 | 373 | Unknown | 0 | 6.011 | 178801 | 0.356 | ----- | ----- | ----- | ----- | 77 | BRN12jul22_029.gcd | 2022-07-13 02:04 | 373 | Unknown | 0 | 5.972 | 1506 | 0.519 | ----- | ----- | ----- | ----- | 77 | BRN12jul22_029.gcd | 2022-07-13 02:04 | 373 | Unknown | 0 | 12.137 | 33673 | 7.036 | ----- | ----- | ----- | ----- | 1 |  | 111 | 414.7799 | 6827.5727 | 535.9904 | 6206.6311 | 466.8644 | 6415.9829 | 414.7799 | 6827.5727 | 264.7806 | 1692.754 | 77 | BRN12jul22_029.gcd | 2022-07-13 02:04 | 373 | Unknown | 0 | 2.86 | 894721 | 0 | ----- | ----- | ----- | -----
78 | BRN12jul22_030.gcd | 2022-07-13 02:34 | 153 wonky top | Unknown | 0 | 6.013 | 58882 | 0.114 | ----- | ----- | ----- | ----- | 78 | BRN12jul22_030.gcd | 2022-07-13 02:34 | 153 wonky top | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN12jul22_030.gcd | 2022-07-13 02:34 | 153 wonky top | Unknown | 0 | 12.164 | 2442 | 0.442 | ----- | ----- | ----- | ----- | 1 |  | 112 | 135.5057 | 400.9092 | 182.5887 | 487.2025 | 154.3238 | 462.9554 | 135.5057 | 400.9092 | 133.0946 | 233.6354 | 78 | BRN12jul22_030.gcd | 2022-07-13 02:34 | 153 wonky top | Unknown | 0 | 2.839 | 1314428 | 0 | ----- | ----- | ----- | -----