## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [15 empty] | WHAT WE'RE USING |  | ALL POSSIBLE CALIBRATIONS... | [7 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Measured headspace CH4 in ppm from GC in ppm | Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
35 | BRN15jun22_001.gcd | 2022-06-15 09:29 | air | Unknown | 0 | 6.555 | 3467 | 1.259 | ----- | ----- | ----- | ----- | 35 | BRN15jun22_001.gcd | 2022-06-15 09:29 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 35 | BRN15jun22_001.gcd | 2022-06-15 09:29 | air | Unknown | 0 | 13.678 | 5368 | 520.296 | ----- | ----- | ----- | ----- |  |  | 69 | 1.0737 | 512.7899 | 5.2627 | 1028.2485 | 5.8428 | 1022.0351 | 2.8361 | 1005.1302 | 1.0737 | 512.7899 | 35 | BRN15jun22_001.gcd | 2022-06-15 09:29 | air | Unknown | 0 | 2.725 | 12737732 | 791.049 | ----- | ----- | ----- | -----
36 | BRN15jun22_002.gcd | 2022-06-15 10:03 | air + 100 | Unknown | 0 | 6.491 | 2661034 | 0 | ----- | ----- | ----- | ----- | 36 | BRN15jun22_002.gcd | 2022-06-15 10:03 | air + 100 | Unknown | 0 | 6.446 | 23165 | 3130.302 | ----- | ----- | ----- | ----- | 36 | BRN15jun22_002.gcd | 2022-06-15 10:03 | air + 100 | Unknown | 0 | 13.652 | 19817 | 1474.483 | ----- | ----- | ----- | ----- |  |  | 70 | 3640.1289 | 1459.4854 | 4960.2963 | 3684.2512 | 6214.8361 | 3778.7669 | 5940.4719 | 3982.4519 | 3640.1289 | 1459.4854 | 36 | BRN15jun22_002.gcd | 2022-06-15 10:03 | air + 100 | Unknown | 0 | 2.706 | 12898016 | 789.978 | ----- | ----- | ----- | -----
37 | BRN15jun22_003.gcd | 2022-06-15 10:36 | yellow tank | Unknown | 0 | 6.542 | 6918 | 6.868 | ----- | ----- | ----- | ----- | 37 | BRN15jun22_003.gcd | 2022-06-15 10:36 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN15jun22_003.gcd | 2022-06-15 10:36 | yellow tank | Unknown | 0 | 13.694 | 3599 | 347.957 | ----- | ----- | ----- | ----- |  |  | 71 | 6.5696 | 347.5391 | 15.3592 | 701.2716 | 16.9591 | 684.0602 | 10.9247 | 639.8827 | 6.5696 | 347.5391 | 37 | BRN15jun22_003.gcd | 2022-06-15 10:36 | yellow tank | Unknown | 0 | 2.718 | 12603997 | 791.948 | ----- | ----- | ----- | -----
38 | BRN15jun22_004.gcd | 2022-06-15 11:10 | 220 | Unknown | 0 | 6.577 | 4637 | 2.907 | ----- | ----- | ----- | ----- | 38 | BRN15jun22_004.gcd | 2022-06-15 11:10 | 220 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 38 | BRN15jun22_004.gcd | 2022-06-15 11:10 | 220 | Unknown | 0 | 13.656 | 6149 | 589.39 | ----- | ----- | ----- | ----- |  |  | 72 | 2.8964 | 582.3213 | 8.629 | 1172.4813 | 9.7662 | 1171.216 | 5.1906 | 1166.3334 | 2.8964 | 582.3213 | 38 | BRN15jun22_004.gcd | 2022-06-15 11:10 | 220 | Unknown | 0 | 2.702 | 13159332 | 788.247 | ----- | ----- | ----- | -----
39 | BRN15jun22_005.gcd | 2022-06-15 11:44 | 73 | Unknown | 0 | 6.573 | 4876 | 3.269 | ----- | ----- | ----- | ----- | 39 | BRN15jun22_005.gcd | 2022-06-15 11:44 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN15jun22_005.gcd | 2022-06-15 11:44 | 73 | Unknown | 0 | 13.672 | 6680 | 634.338 | ----- | ----- | ----- | ----- |  |  | 73 | 3.2739 | 628.3973 | 9.3238 | 1270.5011 | 10.5482 | 1272.6324 | 5.7205 | 1275.9172 | 3.2739 | 628.3973 | 39 | BRN15jun22_005.gcd | 2022-06-15 11:44 | 73 | Unknown | 0 | 2.719 | 12635553 | 791.735 | ----- | ----- | ----- | -----
40 | BRN15jun22_006.gcd | 2022-06-15 12:17 | 359 | Unknown | 0 | 6.576 | 4436 | 2.611 | ----- | ----- | ----- | ----- | 40 | BRN15jun22_006.gcd | 2022-06-15 12:17 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN15jun22_006.gcd | 2022-06-15 12:17 | 359 | Unknown | 0 | 13.668 | 6446 | 614.693 | ----- | ----- | ----- | ----- |  |  | 74 | 2.5803 | 608.2122 | 8.0465 | 1227.3102 | 9.1035 | 1227.9416 | 4.7578 | 1227.6278 | 2.5803 | 608.2122 | 40 | BRN15jun22_006.gcd | 2022-06-15 12:17 | 359 | Unknown | 0 | 2.699 | 13284310 | 787.425 | ----- | ----- | ----- | -----
41 | BRN15jun22_007.gcd | 2022-06-15 12:51 | 236 | Unknown | 0 | 6.572 | 5037 | 3.518 | ----- | ----- | ----- | ----- | 41 | BRN15jun22_007.gcd | 2022-06-15 12:51 | 236 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN15jun22_007.gcd | 2022-06-15 12:51 | 236 | Unknown | 0 | 13.697 | 4951 | 481.865 | ----- | ----- | ----- | ----- |  |  | 75 | 3.5291 | 474.8056 | 9.7932 | 951.2068 | 11.0712 | 942.3746 | 6.0869 | 919.0461 | 3.5291 | 474.8056 | 41 | BRN15jun22_007.gcd | 2022-06-15 12:51 | 236 | Unknown | 0 | 2.721 | 12614771 | 791.875 | ----- | ----- | ----- | -----
42 | BRN15jun22_008.gcd | 2022-06-15 13:25 | 244 | Unknown | 0 | 6.578 | 4529 | 2.748 | ----- | ----- | ----- | ----- | 42 | BRN15jun22_008.gcd | 2022-06-15 13:25 | 244 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN15jun22_008.gcd | 2022-06-15 13:25 | 244 | Unknown | 0 | 13.665 | 4689 | 457.03 | ----- | ----- | ----- | ----- |  |  | 76 | 2.7264 | 450.6342 | 8.3158 | 902.7905 | 9.4107 | 892.3213 | 4.9566 | 864.9552 | 2.7264 | 450.6342 | 42 | BRN15jun22_008.gcd | 2022-06-15 13:25 | 244 | Unknown | 0 | 2.7 | 13365121 | 786.896 | ----- | ----- | ----- | -----
43 | BRN15jun22_009.gcd | 2022-06-15 13:58 | 264 | Unknown | 0 | 6.576 | 5489 | 4.243 | ----- | ----- | ----- | ----- | 43 | BRN15jun22_009.gcd | 2022-06-15 13:58 | 264 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN15jun22_009.gcd | 2022-06-15 13:58 | 264 | Unknown | 0 | 13.668 | 5384 | 521.744 | ----- | ----- | ----- | ----- |  |  | 77 | 4.2499 | 514.2354 | 11.117 | 1031.2041 | 12.5235 | 1025.0915 | 7.1555 | 1008.433 | 4.2499 | 514.2354 | 43 | BRN15jun22_009.gcd | 2022-06-15 13:58 | 264 | Unknown | 0 | 2.702 | 13221599 | 787.837 | ----- | ----- | ----- | -----
44 | BRN15jun22_010.gcd | 2022-06-15 14:32 | 330 | Unknown | 0 | 6.566 | 4850 | 3.229 | ----- | ----- | ----- | ----- | 44 | BRN15jun22_010.gcd | 2022-06-15 14:32 | 330 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN15jun22_010.gcd | 2022-06-15 14:32 | 330 | Unknown | 0 | 13.677 | 6239 | 597.094 | ----- | ----- | ----- | ----- |  |  | 78 | 3.2327 | 590.1991 | 9.2481 | 1189.0973 | 10.4634 | 1188.4059 | 5.6621 | 1184.9079 | 3.2327 | 590.1991 | 44 | BRN15jun22_010.gcd | 2022-06-15 14:32 | 330 | Unknown | 0 | 2.721 | 12741881 | 791.021 | ----- | ----- | ----- | -----
45 | BRN15jun22_011.gcd | 2022-06-15 15:05 | 360 | Unknown | 0 | 6.582 | 4978 | 3.426 | ----- | ----- | ----- | ----- | 45 | BRN15jun22_011.gcd | 2022-06-15 15:05 | 360 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN15jun22_011.gcd | 2022-06-15 15:05 | 360 | Unknown | 0 | 13.666 | 4766 | 464.424 | ----- | ----- | ----- | ----- |  |  | 79 | 3.4355 | 457.7625 | 9.6211 | 917.0206 | 10.8799 | 907.0319 | 5.9517 | 880.8525 | 3.4355 | 457.7625 | 45 | BRN15jun22_011.gcd | 2022-06-15 15:05 | 360 | Unknown | 0 | 2.712 | 12826839 | 790.453 | ----- | ----- | ----- | -----
46 | BRN15jun22_012.gcd | 2022-06-15 15:39 | 385 | Unknown | 0 | 6.581 | 5365 | 4.04 | ----- | ----- | ----- | ----- | 46 | BRN15jun22_012.gcd | 2022-06-15 15:39 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN15jun22_012.gcd | 2022-06-15 15:39 | 385 | Unknown | 0 | 13.685 | 4740 | 461.904 | ----- | ----- | ----- | ----- |  |  | 80 | 4.0515 | 455.3578 | 10.753 | 912.2157 | 12.1274 | 902.0647 | 6.8564 | 875.4846 | 4.0515 | 455.3578 | 46 | BRN15jun22_012.gcd | 2022-06-15 15:39 | 385 | Unknown | 0 | 2.712 | 12962056 | 789.552 | ----- | ----- | ----- | -----
47 | BRN15jun22_013.gcd | 2022-06-15 16:13 | 329 | Unknown | 0 | 6.571 | 4778 | 3.12 | ----- | ----- | ----- | ----- | 47 | BRN15jun22_013.gcd | 2022-06-15 16:13 | 329 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN15jun22_013.gcd | 2022-06-15 16:13 | 329 | Unknown | 0 | 13.674 | 4990 | 485.537 | ----- | ----- | ----- | ----- |  |  | 81 | 3.1189 | 478.3834 | 9.0386 | 958.413 | 10.2283 | 949.8251 | 5.5012 | 927.0975 | 3.1189 | 478.3834 | 47 | BRN15jun22_013.gcd | 2022-06-15 16:13 | 329 | Unknown | 0 | 2.72 | 12851585 | 790.287 | ----- | ----- | ----- | -----
48 | BRN15jun22_014.gcd | 2022-06-15 16:46 | 287 | Unknown | 0 | 6.587 | 4522 | 2.737 | ----- | ----- | ----- | ----- | 48 | BRN15jun22_014.gcd | 2022-06-15 16:46 | 287 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN15jun22_014.gcd | 2022-06-15 16:46 | 287 | Unknown | 0 | 13.698 | 4777 | 465.472 | ----- | ----- | ----- | ----- |  |  | 82 | 2.7154 | 458.7792 | 8.2955 | 919.0534 | 9.3876 | 909.1334 | 4.9416 | 883.1235 | 2.7154 | 458.7792 | 48 | BRN15jun22_014.gcd | 2022-06-15 16:46 | 287 | Unknown | 0 | 2.721 | 12801778 | 790.62 | ----- | ----- | ----- | -----
49 | BRN15jun22_015.gcd | 2022-06-15 17:20 | 208 | Unknown | 0 | 6.565 | 4564 | 2.799 | ----- | ----- | ----- | ----- | 49 | BRN15jun22_015.gcd | 2022-06-15 17:20 | 208 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN15jun22_015.gcd | 2022-06-15 17:20 | 208 | Unknown | 0 | 13.69 | 5331 | 516.981 | ----- | ----- | ----- | ----- |  |  | 83 | 2.7815 | 509.4437 | 8.4173 | 1021.4135 | 9.5261 | 1014.9671 | 5.0321 | 997.4924 | 2.7815 | 509.4437 | 49 | BRN15jun22_015.gcd | 2022-06-15 17:20 | 208 | Unknown | 0 | 2.723 | 12756677 | 790.922 | ----- | ----- | ----- | -----
50 | BRN15jun22_016.gcd | 2022-06-15 17:54 | 320 | Unknown | 0 | 6.581 | 4761 | 3.093 | ----- | ----- | ----- | ----- | 50 | BRN15jun22_016.gcd | 2022-06-15 17:54 | 320 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN15jun22_016.gcd | 2022-06-15 17:54 | 320 | Unknown | 0 | 13.686 | 7053 | 665.101 | ----- | ----- | ----- | ----- |  |  | 84 | 3.092 | 660.1833 | 8.9892 | 1339.3337 | 10.1727 | 1343.8667 | 5.4635 | 1352.8856 | 3.092 | 660.1833 | 50 | BRN15jun22_016.gcd | 2022-06-15 17:54 | 320 | Unknown | 0 | 2.721 | 12845705 | 790.327 | ----- | ----- | ----- | -----
51 | BRN15jun22_017.gcd | 2022-06-15 18:27 | 157 | Unknown | 0 | 6.589 | 4790 | 3.138 | ----- | ----- | ----- | ----- | 51 | BRN15jun22_017.gcd | 2022-06-15 18:27 | 157 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN15jun22_017.gcd | 2022-06-15 18:27 | 157 | Unknown | 0 | 13.708 | 5833 | 561.888 | ----- | ----- | ----- | ----- |  |  | 85 | 3.1378 | 554.441 | 9.0735 | 1114.1325 | 10.2676 | 1110.8584 | 5.5279 | 1101.1128 | 3.1378 | 554.441 | 51 | BRN15jun22_017.gcd | 2022-06-15 18:27 | 157 | Unknown | 0 | 2.722 | 12860032 | 790.231 | ----- | ----- | ----- | -----
52 | BRN15jun22_018.gcd | 2022-06-15 19:01 | 201 | Unknown | 0 | 6.586 | 4277 | 2.38 | ----- | ----- | ----- | ----- | 52 | BRN15jun22_018.gcd | 2022-06-15 19:01 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN15jun22_018.gcd | 2022-06-15 19:01 | 201 | Unknown | 0 | 13.67 | 5933 | 570.632 | ----- | ----- | ----- | ----- |  |  | 86 | 2.3311 | 563.301 | 7.587 | 1132.5987 | 8.5759 | 1129.9592 | 4.4238 | 1121.7528 | 2.3311 | 563.301 | 52 | BRN15jun22_018.gcd | 2022-06-15 19:01 | 201 | Unknown | 0 | 2.7 | 13598268 | 785.379 | ----- | ----- | ----- | -----
53 | BRN15jun22_019.gcd | 2022-06-15 19:35 | 234 | Unknown | 0 | 6.578 | 4390 | 2.545 | ----- | ----- | ----- | ----- | 53 | BRN15jun22_019.gcd | 2022-06-15 19:35 | 234 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN15jun22_019.gcd | 2022-06-15 19:35 | 234 | Unknown | 0 | 13.677 | 5269 | 511.311 | ----- | ----- | ----- | ----- |  |  | 87 | 2.5081 | 503.8262 | 7.9135 | 1009.96 | 8.9512 | 1003.1234 | 4.6604 | 984.6938 | 2.5081 | 503.8262 | 53 | BRN15jun22_019.gcd | 2022-06-15 19:35 | 234 | Unknown | 0 | 2.727 | 12750803 | 790.961 | ----- | ----- | ----- | -----
54 | BRN15jun22_020.gcd | 2022-06-15 20:08 | 315 | Unknown | 0 | 6.574 | 4197 | 2.266 | ----- | ----- | ----- | ----- | 54 | BRN15jun22_020.gcd | 2022-06-15 20:08 | 315 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN15jun22_020.gcd | 2022-06-15 20:08 | 315 | Unknown | 0 | 13.691 | 6077 | 583.14 | ----- | ----- | ----- | ----- |  |  | 88 | 2.2061 | 575.999 | 7.3562 | 1159.1877 | 8.3094 | 1157.4639 | 4.2585 | 1151.4734 | 2.2061 | 575.999 | 54 | BRN15jun22_020.gcd | 2022-06-15 20:08 | 315 | Unknown | 0 | 2.726 | 12798151 | 790.644 | ----- | ----- | ----- | -----
55 | BRN15jun22_021.gcd | 2022-06-15 20:42 | 318 | Unknown | 0 | 6.581 | 4092 | 2.116 | ----- | ----- | ----- | ----- | 55 | BRN15jun22_021.gcd | 2022-06-15 20:42 | 318 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN15jun22_021.gcd | 2022-06-15 20:42 | 318 | Unknown | 0 | 13.684 | 5045 | 490.595 | ----- | ----- | ----- | ----- |  |  | 89 | 2.0422 | 483.4202 | 7.0537 | 968.5754 | 7.9584 | 960.3322 | 4.0444 | 938.452 | 2.0422 | 483.4202 | 55 | BRN15jun22_021.gcd | 2022-06-15 20:42 | 318 | Unknown | 0 | 2.726 | 12758107 | 790.912 | ----- | ----- | ----- | -----
56 | BRN15jun22_022.gcd | 2022-06-15 21:15 | 415 | Unknown | 0 | 6.561 | 4531 | 2.75 | ----- | ----- | ----- | ----- | 56 | BRN15jun22_022.gcd | 2022-06-15 21:15 | 415 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN15jun22_022.gcd | 2022-06-15 21:15 | 415 | Unknown | 0 | 13.693 | 5006 | 486.956 | ----- | ----- | ----- | ----- |  |  | 90 | 2.7296 | 479.8498 | 8.3216 | 961.3694 | 9.4173 | 952.8817 | 4.9609 | 930.4007 | 2.7296 | 479.8498 | 56 | BRN15jun22_022.gcd | 2022-06-15 21:15 | 415 | Unknown | 0 | 2.724 | 12689076 | 791.375 | ----- | ----- | ----- | -----
57 | BRN15jun22_023.gcd | 2022-06-15 21:49 | 151 | Unknown | 0 | 6.586 | 4449 | 2.63 | ----- | ----- | ----- | ----- | 57 | BRN15jun22_023.gcd | 2022-06-15 21:49 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN15jun22_023.gcd | 2022-06-15 21:49 | 151 | Unknown | 0 | 13.697 | 5742 | 553.79 | ----- | ----- | ----- | ----- |  |  | 91 | 2.6007 | 546.3484 | 8.0842 | 1097.3272 | 9.1465 | 1093.4763 | 4.7855 | 1082.33 | 2.6007 | 546.3484 | 57 | BRN15jun22_023.gcd | 2022-06-15 21:49 | 151 | Unknown | 0 | 2.724 | 12733262 | 791.079 | ----- | ----- | ----- | -----
58 | BRN15jun22_024.gcd | 2022-06-15 22:23 | 233 | Unknown | 0 | 6.578 | 4307 | 2.423 | ----- | ----- | ----- | ----- | 58 | BRN15jun22_024.gcd | 2022-06-15 22:23 | 233 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN15jun22_024.gcd | 2022-06-15 22:23 | 233 | Unknown | 0 | 13.708 | 4847 | 472.044 | ----- | ----- | ----- | ----- |  |  | 92 | 2.3781 | 465.2391 | 7.6736 | 931.9891 | 8.6757 | 922.5064 | 4.4863 | 897.5753 | 2.3781 | 465.2391 | 58 | BRN15jun22_024.gcd | 2022-06-15 22:23 | 233 | Unknown | 0 | 2.72 | 12797688 | 790.647 | ----- | ----- | ----- | -----
59 | BRN15jun22_025.gcd | 2022-06-15 22:56 | 178 | Unknown | 0 | 6.581 | 4183 | 2.245 | ----- | ----- | ----- | ----- | 59 | BRN15jun22_025.gcd | 2022-06-15 22:56 | 178 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN15jun22_025.gcd | 2022-06-15 22:56 | 178 | Unknown | 0 | 13.715 | 6479 | 617.523 | ----- | ----- | ----- | ----- |  |  | 93 | 2.1842 | 611.0702 | 7.3158 | 1233.4017 | 8.2626 | 1234.2442 | 4.2298 | 1234.438 | 2.1842 | 611.0702 | 59 | BRN15jun22_025.gcd | 2022-06-15 22:56 | 178 | Unknown | 0 | 2.703 | 13305537 | 787.286 | ----- | ----- | ----- | -----
60 | BRN15jun22_026.gcd | 2022-06-15 23:30 | 175 | Unknown | 0 | 6.58 | 4268 | 2.367 | ----- | ----- | ----- | ----- | 60 | BRN15jun22_026.gcd | 2022-06-15 23:30 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN15jun22_026.gcd | 2022-06-15 23:30 | 175 | Unknown | 0 | 13.709 | 4554 | 444.042 | ----- | ----- | ----- | ----- |  |  | 94 | 2.3171 | 438.0873 | 7.561 | 877.8398 | 8.546 | 866.5296 | 4.4051 | 837.0825 | 2.3171 | 438.0873 | 60 | BRN15jun22_026.gcd | 2022-06-15 23:30 | 175 | Unknown | 0 | 2.724 | 12705562 | 791.265 | ----- | ----- | ----- | -----
61 | BRN15jun22_027.gcd | 2022-06-16 00:04 | 85 | Unknown | 0 | 6.567 | 4100 | 2.128 | ----- | ----- | ----- | ----- | 61 | BRN15jun22_027.gcd | 2022-06-16 00:04 | 85 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN15jun22_027.gcd | 2022-06-16 00:04 | 85 | Unknown | 0 | 13.69 | 5357 | 519.273 | ----- | ----- | ----- | ----- |  |  | 95 | 2.0547 | 511.7956 | 7.0767 | 1026.2165 | 7.9852 | 1019.9338 | 4.0606 | 1002.8595 | 2.0547 | 511.7956 | 61 | BRN15jun22_027.gcd | 2022-06-16 00:04 | 85 | Unknown | 0 | 2.702 | 13249783 | 787.652 | ----- | ----- | ----- | -----