## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm
49 | BRN23mar22_001.gcd | 2022-03-23 10:04 | air | Unknown | 0 | 6.024 | 293564 | 0.588 | ----- | ----- | ----- | ----- | 49 | BRN23mar22_001.gcd | 2022-03-23 10:04 | air | Unknown | 0 | 5.974 | 2523 | 0.769 | ----- | ----- | ----- | ----- | 49 | BRN23mar22_001.gcd | 2022-03-23 10:04 | air | Unknown | 0 | 12.244 | 7161 | 1.445 | ----- | ----- | ----- | ----- | 3 | atypical for air | 852.2148 | 1359.2606 | 762.7109 | 1364.4914 | 679.8773 | 1375.17
50 | BRN23mar22_002.gcd | 2022-03-23 10:35 | air + 100 | Unknown | 0 | 6.006 | 1133378 | 2.288 | ----- | ----- | ----- | ----- | 50 | BRN23mar22_002.gcd | 2022-03-23 10:35 | air + 100 | Unknown | 0 | 5.957 | 10114 | 2.631 | ----- | ----- | ----- | ----- | 50 | BRN23mar22_002.gcd | 2022-03-23 10:35 | air + 100 | Unknown | 0 | 12.204 | 6050 | 1.209 | ----- | ----- | ----- | ----- | 1 |  | 2480.4846 | 1154.2025 | 2877.2766 | 1152.3068 | 2723.987 | 1145.9009
51 | BRN23mar22_003.gcd | 2022-03-23 11:05 | 173 | Unknown | 0 | 6.026 | 4503 | 0.004 | ----- | ----- | ----- | ----- | 51 | BRN23mar22_003.gcd | 2022-03-23 11:05 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN23mar22_003.gcd | 2022-03-23 11:05 | 173 | Unknown | 0 | 12.161 | 19275 | 4.009 | ----- | ----- | ----- | ----- | 1 |  | 8.2405 | 3585.0943 | 9.3249 | 3675.481 | 4.9008 | 3870.9612
52 | BRN23mar22_004.gcd | 2022-03-23 11:36 | 59 | Unknown | 0 | 6.035 | 3326 | 0.002 | ----- | ----- | ----- | ----- | 52 | BRN23mar22_004.gcd | 2022-03-23 11:36 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN23mar22_004.gcd | 2022-03-23 11:36 | 59 | Unknown | 0 | 12.157 | 18181 | 3.778 | ----- | ----- | ----- | ----- | 1 |  | 4.8609 | 3384.8389 | 5.3592 | 3466.9745 | 2.5792 | 3645.8771
53 | BRN23mar22_005.gcd | 2022-03-23 12:06 | 188 | Unknown | 0 | 6.028 | 5385 | 0.006 | ----- | ----- | ----- | ----- | 53 | BRN23mar22_005.gcd | 2022-03-23 12:06 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN23mar22_005.gcd | 2022-03-23 12:06 | 188 | Unknown | 0 | 12.173 | 7718 | 1.563 | ----- | ----- | ----- | ----- | 1 |  | 10.8116 | 1462.0081 | 12.1914 | 1470.855 | 6.9044 | 1490.0904
54 | BRN23mar22_006.gcd | 2022-03-23 12:37 | 159 | Unknown | 0 | 6.012 | 29030 | 0.054 | ----- | ----- | ----- | ----- | 54 | BRN23mar22_006.gcd | 2022-03-23 12:37 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN23mar22_006.gcd | 2022-03-23 12:37 | 159 | Unknown | 0 | 12.162 | 14875 | 3.08 | ----- | ----- | ----- | ----- | 1 |  | 90.9656 | 2778.7662 | 75.9811 | 2836.6442 | 65.6246 | 2965.3158
55 | BRN23mar22_007.gcd | 2022-03-23 13:07 | 90 | Unknown | 0 | 6.031 | 4188 | 0.004 | ----- | ----- | ----- | ----- | 55 | BRN23mar22_007.gcd | 2022-03-23 13:07 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN23mar22_007.gcd | 2022-03-23 13:07 | 90 | Unknown | 0 | 12.173 | 4431 | 0.865 | ----- | ----- | ----- | ----- | 1 |  | 7.3303 | 855.105 | 8.2793 | 843.03 | 4.24 | 811.6866
56 | BRN23mar22_008.gcd | 2022-03-23 13:38 | 17 | Unknown | 0 | 6.034 | 4669 | 0.005 | ----- | ----- | ----- | ----- | 56 | BRN23mar22_008.gcd | 2022-03-23 13:38 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN23mar22_008.gcd | 2022-03-23 13:38 | 17 | Unknown | 0 | 12.155 | 15299 | 3.169 | ----- | ----- | ----- | ----- | 1 |  | 8.7219 | 2856.5727 | 9.8713 | 2917.505 | 5.2606 | 3052.6301
57 | BRN23mar22_009.gcd | 2022-03-23 14:08 | 213 | Unknown | 0 | 6.027 | 6145 | 0.008 | ----- | ----- | ----- | ----- | 57 | BRN23mar22_009.gcd | 2022-03-23 14:08 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN23mar22_009.gcd | 2022-03-23 14:08 | 213 | Unknown | 0 | 12.167 | 6884 | 1.386 | ----- | ----- | ----- | ----- | 1 |  | 13.0536 | 1308.149 | 14.5891 | 1311.5922 | 8.8121 | 1318.0134
58 | BRN23mar22_010.gcd | 2022-03-23 14:39 | 10 | Unknown | 0 | 6.017 | 11085 | 0.018 | ----- | ----- | ----- | ----- | 58 | BRN23mar22_010.gcd | 2022-03-23 14:39 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN23mar22_010.gcd | 2022-03-23 14:39 | 10 | Unknown | 0 | 12.167 | 9533 | 1.948 | ----- | ----- | ----- | ----- | 1 |  | 28.2251 | 1796.5438 | 28.783 | 1817.3739 | 23.5477 | 1864.4519
59 | BRN23mar22_011.gcd | 2022-03-23 15:10 | 41 | Unknown | 0 | 6.031 | 4635 | 0.005 | ----- | ----- | ----- | ----- | 59 | BRN23mar22_011.gcd | 2022-03-23 15:10 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN23mar22_011.gcd | 2022-03-23 15:10 | 41 | Unknown | 0 | 12.143 | 22789 | 4.75 | ----- | ----- | ----- | ----- | 1 |  | 8.6232 | 4227.3117 | 9.7597 | 4344.9544 | 5.1863 | 4593.5328
60 | BRN23mar22_012.gcd | 2022-03-23 15:40 | 107 | Unknown | 0 | 6.028 | 4956 | 0.005 | ----- | ----- | ----- | ----- | 60 | BRN23mar22_012.gcd | 2022-03-23 15:40 | 107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN23mar22_012.gcd | 2022-03-23 15:40 | 107 | Unknown | 0 | 12.145 | 22089 | 4.603 | ----- | ----- | ----- | ----- | 1 |  | 9.5569 | 4099.5036 | 10.8084 | 4211.6252 | 5.9016 | 4449.6445
61 | BRN23mar22_013.gcd | 2022-03-23 16:11 | 179 | Unknown | 0 | 6.014 | 13245 | 0.022 | ----- | ----- | ----- | ----- | 61 | BRN23mar22_013.gcd | 2022-03-23 16:11 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN23mar22_013.gcd | 2022-03-23 16:11 | 179 | Unknown | 0 | 12.165 | 6218 | 1.245 | ----- | ----- | ----- | ----- | 1 |  | 35.1846 | 1185.2203 | 34.4683 | 1184.3949 | 28.6151 | 1180.5739
62 | BRN23mar22_014.gcd | 2022-03-23 16:41 | 87 | Unknown | 0 | 6.026 | 4094 | 0.003 | ----- | ----- | ----- | ----- | 62 | BRN23mar22_014.gcd | 2022-03-23 16:41 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN23mar22_014.gcd | 2022-03-23 16:41 | 87 | Unknown | 0 | 12.177 | 4300 | 0.837 | ----- | ----- | ----- | ----- | 1 |  | 7.0594 | 830.8894 | 7.9651 | 818.0014 | 4.0484 | 784.6381
63 | BRN23mar22_015.gcd | 2022-03-23 17:12 | 147 | Unknown | 0 | 6.022 | 10766 | 0.017 | ----- | ----- | ----- | ----- | 63 | BRN23mar22_015.gcd | 2022-03-23 17:12 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN23mar22_015.gcd | 2022-03-23 17:12 | 147 | Unknown | 0 | 12.172 | 8845 | 1.802 | ----- | ----- | ----- | ----- | 1 |  | 27.214 | 1669.7823 | 27.9433 | 1686.0339 | 22.7992 | 1722.565
64 | BRN23mar22_016.gcd | 2022-03-23 17:42 | 128 | Unknown | 0 | 6.024 | 8248 | 0.012 | ----- | ----- | ----- | ----- | 64 | BRN23mar22_016.gcd | 2022-03-23 17:42 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN23mar22_016.gcd | 2022-03-23 17:42 | 128 | Unknown | 0 | 12.175 | 11446 | 2.354 | ----- | ----- | ----- | ----- | 1 |  | 19.3855 | 2148.6948 | 20.8748 | 2182.487 | 14.9659 | 2258.8448
65 | BRN23mar22_017.gcd | 2022-03-23 18:13 | 153 | Unknown | 0 | 6.01 | 29350 | 0.054 | ----- | ----- | ----- | ----- | 65 | BRN23mar22_017.gcd | 2022-03-23 18:13 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN23mar22_017.gcd | 2022-03-23 18:13 | 153 | Unknown | 0 | 12.148 | 15884 | 3.293 | ----- | ----- | ----- | ----- | 1 |  | 91.9555 | 2963.8866 | 76.822 | 3029.0604 | 66.3744 | 3173.0841
66 | BRN23mar22_018.gcd | 2022-03-23 18:43 | 131 | Unknown | 0 | 6.021 | 6232 | 0.008 | ----- | ----- | ----- | ----- | 66 | BRN23mar22_018.gcd | 2022-03-23 18:43 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN23mar22_018.gcd | 2022-03-23 18:43 | 131 | Unknown | 0 | 12.148 | 19339 | 4.023 | ----- | ----- | ----- | ----- | 1 |  | 13.3119 | 3596.8048 | 14.8593 | 3687.6776 | 9.0412 | 3884.1269
67 | BRN23mar22_019.gcd | 2022-03-23 19:14 | 169 | Unknown | 0 | 6.019 | 8564 | 0.012 | ----- | ----- | ----- | ----- | 67 | BRN23mar22_019.gcd | 2022-03-23 19:14 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN23mar22_019.gcd | 2022-03-23 19:14 | 169 | Unknown | 0 | 12.169 | 7705 | 1.56 | ----- | ----- | ----- | ----- | 1 |  | 20.3531 | 1459.6105 | 21.775 | 1468.3727 | 16.0017 | 1487.4085
68 | BRN23mar22_020.gcd | 2022-03-23 19:44 | 26 | Unknown | 0 | 6.013 | 11604 | 0.019 | ----- | ----- | ----- | ----- | 68 | BRN23mar22_020.gcd | 2022-03-23 19:44 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN23mar22_020.gcd | 2022-03-23 19:44 | 26 | Unknown | 0 | 12.158 | 8367 | 1.701 | ----- | ----- | ----- | ----- | 1 |  | 29.8792 | 1581.6775 | 30.1492 | 1594.7741 | 24.7653 | 1623.9723
69 | BRN23mar22_021.gcd | 2022-03-23 20:15 | 163 | Unknown | 0 | 6.024 | 4888 | 0.005 | ----- | ----- | ----- | ----- | 69 | BRN23mar22_021.gcd | 2022-03-23 20:15 | 163 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN23mar22_021.gcd | 2022-03-23 20:15 | 163 | Unknown | 0 | 12.2 | 60429 | 12.604 | ----- | ----- | ----- | ----- | 2 | CO2 peak is swamped by water peak | 9.3588 | 11009.1516 | 10.5873 | 11490.7907 | 5.7476 | 12293.7838
70 | BRN23mar22_022.gcd | 2022-03-23 20:45 | 129 | Unknown | 0 | 6.028 | 4635 | 0.005 | ----- | ----- | ----- | ----- | 70 | BRN23mar22_022.gcd | 2022-03-23 20:45 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN23mar22_022.gcd | 2022-03-23 20:45 | 129 | Unknown | 0 | 12.153 | 3675 | 0.704 | ----- | ----- | ----- | ----- | 1 |  | 8.6232 | 715.3273 | 9.7597 | 698.5824 | 5.1863 | 655.5778
71 | BRN23mar22_023.gcd | 2022-03-23 21:16 | 148 | Unknown | 0 | 6.013 | 9307 | 0.014 | ----- | ----- | ----- | ----- | 71 | BRN23mar22_023.gcd | 2022-03-23 21:16 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN23mar22_023.gcd | 2022-03-23 21:16 | 148 | Unknown | 0 | 12.159 | 7452 | 1.507 | ----- | ----- | ----- | ----- | 1 |  | 22.6451 | 1412.945 | 23.846 | 1420.0614 | 18.5513 | 1435.2112
72 | BRN23mar22_024.gcd | 2022-03-23 21:47 | 24 | Unknown | 0 | 6.022 | 8806 | 0.013 | ----- | ----- | ----- | ----- | 72 | BRN23mar22_024.gcd | 2022-03-23 21:47 | 24 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN23mar22_024.gcd | 2022-03-23 21:47 | 24 | Unknown | 0 | 12.163 | 11101 | 2.281 | ----- | ----- | ----- | ----- | 1 |  | 21.0971 | 2085.2201 | 22.4566 | 2116.6494 | 16.8145 | 2187.7318