## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [15 empty] | WHAT WE'RE USING |  | ALL POSSIBLE CALIBRATIONS... | [7 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Measured headspace CH4 in ppm from GC in ppm | Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN28jun22_001.gcd | 2022-06-28 12:44 | air | Unknown | 0 | 6.064 | 1778 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN28jun22_001.gcd | 2022-06-28 12:44 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN28jun22_001.gcd | 2022-06-28 12:44 | air | Unknown | 0 | 12.222 | 2835 | 0.525 | ----- | ----- | ----- | ----- | 1 |  | 83 | 0.13879 | 482.0894 | 0.50567 | 559.9345 | -0.1009 | 538.0633 | 0.13879 | 482.0894 | -1.4842 | 272.8417 | 49 | BRN28jun22_001.gcd | 2022-06-28 12:44 | air | Unknown | 0 | 2.701 | 5232715 | 959.052 | ----- | ----- | ----- | -----
50 | BRN28jun22_002.gcd | 2022-06-28 13:15 | air + 100 | Unknown | 0 | 6.01 | 1126875 | 2.274 | ----- | ----- | ----- | ----- | 50 | BRN28jun22_002.gcd | 2022-06-28 13:15 | air + 100 | Unknown | 0 | 5.959 | 9402 | 2.457 | ----- | ----- | ----- | ----- | 50 | BRN28jun22_002.gcd | 2022-06-28 13:15 | air + 100 | Unknown | 0 | 12.184 | 9643 | 1.972 | ----- | ----- | ----- | ----- | 1 |  | 84 | 2548.3211 | 1887.1351 | 2345.2302 | 1816.8054 | 2694.9987 | 1838.3716 | 2548.3211 | 1887.1351 | 1174.7125 | 867.6964 | 50 | BRN28jun22_002.gcd | 2022-06-28 13:15 | air + 100 | Unknown | 0 | 2.712 | 5076265 | 957.838 | ----- | ----- | ----- | -----
51 | BRN28jun22_003.gcd | 2022-06-28 13:46 | yellow tank | Unknown | 0 | 6.027 | 3131 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN28jun22_003.gcd | 2022-06-28 13:46 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN28jun22_003.gcd | 2022-06-28 13:46 | yellow tank | Unknown | 0 | 12.199 | 1699 | 0.283 | ----- | ----- | ----- | ----- | 1 |  | 85 | 2.2335 | 247.4096 | 4.3067 | 349.6434 | 4.6867 | 320.9439 | 2.2335 | 247.4096 | 0.55792 | 158.0608 | 51 | BRN28jun22_003.gcd | 2022-06-28 13:46 | yellow tank | Unknown | 0 | 2.696 | 5297111 | 959.51 | ----- | ----- | ----- | -----
52 | BRN28jun22_004.gcd | 2022-06-28 14:16 | 370 | Unknown | 0 | 6.012 | 332763 | 0.667 | ----- | ----- | ----- | ----- | 52 | BRN28jun22_004.gcd | 2022-06-28 14:16 | 370 | Unknown | 0 | 5.956 | 2511 | 0.766 | ----- | ----- | ----- | ----- | 52 | BRN28jun22_004.gcd | 2022-06-28 14:16 | 370 | Unknown | 0 | 12.096 | 77648 | 16.148 | ----- | ----- | ----- | ----- | 1 |  | 86 | 769.9392 | 15792.2761 | 955.3 | 14052.3156 | 863.032 | 14744.4046 | 769.9392 | 15792.2761 | 360.1663 | -1941.0815 | 52 | BRN28jun22_004.gcd | 2022-06-28 14:16 | 370 | Unknown | 0 | 2.852 | 1044585 | 0 | ----- | ----- | ----- | -----
53 | BRN28jun22_005.gcd | 2022-06-28 14:47 | 356 | Unknown | 0 | 6.051 | 2121 | -0.001 | ----- | ----- | ----- | ----- | 53 | BRN28jun22_005.gcd | 2022-06-28 14:47 | 356 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN28jun22_005.gcd | 2022-06-28 14:47 | 356 | Unknown | 0 | 12.064 | 99319 | 20.567 | ----- | ----- | ----- | ----- | 1 |  | 87 | 0.61948 | 20173.8013 | 1.4619 | 17829.3928 | 1.1329 | 18825.5419 | 0.61948 | 20173.8013 | -0.97175 | -6178.7423 | 53 | BRN28jun22_005.gcd | 2022-06-28 14:47 | 356 | Unknown | 0 | 2.826 | 1378225 | 0 | ----- | ----- | ----- | -----
54 | BRN28jun22_006.gcd | 2022-06-28 15:17 | 372 | Unknown | 0 | 5.973 | 16193328 | 33.552 | ----- | ----- | ----- | ----- | 54 | BRN28jun22_006.gcd | 2022-06-28 15:17 | 372 | Unknown | 0 | 5.928 | 121611 | 29.641 | ----- | ----- | ----- | ----- | 54 | BRN28jun22_006.gcd | 2022-06-28 15:17 | 372 | Unknown | 0 | 12.12 | 61617 | 12.849 | ----- | ----- | ----- | ----- | 1 |  | 88 | 29990.2627 | 12535.6433 | 23702.0115 | 11220.3058 | 31170.3404 | 11715.5788 | 29990.2627 | 12535.6433 | 53862.3755 | 154.135 | 54 | BRN28jun22_006.gcd | 2022-06-28 15:17 | 372 | Unknown | 0 | 2.854 | 1009559 | 0 | ----- | ----- | ----- | -----
55 | BRN28jun22_007.gcd | 2022-06-28 15:48 | 326 | Unknown | 0 | 6.042 | 1535 | -0.002 | ----- | ----- | ----- | ----- | 55 | BRN28jun22_007.gcd | 2022-06-28 15:48 | 326 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN28jun22_007.gcd | 2022-06-28 15:48 | 326 | Unknown | 0 | 12.076 | 97365 | 20.171 | ----- | ----- | ----- | ----- | 1 |  | 89 | -0.18107 | 19779.7173 | -0.16876 | 17491.245 | -0.98324 | 18458.1861 | -0.18107 | 19779.7173 | -1.8451 | -5730.3805 | 55 | BRN28jun22_007.gcd | 2022-06-28 15:48 | 326 | Unknown | 0 | 2.848 | 1093324 | 0 | ----- | ----- | ----- | -----
56 | BRN28jun22_008.gcd | 2022-06-28 16:19 | 362 | Unknown | 0 | 6.049 | 1598 | -0.002 | ----- | ----- | ----- | ----- | 56 | BRN28jun22_008.gcd | 2022-06-28 16:19 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN28jun22_008.gcd | 2022-06-28 16:19 | 362 | Unknown | 0 | 12.068 | 103378 | 21.39 | ----- | ----- | ----- | ----- | 1 |  | 90 | -0.099791 | 20991.8001 | 0.0058541 | 18530.2875 | -0.75383 | 19588.2448 | -0.099791 | 20991.8001 | -1.7517 | -7152.094 | 56 | BRN28jun22_008.gcd | 2022-06-28 16:19 | 362 | Unknown | 0 | 2.835 | 1193576 | 0 | ----- | ----- | ----- | -----
57 | BRN28jun22_009.gcd | 2022-06-28 16:49 | 388 | Unknown | 0 | 6.041 | 2380 | 0 | ----- | ----- | ----- | ----- | 57 | BRN28jun22_009.gcd | 2022-06-28 16:49 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN28jun22_009.gcd | 2022-06-28 16:49 | 388 | Unknown | 0 | 12.082 | 93227 | 19.33 | ----- | ----- | ----- | ----- | 1 |  | 91 | 1.0051 | 18944.5196 | 2.1873 | 16773.5646 | 2.0555 | 17679.8243 | 1.0051 | 18944.5196 | -0.58245 | -4824.2402 | 57 | BRN28jun22_009.gcd | 2022-06-28 16:49 | 388 | Unknown | 0 | 2.858 | 928374 | 0 | ----- | ----- | ----- | -----
58 | BRN28jun22_010.gcd | 2022-06-28 17:20 | 335 | Unknown | 0 | 6.025 | 4946 | 0.005 | ----- | ----- | ----- | ----- | 58 | BRN28jun22_010.gcd | 2022-06-28 17:20 | 335 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN28jun22_010.gcd | 2022-06-28 17:20 | 335 | Unknown | 0 | 12.088 | 94946 | 19.679 | ----- | ----- | ----- | ----- | 1 |  | 92 | 5.8789 | 19291.582 | 9.5278 | 17071.963 | 10.7759 | 18003.2375 | 5.8789 | 19291.582 | 3.3847 | -5193.5151 | 58 | BRN28jun22_010.gcd | 2022-06-28 17:20 | 335 | Unknown | 0 | 2.852 | 1083680 | 0 | ----- | ----- | ----- | -----
59 | BRN28jun22_011.gcd | 2022-06-28 17:50 | 203 | Unknown | 0 | 6.017 | 65336 | 0.127 | ----- | ----- | ----- | ----- | 59 | BRN28jun22_011.gcd | 2022-06-28 17:50 | 203 | Unknown | 0 | 5.954 | 428 | 0.255 | ----- | ----- | ----- | ----- | 59 | BRN28jun22_011.gcd | 2022-06-28 17:50 | 203 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 93 | 150.5951 | #VALUE! | 202.2064 | #VALUE! | 171.2332 | #VALUE! | 150.5951 | #VALUE! | 154.5401 | #VALUE! | 59 | BRN28jun22_011.gcd | 2022-06-28 17:50 | 203 | Unknown | 0 | 2.832 | 1528683 | 0 | ----- | ----- | ----- | -----
60 | BRN28jun22_012.gcd | 2022-06-28 18:21 | 337 | Unknown | 0 | 5.949 | 24805980 | 52.164 | ----- | ----- | ----- | ----- | 60 | BRN28jun22_012.gcd | 2022-06-28 18:21 | 337 | Unknown | 0 | 5.905 | 197359 | 47.642 | ----- | ----- | ----- | ----- | 60 | BRN28jun22_012.gcd | 2022-06-28 18:21 | 337 | Unknown | 0 | 12.11 | 75288 | 15.664 | ----- | ----- | ----- | ----- | 1 |  | 94 | 48239.3468 | 15313.675 | 38165.9267 | 13637.4271 | 50107.2096 | 14299.0413 | 48239.3468 | 15313.675 | 131430.0318 | -1577.1413 | 60 | BRN28jun22_012.gcd | 2022-06-28 18:21 | 337 | Unknown | 0 | 2.854 | 987597 | 0 | ----- | ----- | ----- | -----
61 | BRN28jun22_013.gcd | 2022-06-28 18:52 | 342 | Unknown | 0 | 6.019 | 60237 | 0.117 | ----- | ----- | ----- | ----- | 61 | BRN28jun22_013.gcd | 2022-06-28 18:52 | 342 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN28jun22_013.gcd | 2022-06-28 18:52 | 342 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 95 | 138.6742 | #VALUE! | 186.713 | #VALUE! | 157.8747 | #VALUE! | 138.6742 | #VALUE! | 137.492 | #VALUE! | 61 | BRN28jun22_013.gcd | 2022-06-28 18:52 | 342 | Unknown | 0 | 2.852 | 1154190 | 0 | ----- | ----- | ----- | -----
62 | BRN28jun22_014.gcd | 2022-06-28 19:22 | 386 | Unknown | 0 | 6.006 | 310639 | 0.623 | ----- | ----- | ----- | ----- | 62 | BRN28jun22_014.gcd | 2022-06-28 19:22 | 386 | Unknown | 0 | 5.954 | 2349 | 0.726 | ----- | ----- | ----- | ----- | 62 | BRN28jun22_014.gcd | 2022-06-28 19:22 | 386 | Unknown | 0 | 12.155 | 23397 | 4.878 | ----- | ----- | ----- | ----- | 1 |  | 96 | 719.1385 | 4718.4898 | 897.4268 | 4338.2723 | 806.4562 | 4460.7474 | 719.1385 | 4718.4898 | 344.3878 | 1583.031 | 62 | BRN28jun22_014.gcd | 2022-06-28 19:22 | 386 | Unknown | 0 | 2.836 | 1245635 | 0 | ----- | ----- | ----- | -----
63 | BRN28jun22_015.gcd | 2022-06-28 19:53 | 412 | Unknown | 0 | 6.01 | 51426 | 0.099 | ----- | ----- | ----- | ----- | 63 | BRN28jun22_015.gcd | 2022-06-28 19:53 | 412 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN28jun22_015.gcd | 2022-06-28 19:53 | 412 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 97 | 118.0652 | #VALUE! | 159.8407 | #VALUE! | 134.7767 | #VALUE! | 118.0652 | #VALUE! | 109.8962 | #VALUE! | 63 | BRN28jun22_015.gcd | 2022-06-28 19:53 | 412 | Unknown | 0 | 2.81 | 1842421 | 0 | ----- | ----- | ----- | -----
64 | BRN28jun22_016.gcd | 2022-06-28 20:23 | 416 | Unknown | 0 | 6.022 | 49118 | 0.094 | ----- | ----- | ----- | ----- | 64 | BRN28jun22_016.gcd | 2022-06-28 20:23 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN28jun22_016.gcd | 2022-06-28 20:23 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 98 | 112.6648 | #VALUE! | 152.7807 | #VALUE! | 128.7231 | #VALUE! | 112.6648 | #VALUE! | 103.0576 | #VALUE! | 64 | BRN28jun22_016.gcd | 2022-06-28 20:23 | 416 | Unknown | 0 | 2.842 | 1386548 | 0 | ----- | ----- | ----- | -----
65 | BRN28jun22_017.gcd | 2022-06-28 20:54 | 393 | Unknown | 0 | 6.083 | 1080 | -0.003 | ----- | ----- | ----- | ----- | 65 | BRN28jun22_017.gcd | 2022-06-28 20:54 | 393 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN28jun22_017.gcd | 2022-06-28 20:54 | 393 | Unknown | 0 | 12.081 | 107673 | 22.259 | ----- | ----- | ----- | ----- | 1 |  | 99 | -0.73383 | 21856.4436 | -1.4248 | 19269.6818 | -2.6538 | 20394.7097 | -0.73383 | 21856.4436 | -2.5159 | -8243.7529 | 65 | BRN28jun22_017.gcd | 2022-06-28 20:54 | 393 | Unknown | 0 | 2.856 | 1003657 | 0 | ----- | ----- | ----- | -----
66 | BRN28jun22_018.gcd | 2022-06-28 21:25 | 301 | Unknown | 0 | 5.964 | 15956133 | 33.048 | ----- | ----- | ----- | ----- | 66 | BRN28jun22_018.gcd | 2022-06-28 21:25 | 301 | Unknown | 0 | 5.917 | 119233 | 29.072 | ----- | ----- | ----- | ----- | 66 | BRN28jun22_018.gcd | 2022-06-28 21:25 | 301 | Unknown | 0 | 12.098 | 69815 | 14.54 | ----- | ----- | ----- | ----- | 1 |  | 100 | 29413.7584 | 14202.6726 | 23248.5479 | 12672.5816 | 30572.1159 | 13265.5166 | 29413.7584 | 14202.6726 | 51975.3117 | -806.8759 | 66 | BRN28jun22_018.gcd | 2022-06-28 21:25 | 301 | Unknown | 0 | 2.843 | 1035757 | 0 | ----- | ----- | ----- | -----
67 | BRN28jun22_019.gcd | 2022-06-28 21:55 | 323 | Unknown | 0 | 5.946 | 25216793 | 53.066 | ----- | ----- | ----- | ----- | 67 | BRN28jun22_019.gcd | 2022-06-28 21:55 | 323 | Unknown | 0 | 5.903 | 199141 | 48.063 | ----- | ----- | ----- | ----- | 67 | BRN28jun22_019.gcd | 2022-06-28 21:55 | 323 | Unknown | 0 | 12.113 | 63492 | 13.236 | ----- | ----- | ----- | ----- | 1 |  | 101 | 48665.9858 | 12917.2193 | 38506.6496 | 11553.2062 | 50549.9336 | 12070.2645 | 48665.9858 | 12917.2193 | 133662.4073 | -45.2703 | 67 | BRN28jun22_019.gcd | 2022-06-28 21:55 | 323 | Unknown | 0 | 2.86 | 892923 | 0 | ----- | ----- | ----- | -----
68 | BRN28jun22_020.gcd | 2022-06-28 22:26 | 344 | Unknown | 0 | 6.025 | 8747 | 0.013 | ----- | ----- | ----- | ----- | 68 | BRN28jun22_020.gcd | 2022-06-28 22:26 | 344 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN28jun22_020.gcd | 2022-06-28 22:26 | 344 | Unknown | 0 | 12.188 | 4624 | 0.906 | ----- | ----- | ----- | ----- | 1 |  | 102 | 16.6148 | 851.5351 | 20.9155 | 890.7775 | 22.291 | 879.9031 | 16.6148 | 851.5351 | 9.6291 | 444.6009 | 68 | BRN28jun22_020.gcd | 2022-06-28 22:26 | 344 | Unknown | 0 | 2.855 | 1107417 | 0 | ----- | ----- | ----- | -----
69 | BRN28jun22_021.gcd | 2022-06-28 22:56 | 321 | Unknown | 0 | 6.013 | 5746 | 0.007 | ----- | ----- | ----- | ----- | 69 | BRN28jun22_021.gcd | 2022-06-28 22:56 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN28jun22_021.gcd | 2022-06-28 22:56 | 321 | Unknown | 0 | 12.174 | 4897 | 0.964 | ----- | ----- | ----- | ----- | 1 |  | 103 | 7.7896 | 907.8979 | 11.8735 | 941.2285 | 13.3387 | 932.0585 | 7.7896 | 907.8979 | 4.6625 | 469.843 | 69 | BRN28jun22_021.gcd | 2022-06-28 22:56 | 321 | Unknown | 0 | 2.843 | 1077425 | 0 | ----- | ----- | ----- | -----
70 | BRN28jun22_022.gcd | 2022-06-28 23:27 | 213 | Unknown | 0 | 6.017 | 131783 | 0.261 | ----- | ----- | ----- | ----- | 70 | BRN28jun22_022.gcd | 2022-06-28 23:27 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN28jun22_022.gcd | 2022-06-28 23:27 | 213 | Unknown | 0 | 12.104 | 78033 | 16.227 | ----- | ----- | ----- | ----- | 1 |  | 104 | 305.5578 | 15870.326 | 400.2259 | 14119.9323 | 344.7375 | 14817.042 | 305.5578 | 15870.326 | #VALUE! | -2002.2708 | 70 | BRN28jun22_022.gcd | 2022-06-28 23:27 | 213 | Unknown | 0 | 2.854 | 1038305 | 0 | ----- | ----- | ----- | -----
71 | BRN28jun22_023.gcd | 2022-06-28 23:58 | 391 | Unknown | 0 | 6.007 | 199667 | 0.398 | ----- | ----- | ----- | ----- | 71 | BRN28jun22_023.gcd | 2022-06-28 23:58 | 391 | Unknown | 0 | 5.953 | 1477 | 0.512 | ----- | ----- | ----- | ----- | 71 | BRN28jun22_023.gcd | 2022-06-28 23:58 | 391 | Unknown | 0 | 12.088 | 58013 | 12.104 | ----- | ----- | ----- | ----- | 1 |  | 105 | 463.1372 | 11801.6993 | 595.0849 | 10579.1873 | 520.8915 | 11033.5044 | 463.1372 | 11801.6993 | 262.1166 | 503.4548 | 71 | BRN28jun22_023.gcd | 2022-06-28 23:58 | 391 | Unknown | 0 | 2.846 | 1021352 | 0 | ----- | ----- | ----- | -----
72 | BRN28jun22_024.gcd | 2022-06-29 00:28 | 368 | Unknown | 0 | 6.019 | 206738 | 0.413 | ----- | ----- | ----- | ----- | 72 | BRN28jun22_024.gcd | 2022-06-29 00:28 | 368 | Unknown | 0 | 5.971 | 1708 | 0.569 | ----- | ----- | ----- | ----- | 72 | BRN28jun22_024.gcd | 2022-06-29 00:28 | 368 | Unknown | 0 | 12.169 | 21365 | 4.45 | ----- | ----- | ----- | ----- | 1 |  | 106 | 479.5085 | 4300.7966 | 614.9494 | 3967.2488 | 539.1762 | 4073.7079 | 479.5085 | 4300.7966 | 283.4741 | 1518.3171 | 72 | BRN28jun22_024.gcd | 2022-06-29 00:28 | 368 | Unknown | 0 | 2.854 | 1135643 | 0 | ----- | ----- | ----- | -----
73 | BRN28jun22_025.gcd | 2022-06-29 00:59 | 314 | Unknown | 0 | 6.015 | 247287 | 0.495 | ----- | ----- | ----- | ----- | 73 | BRN28jun22_025.gcd | 2022-06-29 00:59 | 314 | Unknown | 0 | 5.965 | 1839 | 0.601 | ----- | ----- | ----- | ----- | 73 | BRN28jun22_025.gcd | 2022-06-29 00:59 | 314 | Unknown | 0 | 12.122 | 56537 | 11.799 | ----- | ----- | ----- | ----- | 1 |  | 107 | 573.2348 | 11500.9249 | 727.2873 | 10316.1497 | 643.797 | 10754.0424 | 573.2348 | 11500.9249 | 295.7258 | 633.6203 | 73 | BRN28jun22_025.gcd | 2022-06-29 00:59 | 314 | Unknown | 0 | 2.836 | 1385551 | 0 | ----- | ----- | ----- | -----
74 | BRN28jun22_026.gcd | 2022-06-29 01:30 | 204 | Unknown | 0 | 6.007 | 49642 | 0.095 | ----- | ----- | ----- | ----- | 74 | BRN28jun22_026.gcd | 2022-06-29 01:30 | 204 | Unknown | 0 | 6.019 | 407 | 0.25 | ----- | ----- | ----- | ----- | 74 | BRN28jun22_026.gcd | 2022-06-29 01:30 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 108 | 113.8909 | #VALUE! | 154.3843 | #VALUE! | 130.0976 | #VALUE! | 113.8909 | #VALUE! | 104.596 | #VALUE! | 74 | BRN28jun22_026.gcd | 2022-06-29 01:30 | 204 | Unknown | 0 | 2.837 | 1213308 | 0 | ----- | ----- | ----- | -----
75 | BRN28jun22_027.gcd | 2022-06-29 02:00 | 405 | Unknown | 0 | 6.006 | 70321 | 0.137 | ----- | ----- | ----- | ----- | 75 | BRN28jun22_027.gcd | 2022-06-29 02:00 | 405 | Unknown | 0 | 5.943 | 587 | 0.294 | ----- | ----- | ----- | ----- | 75 | BRN28jun22_027.gcd | 2022-06-29 02:00 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 109 | 162.2454 | #VALUE! | 217.3123 | #VALUE! | 184.2869 | #VALUE! | 162.2454 | #VALUE! | 171.9711 | #VALUE! | 75 | BRN28jun22_027.gcd | 2022-06-29 02:00 | 405 | Unknown | 0 | 2.838 | 1191547 | 0 | ----- | ----- | ----- | -----
76 | BRN28jun22_028.gcd | 2022-06-29 02:31 | 183 | Unknown | 0 | 6.02 | 17733 | 0.031 | ----- | ----- | ----- | ----- | 76 | BRN28jun22_028.gcd | 2022-06-29 02:31 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN28jun22_028.gcd | 2022-06-29 02:31 | 183 | Unknown | 0 | 12.182 | 7233 | 1.46 | ----- | ----- | ----- | ----- | 1 |  | 110 | 39.1418 | 1390.026 | 55.9129 | 1372.5443 | 46.2773 | 1378.2409 | 39.1418 | 1390.026 | 26.1382 | 675.3512 | 76 | BRN28jun22_028.gcd | 2022-06-29 02:31 | 183 | Unknown | 0 | 2.851 | 1138298 | 0 | ----- | ----- | ----- | -----
77 | BRN28jun22_029.gcd | 2022-06-29 03:01 | 205 | Unknown | 0 | 6.021 | 16588 | 0.029 | ----- | ----- | ----- | ----- | 77 | BRN28jun22_029.gcd | 2022-06-29 03:01 | 205 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN28jun22_029.gcd | 2022-06-29 03:01 | 205 | Unknown | 0 | 12.179 | 6542 | 1.313 | ----- | ----- | ----- | ----- | 1 |  | 111 | 36.4565 | 1247.4392 | 52.3485 | 1245.0304 | 43.265 | 1246.2765 | 36.4565 | 1247.4392 | 23.8981 | 616.516 | 77 | BRN28jun22_029.gcd | 2022-06-29 03:01 | 205 | Unknown | 0 | 2.855 | 1094747 | 0 | ----- | ----- | ----- | -----