## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240326_001.gcd | 2024-03-26 11:12 | QC outside air | Unknown | 0 | 6.023 | 1218484 | 3.073 | ----- | ----- | ----- | ----- | 48 | FMI20240326_001.gcd | 2024-03-26 11:12 | QC outside air | Unknown | 0 | 5.975 | 9797 | 2.914 | ----- | ----- | ----- | ----- | 48 | FMI20240326_001.gcd | 2024-03-26 11:12 | QC outside air | Unknown | 0 | 12.249 | 10818 | 2.341 | ----- | ----- | ----- | ----- | 2 | actually spiked? | 48 | 2759.0061 | 2244.7917 | 2796.1245 | 2062.6407 | 2645.7786 | 2129.394 | 2490.3435 | 2564.495 | 2759.0061 | 2244.7917 | 48 | FMI20240326_001.gcd | 2024-03-26 11:12 | QC outside air | Unknown | 0 | 2.699 | 5758670 | 0 | ----- | ----- | ----- | -----
49 | FMI20240326_002.gcd | 2024-03-26 11:43 | QC spiked air | Unknown | 0 | 6.04 | 963789 | 2.429 | ----- | ----- | ----- | ----- | 49 | FMI20240326_002.gcd | 2024-03-26 11:43 | QC spiked air | Unknown | 0 | 5.991 | 8010 | 2.39 | ----- | ----- | ----- | ----- | 49 | FMI20240326_002.gcd | 2024-03-26 11:43 | QC spiked air | Unknown | 0 | 12.271 | 8425 | 1.816 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2216.6407 | 1756.9804 | 2338.5763 | 1605.8479 | 2204.8276 | 1635.9361 | 2006.5733 | 2001.6057 | 2216.6407 | 1756.9804 | 49 | FMI20240326_002.gcd | 2024-03-26 11:43 | QC spiked air | Unknown | 0 | 2.734 | 5175908 | 0 | ----- | ----- | ----- | -----
50 | FMI20240326_003.gcd | 2024-03-26 12:13 | QC reference tank | Unknown | 0 | 6.047 | 3661 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI20240326_003.gcd | 2024-03-26 12:13 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240326_003.gcd | 2024-03-26 12:13 | QC reference tank | Unknown | 0 | 12.24 | 1129 | 0.211 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.9353 | 265.4688 | 6.5043 | 211.9861 | 3.199 | 129.6318 | 2.5129 | 253.1746 | 5.9353 | 265.4688 | 50 | FMI20240326_003.gcd | 2024-03-26 12:13 | QC reference tank | Unknown | 0 | 2.704 | 5524470 | 0 | ----- | ----- | ----- | -----
51 | FMI20240326_004.gcd | 2024-03-26 12:44 | 363 | Unknown | 0 | 6.036 | 4829 | 0.009 | ----- | ----- | ----- | ----- | 51 | FMI20240326_004.gcd | 2024-03-26 12:44 | 363 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240326_004.gcd | 2024-03-26 12:44 | 363 | Unknown | 0 | 12.188 | 28771 | 6.255 | ----- | ----- | ----- | ----- | 1 |  | 51 | 9.367 | 5882.6543 | 10.3949 | 5483.6977 | 5.615 | 5822.141 | 2.3022 | 6620.8579 | 9.367 | 5882.6543 | 51 | FMI20240326_004.gcd | 2024-03-26 12:44 | 363 | Unknown | 0 | 2.86 | 929027 | 0 | ----- | ----- | ----- | -----
52 | FMI20240326_005.gcd | 2024-03-26 13:15 | 277 | Unknown | 0 | 6.052 | 5032 | 0.009 | ----- | ----- | ----- | ----- | 52 | FMI20240326_005.gcd | 2024-03-26 13:15 | 277 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240326_005.gcd | 2024-03-26 13:15 | 277 | Unknown | 0 | 12.228 | 18076 | 3.928 | ----- | ----- | ----- | ----- | 1 |  | 52 | 9.9793 | 3720.1408 | 11.055 | 3446.9604 | 6.0754 | 3624.2707 | 2.4159 | 4239.7971 | 9.9793 | 3720.1408 | 52 | FMI20240326_005.gcd | 2024-03-26 13:15 | 277 | Unknown | 0 | 2.892 | 720345 | 0 | ----- | ----- | ----- | -----
53 | FMI20240326_006.gcd | 2024-03-26 13:46 | 325 | Unknown | 0 | 6.032 | 6205 | 0.012 | ----- | ----- | ----- | ----- | 53 | FMI20240326_006.gcd | 2024-03-26 13:46 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240326_006.gcd | 2024-03-26 13:46 | 325 | Unknown | 0 | 12.222 | 7947 | 1.711 | ----- | ----- | ----- | ----- | 1 |  | 53 | 13.6099 | 1659.4583 | 14.7755 | 1514.5815 | 8.9699 | 1537.3332 | 3.9443 | 1888.5431 | 13.6099 | 1659.4583 | 53 | FMI20240326_006.gcd | 2024-03-26 13:46 | 325 | Unknown | 0 | 2.862 | 873458 | 0 | ----- | ----- | ----- | -----
54 | FMI20240326_007.gcd | 2024-03-26 14:16 | 376 | Unknown | 0 | 6.037 | 4551 | 0.008 | ----- | ----- | ----- | ----- | 54 | FMI20240326_007.gcd | 2024-03-26 14:16 | 376 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240326_007.gcd | 2024-03-26 14:16 | 376 | Unknown | 0 | 12.196 | 24448 | 5.316 | ----- | ----- | ----- | ----- | 1 |  | 54 | 8.5361 | 5010.1973 | 9.4832 | 4660.8809 | 5.004 | 4934.4482 | 2.2187 | 5670.9789 | 8.5361 | 5010.1973 | 54 | FMI20240326_007.gcd | 2024-03-26 14:16 | 376 | Unknown | 0 | 2.867 | 794146 | 0 | ----- | ----- | ----- | -----
55 | FMI20240326_008.gcd | 2024-03-26 14:47 | 375 | Unknown | 0 | 6.17 | 6066 | 0.012 | ----- | ----- | ----- | ----- | 55 | FMI20240326_008.gcd | 2024-03-26 14:47 | 375 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240326_008.gcd | 2024-03-26 14:47 | 375 | Unknown | 0 | 12.353 | 21050 | 4.577 | ----- | ----- | ----- | ----- | 1 |  | 55 | 13.1714 | 4322.8525 | 14.343 | 4013.6972 | 8.606 | 4236.027 | 3.6855 | 4912.3809 | 13.1714 | 4322.8525 | 55 | FMI20240326_008.gcd | 2024-03-26 14:47 | 375 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | -----
56 | FMI20240326_009.gcd | 2024-03-26 15:18 | 298 | Unknown | 0 | 6.091 | 6684 | 0.013 | ----- | ----- | ----- | ----- | 56 | FMI20240326_009.gcd | 2024-03-26 15:18 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240326_009.gcd | 2024-03-26 15:18 | 298 | Unknown | 0 | 12.285 | 7819 | 1.683 | ----- | ----- | ----- | ----- | 1 |  | 56 | 15.1376 | 1633.339 | 16.249 | 1490.1407 | 10.2669 | 1510.9271 | 4.9957 | 1858.2315 | 15.1376 | 1633.339 | 56 | FMI20240326_009.gcd | 2024-03-26 15:18 | 298 | Unknown | 0 | 2.924 | 1017883 | 0 | ----- | ----- | ----- | -----
57 | FMI20240326_010.gcd | 2024-03-26 15:49 | 366 | Unknown | 0 | 6.053 | 4433 | 0.008 | ----- | ----- | ----- | ----- | 57 | FMI20240326_010.gcd | 2024-03-26 15:49 | 366 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240326_010.gcd | 2024-03-26 15:49 | 366 | Unknown | 0 | 12.219 | 24477 | 5.322 | ----- | ----- | ----- | ----- | 1 |  | 57 | 8.186 | 5016.0574 | 9.0936 | 4666.4027 | 4.7515 | 4940.4063 | 2.2086 | 5677.4078 | 8.186 | 5016.0574 | 57 | FMI20240326_010.gcd | 2024-03-26 15:49 | 366 | Unknown | 0 | 2.879 | 949394 | 0 | ----- | ----- | ----- | -----
58 | FMI20240326_011.gcd | 2024-03-26 16:19 | 222 | Unknown | 0 | 6.055 | 3915 | 0.006 | ----- | ----- | ----- | ----- | 58 | FMI20240326_011.gcd | 2024-03-26 16:19 | 222 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240326_011.gcd | 2024-03-26 16:19 | 222 | Unknown | 0 | 12.235 | 14898 | 3.234 | ----- | ----- | ----- | ----- | 1 |  | 58 | 6.6683 | 3074.9174 | 7.3638 | 2841.0307 | 3.6907 | 2970.0524 | 2.3417 | 3512.1604 | 6.6683 | 3074.9174 | 58 | FMI20240326_011.gcd | 2024-03-26 16:19 | 222 | Unknown | 0 | 2.882 | 879755 | 0 | ----- | ----- | ----- | -----
59 | FMI20240326_012.gcd | 2024-03-26 16:50 | 374 | Unknown | 0 | 6.043 | 11867 | 0.026 | ----- | ----- | ----- | ----- | 59 | FMI20240326_012.gcd | 2024-03-26 16:50 | 374 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240326_012.gcd | 2024-03-26 16:50 | 374 | Unknown | 0 | 12.238 | 6500 | 1.393 | ----- | ----- | ----- | ----- | 1 |  | 59 | 30.0408 | 1364.0734 | 30.8414 | 1238.255 | 25.3824 | 1238.7718 | 25.4692 | 1545.0098 | 30.0408 | 1364.0734 | 59 | FMI20240326_012.gcd | 2024-03-26 16:50 | 374 | Unknown | 0 | 2.874 | 1047379 | 0 | ----- | ----- | ----- | -----
60 | FMI20240326_013.gcd | 2024-03-26 17:21 | 358 | Unknown | 0 | 6.054 | 4542 | 0.008 | ----- | ----- | ----- | ----- | 60 | FMI20240326_013.gcd | 2024-03-26 17:21 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20240326_013.gcd | 2024-03-26 17:21 | 358 | Unknown | 0 | 12.22 | 25899 | 5.631 | ----- | ----- | ----- | ----- | 1 |  | 60 | 8.5093 | 5303.2837 | 9.4536 | 4937.1243 | 4.9846 | 5232.5056 | 2.2174 | 5991.7032 | 8.5093 | 5303.2837 | 60 | FMI20240326_013.gcd | 2024-03-26 17:21 | 358 | Unknown | 0 | 2.883 | 918197 | 0 | ----- | ----- | ----- | -----
61 | FMI20240326_014.gcd | 2024-03-26 17:51 | 305 | Unknown | 0 | 6.054 | 4455 | 0.008 | ----- | ----- | ----- | ----- | 61 | FMI20240326_014.gcd | 2024-03-26 17:51 | 305 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20240326_014.gcd | 2024-03-26 17:51 | 305 | Unknown | 0 | 12.22 | 22910 | 4.981 | ----- | ----- | ----- | ----- | 1 |  | 61 | 8.2512 | 4699.2629 | 9.1663 | 4367.9996 | 4.7983 | 4618.4024 | 2.2093 | 5328.9277 | 8.2512 | 4699.2629 | 61 | FMI20240326_014.gcd | 2024-03-26 17:51 | 305 | Unknown | 0 | 2.883 | 880053 | 0 | ----- | ----- | ----- | -----
62 | FMI20240326_015.gcd | 2024-03-26 18:22 | 373 | Unknown | 0 | 6.054 | 4510 | 0.008 | ----- | ----- | ----- | ----- | 62 | FMI20240326_015.gcd | 2024-03-26 18:22 | 373 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20240326_015.gcd | 2024-03-26 18:22 | 373 | Unknown | 0 | 12.22 | 22429 | 4.877 | ----- | ----- | ----- | ----- | 1 |  | 62 | 8.4143 | 4601.962 | 9.348 | 4276.387 | 4.9158 | 4519.5362 | 2.2135 | 5221.5103 | 8.4143 | 4601.962 | 62 | FMI20240326_015.gcd | 2024-03-26 18:22 | 373 | Unknown | 0 | 2.879 | 949168 | 0 | ----- | ----- | ----- | -----
63 | FMI20240326_016.gcd | 2024-03-26 18:53 | 213 | Unknown | 0 | 6.04 | 112040 | 0.279 | ----- | ----- | ----- | ----- | 63 | FMI20240326_016.gcd | 2024-03-26 18:53 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20240326_016.gcd | 2024-03-26 18:53 | 213 | Unknown | 0 | 12.151 | 83844 | 18.008 | ----- | ----- | ----- | ----- | 1 |  | 63 | 316.8577 | 16577.3907 | 293.2966 | 15912.81 | 259.5889 | 17047.4539 | 310.7217 | 18703.6393 | 316.8577 | 16577.3907 | 63 | FMI20240326_016.gcd | 2024-03-26 18:53 | 213 | Unknown | 0 | 2.881 | 891026 | 0 | ----- | ----- | ----- | -----
64 | FMI20240326_017.gcd | 2024-03-26 19:24 | 384 | Unknown | 0 | 6.047 | 5851 | 0.011 | ----- | ----- | ----- | ----- | 64 | FMI20240326_017.gcd | 2024-03-26 19:24 | 384 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240326_017.gcd | 2024-03-26 19:24 | 384 | Unknown | 0 | 12.239 | 8368 | 1.803 | ----- | ----- | ----- | ----- | 1 |  | 64 | 12.4976 | 1745.3526 | 13.6695 | 1594.965 | 8.0542 | 1624.1786 | 3.3265 | 1988.1343 | 12.4976 | 1745.3526 | 64 | FMI20240326_017.gcd | 2024-03-26 19:24 | 384 | Unknown | 0 | 2.885 | 882950 | 0 | ----- | ----- | ----- | -----
65 | FMI20240326_018.gcd | 2024-03-26 19:54 | 241 | Unknown | 0 | 6.045 | 3882 | 0.006 | ----- | ----- | ----- | ----- | 65 | FMI20240326_018.gcd | 2024-03-26 19:54 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20240326_018.gcd | 2024-03-26 19:54 | 241 | Unknown | 0 | 12.23 | 15458 | 3.356 | ----- | ----- | ----- | ----- | 1 |  | 65 | 6.5726 | 3188.7008 | 7.2526 | 2947.8263 | 3.6257 | 3085.3706 | 2.36 | 3641.047 | 6.5726 | 3188.7008 | 65 | FMI20240326_018.gcd | 2024-03-26 19:54 | 241 | Unknown | 0 | 2.876 | 1032156 | 0 | ----- | ----- | ----- | -----
66 | FMI20240326_019.gcd | 2024-03-26 20:25 | 235 | Unknown | 0 | 6.022 | 11338 | 0.025 | ----- | ----- | ----- | ----- | 66 | FMI20240326_019.gcd | 2024-03-26 20:25 | 235 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20240326_019.gcd | 2024-03-26 20:25 | 235 | Unknown | 0 | 12.209 | 8244 | 1.776 | ----- | ----- | ----- | ----- | 1 |  | 66 | 28.5107 | 1720.0558 | 29.449 | 1571.2897 | 24.1413 | 1598.6004 | 23.8788 | 1958.8178 | 28.5107 | 1720.0558 | 66 | FMI20240326_019.gcd | 2024-03-26 20:25 | 235 | Unknown | 0 | 2.852 | 1055590 | 0 | ----- | ----- | ----- | -----
67 | FMI20240326_020.gcd | 2024-03-26 20:56 | 379 | Unknown | 0 | 6.038 | 119625 | 0.298 | ----- | ----- | ----- | ----- | 67 | FMI20240326_020.gcd | 2024-03-26 20:56 | 379 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240326_020.gcd | 2024-03-26 20:56 | 379 | Unknown | 0 | 12.151 | 84959 | 18.242 | ----- | ----- | ----- | ----- | 1 |  | 67 | 338.3391 | 16802.8924 | 313.0707 | 16122.9376 | 277.257 | 17273.1211 | 331.0318 | 18972.1268 | 338.3391 | 16802.8924 | 67 | FMI20240326_020.gcd | 2024-03-26 20:56 | 379 | Unknown | 0 | 2.885 | 851650 | 0 | ----- | ----- | ----- | -----
68 | FMI20240326_021.gcd | 2024-03-26 21:26 | 172-leaked during HS creation | Unknown | 0 | 6.028 | 5598 | 0.011 | ----- | ----- | ----- | ----- | 68 | FMI20240326_021.gcd | 2024-03-26 21:26 | 172-leaked during HS creation | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20240326_021.gcd | 2024-03-26 21:26 | 172-leaked during HS creation | Unknown | 0 | 12.213 | 9677 | 2.09 | ----- | ----- | ----- | ----- | 2 | leaky | 68 | 11.7115 | 2012.2851 | 12.8701 | 1844.8617 | 7.4221 | 1894.1461 | 2.9678 | 2296.7568 | 11.7115 | 2012.2851 | 68 | FMI20240326_021.gcd | 2024-03-26 21:26 | 172-leaked during HS creation | Unknown | 0 | 2.726 | 4623524 | 0 | ----- | ----- | ----- | -----