## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240903_001.gcd | 2024-09-03 14:24 | QC outside air | Unknown | 0 | 6.054 | 2159 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI20240903_001.gcd | 2024-09-03 14:24 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240903_001.gcd | 2024-09-03 14:24 | QC outside air | Unknown | 0 | 12.232 | 2389 | 0.488 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.7514 | 523.5037 | 1.2687 | 452.826 | 0.67483 | 389.9606 | 4.9495 | 558.5929 | 1.7514 | 523.5037 | 48 | FMI20240903_001.gcd | 2024-09-03 14:24 | QC outside air | Unknown | 0 | 2.702 | 5178256 | 0 | ----- | ----- | ----- | -----
49 | FMI20240903_002.gcd | 2024-09-03 14:54 | QC spiked air | Unknown | 0 | 5.996 | 1139916 | 2.874 | ----- | ----- | ----- | ----- | 49 | FMI20240903_002.gcd | 2024-09-03 14:54 | QC spiked air | Unknown | 0 | 5.949 | 8795 | 2.62 | ----- | ----- | ----- | ----- | 49 | FMI20240903_002.gcd | 2024-09-03 14:54 | QC spiked air | Unknown | 0 | 12.197 | 10614 | 2.296 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2591.7837 | 2203.2331 | 2539.5855 | 2023.707 | 2398.5454 | 2087.3388 | 2341.368 | 2516.7131 | 2591.7837 | 2203.2331 | 49 | FMI20240903_002.gcd | 2024-09-03 14:54 | QC spiked air | Unknown | 0 | 2.696 | 5204648 | 0 | ----- | ----- | ----- | -----
50 | FMI20240903_003.gcd | 2024-09-03 15:25 | QC reference tank | Unknown | 0 | 6.027 | 3850 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI20240903_003.gcd | 2024-09-03 15:25 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240903_003.gcd | 2024-09-03 15:25 | QC reference tank | Unknown | 0 | 12.227 | 1468 | 0.285 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.48 | 334.9111 | 7.1446 | 276.7886 | 3.5631 | 199.6806 | 2.3789 | 335.4891 | 6.48 | 334.9111 | 50 | FMI20240903_003.gcd | 2024-09-03 15:25 | QC reference tank | Unknown | 0 | 2.696 | 5197858 | 0 | ----- | ----- | ----- | -----
51 | FMI20240903_004.gcd | 2024-09-03 15:55 | 157 | Unknown | 0 | 6.047 | 2092 | 0.002 | ----- | ----- | ----- | ----- | 51 | FMI20240903_004.gcd | 2024-09-03 15:55 | 157 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240903_004.gcd | 2024-09-03 15:55 | 157 | Unknown | 0 | 11.977 | 204022 | 42.464 | ----- | ----- | ----- | ----- | 1 |  | 51 | 1.5707 | 40538.7904 | 1.0291 | 38328.3263 | 0.57751 | 41005.378 | 5.1149 | 47056.7879 | 1.5707 | 40538.7904 | 51 | FMI20240903_004.gcd | 2024-09-03 15:55 | 157 | Unknown | 0 | 2.854 | 808379 | 0 | ----- | ----- | ----- | -----
52 | FMI20240903_005.gcd | 2024-09-03 16:26 | 136 | Unknown | 0 | 6.037 | 2043 | 0.002 | ----- | ----- | ----- | ----- | 52 | FMI20240903_005.gcd | 2024-09-03 16:26 | 136 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240903_005.gcd | 2024-09-03 16:26 | 136 | Unknown | 0 | 11.966 | 209889 | 43.62 | ----- | ----- | ----- | ----- | 1 |  | 52 | 1.439 | 41690.7977 | 0.85351 | 39410.6106 | 0.50716 | 42156.1137 | 5.239 | 48410.7216 | 1.439 | 41690.7977 | 52 | FMI20240903_005.gcd | 2024-09-03 16:26 | 136 | Unknown | 0 | 2.853 | 820290 | 0 | ----- | ----- | ----- | -----
53 | FMI20240903_006.gcd | 2024-09-03 16:57 | 391 | Unknown | 0 | 5.998 | 98843 | 0.245 | ----- | ----- | ----- | ----- | 53 | FMI20240903_006.gcd | 2024-09-03 16:57 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240903_006.gcd | 2024-09-03 16:57 | 391 | Unknown | 0 | 12.086 | 78464 | 16.876 | ----- | ----- | ----- | ----- | 1 |  | 53 | 279.4033 | 15488.4801 | 258.859 | 14898.3525 | 228.8265 | 15957.6924 | 274.9521 | 17406.7279 | 279.4033 | 15488.4801 | 53 | FMI20240903_006.gcd | 2024-09-03 16:57 | 391 | Unknown | 0 | 2.844 | 993496 | 0 | ----- | ----- | ----- | -----
54 | FMI20240903_007.gcd | 2024-09-03 17:27 | 371 | Unknown | 0 | 6.001 | 21856 | 0.052 | ----- | ----- | ----- | ----- | 54 | FMI20240903_007.gcd | 2024-09-03 17:27 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240903_007.gcd | 2024-09-03 17:27 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | Moisture issues- no CO2 peak. CH4 is ok. | 54 | 58.9016 | #VALUE! | 57.1217 | #VALUE! | 48.8094 | #VALUE! | 55.3345 | #VALUE! | 58.9016 | #VALUE! | 54 | FMI20240903_007.gcd | 2024-09-03 17:27 | 371 | Unknown | 0 | 2.861 | 669734 | 0 | ----- | ----- | ----- | -----
55 | FMI20240903_008.gcd | 2024-09-03 17:58 | 297 | Unknown | 0 | 5.994 | 685570 | 1.725 | ----- | ----- | ----- | ----- | 55 | FMI20240903_008.gcd | 2024-09-03 17:58 | 297 | Unknown | 0 | 5.953 | 6071 | 1.821 | ----- | ----- | ----- | ----- | 55 | FMI20240903_008.gcd | 2024-09-03 17:58 | 297 | Unknown | 0 | 12.2 | 49645 | 10.753 | ----- | ----- | ----- | ----- | 1 |  | 55 | 1623.2625 | 9631.8385 | 1749.2421 | 9448.1912 | 1569.3941 | 10095.0242 | 1475.3637 | 10419.2633 | 1623.2625 | 9631.8385 | 55 | FMI20240903_008.gcd | 2024-09-03 17:58 | 297 | Unknown | 0 | 2.857 | 742887 | 0 | ----- | ----- | ----- | -----
56 | FMI20240903_009.gcd | 2024-09-03 18:28 | 324 | Unknown | 0 | 6.002 | 19920 | 0.047 | ----- | ----- | ----- | ----- | 56 | FMI20240903_009.gcd | 2024-09-03 18:28 | 324 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240903_009.gcd | 2024-09-03 18:28 | 324 | Unknown | 0 | 12.153 | 6531 | 1.4 | ----- | ----- | ----- | ----- | 1 |  | 56 | 53.3125 | 1370.4043 | 52.0301 | 1244.1756 | 44.2702 | 1245.1692 | 49.5708 | 1552.3895 | 53.3125 | 1370.4043 | 56 | FMI20240903_009.gcd | 2024-09-03 18:28 | 324 | Unknown | 0 | 2.853 | 817137 | 0 | ----- | ----- | ----- | -----
57 | FMI20240903_010.gcd | 2024-09-03 18:59 | 127 | Unknown | 0 | 6.034 | 2123 | 0.002 | ----- | ----- | ----- | ----- | 57 | FMI20240903_010.gcd | 2024-09-03 18:59 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240903_010.gcd | 2024-09-03 18:59 | 127 | Unknown | 0 | 11.761 | 151354 | 31.934 | ----- | ----- | ----- | ----- | 2 | Tried to reintegrate CO2 on top of moisture peak- maybe ok. CH4 is ok. | 57 | 1.6543 | 30123.1502 | 1.14 | 28562.5422 | 0.62238 | 30596.5588 | 5.0378 | 34776.4472 | 1.6543 | 30123.1502 | 57 | FMI20240903_010.gcd | 2024-09-03 18:59 | 127 | Unknown | 0 | 2.855 | 717973 | 0 | ----- | ----- | ----- | -----
58 | FMI20240903_011.gcd | 2024-09-03 19:29 | 79 | Unknown | 0 | 6.04 | 2153 | 0.002 | ----- | ----- | ----- | ----- | 58 | FMI20240903_011.gcd | 2024-09-03 19:29 | 79 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240903_011.gcd | 2024-09-03 19:29 | 79 | Unknown | 0 | 11.794 | 169221 | 35.538 | ----- | ----- | ----- | ----- | 2 | Tried to reintegrate CO2 on top of moisture peak- maybe ok. CH4 is ok. | 58 | 1.7352 | 33671.4753 | 1.2473 | 31885.58 | 0.66606 | 34143.4964 | 4.9641 | 38967.8397 | 1.7352 | 33671.4753 | 58 | FMI20240903_011.gcd | 2024-09-03 19:29 | 79 | Unknown | 0 | 2.854 | 781134 | 0 | ----- | ----- | ----- | -----
59 | FMI20240903_012.gcd | 2024-09-03 20:00 | 120 | Unknown | 0 | 5.845 | 55397733 | 164.687 | ----- | ----- | ----- | ----- | 59 | FMI20240903_012.gcd | 2024-09-03 20:00 | 120 | Unknown | 0 | 5.805 | 458927 | 121.652 | ----- | ----- | ----- | ----- | 59 | FMI20240903_012.gcd | 2024-09-03 20:00 | 120 | Unknown | 0 | 12.08 | 65695 | 14.176 | ----- | ----- | ----- | ----- | 1 |  | 59 | 119930.138 | 12898.469 | 113727.96 | 12486.8506 | 109545.9625 | 13365.3164 | 112470.4957 | 14319.1339 | 119930.138 | 12898.469 | 59 | FMI20240903_012.gcd | 2024-09-03 20:00 | 120 | Unknown | 0 | 2.861 | 591729 | 0 | ----- | ----- | ----- | -----
60 | FMI20240903_013.gcd | 2024-09-03 20:30 | 377 | Unknown | 0 | 5.997 | 31325 | 0.075 | ----- | ----- | ----- | ----- | 60 | FMI20240903_013.gcd | 2024-09-03 20:30 | 377 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20240903_013.gcd | 2024-09-03 20:30 | 377 | Unknown | 0 | 12.18 | 808 | 0.14 | ----- | ----- | ----- | ----- | 1 |  | 60 | 86.2068 | 199.701 | 82.0116 | 150.621 | 71.0021 | 63.2969 | 83.3545 | 175.1342 | 86.2068 | 199.701 | 60 | FMI20240903_013.gcd | 2024-09-03 20:30 | 377 | Unknown | 0 | 2.854 | 796624 | 0 | ----- | ----- | ----- | -----
61 | FMI20240903_014.gcd | 2024-09-03 21:01 | 109 | Unknown | 0 | 5.965 | 11018229 | 28.492 | ----- | ----- | ----- | ----- | 61 | FMI20240903_014.gcd | 2024-09-03 21:01 | 109 | Unknown | 0 | 5.918 | 79966 | 23.106 | ----- | ----- | ----- | ----- | 61 | FMI20240903_014.gcd | 2024-09-03 21:01 | 109 | Unknown | 0 | 12.064 | 80388 | 17.281 | ----- | ----- | ----- | ----- | 1 |  | 61 | 21250.8472 | 15878.057 | 20661.0436 | 15261.2517 | 19862.472 | 16347.5835 | 19351.3878 | 17870.8024 | 21250.8472 | 15878.057 | 61 | FMI20240903_014.gcd | 2024-09-03 21:01 | 109 | Unknown | 0 | 2.86 | 626518 | 0 | ----- | ----- | ----- | -----
62 | FMI20240903_015.gcd | 2024-09-03 21:31 | 251 | Unknown | 0 | 5.831 | 54910884 | 162.924 | ----- | ----- | ----- | ----- | 62 | FMI20240903_015.gcd | 2024-09-03 21:31 | 251 | Unknown | 0 | 5.798 | 489939 | 129.078 | ----- | ----- | ----- | ----- | 62 | FMI20240903_015.gcd | 2024-09-03 21:31 | 251 | Unknown | 0 | 12.088 | 48350 | 10.476 | ----- | ----- | ----- | ----- | 1 |  | 62 | 127611.35 | 9367.7295 | 121088.8523 | 9202.6506 | 116638.7474 | 9830.5863 | 119836.549 | 10103.6821 | 127611.35 | 9367.7295 | 62 | FMI20240903_015.gcd | 2024-09-03 21:31 | 251 | Unknown | 0 | 2.863 | 554704 | 0 | ----- | ----- | ----- | -----
63 | FMI20240903_016.gcd | 2024-09-03 22:02 | 279 | Unknown | 0 | 5.998 | 20329 | 0.048 | ----- | ----- | ----- | ----- | 63 | FMI20240903_016.gcd | 2024-09-03 22:02 | 279 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20240903_016.gcd | 2024-09-03 22:02 | 279 | Unknown | 0 | 12.15 | 6699 | 1.437 | ----- | ----- | ----- | ----- | 1 |  | 63 | 54.4934 | 1404.7114 | 53.1059 | 1276.2611 | 45.2292 | 1279.838 | 50.7894 | 1592.3678 | 54.4934 | 1404.7114 | 63 | FMI20240903_016.gcd | 2024-09-03 22:02 | 279 | Unknown | 0 | 2.853 | 796940 | 0 | ----- | ----- | ----- | -----
64 | FMI20240903_017.gcd | 2024-09-03 22:33 | 235 | Unknown | 0 | 6.003 | 32524 | 0.078 | ----- | ----- | ----- | ----- | 64 | FMI20240903_017.gcd | 2024-09-03 22:33 | 235 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240903_017.gcd | 2024-09-03 22:33 | 235 | Unknown | 0 | 12.141 | 7863 | 1.692 | ----- | ----- | ----- | ----- | 1 |  | 64 | 89.6606 | 1642.3178 | 85.1618 | 1498.5423 | 73.8112 | 1520.0043 | 86.8824 | 1868.6528 | 89.6606 | 1642.3178 | 64 | FMI20240903_017.gcd | 2024-09-03 22:33 | 235 | Unknown | 0 | 2.86 | 791054 | 0 | ----- | ----- | ----- | -----
65 | FMI20240903_018.gcd | 2024-09-03 23:03 | 261 | Unknown | 0 | 6.015 | 4577 | 0.008 | ----- | ----- | ----- | ----- | 65 | FMI20240903_018.gcd | 2024-09-03 23:03 | 261 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20240903_018.gcd | 2024-09-03 23:03 | 261 | Unknown | 0 | 12.027 | 136176 | 28.847 | ----- | ----- | ----- | ----- | 1 |  | 65 | 8.6134 | 27096.7988 | 9.5689 | 25731.4693 | 5.0602 | 27570.6388 | 2.223 | 31195.3496 | 8.6134 | 27096.7988 | 65 | FMI20240903_018.gcd | 2024-09-03 23:03 | 261 | Unknown | 0 | 2.861 | 757262 | 0 | ----- | ----- | ----- | -----
66 | FMI20240903_019.gcd | 2024-09-03 23:34 | 337 | Unknown | 0 | 6.044 | 2493 | 0.003 | ----- | ----- | ----- | ----- | 66 | FMI20240903_019.gcd | 2024-09-03 23:34 | 337 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20240903_019.gcd | 2024-09-03 23:34 | 337 | Unknown | 0 | 11.924 | 61693 | 13.325 | ----- | ----- | ----- | ----- | 2 | Tried to reintegrate CO2 on top of moisture peak- maybe ok. CH4 is ok. | 66 | 2.6595 | 12085.1071 | 2.4556 | 11729.9576 | 1.1795 | 12551.1133 | 4.197 | 13348.6896 | 2.6595 | 12085.1071 | 66 | FMI20240903_019.gcd | 2024-09-03 23:34 | 337 | Unknown | 0 | 2.856 | 692831 | 0 | ----- | ----- | ----- | -----
67 | FMI20240903_020.gcd | 2024-09-04 00:04 | 238 | Unknown | 0 | 5.999 | 17422 | 0.04 | ----- | ----- | ----- | ----- | 67 | FMI20240903_020.gcd | 2024-09-04 00:04 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240903_020.gcd | 2024-09-04 00:04 | 238 | Unknown | 0 | 12.124 | 6096 | 1.304 | ----- | ----- | ----- | ----- | 1 |  | 67 | 46.0977 | 1281.5578 | 45.4592 | 1161.093 | 38.4124 | 1155.3948 | 42.1165 | 1448.7548 | 46.0977 | 1281.5578 | 67 | FMI20240903_020.gcd | 2024-09-04 00:04 | 238 | Unknown | 0 | 2.853 | 796254 | 0 | ----- | ----- | ----- | -----
68 | FMI20240903_021.gcd | 2024-09-04 00:35 | 345 | Unknown | 0 | 5.985 | 2100923 | 5.312 | ----- | ----- | ----- | ----- | 68 | FMI20240903_021.gcd | 2024-09-04 00:35 | 345 | Unknown | 0 | 5.938 | 16157 | 4.775 | ----- | ----- | ----- | ----- | 68 | FMI20240903_021.gcd | 2024-09-04 00:35 | 345 | Unknown | 0 | 11.941 | 213820 | 44.392 | ----- | ----- | ----- | ----- | 2 | CO2 may be bad. CH4 is ok. | 68 | 4631.9119 | 42461.7386 | 4423.5156 | 40135.1352 | 4214.1356 | 42926.1453 | 4147.7925 | 49316.3072 | 4631.9119 | 42461.7386 | 68 | FMI20240903_021.gcd | 2024-09-04 00:35 | 345 | Unknown | 0 | 2.844 | 904906 | 0 | ----- | ----- | ----- | -----
69 | FMI20240903_022.gcd | 2024-09-04 01:05 | 314 | Unknown | 0 | 5.995 | 29259 | 0.07 | ----- | ----- | ----- | ----- | 69 | FMI20240903_022.gcd | 2024-09-04 01:05 | 314 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20240903_022.gcd | 2024-09-04 01:05 | 314 | Unknown | 0 | 12.134 | 411 | 0.052 | ----- | ----- | ----- | ----- | 1 |  | 69 | 80.2536 | 118.3449 | 76.5829 | 74.7225 | 66.1612 | -18.7506 | 77.2651 | 78.487 | 80.2536 | 118.3449 | 69 | FMI20240903_022.gcd | 2024-09-04 01:05 | 314 | Unknown | 0 | 2.851 | 842490 | 0 | ----- | ----- | ----- | -----
70 | FMI20240903_023.gcd | 2024-09-04 01:36 | 68 | Unknown | 0 | 6.003 | 73949 | 0.183 | ----- | ----- | ----- | ----- | 70 | FMI20240903_023.gcd | 2024-09-04 01:36 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240903_023.gcd | 2024-09-04 01:36 | 68 | Unknown | 0 | 12.078 | 69916 | 15.071 | ----- | ----- | ----- | ----- | 1 |  | 70 | 208.4779 | 13755.5062 | 193.7834 | 13284.5983 | 170.7218 | 14223.1891 | 205.9831 | 15341.2639 | 208.4779 | 13755.5062 | 70 | FMI20240903_023.gcd | 2024-09-04 01:36 | 68 | Unknown | 0 | 2.863 | 750999 | 0 | ----- | ----- | ----- | -----
71 | FMI20240903_024.gcd | 2024-09-04 02:06 | 323 | Unknown | 0 | 6.043 | 1945 | 0.001 | ----- | ----- | ----- | ----- | 71 | FMI20240903_024.gcd | 2024-09-04 02:06 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20240903_024.gcd | 2024-09-04 02:06 | 323 | Unknown | 0 | 12.059 | 86326 | 18.529 | ----- | ----- | ----- | ----- | 1 |  | 71 | 1.1762 | 17079.278 | 0.50151 | 16380.5008 | 0.36855 | 17549.7046 | 5.4949 | 19301.1561 | 1.1762 | 17079.278 | 71 | FMI20240903_024.gcd | 2024-09-04 02:06 | 323 | Unknown | 0 | 2.851 | 792352 | 0 | ----- | ----- | ----- | -----
72 | FMI20240903_025.gcd | 2024-09-04 02:37 | 33 | Unknown | 0 | 6.064 | 1328 | 0 | ----- | ----- | ----- | ----- | 72 | FMI20240903_025.gcd | 2024-09-04 02:37 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20240903_025.gcd | 2024-09-04 02:37 | 33 | Unknown | 0 | 11.964 | 197146 | 41.105 | ----- | ----- | ----- | ----- | 1 |  | 72 | -0.45264 | 39186.5567 | -1.7403 | 37058.4872 | -0.44 | 39654.504 | 7.3444 | 45466.4225 | -0.45264 | 39186.5567 | 72 | FMI20240903_025.gcd | 2024-09-04 02:37 | 33 | Unknown | 0 | 2.845 | 937956 | 0 | ----- | ----- | ----- | -----
73 | FMI20240903_026.gcd | 2024-09-04 03:07 | 287 | Unknown | 0 | 5.99 | 784584 | 1.976 | ----- | ----- | ----- | ----- | 73 | FMI20240903_026.gcd | 2024-09-04 03:07 | 287 | Unknown | 0 | 5.941 | 6508 | 1.949 | ----- | ----- | ----- | ----- | 73 | FMI20240903_026.gcd | 2024-09-04 03:07 | 287 | Unknown | 0 | 12.139 | 5041 | 1.072 | ----- | ----- | ----- | ----- | 1 |  | 73 | 1834.547 | 1065.9854 | 1953.9012 | 959.568 | 1834.106 | 937.6262 | 1664.7433 | 1196.6937 | 1834.547 | 1065.9854 | 73 | FMI20240903_026.gcd | 2024-09-04 03:07 | 287 | Unknown | 0 | 2.851 | 826174 | 0 | ----- | ----- | ----- | -----
74 | FMI20240903_027.gcd | 2024-09-04 03:38 | 16 | Unknown | 0 | 6.011 | 4721 | 0.008 | ----- | ----- | ----- | ----- | 74 | FMI20240903_027.gcd | 2024-09-04 03:38 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20240903_027.gcd | 2024-09-04 03:38 | 16 | Unknown | 0 | 12.008 | 139626 | 29.551 | ----- | ----- | ----- | ----- | 1 |  | 74 | 9.0431 | 27785.6689 | 10.0418 | 26375.6377 | 5.375 | 28259.4711 | 2.2599 | 32010.9975 | 9.0431 | 27785.6689 | 74 | FMI20240903_027.gcd | 2024-09-04 03:38 | 16 | Unknown | 0 | 2.848 | 873683 | 0 | ----- | ----- | ----- | -----
75 | FMI20240903_028.gcd | 2024-09-04 04:08 | 344 | Unknown | 0 | 5.998 | 23970 | 0.057 | ----- | ----- | ----- | ----- | 75 | FMI20240903_028.gcd | 2024-09-04 04:08 | 344 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20240903_028.gcd | 2024-09-04 04:08 | 344 | Unknown | 0 | 12.133 | 2568 | 0.528 | ----- | ----- | ----- | ----- | 1 |  | 75 | 65.0021 | 560.1456 | 62.6804 | 487.0364 | 53.7653 | 426.9373 | 61.6146 | 601.8642 | 65.0021 | 560.1456 | 75 | FMI20240903_028.gcd | 2024-09-04 04:08 | 344 | Unknown | 0 | 2.85 | 875399 | 0 | ----- | ----- | ----- | -----
76 | FMI20240903_029.gcd | 2024-09-04 04:39 | 367 | Unknown | 0 | 5.982 | 3038544 | 7.702 | ----- | ----- | ----- | ----- | 76 | FMI20240903_029.gcd | 2024-09-04 04:39 | 367 | Unknown | 0 | 5.934 | 24067 | 7.08 | ----- | ----- | ----- | ----- | 76 | FMI20240903_029.gcd | 2024-09-04 04:39 | 367 | Unknown | 0 | 12.04 | 93385 | 20.007 | ----- | ----- | ----- | ----- | 1 |  | 76 | 6611.3567 | 18505.0657 | 6445.2538 | 17709.5545 | 6162.5304 | 18976.4258 | 5877.1462 | 20997.7855 | 6611.3567 | 18505.0657 | 76 | FMI20240903_029.gcd | 2024-09-04 04:39 | 367 | Unknown | 0 | 2.85 | 801702 | 0 | ----- | ----- | ----- | -----
77 | FMI20240903_030.gcd | 2024-09-04 05:09 | 119 | Unknown | 0 | 6.042 | 2319 | 0.002 | ----- | ----- | ----- | ----- | 77 | FMI20240903_030.gcd | 2024-09-04 05:09 | 119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20240903_030.gcd | 2024-09-04 05:09 | 119 | Unknown | 0 | 11.973 | 175293 | 36.755 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.1848 | 34873.8608 | 1.8389 | 33012.5322 | 0.91252 | 35345.1938 | 4.574 | 40386.3158 | 2.1848 | 34873.8608 | 77 | FMI20240903_030.gcd | 2024-09-04 05:09 | 119 | Unknown | 0 | 2.847 | 868122 | 0 | ----- | ----- | ----- | -----
78 | FMI20240903_031.gcd | 2024-09-04 05:40 | 173 | Unknown | 0 | 5.994 | 35801 | 0.087 | ----- | ----- | ----- | ----- | 78 | FMI20240903_031.gcd | 2024-09-04 05:40 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20240903_031.gcd | 2024-09-04 05:40 | 173 | Unknown | 0 | 12.13 | 7907 | 1.702 | ----- | ----- | ----- | ----- | 1 |  | 78 | 99.0959 | 1651.2963 | 93.7696 | 1506.9438 | 81.4875 | 1529.0814 | 96.5012 | 1879.0723 | 99.0959 | 1651.2963 | 78 | FMI20240903_031.gcd | 2024-09-04 05:40 | 173 | Unknown | 0 | 2.838 | 1050099 | 0 | ----- | ----- | ----- | -----
79 | FMI20240903_032.gcd | 2024-09-04 06:11 | 180 | Unknown | 0 | 5.961 | 12473746 | 32.377 | ----- | ----- | ----- | ----- | 79 | FMI20240903_032.gcd | 2024-09-04 06:11 | 180 | Unknown | 0 | 5.913 | 88368 | 25.476 | ----- | ----- | ----- | ----- | 79 | FMI20240903_032.gcd | 2024-09-04 06:11 | 180 | Unknown | 0 | 12.052 | 82583 | 17.743 | ----- | ----- | ----- | ----- | 1 |  | 79 | 23535.1968 | 16322.2895 | 22786.9305 | 15675.1192 | 21911.1963 | 16792.1609 | 21478.2139 | 18399.8731 | 23535.1968 | 16322.2895 | 79 | FMI20240903_032.gcd | 2024-09-04 06:11 | 180 | Unknown | 0 | 2.855 | 684816 | 0 | ----- | ----- | ----- | -----