## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN03aug21_001.gcd | 2021-08-03 12:53 | air | Unknown | 0 | 6.059 | 1892 | -0.001 | ----- | ----- | ----- | ----- | 39 | BRN03aug21_001.gcd | 2021-08-03 12:53 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN03aug21_001.gcd | 2021-08-03 12:53 | air | Unknown | 0 | 12.232 | 1987 | 0.406 | ----- | ----- | ----- | ----- | 1 |  | 0.82293 | 402.972 | 0.31067 | 375.9922
40 | BRN03aug21_002.gcd | 2021-08-03 13:23 | air + 100 | Unknown | 0 | 6.018 | 22472 | 0.042 | ----- | ----- | ----- | ----- | 40 | BRN03aug21_002.gcd | 2021-08-03 13:23 | air + 100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN03aug21_002.gcd | 2021-08-03 13:23 | air + 100 | Unknown | 0 | 12.198 | 2991 | 0.607 | ----- | ----- | ----- | ----- | 2 | atypical | 70.6426 | 588.7999 | 58.7416 | 567.8757
41 | BRN03aug21_003.gcd | 2021-08-03 13:54 | 112 | Unknown | 0 | 6.005 | 4200688 | 8.795 | ----- | ----- | ----- | ----- | 41 | BRN03aug21_003.gcd | 2021-08-03 13:54 | 112 | Unknown | 0 | 5.957 | 31342 | 8.501 | ----- | ----- | ----- | ----- | 41 | BRN03aug21_003.gcd | 2021-08-03 13:54 | 112 | Unknown | 0 | 12.064 | 108644 | 21.356 | ----- | ----- | ----- | ----- | 1 |  | 6514.5727 | 19436.5207 | 8302.4736 | 20576.9496
42 | BRN03aug21_004.gcd | 2021-08-03 14:24 | 78 | Unknown | 0 | 6.02 | 14323 | 0.025 | ----- | ----- | ----- | ----- | 42 | BRN03aug21_004.gcd | 2021-08-03 14:24 | 78 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN03aug21_004.gcd | 2021-08-03 14:24 | 78 | Unknown | 0 | 12.113 | 60838 | 12.053 | ----- | ----- | ----- | ----- | 1 |  | 38.7321 | 11081.867 | 37.3052 | 11568.1851
43 | BRN03aug21_005.gcd | 2021-08-03 14:55 | 174 | Unknown | 0 | 6.018 | 188562 | 0.388 | ----- | ----- | ----- | ----- | 43 | BRN03aug21_005.gcd | 2021-08-03 14:55 | 174 | Unknown | 0 | 5.985 | 1182 | 0.432 | ----- | ----- | ----- | ----- | 43 | BRN03aug21_005.gcd | 2021-08-03 14:55 | 174 | Unknown | 0 | 12.087 | 90633 | 17.868 | ----- | ----- | ----- | ----- | 1 |  | 563.7229 | 16322.574 | 492.1511 | 17191.6064
44 | BRN03aug21_006.gcd | 2021-08-03 15:25 | 26 | Unknown | 0 | 6.019 | 91899 | 0.187 | ----- | ----- | ----- | ----- | 44 | BRN03aug21_006.gcd | 2021-08-03 15:25 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN03aug21_006.gcd | 2021-08-03 15:25 | 26 | Unknown | 0 | 12.176 | 5637 | 1.135 | ----- | ----- | ----- | ----- | 1 |  | 282.2318 | 1077.9352 | 240.7217 | 1073.4197
45 | BRN03aug21_007.gcd | 2021-08-03 15:56 | 186 | Unknown | 0 | 6.015 | 812445 | 1.69 | ----- | ----- | ----- | ----- | 45 | BRN03aug21_007.gcd | 2021-08-03 15:56 | 186 | Unknown | 0 | 5.97 | 6871 | 1.959 | ----- | ----- | ----- | ----- | 45 | BRN03aug21_007.gcd | 2021-08-03 15:56 | 186 | Unknown | 0 | 12.111 | 71661 | 14.172 | ----- | ----- | ----- | ----- | 1 |  | 1864.458 | 12998.4367 | 2046.8769 | 13614.2252
46 | BRN03aug21_008.gcd | 2021-08-03 16:27 | 27 | Unknown | 0 | 6.018 | 94805 | 0.193 | ----- | ----- | ----- | ----- | 46 | BRN03aug21_008.gcd | 2021-08-03 16:27 | 27 | Unknown | 0 | 5.963 | 868 | 0.347 | ----- | ----- | ----- | ----- | 46 | BRN03aug21_008.gcd | 2021-08-03 16:27 | 27 | Unknown | 0 | 12.182 | 5169 | 1.042 | ----- | ----- | ----- | ----- | 1 |  | 290.9167 | 991.4855 | 248.3134 | 984.0204
47 | BRN03aug21_009.gcd | 2021-08-03 16:57 | 71 | Unknown | 0 | 6.018 | 190069 | 0.391 | ----- | ----- | ----- | ----- | 47 | BRN03aug21_009.gcd | 2021-08-03 16:57 | 71 | Unknown | 0 | 5.963 | 1824 | 0.604 | ----- | ----- | ----- | ----- | 47 | BRN03aug21_009.gcd | 2021-08-03 16:57 | 71 | Unknown | 0 | 12.09 | 93976 | 18.517 | ----- | ----- | ----- | ----- | 1 |  | 567.9907 | 16903.6279 | 496.0531 | 17820.7532
48 | BRN03aug21_010.gcd | 2021-08-03 17:28 | 68 | Unknown | 0 | 6.019 | 98285 | 0.2 | ----- | ----- | ----- | ----- | 48 | BRN03aug21_010.gcd | 2021-08-03 17:28 | 68 | Unknown | 0 | 5.948 | 908 | 0.358 | ----- | ----- | ----- | ----- | 48 | BRN03aug21_010.gcd | 2021-08-03 17:28 | 68 | Unknown | 0 | 12.183 | 5179 | 1.044 | ----- | ----- | ----- | ----- | 1 |  | 301.2989 | 993.333 | 257.402 | 985.9307
49 | BRN03aug21_011.gcd | 2021-08-03 17:58 | 217 | Unknown | 0 | 5.998 | 4708653 | 9.865 | ----- | ----- | ----- | ----- | 49 | BRN03aug21_011.gcd | 2021-08-03 17:58 | 217 | Unknown | 0 | 5.95 | 35360 | 9.57 | ----- | ----- | ----- | ----- | 49 | BRN03aug21_011.gcd | 2021-08-03 17:58 | 217 | Unknown | 0 | 12.056 | 116334 | 22.84 | ----- | ----- | ----- | ----- | 1 |  | 7278.4713 | 20753.6496 | 9327.3099 | 22019.1465
50 | BRN03aug21_012.gcd | 2021-08-03 18:29 | 179 | Unknown | 0 | 6.008 | 3902445 | 8.167 | ----- | ----- | ----- | ----- | 50 | BRN03aug21_012.gcd | 2021-08-03 18:29 | 179 | Unknown | 0 | 5.96 | 30774 | 8.35 | ----- | ----- | ----- | ----- | 50 | BRN03aug21_012.gcd | 2021-08-03 18:29 | 179 | Unknown | 0 | 12.071 | 105427 | 20.735 | ----- | ----- | ----- | ----- | 1 |  | 6406.5936 | 18883.3165 | 8157.5465 | 19973.0569
51 | BRN03aug21_013.gcd | 2021-08-03 19:00 | 135 | Unknown | 0 | 6.009 | 3021399 | 6.315 | ----- | ----- | ----- | ----- | 51 | BRN03aug21_013.gcd | 2021-08-03 19:00 | 135 | Unknown | 0 | 5.961 | 22172 | 6.055 | ----- | ----- | ----- | ----- | 51 | BRN03aug21_013.gcd | 2021-08-03 19:00 | 135 | Unknown | 0 | 12.072 | 76450 | 15.107 | ----- | ----- | ----- | ----- | 1 |  | 4771.5777 | 13841.7943 | 5961.1344 | 14518.3488
52 | BRN03aug21_014.gcd | 2021-08-03 19:30 | 148 | Unknown | 0 | 6.041 | 3370 | 0.002 | ----- | ----- | ----- | ----- | 52 | BRN03aug21_014.gcd | 2021-08-03 19:30 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN03aug21_014.gcd | 2021-08-03 19:30 | 148 | Unknown | 0 | 12.18 | 6512 | 1.31 | ----- | ----- | ----- | ----- | 1 |  | 4.9862 | 1239.493 | 5.5104 | 1240.5469
53 | BRN03aug21_015.gcd | 2021-08-03 20:01 | 199 | Unknown | 0 | 6.021 | 101954 | 0.208 | ----- | ----- | ----- | ----- | 53 | BRN03aug21_015.gcd | 2021-08-03 20:01 | 199 | Unknown | 0 | 5.968 | 694 | 0.301 | ----- | ----- | ----- | ----- | 53 | BRN03aug21_015.gcd | 2021-08-03 20:01 | 199 | Unknown | 0 | 12.186 | 5633 | 1.134 | ----- | ----- | ----- | ----- | 1 |  | 312.2236 | 1077.1965 | 266.981 | 1072.6557
54 | BRN03aug21_016.gcd | 2021-08-03 20:31 | 187 | Unknown | 0 | 6.007 | 777392 | 1.617 | ----- | ----- | ----- | ----- | 54 | BRN03aug21_016.gcd | 2021-08-03 20:31 | 187 | Unknown | 0 | 5.963 | 6481 | 1.855 | ----- | ----- | ----- | ----- | 54 | BRN03aug21_016.gcd | 2021-08-03 20:31 | 187 | Unknown | 0 | 12.098 | 74730 | 14.771 | ----- | ----- | ----- | ----- | 1 |  | 1790.3799 | 13539.2284 | 1946.9854 | 14193.7128
55 | BRN03aug21_017.gcd | 2021-08-03 21:02 | 201 | Unknown | 0 | 6.009 | 4197698 | 8.788 | ----- | ----- | ----- | ----- | 55 | BRN03aug21_017.gcd | 2021-08-03 21:02 | 201 | Unknown | 0 | 5.961 | 30593 | 8.301 | ----- | ----- | ----- | ----- | 55 | BRN03aug21_017.gcd | 2021-08-03 21:02 | 201 | Unknown | 0 | 12.076 | 107535 | 21.142 | ----- | ----- | ----- | ----- | 1 |  | 6372.1852 | 19245.9608 | 8111.3611 | 20368.807
56 | BRN03aug21_018.gcd | 2021-08-03 21:33 | 206 | Unknown | 0 | 6.007 | 4515540 | 9.458 | ----- | ----- | ----- | ----- | 56 | BRN03aug21_018.gcd | 2021-08-03 21:33 | 206 | Unknown | 0 | 5.961 | 34255 | 9.276 | ----- | ----- | ----- | ----- | 56 | BRN03aug21_018.gcd | 2021-08-03 21:33 | 206 | Unknown | 0 | 12.072 | 120728 | 23.686 | ----- | ----- | ----- | ----- | 1 |  | 7068.3791 | 21502.9128 | 9045.5318 | 22842.342
57 | BRN03aug21_019.gcd | 2021-08-03 22:03 | 110 | Unknown | 0 | 6.045 | 3528 | 0.003 | ----- | ----- | ----- | ----- | 57 | BRN03aug21_019.gcd | 2021-08-03 22:03 | 110 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN03aug21_019.gcd | 2021-08-03 22:03 | 110 | Unknown | 0 | 12.179 | 6091 | 1.226 | ----- | ----- | ----- | ----- | 1 |  | 5.4367 | 1161.7726 | 6.0513 | 1160.1379
58 | BRN03aug21_020.gcd | 2021-08-03 22:34 | 81 | Unknown | 0 | 6.022 | 15408 | 0.027 | ----- | ----- | ----- | ----- | 58 | BRN03aug21_020.gcd | 2021-08-03 22:34 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN03aug21_020.gcd | 2021-08-03 22:34 | 81 | Unknown | 0 | 12.122 | 56965 | 11.294 | ----- | ----- | ----- | ----- | 1 |  | 48.673 | 10392.4516 | 40.1603 | 10835.0861
59 | BRN03aug21_021.gcd | 2021-08-03 23:04 | 204 | Unknown | 0 | 6.011 | 4242832 | 8.883 | ----- | ----- | ----- | ----- | 59 | BRN03aug21_021.gcd | 2021-08-03 23:04 | 204 | Unknown | 0 | 5.964 | 32350 | 8.769 | ----- | ----- | ----- | ----- | 59 | BRN03aug21_021.gcd | 2021-08-03 23:04 | 204 | Unknown | 0 | 12.07 | 115580 | 22.695 | ----- | ----- | ----- | ----- | 1 |  | 6706.2028 | 20624.8341 | 8559.6363 | 21877.8249